## BoQ1
eProcurement System for Organisations under MoD Created By: ARBIND KUMAR Created Date/Time: 26-Dec-2018 06:11 PM Tender Title: SPECIAL REPAIR TO BLDG NO. P-4 (R/ OIL SHED) OF 250 COY ASC (SUP) TYPE G AND CERTAIN OTHER SANCTIONED WORKS UNDER AGE B/R-II OF GE (EAST) JALANDHAR CANTT Tender ID: 2018_MES_223937_1
Tender Inviting Authority: Garrison Engineer (East) Jalandhar Cantt
Name of Work: SPECIAL REPAIR TO BLDG NO. P-4, (R/ OIL SHED) OF 250 COY ASC (SUP) TYPE ‘G’ AND CERTAIN OTHER SANCTIONED WORKS UNDER AGE B/R-II OF GE (EAST) JALANDHAR CANTT (TENDER ID 2018_MES_223937_1)
Contract No: GE/JULL/ET-54/2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL BUILDERS |  | JAGDISH SINGH AND CO |  | M/S Vinod Kumar |  | SANDEEP JHANJI CONSTRUCTIONS |  | Siya constructions |  | SARASWATI CONSTRUCTION CO
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation in trenches in soft /loose soil, not exceeding 1.5 m wide and n. exc. 1.5m in depth for foundations etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n. exc. 10 sqm on plan and getting out complete all as specified and directed. | 30.00 | Cum |  | 93.00 | 2790.00 | 100.00 | 3000.00 | 60.00 | 1800.00 | 30.00 | 900.00 | 110.00 | 3300.00 | 90.00 | 2700.00 | 900.00 | SANDEEP JHANJI CONSTRUCTIONS
2.00 | Returning, filling in including levelling, watering and well ramming in layers n. exc. 25 cm thick each layer complete all as specified and directed. | 16.00 | Cum |  | 30.00 | 480.00 | 80.00 | 1280.00 | 10.00 | 160.00 | 30.00 | 480.00 | 25.00 | 400.00 | 20.00 | 320.00 | 160.00 | M/S Vinod Kumar
3.00 | Removing surplus spoil to a distance n. exc. 50m and depositing where directed at a level n.exc 1.5 m above the starting point complete all as specified and directed. | 13.00 | Cum |  | 30.00 | 390.00 | 60.00 | 780.00 | 20.00 | 260.00 | 30.00 | 390.00 | 35.00 | 455.00 | 20.00 | 260.00 | 260.00 | SARASWATI CONSTRUCTION CO, M/S Vinod Kumar
4.00 | M&L hard core of broken stone or boulder of gauge n. exc. 63mm, deposited, spread and levelled in layers n.exc. 15cm thick, watered and well rammed to a true surface complete all as specified and directed. | 15.00 | Cum |  | 550.00 | 8250.00 | 40.00 | 600.00 | 1100.00 | 16500.00 | 550.00 | 8250.00 | 1050.00 | 15750.00 | 850.00 | 12750.00 | 600.00 | JAGDISH SINGH AND CO
5.00 | M&L reinforced cement concrete (1:1½:3) type A-1 using 20mm graded stone aggregate as in slab supported on wall, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like including necessary formwork complete all as specified. | 4.20 | Cum |  | 3700.00 | 15540.00 | 4000.00 | 16800.00 | 4500.00 | 18900.00 | 3180.00 | 13356.00 | 5100.00 | 21420.00 | 4000.00 | 16800.00 | 13356.00 | SANDEEP JHANJI CONSTRUCTIONS
6.00 | M&L cement concrete (1:2:4) type B-0 using 12.5mm graded stone aggregate as in roof padding etc. (average thickness 50mm) complete all as specified and directed. | 9.50 | Cum |  | 3700.00 | 35150.00 | 3500.00 | 33250.00 | 3500.00 | 33250.00 | 3200.00 | 30400.00 | 3550.00 | 33725.00 | 3300.00 | 31350.00 | 30400.00 | SANDEEP JHANJI CONSTRUCTIONS
7.00 | Supply only liquid water proofing compound all as specified and directed. | 27.79 | Ltr |  | 30.00 | 833.70 | 60.00 | 1667.40 | 100.00 | 2779.00 | 35.00 | 972.65 | 60.00 | 1667.40 | 300.00 | 8337.00 | 833.70 | NATIONAL BUILDERS
8.00 | M&L brick work with old size sub class 'B' bricks, straight or curved on plan exceeding 6m mean radius and built in cement mortar (1:6) complete all as specified and directed. | 18.10 | Cum |  | 3000.00 | 54300.00 | 3200.00 | 57920.00 | 3000.00 | 54300.00 | 3050.00 | 55205.00 | 3400.00 | 61540.00 | 3300.00 | 59730.00 | 54300.00 | M/S Vinod Kumar, NATIONAL BUILDERS
9.00 | All as per Ser item No 8.00 above but except bricks | .50 | Cum |  | 1470.00 | 735.00 | 1600.00 | 800.00 | 1500.00 | 750.00 | 890.00 | 445.00 | 1800.00 | 900.00 | 1000.00 | 500.00 | 445.00 | SANDEEP JHANJI CONSTRUCTIONS
10.00 | M&L 18-20mm thick machine cut Kota stone slabs as in flooring, jointed with grey cement mixed with pigment to match the shade of the slab including grinding, rubbing and polishing to mirror finish with & including screed bed or bedding layer of mortar 15mm thick in cement mortar (1:6) for laying floor finishes including neat cement slurry with 3 Kg/Sqm complete all as specified and directed | 610.00 | Sqm |  | 630.00 | 384300.00 | 680.00 | 414800.00 | 678.00 | 413580.00 | 660.00 | 402600.00 | 720.00 | 439200.00 | 700.00 | 427000.00 | 384300.00 | NATIONAL BUILDERS
11.00 | All as per item No 10.00 but as in skirting laid over and including 15mm thick rendering in cement mortar (1:4) as backing coat. | 50.50 | Sqm |  | 630.00 | 31815.00 | 700.00 | 35350.00 | 720.00 | 36360.00 | 700.00 | 35350.00 | 720.00 | 36360.00 | 700.00 | 35350.00 | 31815.00 | NATIONAL BUILDERS
12.00 | M&L for 10mm thick screed bed in cement mortar (1:3) finished even and smooth with out using extra cement to received roof treatment complete all as specified and directed. | 190.00 | Sqm |  | 93.00 | 17670.00 | 120.00 | 22800.00 | 100.00 | 19000.00 | 110.00 | 20900.00 | 65.00 | 12350.00 | 90.00 | 17100.00 | 12350.00 | Siya constructions
13.00 | Use and waste of formwork to soffits of suspended slabs such as roof slabs, floor slabs, landings and similar work n. exc. 200mm thick (Horizontal or sloping) for flat & rough finished surfaces of concrete complete all as specified and directed. | 15.00 | Sqm |  | 210.00 | 3150.00 | 100.00 | 1500.00 | 200.00 | 3000.00 | 135.00 | 2025.00 | 200.00 | 3000.00 | 250.00 | 3750.00 | 1500.00 | JAGDISH SINGH AND CO
14.00 | Use and waste of formwork to edges of concrete flats, treads, breaks in floors, window cills, concrete railings, openings in concrete walls, floor and roofs n. exc. 20 cm wide and sides of RCC/ PCC bands in walls, horizontal or sloping and similar work exc. 10cm but n. exc. 20cm wide for rough finished surfaces of concrete complete all as specified and directed. | 55.00 | RM |  | 30.00 | 1650.00 | 30.00 | 1650.00 | 60.00 | 3300.00 | 55.00 | 3025.00 | 30.00 | 1650.00 | 30.00 | 1650.00 | 1650.00 | SARASWATI CONSTRUCTION CO, JAGDISH SINGH AND CO, Siya constructions, NATIONAL BUILDERS
15.00 | Taking down chowkhats or frame with shutter (without taking off shutter from the frame) area n. exc. 1.5 Sqm each for doors and windows complete all as specified and directed. | 43.00 | Each |  | 48.00 | 2064.00 | 40.00 | 1720.00 | 20.00 | 860.00 | 35.00 | 1505.00 | 55.00 | 2365.00 | 30.00 | 1290.00 | 860.00 | M/S Vinod Kumar
16.00 | Taking down chowkhats or frame with shutter (without taking off shutter from the frame) area exc. 1.5 Sqm but n. exc. 4 sqm each for doors and windows complete all as specified and directed. | 31.00 | Each |  | 48.00 | 1488.00 | 60.00 | 1860.00 | 40.00 | 1240.00 | 35.00 | 1085.00 | 65.00 | 2015.00 | 30.00 | 930.00 | 930.00 | SARASWATI CONSTRUCTION CO
17.00 | M&L 35mm thick 2nd class hard wood factory made plain framed, panelled shutters (two panels), with lock rail and panels of 9mm thick BWP commercial ply or of veneered particle board 12mm thick with commercial veneering on both faces with rails and style. The size of rail and stile as per IS: 1003 (Part-I), kiln seasoned and chemically pressure treated complete all as specified and directed. | 47.00 | Sqm |  | 1470.00 | 69090.00 | 1450.00 | 68150.00 | 1300.00 | 61100.00 | 1080.00 | 50760.00 | 1950.00 | 91650.00 | 1500.00 | 70500.00 | 50760.00 | SANDEEP JHANJI CONSTRUCTIONS
18.00 | S&F factory made solid panel PVC door shutters 30mm thick (style) consisting of frame made out of MS tubes for top & bottom rails. M.S frame shall be covered with heat moulded plain colour PVC ‘C’ channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for top rail, lock rail & bottom rail on either side and as gap insert for top rail and bottom rail, paneling of plain colour PVC sheet to be fitted in the M.S frame welded/ sealed to the stiles & rails with suitable PVC sheet beading and joined together with solvent cement, supplying & fixing in the frame at site, complete all as specified and directed. | 3.00 | Sqm |  | 1900.00 | 5700.00 | 1700.00 | 5100.00 | 2100.00 | 6300.00 | 1300.00 | 3900.00 | 2100.00 | 6300.00 | 1700.00 | 5100.00 | 3900.00 | SANDEEP JHANJI CONSTRUCTIONS
19.00 | S&F solid PVC door frame of size 50mm x 47mm made out of 5mm plain colour PVC sheet reinforced with MS Square tube, supplying & fixing in opening as per specification & drawing complete all as specified and directed. | 10.00 | RM |  | 327.00 | 3270.00 | 370.00 | 3700.00 | 350.00 | 3500.00 | 278.00 | 2780.00 | 325.00 | 3250.00 | 300.00 | 3000.00 | 2780.00 | SANDEEP JHANJI CONSTRUCTIONS
20.00 | M&L mild steel sliding door bolts 250mm long stove enameled black, with bright bolt not less than 12mm dia with and including a minimum of 6 bolts and nuts, four on bolt plate and two on staple plate complete all as specified and directed. | 10.00 | Each |  | 100.00 | 1000.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 140.00 | 1400.00 | 1000.00 | SANDEEP JHANJI CONSTRUCTIONS, NATIONAL BUILDERS
21.00 | All as per srl item No. 20.00 here-in-before but 375mm long | 6.00 | Each |  | 156.00 | 936.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 135.00 | 810.00 | 140.00 | 840.00 | 200.00 | 1200.00 | 810.00 | SANDEEP JHANJI CONSTRUCTIONS
22.00 | S&F 300mm long aluminium alloy, anodised, sliding door bolt with hasp and staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed all as specified and directed. | 7.00 | Each |  | 255.00 | 1785.00 | 250.00 | 1750.00 | 250.00 | 1750.00 | 120.00 | 840.00 | 160.00 | 1120.00 | 200.00 | 1400.00 | 840.00 | SANDEEP JHANJI CONSTRUCTIONS
23.00 | All as per srl item No. 22.00 here-in-before but 200mm long | 2.00 | Each |  | 165.00 | 330.00 | 280.00 | 560.00 | 180.00 | 360.00 | 120.00 | 240.00 | 140.00 | 280.00 | 150.00 | 300.00 | 240.00 | SANDEEP JHANJI CONSTRUCTIONS
24.00 | S&F 100mm size mild steel butt hinges, medium weight, cold rolled and fixed with screws/welded to frame complete all as specified and directed. | 42.00 | Each |  | 19.00 | 798.00 | 50.00 | 2100.00 | 20.00 | 840.00 | 18.00 | 756.00 | 15.00 | 630.00 | 20.00 | 840.00 | 630.00 | Siya constructions
25.00 | All as per srl item No. 24.00 here-in-before but 125mm | 36.00 | Each |  | 30.00 | 1080.00 | 60.00 | 2160.00 | 30.00 | 1080.00 | 18.00 | 648.00 | 20.00 | 720.00 | 35.00 | 1260.00 | 648.00 | SANDEEP JHANJI CONSTRUCTIONS
26.00 | S&F butt hinges extruded aluminium alloy 100mm size complete all as specified and directed. | 6.00 | Each |  | 30.00 | 180.00 | 80.00 | 480.00 | 40.00 | 240.00 | 30.00 | 180.00 | 30.00 | 180.00 | 35.00 | 210.00 | 180.00 | SANDEEP JHANJI CONSTRUCTIONS, Siya constructions, NATIONAL BUILDERS
27.00 | S&F MS barrel tower bolt 200mm long stove enameled black with bright bolt and fixed complete all as specified and directed. | 308.00 | Each |  | 39.00 | 12012.00 | 60.00 | 18480.00 | 40.00 | 12320.00 | 35.00 | 10780.00 | 25.00 | 7700.00 | 66.00 | 20328.00 | 7700.00 | Siya constructions
28.00 | All as per srl item No. 27.00 here-in-before but 300mm | 12.00 | Each |  | 55.00 | 660.00 | 80.00 | 960.00 | 75.00 | 900.00 | 45.00 | 540.00 | 30.00 | 360.00 | 88.00 | 1056.00 | 360.00 | Siya constructions
29.00 | S&F aluminium anodised, barrel tower bolts of extruded section and fixed, 150mm long all as specified and directed. | 4.00 | Each |  | 55.00 | 220.00 | 80.00 | 320.00 | 75.00 | 300.00 | 25.00 | 100.00 | 40.00 | 160.00 | 50.00 | 200.00 | 100.00 | SANDEEP JHANJI CONSTRUCTIONS
30.00 | S&F MS pressed handles, oval type, stove enameled black 150mm size complete all as specified and directed. | 36.00 | Each |  | 19.00 | 684.00 | 40.00 | 1440.00 | 30.00 | 1080.00 | 15.00 | 540.00 | 45.00 | 1620.00 | 25.00 | 900.00 | 540.00 | SANDEEP JHANJI CONSTRUCTIONS
31.00 | S&F aluminium handle cast type anodised 100mm long complete all as specified and directed. | 4.00 | Each |  | 39.00 | 156.00 | 60.00 | 240.00 | 40.00 | 160.00 | 30.00 | 120.00 | 35.00 | 140.00 | 40.00 | 160.00 | 120.00 | SANDEEP JHANJI CONSTRUCTIONS
32.00 | S&F mild steel 300mm ordinary rat tail rod pattern springs including roller and roller plate complete all as specified and directed. | 15.00 | Each |  | 100.00 | 1500.00 | 250.00 | 3750.00 | 150.00 | 2250.00 | 100.00 | 1500.00 | 120.00 | 1800.00 | 150.00 | 2250.00 | 1500.00 | SANDEEP JHANJI CONSTRUCTIONS, NATIONAL BUILDERS
33.00 | M&L for mild steel framed work as in doors or gates of angle or other section with gusset plates, rails, braces, etc. using steel conforming to Fe-410 Gde-E-250 complete including drilled for fixing of steel sheeting or other covering; doors, door frame chowkhats etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing including necessary cutting drilling and welding etc complete all as specified and directed. | 350.00 | Kgs |  | 60.60 | 21210.00 | 65.00 | 22750.00 | 68.00 | 23800.00 | 58.00 | 20300.00 | 68.00 | 23800.00 | 60.00 | 21000.00 | 20300.00 | SANDEEP JHANJI CONSTRUCTIONS
34.00 | S&F structural steel framed work as in trussed, purlins, crane gantries, roof/ ceiling or gate frame of angle or other section with gusset plates, rails, braces etc. cutting, drilling and welding complete, drilled for fixing of steel sheeting or other covering etc Fe-410W (Gde E-250) quality-A at any height complete all as specified and directed | 800.00 | Kg |  | 62.40 | 49920.00 | 65.00 | 52000.00 | 68.00 | 54400.00 | 58.00 | 46400.00 | 70.00 | 56000.00 | 60.00 | 48000.00 | 46400.00 | SANDEEP JHANJI CONSTRUCTIONS
35.00 | S & F steel window 1.25 mm thick box type (primer coated) ERW hollow P section of size 60mm x 25mm single rebated comprises glazed skeleton shutter ERW sec 50mm x 20mm and 1mm thick with two openable leaf consisting two No sash bars of T-section 20mm x 3mm complete welded to frame with one vertical mullion of ERW box type T-section of size 60mmx25mm and 1.25mm thick including cutting holes and making good dismantled portion PCC (1:2:4) type B-1 four No for each window) including following fittings welded to frame shutter: - (a) Hold fast, 150mm long of 12mm x 3mm made to shape-04 No per window. (b) Handle of z section 20mm x 25mm, 100mm long 01 No per leaf (c) MS tower bolt 150mm long- 2 No per leaf (d) z section 20mmx25mm, 100mm long stopper - 01 No per leaf (f) MS pintal hinges of size 75mmx12mm- 2 No per leaf (g) Fabrication & fixing arrangement as per Drg No CEJZ/TD-06/07. Note: Grills/ guard bars, glass, wire mesh and painted shall be measured and paid separately under respective item of this BOQ. | 51.00 | Sqm |  | 1900.00 | 96900.00 | 1850.00 | 94350.00 | 2000.00 | 102000.00 | 1800.00 | 91800.00 | 2100.00 | 107100.00 | 1700.00 | 86700.00 | 86700.00 | SARASWATI CONSTRUCTION CO
36.00 | All as per ser item No. 35.00 but gauged shutters without sash bars. | 31.00 | Sqm |  | 1900.00 | 58900.00 | 1850.00 | 57350.00 | 2000.00 | 62000.00 | 1680.00 | 52080.00 | 2100.00 | 65100.00 | 1700.00 | 52700.00 | 52080.00 | SANDEEP JHANJI CONSTRUCTIONS
37.00 | All as per ser item No. 35.00 but as in ventilators | 14.10 | Sqm |  | 1470.00 | 20727.00 | 1700.00 | 23970.00 | 1500.00 | 21150.00 | 1780.00 | 25098.00 | 2100.00 | 29610.00 | 2000.00 | 28200.00 | 20727.00 | NATIONAL BUILDERS
38.00 | S&F mild steel framed work for such as guard bars/ grills, grating etc with end of bars shouldered and/ or riveted forged into spikes, framed guard bars barred iron door, railings and similar work complete conforming to Fe-290 Gde E 165 including one shop coat of zinc chromate primer complete all as specified & directed. | 280.00 | Kg |  | 70.50 | 19740.00 | 65.00 | 18200.00 | 70.00 | 19600.00 | 63.00 | 17640.00 | 69.00 | 19320.00 | 60.00 | 16800.00 | 16800.00 | SARASWATI CONSTRUCTION CO
39.00 | M&L for Mild steel work wind tie etc for roof including securing bolt, posts and struts in fencing including cutting tops to shape as directed, drilling holes, notching for wire, etc including all necessary drilling, bolting or riveting, etc.,and similar work conforming to Fe-290 Gde E-165 complete all as specified. | 300.00 | Kg |  | 55.00 | 16500.00 | 65.00 | 19500.00 | 70.00 | 21000.00 | 58.00 | 17400.00 | 68.00 | 20400.00 | 60.00 | 18000.00 | 16500.00 | NATIONAL BUILDERS
40.00 | S&F pressed steel door frame of size 125mm x 60mm with one or more rebates including necessary fixing lugs, hinges, lock strike plate etc complete all as specified and directed | 60.70 | RM |  | 426.00 | 25858.20 | 450.00 | 27315.00 | 350.00 | 21245.00 | 300.00 | 18210.00 | 325.00 | 19727.50 | 250.00 | 15175.00 | 15175.00 | SARASWATI CONSTRUCTION CO
41.00 | M&L mild steel TMT bars 10mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.90mm dia or securing with clips complete all as specified and directed. | 433.00 | Kg |  | 60.60 | 26239.80 | 65.00 | 28145.00 | 65.00 | 28145.00 | 63.00 | 27279.00 | 68.00 | 29444.00 | 60.00 | 25980.00 | 25980.00 | SARASWATI CONSTRUCTION CO
42.00 | S&F mild steel work as in hand rails, half round or other stock section or core for wooden hand rail, straight portion drilled and countersunk for balusters running bars, for doors, balusters, nosing to steps including embedding in concrete and screwing etc, wind ties for roof including securing bolts, posts and struts in fencing including cutting tops to shape as directed, drilling holes, notching for wires etc, flat iron fillets (for securing wire mesh etc) including all necessary drilling, bolting or riveting, etc and similar work confirming to Fe-290 Gde-E-165 complete all as specified and directed. | 552.00 | Kg |  | 60.60 | 33451.20 | 65.00 | 35880.00 | 68.00 | 37536.00 | 65.00 | 35880.00 | 72.00 | 39744.00 | 60.00 | 33120.00 | 33120.00 | SARASWATI CONSTRUCTION CO
43.00 | M&L 3mm thick superior multi polymeric water proofing treatment of weight not less than 3 kg/ sqm with properties of high penetration and the centre core consisting of 90 micron high molecular high density polyethylene (HMHDPE) film consisting of five layer. The superior multi poluplus shall be laid after preparing the surfaces by cleaning thoroughly to achieve as smooth surface over and including a coat of bitumen primer 9Manufactured by Sivan Tar Products0 @ 0.30 ltr/ sqm over and including a coat of hot applied blown bitumen of grade 85/25 @ 1.2 kg/sqm. The overlaps between super multi plus are minimum 10cm seam in width/ lengthwise complete all as specified and all as per manufacturer’s instructions | 190.00 | Sqm |  | 255.00 | 48450.00 | 350.00 | 66500.00 | 350.00 | 66500.00 | 245.00 | 46550.00 | 390.00 | 74100.00 | 270.00 | 51300.00 | 46550.00 | SANDEEP JHANJI CONSTRUCTIONS
44.00 | S&F 0.63mm thick galvanized corrugated mild steel sheeting with two corrugations side lap, fixed with coach screws and washers, in roofs, walls etc with grade of zinc coating 275 complete all as specified and directed | 265.00 | Sqm |  | 516.00 | 136740.00 | 600.00 | 159000.00 | 350.00 | 92750.00 | 345.00 | 91425.00 | 480.00 | 127200.00 | 519.00 | 137535.00 | 91425.00 | SANDEEP JHANJI CONSTRUCTIONS
45.00 | S&F 0.8mm thick galvanized corrugated mild steel sheeting with two corrugations side lap, fixed with coach screws and washers, in roofs, walls etc with grade of zinc coating 275 complete all as specified and directed | 200.00 | Sqm |  | 660.00 | 132000.00 | 650.00 | 130000.00 | 500.00 | 100000.00 | 450.00 | 90000.00 | 510.00 | 102000.00 | 650.00 | 130000.00 | 90000.00 | SANDEEP JHANJI CONSTRUCTIONS
46.00 | S&F Pre painted galvalume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified and directed. | 501.00 | Sqm |  | 660.00 | 330660.00 | 700.00 | 350700.00 | 560.00 | 280560.00 | 488.00 | 244488.00 | 580.00 | 290580.00 | 550.00 | 275550.00 | 244488.00 | SANDEEP JHANJI CONSTRUCTIONS
47.00 | S&F Pre painted galvalume aluminum zinc coating GI based plain steel sheet 0.50mm thick of any having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified and directed. | 50.00 | Sqm |  | 660.00 | 33000.00 | 700.00 | 35000.00 | 560.00 | 28000.00 | 496.00 | 24800.00 | 580.00 | 29000.00 | 550.00 | 27500.00 | 24800.00 | SANDEEP JHANJI CONSTRUCTIONS
48.00 | M&L for plain, galvanised, mild steel sheeting, in ridges, hips, valley gutters, drip and straight flashings (length and girth as fixed) with grade of zinc coating 275 complete all as specified and directed | 35.00 | Sqm |  | 505.00 | 17675.00 | 700.00 | 24500.00 | 450.00 | 15750.00 | 388.00 | 13580.00 | 480.00 | 16800.00 | 700.00 | 24500.00 | 13580.00 | SANDEEP JHANJI CONSTRUCTIONS
49.00 | M&L 6mm thick asbestos cement fibre corrugated/ semi corrugated sheets as in roof coverings fixed with L-type or J-type hooks or cranked bolts complete all as specified and directed. | 450.00 | Sqm |  | 255.00 | 114750.00 | 300.00 | 135000.00 | 250.00 | 112500.00 | 225.00 | 101250.00 | 285.00 | 128250.00 | 250.00 | 112500.00 | 101250.00 | SANDEEP JHANJI CONSTRUCTIONS
50.00 | M&L asbestos cement two piece adjustable ridge for corrugated or semi corrugated sheets 6mm thick fixed with ‘L’ or ‘J’ type hooks complete all as specified and directed. | 40.00 | RM |  | 327.00 | 13080.00 | 350.00 | 14000.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 295.00 | 11800.00 | 250.00 | 10000.00 | 10000.00 | SANDEEP JHANJI CONSTRUCTIONS, SARASWATI CONSTRUCTION CO
51.00 | M&L in repair 12mm thick non asbestos fibre cement plain building boards fixed or laid/ inserted to steel/ GI/ Aluminium frame work with screwes complete all as specified | 275.00 | Sqm |  | 390.00 | 107250.00 | 330.00 | 90750.00 | 550.00 | 151250.00 | 600.00 | 165000.00 | 265.00 | 72875.00 | 470.00 | 129250.00 | 72875.00 | Siya constructions
52.00 | M&L for roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust etc and brushing neat cement slurry with 3 kg of cement per sqm complete all as specified and directed. | 250.00 | Sqm |  | 21.00 | 5250.00 | 110.00 | 27500.00 | 20.00 | 5000.00 | 10.00 | 2500.00 | 15.00 | 3750.00 | 10.00 | 2500.00 | 2500.00 | SANDEEP JHANJI CONSTRUCTIONS, SARASWATI CONSTRUCTION CO
53.00 | M&L 25mm thick PCC (1:2:4) type B-1 using 20mm graded stone aggregate as in sub floors, sub base; concrete surfaces finished fair & even to receive topping floor finish/ layer complete all as specified & directed. | 375.00 | Sqm |  | 84.00 | 31500.00 | 120.00 | 45000.00 | 90.00 | 33750.00 | 75.00 | 28125.00 | 65.00 | 24375.00 | 70.00 | 26250.00 | 24375.00 | Siya constructions
54.00 | M&L glazed ceramic coloured tiles of size 450 x 300 x 6 to 7mm thick as in vertical surfaces i.e. skirting/ dado set and jointed in neat cement slurry and pointed in white or coloured cement to match the existing surface with & including rendering 15mm thick in cement mortar (1:4) complete all as specified and directed. | 12.00 | Sqm |  | 660.00 | 7920.00 | 550.00 | 6600.00 | 700.00 | 8400.00 | 478.00 | 5736.00 | 580.00 | 6960.00 | 650.00 | 7800.00 | 5736.00 | SANDEEP JHANJI CONSTRUCTIONS
55.00 | M&L non skid ceramic coloured tiles of size 300 x 300x 6 to 7mm thick in floor set and jointed in neat cement slurry and pointed in white or coloured cement to match the shade of tiles with & including 15mm thick screed bed or bedding layer in cement mortar (1:6) complete all as specified and directed. | 3.00 | Sqm |  | 606.00 | 1818.00 | 500.00 | 1500.00 | 600.00 | 1800.00 | 450.00 | 1350.00 | 590.00 | 1770.00 | 650.00 | 1950.00 | 1350.00 | SANDEEP JHANJI CONSTRUCTIONS
56.00 | M&L non skid ceramic coloured tiles of size 400 x 400x 7 to 8mm thick in floor set and jointed in neat cement slurry and pointed in white or coloured cement to match the shade of tiles with & including screed bed or bedding layer of mortar 15mm thick in cement mortar (1:6) for laying floor finishes complete all as specified and directed. | 130.00 | Sqm |  | 606.00 | 78780.00 | 550.00 | 71500.00 | 550.00 | 71500.00 | 490.00 | 63700.00 | 605.00 | 78650.00 | 600.00 | 78000.00 | 63700.00 | SANDEEP JHANJI CONSTRUCTIONS
57.00 | M&L non skid ceramic coloured tiles 6 to 7mm thick (Square or rectangular) area of each tile exc. 0.11 Sqm but not exceeding 0.18 Sqm as in floor etc set and jointed in neat cement slurry and pointed in white or coloured cement to match the shade of tiles laid over and including 15mm thick screed bed or bedding layer in cement mortar (1:6) including neat cement slurry with 3 Kg/Sqm complete all as specified and directed. | 140.00 | Sqm |  | 606.00 | 84840.00 | 550.00 | 77000.00 | 550.00 | 77000.00 | 488.00 | 68320.00 | 610.00 | 85400.00 | 600.00 | 84000.00 | 68320.00 | SANDEEP JHANJI CONSTRUCTIONS
58.00 | All as per item No 57.00 but in skirting/ dado laid over and including 15mm thick rendering in cement mortar (1:4) as backing coat. | 15.00 | Sqm |  | 606.00 | 9090.00 | 580.00 | 8700.00 | 600.00 | 9000.00 | 500.00 | 7500.00 | 610.00 | 9150.00 | 600.00 | 9000.00 | 7500.00 | SANDEEP JHANJI CONSTRUCTIONS
59.00 | M&L 40mm thick PCC (1:2:4) type B-1 using 20mm graded stone aggregate as in sub floors, sub base, hard standing and finishing the concrete surface fair and even to receive topping floor finish/ layer complete all as specified & directed. | 470.00 | Sqm |  | 120.00 | 56400.00 | 130.00 | 61100.00 | 130.00 | 61100.00 | 75.00 | 35250.00 | 175.00 | 82250.00 | 150.00 | 70500.00 | 35250.00 | SANDEEP JHANJI CONSTRUCTIONS
60.00 | M&L for 100 mm thick M-20 design mix ready mix cement concrete laid in alternative bays with forming of appropriate joints and spike rolling to surface or making impression expended metal whilst the concrete is green and including necessary form work complete all as specified. | 250.00 | Sqm |  | 390.00 | 97500.00 | 480.00 | 120000.00 | 350.00 | 87500.00 | 365.00 | 91250.00 | 410.00 | 102500.00 | 350.00 | 87500.00 | 87500.00 | SARASWATI CONSTRUCTION CO, M/S Vinod Kumar
61.00 | M&L for forming construction joint 30mm deep x 10mm wide filled with sealing compound Gde 'A' complete all as specified and directed. | 5.00 | X RM |  | 120.00 | 600.00 | 100.00 | 500.00 | 400.00 | 2000.00 | 250.00 | 1250.00 | 120.00 | 600.00 | 150.00 | 750.00 | 500.00 | JAGDISH SINGH AND CO
62.00 | Forming 12mm thick expansion joints filled with preformed bituminous filler and for 30mm primed and sealed with sealing compund grade 'A' (thickness of slab in 150mm) complete all as specified. | 12.00 | X RM |  | 100.00 | 1200.00 | 100.00 | 1200.00 | 1400.00 | 16800.00 | 250.00 | 3000.00 | 130.00 | 1560.00 | 160.00 | 1920.00 | 1200.00 | JAGDISH SINGH AND CO, NATIONAL BUILDERS
63.00 | M&L 50mm thick PCC (1:3:6) type C-1 using 20mm graded stone aggregate as in plinth protection, laid in panels including finishing the concrete surface even & smooth without using extra cement complete all as specified & directed. | 105.00 | Sqm |  | 147.00 | 15435.00 | 120.00 | 12600.00 | 150.00 | 15750.00 | 178.00 | 18690.00 | 95.00 | 9975.00 | 150.00 | 15750.00 | 9975.00 | Siya constructions
64.00 | M&L 75mm thick PCC (1:3:6) type C-1 using 20mm graded stone aggregate as in plinth protection, laid in panels including finishing the concrete surface even & smooth without using extra cement complete all as specified & directed. | 60.00 | Sqm |  | 156.00 | 9360.00 | 130.00 | 7800.00 | 220.00 | 13200.00 | 178.00 | 10680.00 | 115.00 | 6900.00 | 160.00 | 9600.00 | 6900.00 | Siya constructions
65.00 | M&L for sand cushioning with 8cm thick layer of sand before laying of cable and 15cm thick after laying of cable in trenches complete all as specified and directed | 12.00 | Cum |  | 550.00 | 6600.00 | 600.00 | 7200.00 | 600.00 | 7200.00 | 550.00 | 6600.00 | 650.00 | 7800.00 | 500.00 | 6000.00 | 6000.00 | SARASWATI CONSTRUCTION CO
66.00 | Removing cement mortar from and cleaning bricks, stacking for measurement including all extra handling and removal and deposing off rubbish complete all as specified. | 2.70 | Per 1000 Nos |  | 840.00 | 2268.00 | 500.00 | 1350.00 | 2500.00 | 6750.00 | 100.00 | 270.00 | 500.00 | 1350.00 | 100.00 | 270.00 | 270.00 | SANDEEP JHANJI CONSTRUCTIONS, SARASWATI CONSTRUCTION CO
67.00 | Dismantling floor, hearth or wall tiling/ china mosaic including cement mortar bedding (but not backing), removing rubbish off outside MD land complete all as specified and directed. | 445.00 | Sqm |  | 12.00 | 5340.00 | 10.00 | 4450.00 | 5.00 | 2225.00 | 8.00 | 3560.00 | 6.00 | 2670.00 | 10.00 | 4450.00 | 2225.00 | M/S Vinod Kumar
68.00 | Dismantling wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards/ slabs/ blankets, any thickness, including cover fillets complete all as specified and directed. | 275.00 | Sqm |  | 12.00 | 3300.00 | 10.00 | 2750.00 | 10.00 | 2750.00 | 8.00 | 2200.00 | 7.00 | 1925.00 | 10.00 | 2750.00 | 1925.00 | Siya constructions
69.00 | Dismantling wrought iron or mild steel work of any description not otherwise provided for complete all as specified. | 10.00 | Qtl |  | 300.00 | 3000.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 500.00 | M/S Vinod Kumar
70.00 | S&F GI framed work for seamless ceiling comprising of GI perimeter channel 0.55mm thick with two unequal flanges of 20 and 30mm and web of 27mm fixed to surrounding wall using nylon sleeves and screws at 450mm centre to centre/ intermediate channel 0.9mm thick having two equal flanges of 15mm each and web of 45mm suspended from soffit at approx 900mm centre to centre with GI cleat and steel expansion fasteners with including ceiling section (n.exc 1.2m length) of 0.55mm and flange of 26mm each with lips of 10.5mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457mm centre to centre (six of grid 605 x 605mm) complete all as specified. | 275.00 | Sqm |  | 300.00 | 82500.00 | 200.00 | 55000.00 | 300.00 | 82500.00 | 865.00 | 237875.00 | 260.00 | 71500.00 | 770.00 | 211750.00 | 55000.00 | JAGDISH SINGH AND CO
71.00 | S&F hangers 6mm of dia GI (upto 1200mm length) adjusting level fixed to roof slabs by means of ceiling cleats made out of GI flat 40 x 3mm size 60mm long complete all as specified | 275.00 | Sqm |  | 100.00 | 27500.00 | 100.00 | 27500.00 | 125.00 | 34375.00 | 70.00 | 19250.00 | 65.00 | 17875.00 | 35.00 | 9625.00 | 9625.00 | SARASWATI CONSTRUCTION CO
72.00 | Taking down cement plaster from brick/ stone masonry of any description including racking out joints hacking for key, scrubbing down with water etc. and removing rubbish complete all as specified and directed. | 1978.00 | Sqm |  | 12.00 | 23736.00 | 5.00 | 9890.00 | 5.00 | 9890.00 | 8.00 | 15824.00 | 7.00 | 13846.00 | 10.00 | 19780.00 | 9890.00 | JAGDISH SINGH AND CO, M/S Vinod Kumar
73.00 | Taking down existing treatment over RCC roof/ sunken slab including PCC pedding etc complete all as specified and directed | 190.00 | Sqm |  | 19.00 | 3610.00 | 10.00 | 1900.00 | 20.00 | 3800.00 | 8.00 | 1520.00 | 8.00 | 1520.00 | 20.00 | 3800.00 | 1520.00 | SANDEEP JHANJI CONSTRUCTIONS, Siya constructions
74.00 | M&L 15mm thick rendering in cement mortar (1:6) on fair faces of brick or concrete surfaces finished even and smooth without using extra cement complete all as specified and directed. | 1663.00 | Sqm |  | 100.00 | 166300.00 | 100.00 | 166300.00 | 110.00 | 182930.00 | 81.00 | 134703.00 | 95.00 | 157985.00 | 109.00 | 181267.00 | 134703.00 | SANDEEP JHANJI CONSTRUCTIONS
75.00 | M&L 15mm thick in cement mortar (1:4) on brick or concrete and using water proofing liquid (50 Kg/ 200 MI) surface finished even and smooth without using extra cement complete all as specified and directed. | 1175.00 | Sqm |  | 120.00 | 141000.00 | 105.00 | 123375.00 | 120.00 | 141000.00 | 81.00 | 95175.00 | 140.00 | 164500.00 | 118.00 | 138650.00 | 95175.00 | SANDEEP JHANJI CONSTRUCTIONS
76.00 | M&L preparation of new plastered surfaces of wall and applying two coats of oil bound distemper over a coat of primer complete all as specified and directed. | 400.00 | Sqm |  | 39.00 | 15600.00 | 20.00 | 8000.00 | 20.00 | 8000.00 | 25.00 | 10000.00 | 20.00 | 8000.00 | 30.00 | 12000.00 | 8000.00 | JAGDISH SINGH AND CO, M/S Vinod Kumar, Siya constructions
77.00 | M&L preparation of new plastered surface of wall and applying three coats of white washing complete all as specified and directed. | 798.00 | Sqm |  | 12.00 | 9576.00 | 10.00 | 7980.00 | 6.00 | 4788.00 | 7.00 | 5586.00 | 12.00 | 9576.00 | 7.00 | 5586.00 | 4788.00 | M/S Vinod Kumar
78.00 | M&L for complete removal of existing treatments by scrapping old treatment, washing, rubbing down and stopping of distempered and painted surfaces on wall surfaces and applying three coats of white wash complete all as specified. | 50.00 | Sqm |  | 12.00 | 600.00 | 15.00 | 750.00 | 6.00 | 300.00 | 7.00 | 350.00 | 12.00 | 600.00 | 7.00 | 350.00 | 300.00 | M/S Vinod Kumar
79.00 | M&L preparation of newly plastered or un-plastered surface of walls including cornices, plasters etc. and applying two coats of cement base paint complete all as specified and directed. | 825.00 | Sqm |  | 25.50 | 21037.50 | 15.00 | 12375.00 | 18.00 | 14850.00 | 28.00 | 23100.00 | 21.00 | 17325.00 | 18.00 | 14850.00 | 12375.00 | JAGDISH SINGH AND CO
80.00 | M&L complete removal of existing treatment by washing, rubbing down and stopping etc on wall surfaces and applying two coats of cement base paint complete all as specified. | 50.00 | Sqm |  | 28.00 | 1400.00 | 15.00 | 750.00 | 20.00 | 1000.00 | 32.00 | 1600.00 | 21.00 | 1050.00 | 18.00 | 900.00 | 750.00 | JAGDISH SINGH AND CO
81.00 | M&L 4mm thick sheet glass ordinary quality and glazing with oil putty in squares n. exc. 0.50 Sqm in each pane complete all as specified and directed. | 16.00 | Sqm |  | 480.00 | 7680.00 | 450.00 | 7200.00 | 450.00 | 7200.00 | 345.00 | 5520.00 | 420.00 | 6720.00 | 400.00 | 6400.00 | 5520.00 | SANDEEP JHANJI CONSTRUCTIONS
82.00 | M&L preparation of new wood and wood based surfaces of any description over 10 cm width or girth and applying two coats of synthetic enamel paint over a coat of pink primer complete all as specified and directed. | 51.66 | Sqm |  | 39.00 | 2014.74 | 15.00 | 774.90 | 30.00 | 1549.80 | 35.00 | 1808.10 | 40.00 | 2066.40 | 44.00 | 2273.04 | 774.90 | JAGDISH SINGH AND CO
83.00 | M&L for preparation of old painted steel surfaces of any description not otherwise described over 10cm width or girth and applying two coats of synthetic enamel paint complete all as specified & directed. | 496.00 | Sqm |  | 30.00 | 14880.00 | 15.00 | 7440.00 | 25.00 | 12400.00 | 28.00 | 13888.00 | 30.00 | 14880.00 | 25.00 | 12400.00 | 7440.00 | JAGDISH SINGH AND CO
84.00 | All as per srl item No. 83.00 here-in-before but one coat | 196.00 | Sqm |  | 19.00 | 3724.00 | 10.00 | 1960.00 | 15.00 | 2940.00 | 23.00 | 4508.00 | 18.00 | 3528.00 | 20.00 | 3920.00 | 1960.00 | JAGDISH SINGH AND CO
85.00 | M&L preparation of new or previously untreated steel surfaces of any description over 10 cm width or girth and applying two coats of synthetic enamel paint over a coat of red oxide primer complete all as specified and directed. | 785.00 | Sqm |  | 39.00 | 30615.00 | 10.00 | 7850.00 | 25.00 | 19625.00 | 23.00 | 18055.00 | 40.00 | 31400.00 | 44.00 | 34540.00 | 7850.00 | JAGDISH SINGH AND CO
86.00 | M&L preparation of new or previously untreated steel surfaces of any description, n. exc. 10cm in width or girth and applying two coats of synthetic enamel paint over a coat of red oxide primer all as specified and directed. | 20.00 | X RM |  | 39.00 | 780.00 | 5.00 | 100.00 | 25.00 | 500.00 | 32.00 | 640.00 | 40.00 | 800.00 | 35.00 | 700.00 | 100.00 | JAGDISH SINGH AND CO
87.00 | Taking up or down 15mm bore old steel tubing and connections complete all as specified and directed. | 15.00 | RM |  | 12.00 | 180.00 | 10.00 | 150.00 | 20.00 | 300.00 | 12.00 | 180.00 | 6.00 | 90.00 | 10.00 | 150.00 | 90.00 | Siya constructions
88.00 | Taking up or down 20mm bore old steel tubing and connections complete all as specified and directed. | 15.00 | RM |  | 12.00 | 180.00 | 10.00 | 150.00 | 20.00 | 300.00 | 12.00 | 180.00 | 7.00 | 105.00 | 10.00 | 150.00 | 105.00 | Siya constructions
89.00 | M&L galvanised steel tubes 15mm bore, medium grade with & including all fittings fixed to wall, ceilings and or laid in floors etc. including taking up/ down existing tubing complete all as specified and directed. | 15.00 | RM |  | 147.00 | 2205.00 | 170.00 | 2550.00 | 130.00 | 1950.00 | 135.00 | 2025.00 | 135.00 | 2025.00 | 145.00 | 2175.00 | 1950.00 | M/S Vinod Kumar
90.00 | M&L galvanised steel tubes 20mm bore, medium grade with & including all fittings fixed to wall, ceilings and or laid in floors etc. including taking up/ down existing tubing complete all as specified and directed. | 10.00 | RM |  | 190.00 | 1900.00 | 190.00 | 1900.00 | 200.00 | 2000.00 | 135.00 | 1350.00 | 165.00 | 1650.00 | 165.00 | 1650.00 | 1350.00 | SANDEEP JHANJI CONSTRUCTIONS
91.00 | M&L refixing of old tubing 15mm bore with necessary connection including provision of new fittings, in new or old position in wall, ceiling and floor complete all as specified and directed. | 5.00 | RM |  | 30.00 | 150.00 | 100.00 | 500.00 | 80.00 | 400.00 | 45.00 | 225.00 | 35.00 | 175.00 | 45.00 | 225.00 | 150.00 | NATIONAL BUILDERS
92.00 | S&F in repair bib tap cast copper alloy chromium plated suitable for 15mm bore iron pipe with long body fancy type complete all as specified and directed. | 2.00 | Each |  | 390.00 | 780.00 | 300.00 | 600.00 | 400.00 | 800.00 | 189.00 | 378.00 | 420.00 | 840.00 | 350.00 | 700.00 | 378.00 | SANDEEP JHANJI CONSTRUCTIONS
93.00 | S&F stop valves 15 mm nominal bore, cast copper fancy type, chromium plated with long shank and cup (concealed type), screwed down, high pressure with crutch or butterfly handles, screwed both ends for iron pipe or for brass ferrule or to GI socket, fixed in repairs complete all as specified and directed. | 1.00 | Each |  | 480.00 | 480.00 | 350.00 | 350.00 | 450.00 | 450.00 | 200.00 | 200.00 | 495.00 | 495.00 | 400.00 | 400.00 | 200.00 | SANDEEP JHANJI CONSTRUCTIONS
94.00 | S&F 15mm angle/ stop valves, fancy type chromium plated, long sunk, screwed down, high pressure with crutch or butterfly handle screwed at two right angles ends for both iron pipe, fixed in repair complete all as specified and directed. | 2.00 | Each |  | 390.00 | 780.00 | 300.00 | 600.00 | 400.00 | 800.00 | 234.00 | 468.00 | 450.00 | 900.00 | 400.00 | 800.00 | 468.00 | SANDEEP JHANJI CONSTRUCTIONS
95.00 | S&F in repair pillar tap, cast copper alloy chromium plated, with capstan heads, 15mm bore dia of pipe screwed down high pressure with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly nuts screwed for iron pipe complete all as specified and directed. | 1.00 | Each |  | 390.00 | 390.00 | 400.00 | 400.00 | 600.00 | 600.00 | 245.00 | 245.00 | 550.00 | 550.00 | 400.00 | 400.00 | 245.00 | SANDEEP JHANJI CONSTRUCTIONS
96.00 | S&F health faucet with 8mm dia, 1.2 mtr long flexible tube & wall hook complete all as specified | 1.00 | Each |  | 570.00 | 570.00 | 600.00 | 600.00 | 600.00 | 600.00 | 680.00 | 680.00 | 950.00 | 950.00 | 500.00 | 500.00 | 500.00 | SARASWATI CONSTRUCTION CO
97.00 | S&F vitreous china wash hand basin, white, flat back 550 x 400mm including one number brass CP waste coupling, 32mm dia, PVC waste pipe with connector, set of brackets including cutting for and pinning in ends of brackets complete all as specified and directed. | 1.00 | Each |  | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1550.20 | 1550.20 | 550.00 | 550.00 | 1050.00 | 1050.00 | 1000.00 | 1000.00 | 550.00 | SANDEEP JHANJI CONSTRUCTIONS
98.00 | S&F PVC white low level flushing cistern 10 ltr capacity with all fittings syphonic action with top push type button with inlet ball valve and float including flush pipe, ball valve, handle, bracket PVC short bend etc. complete all as specified and directed. | 1.00 | Each |  | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 565.00 | 565.00 | 850.00 | 850.00 | 650.00 | 650.00 | 565.00 | SANDEEP JHANJI CONSTRUCTIONS
99.00 | S&F in repair vitreous china wash down water closet pan (pedestal pattern) white including CI 'P' or 'S' trap, fixed bolt, plastic water closet sheet cover white/ black, closed pattern with flat bottom, with mild steel chromium plated or aluminised hinging device complete all as specified and directed. | 1.00 | Each |  | 1900.00 | 1900.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 680.00 | 680.00 | 2100.00 | 2100.00 | 1350.00 | 1350.00 | 680.00 | SANDEEP JHANJI CONSTRUCTIONS
100.00 | Demolition of cement concrete in ground floor and paving/ sunken portion (below or above ground level) complete all as specified and directed. | 9.18 | Cum |  | 100.00 | 918.00 | 100.00 | 918.00 | 200.00 | 1836.00 | 80.00 | 734.40 | 95.00 | 872.10 | 150.00 | 1377.00 | 734.40 | SANDEEP JHANJI CONSTRUCTIONS
101.00 | Demolition of un-reinforced cement concrete of any description and in any position not otherwise specifically provided for complete all as specified and directed. | 34.95 | Cum |  | 100.00 | 3495.00 | 60.00 | 2097.00 | 100.00 | 3495.00 | 80.00 | 2796.00 | 95.00 | 3320.25 | 150.00 | 5242.50 | 2097.00 | JAGDISH SINGH AND CO
102.00 | Demolition of reinforced cement concrete in roofs, floors (other than ground floors), beams, stair cases, landing, chajjas and similar suspended work complete all as specified and directed. | 4.20 | Cum |  | 300.00 | 1260.00 | 150.00 | 630.00 | 200.00 | 840.00 | 80.00 | 336.00 | 95.00 | 399.00 | 150.00 | 630.00 | 336.00 | SANDEEP JHANJI CONSTRUCTIONS
103.00 | Demolition of cement concrete in ground floor and paving n. exc. 15cm thick (below or above ground level) complete all as specified and directed. | 4.50 | Cum |  | 100.00 | 450.00 | 150.00 | 675.00 | 100.00 | 450.00 | 80.00 | 360.00 | 110.00 | 495.00 | 150.00 | 675.00 | 360.00 | SANDEEP JHANJI CONSTRUCTIONS
104.00 | Dismantling plain or corrugated steel sheeting any gauge, thickness, Nainital or similar pattern roof coverings complete all as specified | 465.00 | Sqm |  | 10.00 | 4650.00 | 10.00 | 4650.00 | 4.00 | 1860.00 | 10.00 | 4650.00 | 5.00 | 2325.00 | 15.00 | 6975.00 | 1860.00 | M/S Vinod Kumar
105.00 | Dismantling asbestos cement (corrugated, semi corrugated etc) sheets in roof coverings complete all as specified and directed. | 1001.00 | Sqm |  | 10.00 | 10010.00 | 5.00 | 5005.00 | 4.00 | 4004.00 | 10.00 | 10010.00 | 4.00 | 4004.00 | 15.00 | 15015.00 | 4004.00 | M/S Vinod Kumar, Siya constructions
106.00 | Dismantling structural steel work including door, gates but excluding framed truss etc complete all as specified. | 11.00 | Qtl |  | 300.00 | 3300.00 | 100.00 | 1100.00 | 50.00 | 550.00 | 500.00 | 5500.00 | 150.00 | 1650.00 | 200.00 | 2200.00 | 550.00 | M/S Vinod Kumar
107.00 | Demolition of brick work or stone/ boulder masonry built in cement mortar including all quoins, arches, pillars etc. but excluding ashlars facing, dressed stone work & precast concrete articles complete all as specified and directed. | 18.60 | Cum |  | 100.00 | 1860.00 | 80.00 | 1488.00 | 25.00 | 465.00 | 100.00 | 1860.00 | 110.00 | 2046.00 | 70.00 | 1302.00 | 465.00 | M/S Vinod Kumar
108.00 | M&L 6mm thick non asbestos fibre cement building board fixed or laid/ inserted to timber/GI/Aluminium framework with screws complete all as specified and directed. | 275.00 | Sqm |  | 255.00 | 70125.00 | 350.00 | 96250.00 | 4.00 | 1100.00 | 218.00 | 59950.00 | 225.00 | 61875.00 | 240.00 | 66000.00 | 1100.00 | M/S Vinod Kumar
109.00 | Taking down carefully existing point wiring of any type (i.e. on wooden batten, surface conduit, casing capping or concealed conduit) complete for light, fan socket or power point with fittings & fixtures such as ceiling rose, electric fittings, holders, switches, sockets wooden batten, conduit etc including accessories such as wooden gutties/ rawl plug, screw etc including removing materials from site and making good disturbed surface of walls, floors etc. complete all as specified and directed. | 222.00 | Per Point |  | 10.00 | 2220.00 | 10.00 | 2220.00 | 10.00 | 2220.00 | 8.00 | 1776.00 | 7.00 | 1554.00 | 10.00 | 2220.00 | 1554.00 | Siya constructions
110.00 | M&L point wiring with 1.5 sqmm (nominal area), 1100 volt grade PVC insulated FRLS type multi stranded copper conductor cable drawn in and including concealed rigid PVC conduit fire proof ISI marked medium grade with accessories including cutting chases for laying of conduit/ fixing of boxes in walls/ floors etc including making good to disturbed surfaces as per adjoining specification and terminated in concealed terminal boxes including MS concealed terminal boxes with plastic laminated bakelite sheet top cover 3mm thick make hylum or equivalent fixed with nickel polished screws with washers and earth continuity PVC insulated FRLS type cable with stranded copper conductor of size 1.5 sqmm (nominal area) green colour as earth wire connected with earth dolly for one light point controlled one switch complete all as specified and as directed. | 114.00 | Per Point |  | 318.00 | 36252.00 | 350.00 | 39900.00 | 320.00 | 36480.00 | 268.00 | 30552.00 | 275.00 | 31350.00 | 300.00 | 34200.00 | 30552.00 | SANDEEP JHANJI CONSTRUCTIONS
111.00 | All as per item No. 111.00 but for one fan point controlled by one switch and regulator independent switch board | 46.00 | Per Point |  | 318.00 | 14628.00 | 350.00 | 16100.00 | 320.00 | 14720.00 | 268.00 | 12328.00 | 275.00 | 12650.00 | 300.00 | 13800.00 | 12328.00 | SANDEEP JHANJI CONSTRUCTIONS
112.00 | All as per item No. 111.00 but for one outlet socket 3 pin 5 Amps on independent board. | 26.00 | Per Point |  | 318.00 | 8268.00 | 350.00 | 9100.00 | 320.00 | 8320.00 | 268.00 | 6968.00 | 275.00 | 7150.00 | 300.00 | 7800.00 | 6968.00 | SANDEEP JHANJI CONSTRUCTIONS
113.00 | All as per item No. 111.00 but for one outlet socket 3 pin 5 Amps on same board controled with other switch. | 18.00 | Per Point |  | 100.00 | 1800.00 | 300.00 | 5400.00 | 120.00 | 2160.00 | 135.00 | 2430.00 | 110.00 | 1980.00 | 150.00 | 2700.00 | 1800.00 | NATIONAL BUILDERS
114.00 | All as per item No. 111.00 but 3 pin 15 Amp socket outlet with 2.5 sqmm PVC insulated FRLS copper cable and 1.5 sqmm PVC insulated FRLS copper cable for continuous earth continuity conductor all as specified and directed. | 18.00 | Per Point |  | 570.00 | 10260.00 | 450.00 | 8100.00 | 500.00 | 9000.00 | 600.00 | 10800.00 | 350.00 | 6300.00 | 500.00 | 9000.00 | 6300.00 | Siya constructions
115.00 | S&F switch piano flush type, 5 Amps, 240 volt AC single pole, one way complete all as specified. | 204.00 | Each |  | 30.00 | 6120.00 | 60.00 | 12240.00 | 25.00 | 5100.00 | 30.00 | 6120.00 | 20.00 | 4080.00 | 20.00 | 4080.00 | 4080.00 | SARASWATI CONSTRUCTION CO, Siya constructions
116.00 | S&F switch piano flush type, 15 Amps, 240 volt AC single pole, one way complete all as specified. | 18.00 | Each |  | 84.00 | 1512.00 | 80.00 | 1440.00 | 75.00 | 1350.00 | 55.00 | 990.00 | 65.00 | 1170.00 | 55.00 | 990.00 | 990.00 | SANDEEP JHANJI CONSTRUCTIONS, SARASWATI CONSTRUCTION CO
117.00 | S&F socket outlet 5 Amp, 5 pin flush type complete all as specified. | 44.00 | Each |  | 39.00 | 1716.00 | 60.00 | 2640.00 | 40.00 | 1760.00 | 48.00 | 2112.00 | 20.00 | 880.00 | 35.00 | 1540.00 | 880.00 | Siya constructions
118.00 | S&F socket outlet multipurpose 3 in 1, 6 pin, 15 Amps, flush type complete all as specified. | 18.00 | Each |  | 84.00 | 1512.00 | 80.00 | 1440.00 | 80.00 | 1440.00 | 55.00 | 990.00 | 40.00 | 720.00 | 55.00 | 990.00 | 720.00 | Siya constructions
119.00 | M&L sub main wiring two single core of size 4 sqmm PVC insulated with stranded copper conductor wire FRLS type ISI marked through PVC rigid concealed conduit 25mm dia and conduit accessories and one single core of size 2.5 sqmm PVC insulated with stranded copper conductor wire FRLS type ISI marked for continuous earth continuity conductor all as specified and directed. Note: Two run of 4 sqmm wire and one run of 2.5 sqmm wire and one run of 25 mm dia PVC rigid conduit shall be measured as one RM. | 186.00 | RM |  | 100.00 | 18600.00 | 140.00 | 26040.00 | 150.00 | 27900.00 | 135.00 | 25110.00 | 120.00 | 22320.00 | 100.00 | 18600.00 | 18600.00 | SARASWATI CONSTRUCTION CO, NATIONAL BUILDERS
120.00 | M&L for old size sub class 'B' bricks laid flat in trenches over the cable with the length of brick perpendicular to the direction of cable length, abutting each other complete all as specified and directed. | 4.20 | Per 1000 Nos |  | 3000.00 | 12600.00 | 4500.00 | 18900.00 | 4500.00 | 18900.00 | 3600.00 | 15120.00 | 3200.00 | 13440.00 | 4000.00 | 16800.00 | 12600.00 | NATIONAL BUILDERS
121.00 | S&F batton holder ISI marked insulated body complete all as specified and directed. | 28.00 | Each |  | 39.00 | 1092.00 | 40.00 | 1120.00 | 28.00 | 784.00 | 35.00 | 980.00 | 20.00 | 560.00 | 30.00 | 840.00 | 560.00 | Siya constructions
122.00 | S&F ceiling rose surface type bakelite 65 x 50mm three terminal complete all as specified and directed. | 140.00 | Each |  | 39.00 | 5460.00 | 35.00 | 4900.00 | 25.00 | 3500.00 | 22.00 | 3080.00 | 19.00 | 2660.00 | 30.00 | 4200.00 | 2660.00 | Siya constructions
123.00 | S&F single pole & neutral shet metal enclosure with 2 pin plug top and earth plug socket complete with MCB SPN, 20A, 240 volts all as specified and directed | 2.00 | Each |  | 840.00 | 1680.00 | 400.00 | 800.00 | 600.00 | 1200.00 | 608.00 | 1216.00 | 1100.00 | 2200.00 | 1000.00 | 2000.00 | 800.00 | JAGDISH SINGH AND CO
124.00 | S&F sheet metal enclosures for DBs with 200 Amp rated copper tin coated bus bar, double door epoxy coated paint inside and outside 08 way SPN complete with neutral and earth bar for all outgoing circuits company prewired with suitable size of copper conductor wires, thimbles, lugs etc complete all as specified and directed | 5.00 | Each |  | 1200.00 | 6000.00 | 1200.00 | 6000.00 | 1200.00 | 6000.00 | 980.00 | 4900.00 | 1300.00 | 6500.00 | 1200.00 | 6000.00 | 4900.00 | SANDEEP JHANJI CONSTRUCTIONS
125.00 | S&F sheet metal enclosures for DBs with 200 Amp rated copper tin coated bus bar, double door epoxy coated paint inside and outside 12 way SPN complete with neutral and earth bar for all outgoing circuits company prewired with suitable size of copper conductor wires, thimbles, lugs etc complete all as specified and directed | 1.00 | Each |  | 1560.00 | 1560.00 | 1800.00 | 1800.00 | 2589.00 | 2589.00 | 1350.00 | 1350.00 | 1600.00 | 1600.00 | 1500.00 | 1500.00 | 1350.00 | SANDEEP JHANJI CONSTRUCTIONS
126.00 | M&L DB's 4 way TPN double door with bus bar of 200 Amps including incomer MCCB 63 Amp 4 pole breaking capacity 16 KA, 4 pole MCCB and MCBs is pre fitted and company prewired with copper thimbles, legs etc complete with PVC insulated FRLS copper conductor wire of suitable size, with neutral bar and earth bar complete all as specified and directed. | 2.00 | Each |  | 10000.00 | 20000.00 | 8500.00 | 17000.00 | 12000.00 | 24000.00 | 8450.00 | 16900.00 | 13500.00 | 27000.00 | 8500.00 | 17000.00 | 16900.00 | SANDEEP JHANJI CONSTRUCTIONS
127.00 | S&F MCB B-Curve SP 6-32 Amp, 10 KA, 415 volts complete all as specified. | 40.00 | Each |  | 156.00 | 6240.00 | 220.00 | 8800.00 | 110.00 | 4400.00 | 100.00 | 4000.00 | 165.00 | 6600.00 | 100.00 | 4000.00 | 4000.00 | SANDEEP JHANJI CONSTRUCTIONS, SARASWATI CONSTRUCTION CO
128.00 | S&F MCB C-Curve SPN 6-32 Amp, 10 KA, 415 volts complete all as specified. | 6.00 | Each |  | 156.00 | 936.00 | 300.00 | 1800.00 | 500.00 | 3000.00 | 100.00 | 600.00 | 540.00 | 3240.00 | 300.00 | 1800.00 | 600.00 | SANDEEP JHANJI CONSTRUCTIONS
129.00 | S&F in repair energy saving tube light luminaries with diffuser LED with comprising with CRCA MS box and 4 feet 18 to 20 watt (min) retro fit tube rod having thermally conductive material Lumen output 2100 lumens (min) 6500 K, power factor more than 0.95,IP-20 class-I protection with inbuilt LED driver, surge protection up to 2 KV, operative on 140 volts to 270 volts AC supply products must be made in India only, complete prewired, connection and testing complete all as specified and directed. Note : (i) Contractor shall be provided 2 years written manufacturer’s warranty for the LED fixture complete including driver from the certified date of completion. Make:- Crompton Greaves Cat Part No. LTT8-20 and DMLNILT8-16, haavells Cat Part No. LHLDCLXNUJ7Z020 and LHFYBYG2IN1W022 or equivalent from Group-1 in Appendix 'B' to particular specifications. | 40.00 | Each |  | 750.00 | 30000.00 | 900.00 | 36000.00 | 700.00 | 28000.00 | 550.00 | 22000.00 | 1150.00 | 46000.00 | 600.00 | 24000.00 | 22000.00 | SANDEEP JHANJI CONSTRUCTIONS
130.00 | M&L for energy saving & environmental friendly long life versalite pressure die-cast aluminium luminaire with heat resistant glass and suitabel optics for uniform distribution of light 25 watt LED for bldg security lights with hig efficiency electronic driver, having IP 65 protection (min), surge protection min 2 KV, power factor more than 0.9 complete operative on AC supply 140 volts to 270 volts pre-wired and prodjuct should be made in India only including bracket made out of GI pipe 32 mm dia bent to shape and clamp 40x6 mm with nuts and bolts. Note: Contractor shall be provided 2 years written warranty for LED fixtures including driver from manufacture's local office. | 9.00 | Each |  | 3900.00 | 35100.00 | 2000.00 | 18000.00 | 3800.00 | 34200.00 | 1280.00 | 11520.00 | 2450.00 | 22050.00 | 2500.00 | 22500.00 | 11520.00 | SANDEEP JHANJI CONSTRUCTIONS
131.00 | S&F LED lamp 18 W (TU) 6500K, 220-240V, B-22 base capacity complete all as specified and directed | 4.00 | Each |  | 930.00 | 3720.00 | 900.00 | 3600.00 | 600.00 | 2400.00 | 350.00 | 1400.00 | 250.00 | 1000.00 | 400.00 | 1600.00 | 1000.00 | Siya constructions
132.00 | S&F LED lamp 15 W (TU) 6500K, 220-240V, B-22 base capacity complete all as specified and directed | 20.00 | Each |  | 840.00 | 16800.00 | 800.00 | 16000.00 | 420.00 | 8400.00 | 380.00 | 7600.00 | 230.00 | 4600.00 | 350.00 | 7000.00 | 4600.00 | Siya constructions
133.00 | S&F energy saving recess mounting deep drawn LED luminaire, 34/36 watt, 6000 K suitable for false ceiling of size 60 cm x 60 cm, having power factor more than 0.90 IP-20 class-I protection with high efficiency LED electronic driver, surge protection 2 KV (Minimum), operative on 140 volts 270 volts AC supply, products must be made in India only. Complete prewired, connecting and testing complete all as specified and directed. Notes: (i) Contractor shall be provided 2 years written manufacture's guarantee for the LED fixture complete including driver from the certified date of completion. (ii) Contractor shall be produce LM-79 & LM-80 report of NABL accredited laboratory from manufacturer's. | 37.00 | Each |  | 3700.00 | 136900.00 | 3000.00 | 111000.00 | 2700.00 | 99900.00 | 2670.00 | 98790.00 | 3400.00 | 125800.00 | 3000.00 | 111000.00 | 98790.00 | SANDEEP JHANJI CONSTRUCTIONS
134.00 | S&F connecting and testing air circulator wall fans, AC single phase, 230 volts, 50 C/s, 450mm sweep, osciliating with speed regulator including fixing material required to be fixed on wall complete with all accessories as specified and directed | 30.00 | Each |  | 5050.00 | 151500.00 | 2000.00 | 60000.00 | 4500.00 | 135000.00 | 2250.00 | 67500.00 | 2500.00 | 75000.00 | 3500.00 | 105000.00 | 60000.00 | JAGDISH SINGH AND CO
135.00 | S&F five step fan regulator, electronic type, single phase, 300 watt including connection complete after dismantling/ removing unserviceable regulator all as specified and directed. | 6.00 | Each |  | 210.00 | 1260.00 | 400.00 | 2400.00 | 160.00 | 960.00 | 165.00 | 990.00 | 180.00 | 1080.00 | 200.00 | 1200.00 | 960.00 | M/S Vinod Kumar
136.00 | S&F GI pipe 50mm bore light grade for protection of cable including provision of PVC heavy duty bends complete for fixing along GI pipe along wall/ pole/laid under the road/ floor complete all as specified and directed. | 15.00 | RM |  | 390.00 | 5850.00 | 300.00 | 4500.00 | 450.00 | 6750.00 | 230.00 | 3450.00 | 400.00 | 6000.00 | 400.00 | 6000.00 | 3450.00 | SANDEEP JHANJI CONSTRUCTIONS
137.00 | S&F exhaust fan, 450mm sweep, 900 RPM, single phase, 230 Volt, heavy duty with louvered shutter including provision of three core copper conductor cable of required length of size 23/ 0.0076 from ceiling rose/ connector to fan terminal, fixing the fan on wall with suitable size of nuts, bolts & washers, making the hole in wall including necessary civil/ plastering work to match the disturbed surface complete. | 12.00 | Each |  | 5070.00 | 60840.00 | 2500.00 | 30000.00 | 5400.00 | 64800.00 | 3200.00 | 38400.00 | 4800.00 | 57600.00 | 4000.00 | 48000.00 | 30000.00 | JAGDISH SINGH AND CO
138.00 | Supplying, Laying, jointing and testing LT underground XLPE insulated armoured heavy duty electric cable PVC sheathed with stranded aluminium conductor, 1100 volts grade of size 16 Sqmm 2 core, laid in trenches, in floor, in duct, through pipes or along the pole complete all as specified and directed. | 85.00 | RM |  | 190.00 | 16150.00 | 150.00 | 12750.00 | 125.00 | 10625.00 | 90.00 | 7650.00 | 120.00 | 10200.00 | 150.00 | 12750.00 | 7650.00 | SANDEEP JHANJI CONSTRUCTIONS
139.00 | Supply, laying, jointing & testing 1100 volts grade XLPE insulated screened PVC bedded, galvanized steel strip or wire armored, electric power cables (heavy duty) with stranded aluminium conductor of size 16 Sqmm 4 core complete all as specified and directed. | 110.00 | RM |  | 255.00 | 28050.00 | 250.00 | 27500.00 | 180.00 | 19800.00 | 118.00 | 12980.00 | 165.00 | 18150.00 | 250.00 | 27500.00 | 12980.00 | SANDEEP JHANJI CONSTRUCTIONS
140.00 | M&L for earthing complete with galvanized steel earth plate electrode 60cm x 60cm x 6mm thick burried directly in ground (earth pit not less than 2.25 mtr deep below ground level) with top edge of theplate not less 1.5 mtr deep below normal ground level connected to GI earth wire 4 mm dia connected to earth plate by means of nut, bolts, check nut & washer of galvanized iron or of steel, GI earth wire will be protected by 15mm dia GI pipe 'light grade', watering pipe 20mm dia GI 'light grade', GI wire meshed funnel, alternate layer of char coal and salt on all side to earth plate upto thickness of 150mm, filling of black cotton soil in earth pit upto ground level, PCC chamber recessed for and including RCC cover including all necessary excavation & earth work, earth wire connected to O/H continuous earth wire on pole, testing the earthing after completion complete all as specified and directed. | 1.00 | Each Job |  | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 3000.00 | 3000.00 | 2950.00 | 2950.00 | 3000.00 | 3000.00 | 2950.00 | Siya constructions
141.00 | M&L for earthing complete with & including galvanized MS earth plate of size 600 x 600 x 6mm thick, buried vertically in ground to a depth not less than 2.25 metre below ground level, with lop edge of earth plate not less than 1.5 below ground level connected to galvanized earth wire soldered and riveted or connected to earth plate by means of nuts, bolts, check nuts & washers, of galvanized iron or steel all as shown in electrical plate No. 3 of MES SSR Part-I (2009) and connected to panel board, all as specified and testing on completion including provision of earth wire 4mm dia duly protected with and including 15mm dia bore medium grade GI pipe upto 7.5m from electrode to earth point including provision of the earth plate surrounded with adequate quantity of charcoal dust mixed with salt to a packed thickness of not less than 15 cm in alternate layers of charcoal and salt on all sides of earth plate and GI light grade watering pipe of 20mm dia bore with funnel with wire mesh including all necessary excavation & earth work in any type of soil, returning filling in, removal of surplus soil to a distance 50 metre, PCC (1:3:6) type C-1 as in earth chamber, 50mm thick RCC cover using cement concrete (1:2:4) type B-1 reinforced with & including 8mm dia mild steel TMT bar @ 100mm c/c both ways with suitable handle for lifting & including form work and MS frame using MS angle of size 45mm x 40mm x 50mm complete all as specified & directed. Note: On testing, after completion of job, if desired earth resistance is not obtained, the earthing shall be redone by the contractor without any extra cost to the department. | 4.00 | Each Job |  | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 3200.00 | 12800.00 | 2950.00 | 11800.00 | 3500.00 | 14000.00 | 10000.00 | JAGDISH SINGH AND CO
| Total in Figures |  |  |  |  | 3703021.14 |  | 3634575.30 |  | 3537786.00 |  | 3266270.15 |  | 3594104.65 |  | 3686688.54
Lowest Amount Quoted BY: SANDEEP JHANJI CONSTRUCTIONS(3266270.15)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIR TO BLDG NO. P-4 (R/ OIL SHED) OF 250 COY ASC (SUP) TYPE G AND CERTAIN OTHER SANCTIONED WORKS UNDER AGE B/R-II OF GE (EAST) JALANDHAR CANTT Tender ID: 2018_MES_223937_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SANDEEP JHANJI CONSTRUCTIONS | 3266270.15 | L1
| 2 | M/S Vinod Kumar | 3537786.00 | L2
| 3 | Siya constructions | 3594104.65 | L3
| 4 | JAGDISH SINGH AND CO | 3634575.30 | L4
| 5 | SARASWATI CONSTRUCTION CO | 3686688.54 | L5
| 6 | NATIONAL BUILDERS | 3703021.14 | L6