## BoQ1
eProcurement System for Organisations under MoD Created By: NEELAM KUMAR Created Date/Time: 27-Dec-2018 11:37 AM Tender Title: REPAIR REPLACEMENT OF SECURITY LIGHT UG CABLE AND OTHER EM WORKS SUPPLY AT HQ VF UNDER GE 861 EWS Tender ID: 2018_MES_225034_1
Tender Inviting Authority: GE 861EWS
Name of Work: REPAIR / REPLACEMENT OF SECURITY LIGHT, UG CABLE AND OTHER E/M WORKS SUPPLY AT HQ VF UNDER GE 861 EWS.
Contract No: CA NO . GE 861EWS-69/2018-2019
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s KASHMIR BUILDERS |  | M/S A.N CONSTRUCTIONs |  | M/S STARE BUILDERS |  | M/S Manzoor and Co |  | M/S HAMID AND CO |  | M/S Ghulam Hussain Lone |  | M/S Khan Hussain & Co. |  | M/S Hilal Builders |  | M/S BILAL AHMAD BHAT |  | M/S LATIF AHMAD BABA CONSTRUCTION
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavating in trenches not exceeding 1.5 meter wide and not exceeding 1.5 meter in depth for foundation for erection of poles, stays, laying cables, stays etc and getting out in any type of soil all as specified and directed. | 54.00 | Cum | 0.00 | 100.00 | 5400.00 | 70.00 | 3780.00 | 110.00 | 5940.00 | 60.00 | 3240.00 | 200.00 | 10800.00 | 150.00 | 8100.00 | 70.00 | 3780.00 | 155.00 | 8370.00 | 80.00 | 4320.00 | 210.00 | 11340.00 | 3240.00 | M/S Manzoor and Co
2.00 | Excavating in trenches not exceeding 1.5 meter wide and exceeding 1.5 meter and not exceeding 3 meter in depth for foundation for erection of poles, stays, laying cables, stays etc and getting out in any type of soil all as specified and directed. | 1.00 | Cum | 0.00 | 130.00 | 130.00 | 70.00 | 70.00 | 120.00 | 120.00 | 80.00 | 80.00 | 200.00 | 200.00 | 250.00 | 250.00 | 70.00 | 70.00 | 375.00 | 375.00 | 90.00 | 90.00 | 210.00 | 210.00 | 70.00 | M/S A.N CONSTRUCTIONs, M/S Khan Hussain & Co.
3.00 | M&L Sub Class 'B' brick covering protection to the electric cable laid dry flat transversally along the length of cable on sand cushioning with width equal to length of brick complete all as specified | 1.50 | Per 1000 nos | 0.00 | 6000.00 | 9000.00 | 2500.00 | 3750.00 | 3000.00 | 4500.00 | 3000.00 | 4500.00 | 6000.00 | 9000.00 | 4000.00 | 6000.00 | 5000.00 | 7500.00 | 3500.00 | 5250.00 | 2900.00 | 4350.00 | 2500.00 | 3750.00 | 3750.00 | M/S A.N CONSTRUCTIONs, M/S LATIF AHMAD BABA CONSTRUCTION
4.00 | Supply, lay/spread in trenches, river sand including cleaning, spreading, leveling, punning for laying/cushioning of cable all as specified and as directed. Compected thickness will be measured. | 1.50 | Cum | 0.00 | 300.00 | 450.00 | 450.00 | 675.00 | 550.00 | 825.00 | 350.00 | 525.00 | 600.00 | 900.00 | 300.00 | 450.00 | 2200.00 | 3300.00 | 550.00 | 825.00 | 700.00 | 1050.00 | 650.00 | 975.00 | 450.00 | M/S Ghulam Hussain Lone, M/s KASHMIR BUILDERS
5.00 | Plain cement concrete 1:4:8 type D2 using 40mm graded granite stone aggregate for foundation of poles all as specified and as directed. | 14.00 | Cum | 0.00 | 1800.00 | 25200.00 | 1600.00 | 22400.00 | 1800.00 | 25200.00 | 1800.00 | 25200.00 | 3300.00 | 46200.00 | 2200.00 | 30800.00 | 1900.00 | 26600.00 | 1500.00 | 21000.00 | 2300.00 | 32200.00 | 3000.00 | 42000.00 | 21000.00 | M/S Hilal Builders
6.00 | Plain cement concrete 1:2:4 type B1 using 20mm graded aggregate for coping to pole foundation including necessary form work with fair finished surface. | 1.00 | Cum | 0.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 4200.00 | 4200.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 2600.00 | 2600.00 | 1900.00 | 1900.00 | 4500.00 | 4500.00 | 2800.00 | 2800.00 | 3500.00 | 3500.00 | 1900.00 | M/S Khan Hussain & Co.
7.00 | Returning, filling in, including spreading, leveling, watering and well ramming in layers not exceeding 25 cm all as specified and directed. | 19.00 | Cum | 0.00 | 40.00 | 760.00 | 25.00 | 475.00 | 20.00 | 380.00 | 28.00 | 532.00 | 60.00 | 1140.00 | 50.00 | 950.00 | 60.00 | 1140.00 | 45.00 | 855.00 | 20.00 | 380.00 | 150.00 | 2850.00 | 380.00 | M/S BILAL AHMAD BHAT, M/S STARE BUILDERS
8.00 | Removing excavated material/surplus soil not exceeding 50 meters and depositing where directed at a level not exceeding 1.5 meter above the starting point. | 19.00 | Cum | 0.00 | 60.00 | 1140.00 | 30.00 | 570.00 | 35.00 | 665.00 | 35.00 | 665.00 | 60.00 | 1140.00 | 20.00 | 380.00 | 40.00 | 760.00 | 65.00 | 1235.00 | 9.00 | 171.00 | 50.00 | 950.00 | 171.00 | M/S BILAL AHMAD BHAT
9.00 | Steel tubular swaged poles 410, SP-22, total (8.5) mtr long incl ,complete with cast iron base plate, finial taper plug, bolts, nuts and screws of suitable dia for mounting/fixing of street light fitting/two pole structure all as specified and directed (Excavation, Earth work, concrete foundation and coping shall be measured separately). | 9.00 | Each | 0.00 | 12000.00 | 108000.00 | 8000.00 | 72000.00 | 13000.00 | 117000.00 | 13500.00 | 121500.00 | 7800.00 | 70200.00 | 14000.00 | 126000.00 | 11800.00 | 106200.00 | 11500.00 | 103500.00 | 16000.00 | 144000.00 | 12500.00 | 112500.00 | 70200.00 | M/S HAMID AND CO
10.00 | Mild steel members consisting cross arms, bracings, supports, clamps and back plates fabricated from MS structural steel sections viz channel, angle, flats and plates, including MS nuts, bolts, washers, welding, bending, cold or hot drilling, holes drilled for bolts in any shape and size as indicated or directed including painting with two coats of aluminium paint over one coat of primer all as specified. | 2.00 | Qtl | 0.00 | 7000.00 | 14000.00 | 7000.00 | 14000.00 | 6500.00 | 13000.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 9700.00 | 19400.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 11000.00 | 22000.00 | 10000.00 | M/S Ghulam Hussain Lone
11.00 | M/L Pin type porcelain, vitreous, white, brown or green insulator including one galvanised mild steel spindle, two galvanised iron washers and one galvanised iron nut, 150mm height 150mm dia for 1100 Volts grade. | 6.00 | Each | 0.00 | 150.00 | 900.00 | 150.00 | 900.00 | 50.00 | 300.00 | 200.00 | 1200.00 | 200.00 | 1200.00 | 100.00 | 600.00 | 100.00 | 600.00 | 200.00 | 1200.00 | 1500.00 | 9000.00 | 350.00 | 2100.00 | 300.00 | M/S STARE BUILDERS
12.00 | M/L GI tube, 40 mm bore, light grade with all fittings, complete, fixed to walls, pole ceiling or laid in trenches for cable protection. | 60.00 | RM | 0.00 | 260.00 | 15600.00 | 70.00 | 4200.00 | 220.00 | 13200.00 | 230.00 | 13800.00 | 300.00 | 18000.00 | 300.00 | 18000.00 | 440.00 | 26400.00 | 200.00 | 12000.00 | 250.00 | 15000.00 | 90.00 | 5400.00 | 4200.00 | M/S A.N CONSTRUCTIONs
13.00 | S/F and stringing ACSR conductor for OH Lines on LT poles including extra materials for sag, jointing, jumpers, binding wires complete all as specified of size weasel | 1.00 | Qtl | 0.00 | 16000.00 | 16000.00 | 14000.00 | 14000.00 | 19500.00 | 19500.00 | 25000.00 | 25000.00 | 26000.00 | 26000.00 | 18000.00 | 18000.00 | 22000.00 | 22000.00 | 21000.00 | 21000.00 | 10000.00 | 10000.00 | 16000.00 | 16000.00 | 10000.00 | M/S BILAL AHMAD BHAT
14.00 | M & fixing connecting and testing 1100 volt graded heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape wire and overall PVC sheathed of size 25 Sqmm normal corss section single core all as specified and directed by Engr-in-Charge Note:-Cable will be fixed with one ACSR conductor on pole including necessary clamps nuts, bolts and washers required complete all as specified and directed, ACSR conductor will be measured and paid separately. | 1200.00 | RM | 0.00 | 65.00 | 78000.00 | 49.00 | 58800.00 | 85.00 | 102000.00 | 110.00 | 132000.00 | 90.00 | 108000.00 | 90.00 | 108000.00 | 100.00 | 120000.00 | 105.00 | 126000.00 | 49.00 | 58800.00 | 54.00 | 64800.00 | 58800.00 | M/S A.N CONSTRUCTIONs, M/S BILAL AHMAD BHAT
15.00 | M & fixing connecting and testing 1100 volt graded 4 Nos of single core cable of size 25 Sqmm heavy duty with PVC insulated aluminium conductor served with an inner sheathing of PVC all as specified and directed by Engr-in-Charge Note :-(I) 4x single core cable one Running Meter each will measured one Running Meter (RM). (II)Cable will be fixed with one ACSR conductor on pole including necessary clamps nuts, bolts and washers required complete all as specified and directed, ACSR conductor will be measured and paid separately. | 550.00 | RM | 0.00 | 240.00 | 132000.00 | 205.00 | 112750.00 | 350.00 | 192500.00 | 450.00 | 247500.00 | 95.00 | 52250.00 | 370.00 | 203500.00 | 100.00 | 55000.00 | 275.00 | 151250.00 | 150.00 | 82500.00 | 164.00 | 90200.00 | 52250.00 | M/S HAMID AND CO
16.00 | Supply and fixing of SMC junction box with 5 Nos 200 Amps alluminium bus and provision for cable for incoming and out going, square/rectangle type, flameproof, weatherproof, waterproof, shockproof IP 65, internally embedded gasket with provision for cable entry through gland of suitable size along with MS clamps for fixing on iron/PCC pole and all other items requre for fixing all as specified & directed by Engineer-in-Charge. | 15.00 | Each | 0.00 | 1100.00 | 16500.00 | 200.00 | 3000.00 | 1050.00 | 15750.00 | 1350.00 | 20250.00 | 7700.00 | 115500.00 | 2000.00 | 30000.00 | 1500.00 | 22500.00 | 1700.00 | 25500.00 | 1900.00 | 28500.00 | 450.00 | 6750.00 | 3000.00 | M/S A.N CONSTRUCTIONs
17.00 | Supply and fixing of SMC junction box with 4 Nos 200 Amps alluminium bus and provision for cable for incoming and out going, square/rectangle type, flameproof, weatherproof, waterproof, shockproof IP 65, internally embedded gasket with provision for cable entry through gland of suitable size along with MS clamps for fixing on iron/PCC pole and all other items requre for fixing all as specified & directed by Engineer-in-Charge. | 15.00 | Each | 0.00 | 1000.00 | 15000.00 | 150.00 | 2250.00 | 950.00 | 14250.00 | 1200.00 | 18000.00 | 6700.00 | 100500.00 | 1000.00 | 15000.00 | 1500.00 | 22500.00 | 1800.00 | 27000.00 | 1900.00 | 28500.00 | 350.00 | 5250.00 | 2250.00 | M/S A.N CONSTRUCTIONs
18.00 | M&L for Electrical Earthling with GI plate electrode of size 60 Cm X 60 Cm X 6.3 mm thick, buried directly in ground vertically ,earth pit not less than 2.25 mtr. Deep below normal ground level with the top edge of the earth plate at a depth not less 1.5 mtr below normal ground leveled connected to GI step earth lead of size 4 mm by means of bolts, nuts, washers made of galvanised iron and connected to main control board /switch gear/panel boards all as specified and shown in Electrical plate No-5 of MES Schedule (SSR) part-1 including necessary excavation and earth work in any type of soil, charcoal dust, salt and PCC 1:2:4 type B1 in chamber RCC 1:2:4 type,B1 cover slab with 6 mm dia mild steel bars at 100 mm center to center both ways and with 6mm dia MS hook complete and testing resistance all as specified and as directed. | 8.00 | Each | 0.00 | 3500.00 | 28000.00 | 2500.00 | 20000.00 | 2850.00 | 22800.00 | 3000.00 | 24000.00 | 3900.00 | 31200.00 | 2000.00 | 16000.00 | 4500.00 | 36000.00 | 4500.00 | 36000.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 16000.00 | M/S Ghulam Hussain Lone
19.00 | M & L laying connecting and testing 1100 volt graded heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanized steel strip or wire and overall PVC sheathed of size 70 Sqmm normal corss section 3.5 core including one conductor of ACSR laying on pole necessary clamps nuts, bolts and washers complete all as specified and directed. | 140.00 | RM | 0.00 | 460.00 | 64400.00 | 375.00 | 52500.00 | 595.00 | 83300.00 | 365.00 | 51100.00 | 337.00 | 47180.00 | 500.00 | 70000.00 | 500.00 | 70000.00 | 290.00 | 40600.00 | 300.00 | 42000.00 | 450.00 | 63000.00 | 40600.00 | M/S Hilal Builders
20.00 | ditto- as per SI No. 19 but 3 1/2 core 50 Sqmm. | 160.00 | RM | 0.00 | 340.00 | 54400.00 | 275.00 | 44000.00 | 375.00 | 60000.00 | 300.00 | 48000.00 | 320.00 | 51200.00 | 300.00 | 48000.00 | 340.00 | 54400.00 | 300.00 | 48000.00 | 290.00 | 46400.00 | 272.00 | 43520.00 | 43520.00 | M/S LATIF AHMAD BABA CONSTRUCTION
21.00 | ditto- as per SI No. 19 but 3 1/2 core 25 Sqmm. | 220.00 | RM | 0.00 | 240.00 | 52800.00 | 70.00 | 15400.00 | 225.00 | 49500.00 | 210.00 | 46200.00 | 190.00 | 41800.00 | 225.00 | 49500.00 | 190.00 | 41800.00 | 225.00 | 49500.00 | 140.00 | 30800.00 | 164.00 | 36080.00 | 15400.00 | M/S A.N CONSTRUCTIONs
22.00 | ditto- as per SI No. 19 but 4 core 16 Sqmm. | 700.00 | RM | 0.00 | 190.00 | 133000.00 | 140.00 | 98000.00 | 195.00 | 136500.00 | 130.00 | 91000.00 | 190.00 | 133000.00 | 150.00 | 105000.00 | 140.00 | 98000.00 | 145.00 | 101500.00 | 140.00 | 98000.00 | 142.00 | 99400.00 | 91000.00 | M/S Manzoor and Co
23.00 | ditto- as per SI No. 19 but 2 core 16 Sqmm. | 650.00 | RM | 0.00 | 160.00 | 104000.00 | 115.00 | 74750.00 | 135.00 | 87750.00 | 90.00 | 58500.00 | 100.00 | 65000.00 | 80.00 | 52000.00 | 140.00 | 91000.00 | 115.00 | 74750.00 | 105.00 | 68250.00 | 83.00 | 53950.00 | 52000.00 | M/S Ghulam Hussain Lone
24.00 | ditto- as per SI No. 19 but 2 core 10 Sqmm. | 600.00 | RM | 0.00 | 140.00 | 84000.00 | 97.00 | 58200.00 | 125.00 | 75000.00 | 80.00 | 48000.00 | 90.00 | 54000.00 | 70.00 | 42000.00 | 75.00 | 45000.00 | 80.00 | 48000.00 | 99.00 | 59400.00 | 60.00 | 36000.00 | 36000.00 | M/S LATIF AHMAD BABA CONSTRUCTION
25.00 | S&F in replacement moulded case circuit breaker (MCCB) Four pole 200 Amp 25 KA adjustable type complete all as specified | 2.00 | Each | 0.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 14500.00 | 29000.00 | 19000.00 | 38000.00 | 13000.00 | 26000.00 | 9000.00 | 18000.00 | 16000.00 | 32000.00 | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 17000.00 | 34000.00 | 12000.00 | M/S BILAL AHMAD BHAT
26.00 | S&F and replacement of moulded case circuit breaker (MCCB) Four pole 160 Amp 36KA adjustable type complete all as specified | 2.00 | Each | 0.00 | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 14000.00 | 28000.00 | 21000.00 | 42000.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 5500.00 | 11000.00 | 13500.00 | 27000.00 | 11000.00 | M/S BILAL AHMAD BHAT
27.00 | S&F and replacement of moulded case circuit breaker (MCCB) Four pole 100 Amp 25KA complete all as specified | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 6500.00 | 13000.00 | 9200.00 | 18400.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 5500.00 | 11000.00 | 11500.00 | 23000.00 | 10000.00 | M/s KASHMIR BUILDERS
28.00 | S&F and replacement of moulded case circuit breaker (MCCB) Four pole 63 Amp 16KA complete all as specified | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 4800.00 | 9600.00 | 6500.00 | 13000.00 | 4000.00 | 8000.00 | 6500.00 | 13000.00 | 4000.00 | 8000.00 | 7000.00 | 14000.00 | 3900.00 | 7800.00 | 9000.00 | 18000.00 | 6000.00 | M/s KASHMIR BUILDERS
29.00 | Supply and fixing 30W LED security light new generation energy saving & environmental friendly long life Versatile pressure die-cast aluminium IP66 roadway luminaries with high power LEDs as light source with lens and electronic driver. all as specified and directed by Engr-in-Charge. | 45.00 | Each | 0.00 | 2100.00 | 94500.00 | 1800.00 | 81000.00 | 3300.00 | 148500.00 | 3300.00 | 148500.00 | 3300.00 | 148500.00 | 2500.00 | 112500.00 | 2000.00 | 90000.00 | 2300.00 | 103500.00 | 2800.00 | 126000.00 | 2650.00 | 119250.00 | 81000.00 | M/S A.N CONSTRUCTIONs
30.00 | Supply and fixing 45W LED security light new generation energy saving & environmental friendly long life Versatile pressure die-cast aluminium IP66 roadway luminaries with high power LEDs as light source with lens and electronic driver. all as specified and directed by Engr-in-Charge. | 44.00 | Each | 0.00 | 3200.00 | 140800.00 | 3900.00 | 171600.00 | 4900.00 | 215600.00 | 3900.00 | 171600.00 | 4400.00 | 193600.00 | 4500.00 | 198000.00 | 3000.00 | 132000.00 | 3200.00 | 140800.00 | 3800.00 | 167200.00 | 4250.00 | 187000.00 | 132000.00 | M/S Khan Hussain & Co.
31.00 | Supply and fixing 50W LED security light new generation energy saving & environmental friendly long life Versatile pressure die-cast aluminium IP66 roadway luminaries with high power LEDs as light source with lens and electronic driver. all as specified and directed by Engr-in-Charge. | 40.00 | Each | 0.00 | 4000.00 | 160000.00 | 3900.00 | 156000.00 | 5300.00 | 212000.00 | 4900.00 | 196000.00 | 5500.00 | 220000.00 | 4800.00 | 192000.00 | 2500.00 | 100000.00 | 4000.00 | 160000.00 | 4900.00 | 196000.00 | 4450.00 | 178000.00 | 100000.00 | M/S Khan Hussain & Co.
32.00 | Supply and fixing 60W LED security light new generation energy saving & environmental friendly long life Versatile pressure die-cast aluminium IP66 roadway luminaries with high power LEDs as light source with lens and electronic driver. all as specified and directed by Engr-in-Charge. | 35.00 | Each | 0.00 | 4800.00 | 168000.00 | 4500.00 | 157500.00 | 6100.00 | 213500.00 | 5200.00 | 182000.00 | 7000.00 | 245000.00 | 5500.00 | 192500.00 | 4300.00 | 150500.00 | 4100.00 | 143500.00 | 6600.00 | 231000.00 | 5750.00 | 201250.00 | 143500.00 | M/S Hilal Builders
33.00 | S&F in replacement Sheathed heavy duty electric cable with aluminum conductor, 1100 volts grade, cross-sectional area 10 Sqmm nominal cross section, 2 core for service wire from pole or main/change over switch or passing through pipes at wall including all necessary clamps nuts, bolts and washers complete all as specified. | 800.00 | RM | 0.00 | 90.00 | 72000.00 | 110.00 | 88000.00 | 45.00 | 36000.00 | 90.00 | 72000.00 | 80.00 | 64000.00 | 50.00 | 40000.00 | 100.00 | 80000.00 | 25.00 | 20000.00 | 15.00 | 12000.00 | 29.00 | 23200.00 | 12000.00 | M/S BILAL AHMAD BHAT
34.00 | Supply and fixing including taking down old unserviceable 1100 volt grade copper conductor cable single core 1.5 sq mm all as specified and directed | 3200.00 | RM | 0.00 | 20.00 | 64000.00 | 10.00 | 32000.00 | 17.00 | 54400.00 | 11.00 | 35200.00 | 15.00 | 48000.00 | 10.00 | 32000.00 | 15.00 | 48000.00 | 12.00 | 38400.00 | 11.00 | 35200.00 | 13.00 | 41600.00 | 32000.00 | M/S A.N CONSTRUCTIONs, M/S Ghulam Hussain Lone
35.00 | Supply and fixing including taking down old unserviceable 1100 volt grade copper conductor cable single core 2.5 sq mm all as specified and directed | 3500.00 | RM | 0.00 | 30.00 | 105000.00 | 13.00 | 45500.00 | 27.00 | 94500.00 | 20.00 | 70000.00 | 44.00 | 154000.00 | 20.00 | 70000.00 | 20.00 | 70000.00 | 21.00 | 73500.00 | 14.00 | 49000.00 | 21.00 | 73500.00 | 45500.00 | M/S A.N CONSTRUCTIONs
36.00 | Supply and fixing including taking down old unserviceable 1100 volt grade copper conductor cable single core 4.0 sq mm all as specified and directed | 250.00 | RM | 0.00 | 40.00 | 10000.00 | 18.00 | 4500.00 | 38.00 | 9500.00 | 28.00 | 7000.00 | 50.00 | 12500.00 | 25.00 | 6250.00 | 30.00 | 7500.00 | 45.00 | 11250.00 | 22.00 | 5500.00 | 35.00 | 8750.00 | 4500.00 | M/S A.N CONSTRUCTIONs
37.00 | Supply and fixing including taking down old unserviceable 1100 volt grade copper conductor cable single core 6.0 sq mm all as specified and directed | 200.00 | RM | 0.00 | 60.00 | 12000.00 | 26.00 | 5200.00 | 48.00 | 9600.00 | 80.00 | 16000.00 | 60.00 | 12000.00 | 40.00 | 8000.00 | 27.00 | 5400.00 | 55.00 | 11000.00 | 24.00 | 4800.00 | 52.00 | 10400.00 | 4800.00 | M/S BILAL AHMAD BHAT
38.00 | Supply and fix including taking down old unserviceable flexible wire twin core 1100 volts grade 0.75 sq mm copper conductor all as specified and directed. | 200.00 | RM | 0.00 | 12.00 | 2400.00 | 55.00 | 11000.00 | 15.00 | 3000.00 | 13.00 | 2600.00 | 50.00 | 10000.00 | 15.00 | 3000.00 | 15.00 | 3000.00 | 35.00 | 7000.00 | 25.00 | 5000.00 | 27.00 | 5400.00 | 2400.00 | M/s KASHMIR BUILDERS
39.00 | Supply and fixing loop type insulator (large size) vitreous porcelain, white, brown or green with overall dimensions 90 x 140 mm with clearance of hole 25.50 mm. | 4.00 | Each | 0.00 | 250.00 | 1000.00 | 300.00 | 1200.00 | 110.00 | 440.00 | 150.00 | 600.00 | 700.00 | 2800.00 | 100.00 | 400.00 | 50.00 | 200.00 | 400.00 | 1600.00 | 300.00 | 1200.00 | 550.00 | 2200.00 | 200.00 | M/S Khan Hussain & Co.
40.00 | Supply and fixing Galvanised stay strand of size 7/4.00mm | .40 | Quintal | 0.00 | 6000.00 | 2400.00 | 8000.00 | 3200.00 | 6500.00 | 2600.00 | 8000.00 | 3200.00 | 9000.00 | 3600.00 | 5000.00 | 2000.00 | 1000.00 | 400.00 | 15000.00 | 6000.00 | 7000.00 | 2800.00 | 7000.00 | 2800.00 | 400.00 | M/S Khan Hussain & Co.
41.00 | Supply and fixing stay assembly complete with accessories as shown in electrical plate No 1 of SSR Part I consisting of stay rod 20mm dia 1.80 long, stay bow galvanised iron 14mm dia 40cm long, stay plate 300mm x 300mm x 6mm complete all as specified and directed (Earth work, excavation, foundation concrete, loop insulator and stay stand shall be measured separately). | 4.00 | Each Set | 0.00 | 1100.00 | 4400.00 | 2000.00 | 8000.00 | 2250.00 | 9000.00 | 1650.00 | 6600.00 | 3700.00 | 14800.00 | 2000.00 | 8000.00 | 700.00 | 2800.00 | 4000.00 | 16000.00 | 2900.00 | 11600.00 | 4900.00 | 19600.00 | 2800.00 | M/S Khan Hussain & Co.
42.00 | Stretching of ACSR conductor including unwinding from insulator unwinding of jumper and refixing the same including all require material all as specified and directed by Engineer-in Charge. | 200.00 | Span | 0.00 | 140.00 | 28000.00 | 10.00 | 2000.00 | 300.00 | 60000.00 | 200.00 | 40000.00 | 800.00 | 160000.00 | 100.00 | 20000.00 | 250.00 | 50000.00 | 15.00 | 3000.00 | 50.00 | 10000.00 | 150.00 | 30000.00 | 2000.00 | M/S A.N CONSTRUCTIONs
43.00 | Trimming of tree branching near over line up 2 mtr from O/H line all as specified and directed by Engineer-in Charge. | 80.00 | Span | 0.00 | 150.00 | 12000.00 | 100.00 | 8000.00 | 250.00 | 20000.00 | 350.00 | 28000.00 | 400.00 | 32000.00 | 200.00 | 16000.00 | 200.00 | 16000.00 | 55.00 | 4400.00 | 50.00 | 4000.00 | 150.00 | 12000.00 | 4000.00 | M/S BILAL AHMAD BHAT
44.00 | Painting of LT iron pole with cross arm angle etc with silver colour waterproof enamel paint including scraping the old surface with emery paper to remove old paint and applying one cot of primer all as specified and directed by Engineer-in Charge. | 80.00 | Each | 0.00 | 150.00 | 12000.00 | 100.00 | 8000.00 | 200.00 | 16000.00 | 230.00 | 18400.00 | 500.00 | 40000.00 | 250.00 | 20000.00 | 400.00 | 32000.00 | 200.00 | 16000.00 | 50.00 | 4000.00 | 300.00 | 24000.00 | 4000.00 | M/S BILAL AHMAD BHAT
45.00 | Supply, install, testing and commissioning of LT APFC panel, outdoor type, weather / vermin proof, made out of 3.15mm thick CRCA sheet duly powder coated of suitable size, and medium channel 75mm base mounting frame double door, factory assembled cubicle pattern modular and compartmentalized construction, floor mounted free standing type, including 3 phase and neutral 200amps current carrying capacity aluminium bus bar with epoxy insulated coating with colour code and insulated support, cable galleries inter connecting bus bar connection /linkage complete and conforming to IS 8623 and IP 54 class of protection as per IS 2147 complete suitable for housing one incoming MCCB and capacitors, relay, microprossesed control unit and contactors of suitable capacity as required at site complete and mounting the panel board on ground with PCC(1:3:6) bedding up to a height of 30 cm above ground level complete all as directed a) Aluminium bus bar 200amps for 3 phase & neutral -1 set b) MCCB 4P 415 V 100 Amps rating 25 KA - 01 Nos. c) MD-XL capacitors10 KVARs-4Nos d) MD-XL capacitors 5 KVARs-3Nos e) MD-XL capacitors2 KVARs-2Nos f) MD-XL capacitors1 KVARs-1Nos g) 8 stage microprossesed control unit -1 Nos | 2.00 | Each Job | 0.00 | 140000.00 | 280000.00 | 38000.00 | 76000.00 | 65000.00 | 130000.00 | 115000.00 | 230000.00 | 88000.00 | 176000.00 | 60000.00 | 120000.00 | 59500.00 | 119000.00 | 95000.00 | 190000.00 | 65000.00 | 130000.00 | 135000.00 | 270000.00 | 76000.00 | M/S A.N CONSTRUCTIONs
46.00 | Supply, install, testing and commissioning of LT distribution panel, outdoor type, weather / vermin proof, made out of 3.15mm thick CRCA sheet duly powder coated of suitable size, and medium channel 75mm base mounting frame double door, factory assembled cubicle pattern modular and compartmentalized construction, floor mounted free standing type, 3 phase and neutral 400 amps current carrying capacity aluminium bus bar with epoxy insulated coating with colour code and insulated support, conforming to IS 8623 and IP 54 class of protection as per IS 2147 complete and suitable for housing one incoming MCCB and out going MCCBs of capacity as below complete and mounting the panel board on ground with PCC(1:3:6) bedding up to a height of 30 cm above ground level complete all as directed a) Aluminium bus bar 200 amps for 3 phase & neutral -1 set b) MCCB 4 pole 200 amps 35 KA at 415 v -1 no ( incoming ) c) MCCB 4 pole 160 amps 25 KA at 415 v - 2 nos ( outgoing) d) MCCB 4 pole 100 amps 25 KA at 415 v - 2 nos ( outgoing) e) Digital Voltmeter with selector switch 0 to 500 Volts -1No f) Digital Ammeter with selector switch and CTs 0 to 500Amps -1No g) LED type indicator lamps(R<Y<B)-01 set | 2.00 | Each Job | 0.00 | 100000.00 | 200000.00 | 54000.00 | 108000.00 | 75000.00 | 150000.00 | 110000.00 | 220000.00 | 90000.00 | 180000.00 | 70000.00 | 140000.00 | 69500.00 | 139000.00 | 90000.00 | 180000.00 | 70000.00 | 140000.00 | 100000.00 | 200000.00 | 108000.00 | M/S A.N CONSTRUCTIONs
| Total in Figures |  |  |  |  | 2378180.00 |  | 1698170.00 |  | 2508420.00 |  | 2559892.00 |  | 2786210.00 |  | 2202780.00 |  | 1995650.00 |  | 2122160.00 |  | 1981611.00 |  | 2257475.00
Lowest Amount Quoted BY: M/S A.N CONSTRUCTIONs(1698170.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIR REPLACEMENT OF SECURITY LIGHT UG CABLE AND OTHER EM WORKS SUPPLY AT HQ VF UNDER GE 861 EWS Tender ID: 2018_MES_225034_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S A.N CONSTRUCTIONs | 1698170.00 | L1
| 2 | M/S BILAL AHMAD BHAT | 1981611.00 | L2
| 3 | M/S Khan Hussain & Co. | 1995650.00 | L3
| 4 | M/S Hilal Builders | 2122160.00 | L4
| 5 | M/S Ghulam Hussain Lone | 2202780.00 | L5
| 6 | M/S LATIF AHMAD BABA CONSTRUCTION | 2257475.00 | L6
| 7 | M/s KASHMIR BUILDERS | 2378180.00 | L7
| 8 | M/S STARE BUILDERS | 2508420.00 | L8
| 9 | M/S Manzoor and Co | 2559892.00 | L9
| 10 | M/S HAMID AND CO | 2786210.00 | L10