## BoQ1
eProcurement System for Organisations under MoD Created By: Dilip Kumar Jha Created Date/Time: 03-Jan-2019 03:57 PM Tender Title: SPECIAL REPAIR TO CERTAIN BUILDINGS INCLUDING ROOF TREATMENT OF MARRIED ACCN AT AF STN SURATGARH Tender ID: 2018_MES_221295_1
Tender Inviting Authority: CWE (AF) BIKANER
Name of Work: SPECIAL REPAIR TO CERTAIN BUILDINGS INCLUDING ROOF TREATMENT OF MARRIED ACCN AT AF STN SURATGARH
Contract No: CA NO CWE (AF) BKN/SOG-37/2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | G.S.CONSTRUCATIONS |  | M/S VISHNU ENTERPRISES |  | H S BUILDERS |  | M/S Shree Ram Enterprises
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of cement concrete as in ground floor and paving n. exc 15 cm thick (below or above ground level) complete all as specified and directed. | 37.00 | Cum |  | 150.00 | 5550.00 | 70.00 | 2590.00 | 200.00 | 7400.00 | 100.00 | 3700.00 | 2590.00 | M/S VISHNU ENTERPRISES
2.00 | Demolition of brick work built in cement mortar including all quions, arches, pillars etc. Complete all as specified and directed. | 12.00 | Cum |  | 100.00 | 1200.00 | 60.00 | 720.00 | 200.00 | 2400.00 | 200.00 | 2400.00 | 720.00 | M/S VISHNU ENTERPRISES
3.00 | Material and labour for brick work with fly ash bricks built in CM (1:6) straight or curved on plan exceeding 6 m mean radius complete all as specified and directed. | 9.00 | Cum |  | 3200.00 | 28800.00 | 2600.00 | 23400.00 | 3000.00 | 27000.00 | 2800.00 | 25200.00 | 23400.00 | M/S VISHNU ENTERPRISES
4.00 | Material and labour for brick work built in CM (1:6) straight or curved on plan exceeding 6m mean radius complete all as specified and directed, But except brick. | 3.00 | Cum |  | 2200.00 | 6600.00 | 1100.00 | 3300.00 | 2500.00 | 7500.00 | 1200.00 | 3600.00 | 3300.00 | M/S VISHNU ENTERPRISES
5.00 | Taking down chowkhat or frame with shutter (without taking off shutter from the frame) exc. 1.5 Sqm but n. exc 4 Sqm each and removing from site complete all as specified and directed. | 40.00 | Each |  | 80.00 | 3200.00 | 30.00 | 1200.00 | 50.00 | 2000.00 | 120.00 | 4800.00 | 1200.00 | M/S VISHNU ENTERPRISES
6.00 | All as per item No.5 above but area n.exc 1.5 Sqm each. | 150.00 | Each |  | 80.00 | 12000.00 | 40.00 | 6000.00 | 50.00 | 7500.00 | 100.00 | 15000.00 | 6000.00 | M/S VISHNU ENTERPRISES
7.00 | Taking down shutter of any description area exc. 1 Sqm but n.exc. 2 Sqm each and removing from site complete all as specified and directed. | 98.00 | Per Leaf |  | 70.00 | 6860.00 | 25.00 | 2450.00 | 50.00 | 4900.00 | 50.00 | 4900.00 | 2450.00 | M/S VISHNU ENTERPRISES
8.00 | Supply and fix 105mm x60mm pressed steel frames for doors with one or more rebates including necessary fixing lugs, hinges, lock strike plate, etc complete all as specified and directed. | 76.05 | RM |  | 300.00 | 22815.00 | 260.00 | 19773.00 | 300.00 | 22815.00 | 310.00 | 23575.50 | 19773.00 | M/S VISHNU ENTERPRISES
9.00 | Supply and fix 125mm x60mm pressed steel frames for doors with one or more rebates including necessary fixing lugs, hinges, lock strike plate, etc complete all as specified and directed. | 126.75 | RM |  | 300.00 | 38025.00 | 360.00 | 45630.00 | 300.00 | 38025.00 | 330.00 | 41827.50 | 38025.00 | G.S.CONSTRUCATIONS, H S BUILDERS
10.00 | Supply and fix 35mm thick Factory made 2nd class hard wood plain, framed panelled shutters (any number of panels) with penels of timber flat on both sides (feather edged) or of veneered particle board, medium density, wood particle borad with commercial face verneers. Complete all as specified and as directed. | 173.00 | Sqm |  | 1500.00 | 259500.00 | 1600.00 | 276800.00 | 1900.00 | 328700.00 | 1650.00 | 285450.00 | 259500.00 | G.S.CONSTRUCATIONS
11.00 | Supply and fix 35mm thick Factory made 2nd class hard wood glazed & skelton shutters, open rebated, prepared to receive glass, gauze etc, without sash bars edge of framing plain, chamfered or rounded, fitted with cut or mitred beads for securing glass, gauge etc. sizes of members of shutters as specified in SSR Part-I section 8 supplied and fitted to chowkhats all as specified. | 125.00 | Sqm |  | 1500.00 | 187500.00 | 1650.00 | 206250.00 | 1900.00 | 237500.00 | 1650.00 | 206250.00 | 187500.00 | G.S.CONSTRUCATIONS
12.00 | Supply and fix 150mm size aluminium alloy handles, febricated type anodised extruded section, ISI marked all as specified. | 327.00 | Each |  | 60.00 | 19620.00 | 26.00 | 8502.00 | 70.00 | 22890.00 | 35.00 | 11445.00 | 8502.00 | M/S VISHNU ENTERPRISES
13.00 | Supply and fix 150mm size aluminium anodised barrel tower bolts of extruded section all as specified. | 380.00 | Each |  | 60.00 | 22800.00 | 28.00 | 10640.00 | 70.00 | 26600.00 | 45.00 | 17100.00 | 10640.00 | M/S VISHNU ENTERPRISES
14.00 | Supply and fix 16mm dia and 250mm long aluminium alloy, anodised sliding door bolt with hasp & staple (bolt type) and fix clips of sheet cast or extruded section and fixing bolts and sliding bolts of extruded section or cast alluminium alloy all as specified. | 138.00 | Each |  | 100.00 | 13800.00 | 245.00 | 33810.00 | 150.00 | 20700.00 | 180.00 | 24840.00 | 13800.00 | G.S.CONSTRUCATIONS
15.00 | Supply and fix 100mm size aluminium anodised hasp & stable safety type and fix bolts to hinge plate fixed with screws all as specified. | 10.00 | Each |  | 20.00 | 200.00 | 42.00 | 420.00 | 30.00 | 300.00 | 50.00 | 500.00 | 200.00 | G.S.CONSTRUCATIONS
16.00 | Supply and fix 150mm long cover plate for floor door stopper of alluminium alloy body and tongue, anodised with hard drawn steel spring fixed on floor complete all as specifed and as directed. | 60.00 | Each |  | 100.00 | 6000.00 | 40.00 | 2400.00 | 20.00 | 1200.00 | 60.00 | 3600.00 | 1200.00 | H S BUILDERS
17.00 | Taking down old steel window with side hung shutters including projecting or box type hinges, steel handle and steel peg stay and refixing in same opening after necessary repair, welding and replacing damaged/ missing part and making good dismantaled portion of walls including PCC bed block and rendering on jambs/cill /soffit etc. complete all as specified and as directed. | 22.00 | Each |  | 250.00 | 5500.00 | 422.00 | 9284.00 | 160.00 | 3520.00 | 150.00 | 3300.00 | 3300.00 | M/S Shree Ram Enterprises
18.00 | Supply and fix steel window with side hung shutters inculding box type hinges, steel handle and steel peg stay complete with glazing bar, dovetailed or welded including taking down old one complete all as specified and directed including taking down old steel window | 30.00 | Sqm |  | 1500.00 | 45000.00 | 1620.00 | 48600.00 | 1800.00 | 54000.00 | 1700.00 | 51000.00 | 45000.00 | G.S.CONSTRUCATIONS
19.00 | Supply and fix steel ventilator with top/side hung shutter including hinges, steel peg stay inculding taking down old one complete all as specified and directed, including taking down old steel window/ventilator. | 5.00 | Sqm |  | 1500.00 | 7500.00 | 1590.00 | 7950.00 | 1600.00 | 8000.00 | 1600.00 | 8000.00 | 7500.00 | G.S.CONSTRUCATIONS
20.00 | Dismantling wrought iron or mild steel work of any description not otherwise provided for complete all as specified and as directed. | .50 | Qtl |  | 100.00 | 50.00 | 75.00 | 37.50 | 50.00 | 25.00 | 400.00 | 200.00 | 25.00 | H S BUILDERS
21.00 | Supply and fixing mild steel framed work such as grills, grating, gauge etc. with end of bars shouldered and/or riveted forged into spikes, framed guard bars, railing and similar work complete conforming to Fe-290 Gde E-165 complete all as specified and directed. | 300.00 | Kg |  | 70.00 | 21000.00 | 70.00 | 21000.00 | 80.00 | 24000.00 | 78.00 | 23400.00 | 21000.00 | M/S VISHNU ENTERPRISES, G.S.CONSTRUCATIONS
22.00 | Material & Labour for factory made steel windows box type using ERW hollow 'P' section comprising double frame for glazed and gauged skelton shutters jointed internally with flat iron 50x4mm complete including grill of 8mm square bar, fixed horrizontally @ 10cm centre to centre hinges, handle, tower bolts, lugs etc without Cooler provision complete all as specified and directed. Note : (i) for the purpose of measurement and payment double shutter with frame shall be consider as one unit. (ii) Glazing and wire mesh shall be measured and paid for separately in respective item of Sch 'A' | 65.00 | Sqm |  | 1700.00 | 110500.00 | 1800.00 | 117000.00 | 2200.00 | 143000.00 | 3400.00 | 221000.00 | 110500.00 | G.S.CONSTRUCATIONS
23.00 | Material & Labour for factory made steel windows box type using ERW hollow 'P' section comprising double frame for glazed and gauged skelton shutters jointed internally with flat iron 50x4mm complete including grill of 8mm square bar, fixed horrizontally @ 10cm centre to centre hinges, handle, tower bolts, lugs etc with Cooler provision complete all as specified and directed. Note : (i) for the purpose of measurement and payment double shutter with frame shall be consider as one unit. (ii) Glazing and wire mesh shall be measured and paid for separately in respective item of Sch 'A' | 50.00 | Sqm |  | 1700.00 | 85000.00 | 1800.00 | 90000.00 | 2300.00 | 115000.00 | 3800.00 | 190000.00 | 85000.00 | G.S.CONSTRUCATIONS
24.00 | Hacking out old broken galss (any thickness, size, quality or description) from wooden/steel frames, glazed with putty or fixed with beads complete all as specified and directed. | 65.00 | Sqm |  | 300.00 | 19500.00 | 15.00 | 975.00 | 18.00 | 1170.00 | 30.00 | 1950.00 | 975.00 | M/S VISHNU ENTERPRISES
25.00 | Material and Labour for 3mm thick sheet glass ordinary quality and glazing with oil putty/beads in square n. exc 0.5 Sqm in each pane complete all as specified and as directed. | 25.00 | Sqm |  | 300.00 | 7500.00 | 435.00 | 10875.00 | 350.00 | 8750.00 | 350.00 | 8750.00 | 7500.00 | G.S.CONSTRUCATIONS
26.00 | Material and Labour for 3mm thick figured glass, pin head type and glazing with oil putty in squares n.exc 0.5 sqm in each pane complete all as specified and as directed. | 40.00 | Sqm |  | 300.00 | 12000.00 | 450.00 | 18000.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 12000.00 | G.S.CONSTRUCATIONS
27.00 | Supply and fix in galvanised steel wire cloth 0.50 mm nominal dia tacks wire and average width of aperture 1.18 mm and fixed with tinned tacks or galvanised wire staples complete all as specified and as directed. | 120.00 | Sqm |  | 200.00 | 24000.00 | 225.00 | 27000.00 | 250.00 | 30000.00 | 225.00 | 27000.00 | 24000.00 | G.S.CONSTRUCATIONS
28.00 | All as per item No.27 above but fixed in repairs. | 60.00 | Sqm |  | 200.00 | 12000.00 | 240.00 | 14400.00 | 200.00 | 12000.00 | 225.00 | 13500.00 | 12000.00 | G.S.CONSTRUCATIONS, H S BUILDERS
29.00 | Supply and fix mild steel frame consisting of wire cloth, 0.50 mm nominal dia of wire and average width of aperture 1.18mm fixed on steel frame made up of MS flat iron 20x3 mm thick after drilling out old ribates and flat iron strips and replacing with new 20 x 3 mm F.I. strips and new rebbets incl. necessary welding and painting of fillets to match with existing work as directed at site and fixed with stainless wire staples fixed as in repairs in steel frames complete all as specified and directed. | 4.00 | Sqm |  | 200.00 | 800.00 | 250.00 | 1000.00 | 250.00 | 1000.00 | 430.00 | 1720.00 | 800.00 | G.S.CONSTRUCATIONS
30.00 | Supply and fix for Solid PVC Door Frame of size 50mm x 47mm made out of 5mm plain colour PVC sheet reinforced with MS Square tube supplying & fixing in opening as per specification & drawing. | 198.80 | RM |  | 300.00 | 59640.00 | 295.00 | 58646.00 | 325.00 | 64610.00 | 330.00 | 65604.00 | 58646.00 | M/S VISHNU ENTERPRISES
31.00 | Factory made solid panel PVC Door shutter 30mm thick (style) consisting of frame made out of MS tube for top & bottom rails. MS frame shall be coverd with heat moulded plain colour PVC 'C' channel having a PVC sheet strip of 20 mm width stuck inside with solvent cement for stiles and plain colour PVC sheet for top rail,lock rail and bottom rail on either side as gap insert for top rails, bottom rail, panelling of plain colour PVC sheet to be fitting in the MS frame welded/sealed to the stiles & rails with suitable PVC sheet beading and joined together eith solvent cement, Supply and fixing in the frame at site as per specification and drawing on Page No 156 of SSR Part-II Rates. | 77.00 | Sqm |  | 2000.00 | 154000.00 | 1600.00 | 123200.00 | 2150.00 | 165550.00 | 1900.00 | 146300.00 | 123200.00 | M/S VISHNU ENTERPRISES
32.00 | Supply and fix butt hinges stainless steel 100mm with screw complete all as specified and directed. | 120.00 | Each |  | 20.00 | 2400.00 | 55.00 | 6600.00 | 28.00 | 3360.00 | 35.00 | 4200.00 | 2400.00 | G.S.CONSTRUCATIONS
33.00 | Supply and fix MS butt hinges medium grade 100 mm thick with screw complete all as specified and directed. | 250.00 | Each |  | 15.00 | 3750.00 | 16.00 | 4000.00 | 28.00 | 7000.00 | 35.00 | 8750.00 | 3750.00 | G.S.CONSTRUCATIONS
34.00 | Supply and fix magnet catcher suitable for cupborad shutter complete all as specified and directed. | 20.00 | Each |  | 30.00 | 600.00 | 23.00 | 460.00 | 25.00 | 500.00 | 25.00 | 500.00 | 460.00 | M/S VISHNU ENTERPRISES
35.00 | Supply and fix rubber beading for doors of required any size and having width n exc 30 cm all as specified and directed. | 30.00 | RM |  | 30.00 | 900.00 | 28.00 | 840.00 | 50.00 | 1500.00 | 90.00 | 2700.00 | 840.00 | M/S VISHNU ENTERPRISES
36.00 | Supply and fix 1mm thick plain, aluminium sheeting, alloy 31000 H4 in drip and straight flashing on doors all as specified. | 10.00 | Sqm |  | 300.00 | 3000.00 | 322.00 | 3220.00 | 300.00 | 3000.00 | 310.00 | 3100.00 | 3000.00 | G.S.CONSTRUCATIONS, H S BUILDERS
37.00 | Taking down cement or cement plaster any description from brick or stone walls/ceiling etc including ranking out joints, hacking for key and scrubbing down with water all as specified. | 888.00 | Sqm |  | 10.00 | 8880.00 | 9.00 | 7992.00 | 20.00 | 17760.00 | 5.00 | 4440.00 | 4440.00 | M/S Shree Ram Enterprises
38.00 | Material and Labour for rendering 15mm thick CM 1:6 on brick work or concrete surface of wall and finished surface even and smooth complete all as specified and as directed. | 550.00 | Sqm |  | 120.00 | 66000.00 | 118.00 | 64900.00 | 140.00 | 77000.00 | 112.00 | 61600.00 | 61600.00 | M/S Shree Ram Enterprises
39.00 | Material and Labour for rendering 10mm thick in CM 1:3 on ceiling and finished surface even and fair complete all as specified and as directed. | 50.00 | Sqm |  | 110.00 | 5500.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 112.00 | 5600.00 | 5500.00 | G.S.CONSTRUCATIONS
40.00 | Material and Labour for rendering 15mm thick in CM 1:4 on brick work or concrete surface of wall and finished surface even and fair complete all as specified and as directed. | 195.00 | Sqm |  | 120.00 | 23400.00 | 118.00 | 23010.00 | 140.00 | 27300.00 | 116.00 | 22620.00 | 22620.00 | M/S Shree Ram Enterprises
41.00 | Material and Labour for Rough cast plaster over and including base coat of rendering 15mm thick in CM 1:4 on fair faces of brick work or concrete surface finished even and fair complete all as specified and directed. | 288.00 | Sqm |  | 140.00 | 40320.00 | 125.00 | 36000.00 | 145.00 | 41760.00 | 122.00 | 35136.00 | 35136.00 | M/S Shree Ram Enterprises
42.00 | Material and Labour for preparing newly plastered surfaces of wall and applying three coats of white wash complete all as specified and as directed. | 50.00 | Sqm |  | 5.00 | 250.00 | 5.00 | 250.00 | 6.00 | 300.00 | 6.00 | 300.00 | 250.00 | M/S VISHNU ENTERPRISES, G.S.CONSTRUCATIONS
43.00 | Material and Labour for preparation of New wall plaster surfaces and applying two coat of acrylic emulsion paint over a coat of cement primer. | 838.00 | Sqm |  | 35.00 | 29330.00 | 24.00 | 20112.00 | 35.00 | 29330.00 | 35.00 | 29330.00 | 20112.00 | M/S VISHNU ENTERPRISES
44.00 | Material and Labour for prepation of walls and applying two coats of oil bound distemper over one coat of primer after finishing the wall surfaces with JK / Birla wall care putty to achive smooth finish complete all as specified and directed. | 195.00 | Sqm |  | 20.00 | 3900.00 | 28.00 | 5460.00 | 35.00 | 6825.00 | 22.00 | 4290.00 | 3900.00 | G.S.CONSTRUCATIONS
45.00 | Material & Labour for complete removal of existing treatment of walls and applying JK / Birla wall care putty to make surface even and smooth complete all as specified and directed. | 1140.00 | Sqm |  | 30.00 | 34200.00 | 8.00 | 9120.00 | 40.00 | 45600.00 | 35.00 | 39900.00 | 9120.00 | M/S VISHNU ENTERPRISES
46.00 | Material & Labour for preparing old/newly plastered surfaces of wall and applying two coats of oil bound distemper complete all as specified and as directed. | 500.00 | Sqm |  | 20.00 | 10000.00 | 22.00 | 11000.00 | 20.00 | 10000.00 | 18.00 | 9000.00 | 9000.00 | M/S Shree Ram Enterprises
47.00 | Material and Labour for Preparation of old plasterd or unplastered surfaces of walls and applying one coat of white wash on wall complete all as specified and as directed. | 900.00 | Sqm |  | 5.00 | 4500.00 | 3.00 | 2700.00 | 2.00 | 1800.00 | 3.00 | 2700.00 | 1800.00 | H S BUILDERS
48.00 | All as per item No. 47 above but apllying one coat of white wash on celling. | 200.00 | Sqm |  | 5.00 | 1000.00 | 3.00 | 600.00 | 2.00 | 400.00 | 3.00 | 600.00 | 400.00 | H S BUILDERS
49.00 | Material and Labour for preparation of old decorated surface of wall by washing, scrubbing down, stopping and applying two coat of oil bound distemper complete all as specified and as directed. | 400.00 | Sqm |  | 20.00 | 8000.00 | 22.00 | 8800.00 | 20.00 | 8000.00 | 18.00 | 7200.00 | 7200.00 | M/S Shree Ram Enterprises
50.00 | Material and Labour for applying two coats of exeterior acrylic emulsion paint (weather proof paint) as in camouflage pattern in multi shades (as approved) on old plastered surfaces of walls, including preparation of new surfaces complete all as specified and directed. | 1030.00 | Sqm |  | 30.00 | 30900.00 | 30.00 | 30900.00 | 28.00 | 28840.00 | 35.00 | 36050.00 | 28840.00 | H S BUILDERS
51.00 | Material and Labour for mild steel work as in small article flat iron of required size as in hold fasts, angle cleats, clamps, straps and similar small artices complete all as specified and as directed. Conforming to the Gde Fe 410-0 or 310-0. | 12.00 | Kg |  | 70.00 | 840.00 | 72.00 | 864.00 | 80.00 | 960.00 | 78.00 | 936.00 | 840.00 | G.S.CONSTRUCATIONS
52.00 | Material and Labour for Preparation of new steel or iron surfaces of any description not otherwise described over 10cm width or girth and applying two coats of synthetic enamel paint over one coat of red oxide primer complete all as specified and as directed. | 400.00 | Sqm |  | 30.00 | 12000.00 | 30.00 | 12000.00 | 25.00 | 10000.00 | 50.00 | 20000.00 | 10000.00 | H S BUILDERS
53.00 | Material and Labour for preparation of new wooden surfaces of any description not otherwise described over 10 cm width or girth and applying two coats of synthetic enamel paint over one coat of pink primer on new wooden surfaces complete all as specified and directed. | 650.00 | Sqm |  | 30.00 | 19500.00 | 30.00 | 19500.00 | 25.00 | 16250.00 | 50.00 | 32500.00 | 16250.00 | H S BUILDERS
54.00 | Preparation of old painted surfaces of wood and based materials of any description over 10 cm in width or girth and applying one coat of synthetic enamel paint complete all as specified and directed. | 300.00 | Sqm |  | 30.00 | 9000.00 | 16.00 | 4800.00 | 22.00 | 6600.00 | 22.00 | 6600.00 | 4800.00 | M/S VISHNU ENTERPRISES
55.00 | All as per item No. 54 above but on steel surface -ditto- | 200.00 | Sqm |  | 30.00 | 6000.00 | 16.00 | 3200.00 | 22.00 | 4400.00 | 22.00 | 4400.00 | 3200.00 | M/S VISHNU ENTERPRISES
56.00 | Material and Labour for 40mm thick PCC 1:2:4 type B-1 (using 20mm graded stone agg.) as in floors finished even and smooth using extra cement all as specified and directed. | 112.64 | Sqm |  | 70.00 | 7884.80 | 125.00 | 14080.00 | 150.00 | 16896.00 | 170.00 | 19148.80 | 7884.80 | G.S.CONSTRUCATIONS
57.00 | Supply and fix 3 mm thick and 38 mm wide glass dividing stripes laid as in floors complete all as specified and directed. | 201.60 | RM |  | 15.00 | 3024.00 | 18.00 | 3628.80 | 20.00 | 4032.00 | 13.00 | 2620.80 | 2620.80 | M/S Shree Ram Enterprises
58.00 | Material and Labour of type D2, 1:4:8 using (40mm graded stone aggregate) 75mm thick as in sub base complete all as specified and as directed. | 112.64 | Sqm |  | 120.00 | 13516.80 | 125.00 | 14080.00 | 150.00 | 16896.00 | 150.00 | 16896.00 | 13516.80 | G.S.CONSTRUCATIONS
59.00 | Material and Labour for 75 mm thick PCC 1:3:6, type C-2 (using 20mm graded stone aggregate) as in plinth protection, surface finished even and smooth without using extra cement complete all as specified and directed. | 240.75 | Sqm |  | 130.00 | 31297.50 | 145.00 | 34908.75 | 145.00 | 34908.75 | 160.00 | 38520.00 | 31297.50 | G.S.CONSTRUCATIONS
60.00 | Demolition of reinforced (reinforcement cut as required to facilitate demolition) cement concrete in ground floors and paving not exceeding 15 cm thickness ( below or above ground level) all as directed. | 4.00 | Cum |  | 200.00 | 800.00 | 90.00 | 360.00 | 200.00 | 800.00 | 100.00 | 400.00 | 360.00 | M/S VISHNU ENTERPRISES
61.00 | Formwork to soffits of suspended slabs such as roofs slabs, floor slabs landing and similar work not exceeding 200mm thick (horizontal or sloping) rough finished surface etc complete all as specified and directed. | 20.00 | Sqm |  | 100.00 | 2000.00 | 135.00 | 2700.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 2000.00 | G.S.CONSTRUCATIONS, H S BUILDERS
62.00 | Material and Labour for precast cement concrete (1:2:4) type B1 (using 20mm graded stone aggregate) set in cement mortar (1:6) work for landings, cover slabs, manholes, chajjas, water troughs, manger shelves and similar articles with plain faces complete all as specified and as directed. | 2.00 | Cum |  | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3900.00 | 7800.00 | 4000.00 | 8000.00 | 6000.00 | G.S.CONSTRUCATIONS
63.00 | Material and Labour for reinforced cement concrete (1:1.5:3) (nominal mix) type A1 using 20mm graded stone aggregate as in slabs supported on wall beam and columm in floor slabs and roofs landing deck slabs and in shelves complete all as specified and directed. Note- Steel reinforcement shall be measured and paid for separetely. | 2.00 | Cum |  | 4000.00 | 8000.00 | 3700.00 | 7400.00 | 4200.00 | 8400.00 | 4000.00 | 8000.00 | 7400.00 | M/S VISHNU ENTERPRISES
64.00 | Material and Labour mild steel TMT bars 6 to 8mm dia and over cut to length bent shape as required including cranking bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or secruing with clips quality conforming to Fe-410-S complete all as specified and directed. | 200.00 | Kg |  | 65.00 | 13000.00 | 65.00 | 13000.00 | 74.00 | 14800.00 | 65.00 | 13000.00 | 13000.00 | M/S VISHNU ENTERPRISES, M/S Shree Ram Enterprises, G.S.CONSTRUCATIONS
65.00 | Material and Labour for mild TMT bars 10mm dia and over cut to length bent shape as required including cranking bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips quality conforming to fe-410-S complete all as specified and as directed. | 300.00 | Kg |  | 65.00 | 19500.00 | 65.00 | 19500.00 | 74.00 | 22200.00 | 65.00 | 19500.00 | 19500.00 | M/S VISHNU ENTERPRISES, M/S Shree Ram Enterprises, G.S.CONSTRUCATIONS
66.00 | Dismantling floor, hearth or wall tiling terrazo including cement mortar bedding (but not backing) removeing serviceable tiles to store and rubbish off the permises complete all as specified and as directed. | 1445.78 | Sqm |  | 15.00 | 21686.70 | 5.00 | 7228.90 | 20.00 | 28915.60 | 5.00 | 7228.90 | 7228.90 | M/S VISHNU ENTERPRISES, M/S Shree Ram Enterprises
67.00 | Supply and fix coloured glazed ceramic tile of approved shed of size 300mm x 200mm x 7mm thick set jointed in neat cement slurry and pointed in white or coloured cement in vertical surface including 10mm thick rendering in CM (1:4) complete all as specified and directed. | 708.00 | Sqm |  | 700.00 | 495600.00 | 512.00 | 362496.00 | 430.00 | 304440.00 | 550.00 | 389400.00 | 304440.00 | H S BUILDERS
68.00 | Supply and fix non-skid coloured ceramic tiles 7 to 8mm thick jointless (square/rectangular) area of each tile execeeding 0.11 Square Metre but not exeeding 0.18 sqm in floors etc set and jointed in neat cement slurry and pointed in white or colored cement to match including 15mm thick screed bed in CM 1:6 complete all as specified and directed. | 560.00 | Sqm |  | 700.00 | 392000.00 | 538.00 | 301280.00 | 540.00 | 302400.00 | 580.00 | 324800.00 | 301280.00 | M/S VISHNU ENTERPRISES
69.00 | Supply and fix for coloured glazed ceramic tiles of approved shade of size 450mm x300 mm x7 to 8mm thick laid Dado etc set and jointed in white or coloured cement to match the surface (existing) laid over and including 10mm thick rendering in CM 1:4, complete all as specified and directed. | 57.78 | Sqm |  | 700.00 | 40446.00 | 635.00 | 36690.30 | 620.00 | 35823.60 | 700.00 | 40446.00 | 35823.60 | H S BUILDERS
70.00 | Material and labour for non skid coloured ceramic tiles 7 to 8 mm thick joint less (Square/rectangular) area of each tiles exceeding 0.06 sqm but not exceeding 0.11 sqm in floors etc set and jointed in neat cement slurry and painted in white or coloured cement to match over and including 15mm thick screed bed in CM 1:6 complete all as specified and directed. | 120.00 | Sqm |  | 700.00 | 84000.00 | 555.00 | 66600.00 | 450.00 | 54000.00 | 570.00 | 68400.00 | 54000.00 | H S BUILDERS
71.00 | Dismantling of stone slabs and tiles of any description or thickness in floor aprons, cills etc laid bedded and pointed in any mortar complete all as and directed. | 31.20 | Ten Sqm |  | 100.00 | 3120.00 | 120.00 | 3744.00 | 150.00 | 4680.00 | 150.00 | 4680.00 | 3120.00 | G.S.CONSTRUCATIONS
72.00 | Material and Labour for machine cut Kota stone slabs flooring 18-20mm thick over cement screed bed laid over including 20mm thick screed bed in CM 1:6 and jointed with grey cement slurry mixed with gary cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete all as specified and directed. | 255.00 | Sqm |  | 750.00 | 191250.00 | 710.00 | 181050.00 | 655.00 | 167025.00 | 750.00 | 191250.00 | 167025.00 | H S BUILDERS
73.00 | Material and Labour for machine cut kota stone slab 20-25mm thick in rider of steps, skiriting, dado and pillar laid over cement screed base laid over including 10mm thick screed bed in CM 1:6 and jointed with grey cement slurry mixed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete all as specified and directed. | 43.00 | Sqm |  | 750.00 | 32250.00 | 720.00 | 30960.00 | 655.00 | 28165.00 | 750.00 | 32250.00 | 28165.00 | H S BUILDERS
74.00 | Material and Labour for machine cut marble tile makarana Doogri adanga with 100mm wide strip stone 18-20mm thick in riser of steps, flooring skirting, dado and pillar laid over cement screed base laid over including 10mm thick screed bed in CM 1:6 and jointed with grey cement slurry mixed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete all as specified and directed. | 14.00 | Sqm |  | 1400.00 | 19600.00 | 1600.00 | 22400.00 | 680.00 | 9520.00 | 1400.00 | 19600.00 | 9520.00 | H S BUILDERS
75.00 | Material and Labour for 14 to 16mm thick Udaipur Green Stone, polished (table rubbed and polished) as in floors, kitchen platforms, borders etc. over and including 15mm thick screeding in cement mortar 1:4 borders including rounding of edges complete all as specified and directed. by Engineer-in-charge. | 40.00 | Sqm |  | 1000.00 | 40000.00 | 2100.00 | 84000.00 | 700.00 | 28000.00 | 2100.00 | 84000.00 | 28000.00 | H S BUILDERS
76.00 | Supply and fix 25mm dia MS fancy type vista pattern curtain rod of approved finish of superior quality including fancy type knobs at both ends, bracket for supports and rings etc complete all as specified and directed. | 408.00 | RM |  | 100.00 | 40800.00 | 140.00 | 57120.00 | 45.00 | 18360.00 | 135.00 | 55080.00 | 18360.00 | H S BUILDERS
77.00 | Supply and fix in repair vitreous china squatting pan "Orrissa" pattern of size 580x440mm white with integral footrests excluding flushing cistern including connection to trap and cistren, flush pipe and making good disturbed surface of floor complete all as specified and directed. | 4.00 | Each |  | 1300.00 | 5200.00 | 1700.00 | 6800.00 | 1400.00 | 5600.00 | 1200.00 | 4800.00 | 4800.00 | M/S Shree Ram Enterprises
78.00 | Supply and fix vitreous china wash down water closet pan (Pedestal pattern) white, with 'P' or 'S' trap including connection to trap and cistern and flush pipe excluding flusing cistern including PVC white seat cover, closed pattern fixed with aluminium hinging device and making good to disturbed surface of floor, fixed as in repair complete all as specified and directed. by GE/Engineer-in-charge. | 12.00 | Each |  | 1300.00 | 15600.00 | 2100.00 | 25200.00 | 1700.00 | 20400.00 | 1800.00 | 21600.00 | 15600.00 | G.S.CONSTRUCATIONS
79.00 | Supply and fix PVC low level flusing cistern of 10 ltr capacity fixed in repair including siphon float valve and rubber cone etc complete all as specified and directed. | 20.00 | Each |  | 700.00 | 14000.00 | 900.00 | 18000.00 | 1100.00 | 22000.00 | 800.00 | 16000.00 | 14000.00 | G.S.CONSTRUCATIONS
80.00 | Supply and fix 15mm dia CP angle valve of superior quality fixed as an repairs complete all as specified and directed. | 55.00 | Each |  | 300.00 | 16500.00 | 600.00 | 33000.00 | 300.00 | 16500.00 | 400.00 | 22000.00 | 16500.00 | G.S.CONSTRUCATIONS, H S BUILDERS
81.00 | Supply and fix 15mm bore stop valves brass chromium plated screwed down high pressure with crutch or butterfly handle, screwed both ends for iron pipes fixed as in repair complete all as specified and directed. | 10.00 | Each |  | 300.00 | 3000.00 | 480.00 | 4800.00 | 250.00 | 2500.00 | 400.00 | 4000.00 | 2500.00 | H S BUILDERS
82.00 | Supply and fix in repair PVC connection of 15mm bore 600mm long with brass coupling on both ends of superior quality complete all as specified and directed. | 60.00 | Each |  | 30.00 | 1800.00 | 60.00 | 3600.00 | 70.00 | 4200.00 | 70.00 | 4200.00 | 1800.00 | G.S.CONSTRUCATIONS
83.00 | Supply and fix CP brass 75mm dia shower rose with or without swival joints with arms suitable 15mm bore pipe fixed as in repair complete all as specified and directed. | 20.00 | Each |  | 300.00 | 6000.00 | 180.00 | 3600.00 | 190.00 | 3800.00 | 280.00 | 5600.00 | 3600.00 | M/S VISHNU ENTERPRISES
84.00 | Supply and fix vitreous china wash basin white flat back type of size 550x400mm including cutting for pinning in ends of brackets as in repair and 32mm dia chromium plated waste coupling complete all as specified and directed. | 26.00 | Each |  | 1000.00 | 26000.00 | 1600.00 | 41600.00 | 950.00 | 24700.00 | 1300.00 | 33800.00 | 24700.00 | H S BUILDERS
85.00 | Supply and fix in repair 600mm x 450mm size looking mirror of selected quality glass mounted on 6mm thick AC bldg borad or commercial plywood and fixed to wooden plug with chormium plated screws and cup washer, including aluminium frame complete all as specified and directed. | 20.00 | Each |  | 300.00 | 6000.00 | 460.00 | 9200.00 | 600.00 | 12000.00 | 550.00 | 11000.00 | 6000.00 | G.S.CONSTRUCATIONS
86.00 | Supply and fix kitchen sinks made of stainless steel 0.80mm thick with plug, washer and waste couping including bedding in cement mortar including fixing cantilever brackets and connecting union to pipe, over all size 1140cm X 510mm and bowl size 560mmX405mm complete fixed in repair all as specified. | 34.00 | Each |  | 2000.00 | 68000.00 | 2800.00 | 95200.00 | 2500.00 | 85000.00 | 3200.00 | 108800.00 | 68000.00 | G.S.CONSTRUCATIONS
87.00 | Supply and fix stainless steel plate rack 1mm thick of size 900mm x600mm including shelves rod for putting plates etc fixed as in repairs all as specified. | 34.00 | Each |  | 1500.00 | 51000.00 | 3200.00 | 108800.00 | 3000.00 | 102000.00 | 1800.00 | 61200.00 | 51000.00 | G.S.CONSTRUCATIONS
88.00 | Supply and fix 15mm dia CP bib taps of superior quality long body cast copper alloy with crutch or butterfly handle screwed for iron pipe fixed as in repairs, complete all as specified and directed. | 80.00 | Each |  | 300.00 | 24000.00 | 655.00 | 52400.00 | 300.00 | 24000.00 | 450.00 | 36000.00 | 24000.00 | G.S.CONSTRUCATIONS, H S BUILDERS
89.00 | Supply and fix 15mm dia pillar taps of superior quality cast copper alloy with capstan heads, cromium plated screwed down high pressure with or without lettered hot or cold with long screwed shanks and fly nuts, screws for iron pipe fixed as in repairs complete all as specified and directed . | 30.00 | Each |  | 350.00 | 10500.00 | 1600.00 | 48000.00 | 300.00 | 9000.00 | 450.00 | 13500.00 | 9000.00 | H S BUILDERS
90.00 | Supply and fix CP brass shower rose of superior quality long body with or without swivel joints of 125mm size fix with 15mm pipe fixed as in repairs, complete all as specified and directed. | 34.00 | Each |  | 300.00 | 10200.00 | 800.00 | 27200.00 | 280.00 | 9520.00 | 290.00 | 9860.00 | 9520.00 | H S BUILDERS
91.00 | Supply and fix 15mm bore stop valves fancy CP concealed type screwed down high pressure with crutch or butterfly handle, screwed both ends for iron pipe as in repair complete all as specified and directed. | 30.00 | Each |  | 250.00 | 7500.00 | 700.00 | 21000.00 | 250.00 | 7500.00 | 490.00 | 14700.00 | 7500.00 | G.S.CONSTRUCATIONS, H S BUILDERS
92.00 | Supply and fix in repair 20mm bore Gun metal globe or gate valves with iron wheel head screwed both ends for iron pipe complete all as specified and directed. | 34.00 | Each |  | 300.00 | 10200.00 | 600.00 | 20400.00 | 200.00 | 6800.00 | 390.00 | 13260.00 | 6800.00 | H S BUILDERS
93.00 | Supply and fix in repair chromium plated superior quality brass soap dish as per sample complete all as specified. | 34.00 | Each |  | 300.00 | 10200.00 | 600.00 | 20400.00 | 125.00 | 4250.00 | 250.00 | 8500.00 | 4250.00 | H S BUILDERS
94.00 | Supply and fix in repair 75mm bore PVC (SWR) pipes singles socketed in any length with rubber ring joints, laid in trenches or in floors complete all as specified and directed. | 30.00 | RM |  | 300.00 | 9000.00 | 140.00 | 4200.00 | 120.00 | 3600.00 | 140.00 | 4200.00 | 3600.00 | H S BUILDERS
95.00 | All as per item No. 94 here-in-before but fixed to wall complete all asspecified and directed. | 25.00 | RM |  | 300.00 | 7500.00 | 140.00 | 3500.00 | 135.00 | 3375.00 | 140.00 | 3500.00 | 3375.00 | H S BUILDERS
96.00 | Supply and fix in repair 75mm bore PVC (SWR) bends any radius complete all as specified and directed. | 8.00 | Each |  | 100.00 | 800.00 | 80.00 | 640.00 | 90.00 | 720.00 | 60.00 | 480.00 | 480.00 | M/S Shree Ram Enterprises
97.00 | Supply and fix in repair 75mm bore PVC (SWR) junction single, (Single T) equal or unequal complete all as specified and directed. | 12.00 | Each |  | 100.00 | 1200.00 | 335.00 | 4020.00 | 90.00 | 1080.00 | 60.00 | 720.00 | 720.00 | M/S Shree Ram Enterprises
98.00 | Supply and fix in repair 110mm bore PVC (SWR) junction single (Single T) equal or unequal complete all as specified and directed. | 4.00 | Each |  | 100.00 | 400.00 | 350.00 | 1400.00 | 140.00 | 560.00 | 80.00 | 320.00 | 320.00 | M/S Shree Ram Enterprises
99.00 | Supply and fix in repair 110mm bore PVC (SWR) vent cowl complete all as specified and directed. | 6.00 | Each |  | 100.00 | 600.00 | 125.00 | 750.00 | 100.00 | 600.00 | 110.00 | 660.00 | 600.00 | G.S.CONSTRUCATIONS, H S BUILDERS
100.00 | Materials and Labour for in repair 75mm dia outlet PVC (SWR) floor trap, plain with grating including jointing with solvent cement complete all as specified and directed. | 10.00 | Each |  | 200.00 | 2000.00 | 85.00 | 850.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 800.00 | M/S Shree Ram Enterprises
101.00 | Supply and fix in repair PVC (SWR) gully trap 125/110mm, setting and jointing with solvent cement complete all as specified and directed. | 4.00 | Each |  | 200.00 | 800.00 | 215.00 | 860.00 | 160.00 | 640.00 | 90.00 | 360.00 | 360.00 | M/S Shree Ram Enterprises
102.00 | Supply and fix in repair 75/100mm dia CP grating complete all as specified and directed. | 60.00 | Each |  | 200.00 | 12000.00 | 22.00 | 1320.00 | 35.00 | 2100.00 | 35.00 | 2100.00 | 1320.00 | M/S VISHNU ENTERPRISES
103.00 | Supply and fix in repair 125mm dia CP grating with hole for waste pipe complete all as specified and directed. | 5.00 | Each |  | 30.00 | 150.00 | 30.00 | 150.00 | 22.00 | 110.00 | 45.00 | 225.00 | 110.00 | H S BUILDERS
104.00 | Supply and fix in repair PVC waste pipe 32mm/40mm dia for wash hand basin/sink complete all as specified and directed. | 54.00 | Each |  | 30.00 | 1620.00 | 60.00 | 3240.00 | 70.00 | 3780.00 | 45.00 | 2430.00 | 1620.00 | G.S.CONSTRUCATIONS
105.00 | Supply and fix 110mm bore PVC rain water pipe single socketed, in any length with rubber ring joints fixed to wall and laid into trenches including taking down old unserviceable pipe complete all as specified and directed. | 72.00 | RM |  | 100.00 | 7200.00 | 165.00 | 11880.00 | 140.00 | 10080.00 | 150.00 | 10800.00 | 7200.00 | G.S.CONSTRUCATIONS
106.00 | Supply and fix PVC bends or shoes any radius 110mm bore complete all as specified and directed. | 24.00 | Each |  | 70.00 | 1680.00 | 68.00 | 1632.00 | 100.00 | 2400.00 | 90.00 | 2160.00 | 1632.00 | M/S VISHNU ENTERPRISES
107.00 | Supply and fix 32mm bore high density polythelene pipes (HDPE) of pressure rating 10kg/Sqcm in any length laid in floor or trenches complete all as specified and directed. | 10.00 | RM |  | 150.00 | 1500.00 | 55.00 | 550.00 | 80.00 | 800.00 | 50.00 | 500.00 | 500.00 | M/S Shree Ram Enterprises
108.00 | Cutting chases, pining making good to facing where required and pointing in CM 1:3 to edges of landing, steps, cills, sunshades, shelves, lintal etc and cutting chases for concelled water tubing making good cutting exc. 10 cm but n.exc 20 cm girth in brick wall complete all as specified and directed. | 10.00 | RM |  | 150.00 | 1500.00 | 20.00 | 200.00 | 140.00 | 1400.00 | 35.00 | 350.00 | 200.00 | M/S VISHNU ENTERPRISES
109.00 | Taking up or down steel tubing and connections 15mm bore including cleaning for refixing or removal from the site complete all as specified and directed. | 220.00 | RM |  | 30.00 | 6600.00 | 20.00 | 4400.00 | 20.00 | 4400.00 | 5.00 | 1100.00 | 1100.00 | M/S Shree Ram Enterprises
110.00 | All as per item No.109 above but 20mm bore. | 70.00 | RM |  | 50.00 | 3500.00 | 22.00 | 1540.00 | 20.00 | 1400.00 | 6.00 | 420.00 | 420.00 | M/S Shree Ram Enterprises
111.00 | Supply and fix Gl tubing 15mm bore medium grade with all fittings fixed to wall, celing or laid in floor as directed. Complete all as specified and directed. | 220.00 | RM |  | 120.00 | 26400.00 | 142.00 | 31240.00 | 145.00 | 31900.00 | 120.00 | 26400.00 | 26400.00 | M/S Shree Ram Enterprises, G.S.CONSTRUCATIONS
112.00 | All as per serial item No. 111 above but 20mm bore. | 70.00 | RM |  | 140.00 | 9800.00 | 160.00 | 11200.00 | 160.00 | 11200.00 | 140.00 | 9800.00 | 9800.00 | M/S Shree Ram Enterprises, G.S.CONSTRUCATIONS
113.00 | Dismantling existing water tanks capacity exc. 250 ltrs but n exc. 500ltrs, removing from site complete all as specified and directed. | 20.00 | Each |  | 100.00 | 2000.00 | 55.00 | 1100.00 | 160.00 | 3200.00 | 150.00 | 3000.00 | 1100.00 | M/S VISHNU ENTERPRISES
114.00 | Supply and fix 500 ltrs capacity rotational moulded polythylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position complete all as specified and directed. | 20.00 | Each |  | 3000.00 | 60000.00 | 3250.00 | 65000.00 | 3800.00 | 76000.00 | 3300.00 | 66000.00 | 60000.00 | G.S.CONSTRUCATIONS
115.00 | Supply and fix ball valve high pressure PTMT with epoxy coated aluminium rod and high density plastic ball screwed for iron pipe and fixed. (Minimum weight 20mm-210gms) complete all as specified and directed. | 20.00 | Each |  | 200.00 | 4000.00 | 240.00 | 4800.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 4000.00 | G.S.CONSTRUCATIONS
116.00 | Supply and fix 150mm long helical door spring MS stove enameled black including roller or roller plate as directed by Engineer-in-charge. | 60.00 | Each |  | 100.00 | 6000.00 | 110.00 | 6600.00 | 190.00 | 11400.00 | 110.00 | 6600.00 | 6000.00 | G.S.CONSTRUCATIONS
117.00 | Supply and fix Joist, Channel, Angle, or tee sections fixed independently, without connecting plates and all as specified and directed. | 325.00 | Kg |  | 70.00 | 22750.00 | 70.00 | 22750.00 | 100.00 | 32500.00 | 80.00 | 26000.00 | 22750.00 | M/S VISHNU ENTERPRISES, G.S.CONSTRUCATIONS
118.00 | Supply and fix 2mm thick Fibre glass reinforced translucent corrugated sheeting with two corrugations side lap fixed with coach screw and washer in chajja roof, wall etc. | 13.50 | Sqm |  | 450.00 | 6075.00 | 480.00 | 6480.00 | 450.00 | 6075.00 | 710.00 | 9585.00 | 6075.00 | G.S.CONSTRUCATIONS, H S BUILDERS
119.00 | Taking down old exiting water proofing treatment from the top of RCC/arch slab, including taking down existing PCC padding or plaster and hacking the top of RCC slab, cleaning with water and disposal of rubbish off the premises complete all as specified and directed. | 850.00 | Sqm |  | 20.00 | 17000.00 | 18.00 | 15300.00 | 100.00 | 85000.00 | 20.00 | 17000.00 | 15300.00 | M/S VISHNU ENTERPRISES
120.00 | Material and Labour for 40mm thick average thickness of PCC 1:2:4 type B-1 (using 20mm graded stone aggregates) as in padding on roof finished even and fair without using extra cement all as specified and directed. | 20.00 | Cum |  | 4000.00 | 80000.00 | 3000.00 | 60000.00 | 3500.00 | 70000.00 | 2500.00 | 50000.00 | 50000.00 | M/S Shree Ram Enterprises
121.00 | Material and Labour for cleaning of concrete or plastered surface of roof and applying priming coat using with bituminous primer @ 0.30kg per Sqm followed evenly by a tack @ 1.20kg per Sqm using 85/25 grade industrial hot blown bitumen, over it laid with APP modified polymeric water proofing membrane minimum weight 3.6kg per Sqm reinforced with non-woven polyester fabric(weight not less than 160 Gm per Sqm) unrolled and bonded to substrate with side and end laps 75mm and 100mm as per manufacture's instruction and applying over it a tack coat using 85/25, grade industrial hot blown bitumen @ 1.20 kg per Sqm including taking out the water proofing felts in to the parapet walls a horizontal groove 6.5 mm deep and 7.5 cm wide section with its lower edge not less than 15 cm and the bare at rear of the groove shall be finished smooth with 1:4 using WPC any crack in the roof shall be cut to V Section cleaned and filled up flush with CM slurry 1:4 or blown type patrolium bitumen of IS grade 85/25 confirming to IS 702 complete all as specified and as directed. | 850.00 | Sqm |  | 400.00 | 340000.00 | 385.00 | 327250.00 | 650.00 | 552500.00 | 490.00 | 416500.00 | 327250.00 | M/S VISHNU ENTERPRISES
122.00 | 40 mm thick brick tiles over and including 15 mm thick bedding layer in CM (1:4) jointed and pointed in CM (1:4) mixed with lincid oil @ 5% by weight of cement complete all as specified and as directed. | 745.00 | Sqm |  | 200.00 | 149000.00 | 285.00 | 212325.00 | 425.00 | 316625.00 | 240.00 | 178800.00 | 149000.00 | G.S.CONSTRUCATIONS
123.00 | All as per serial item No. 122 here-in-before but using old bricks, retrived from dismantling against item No 118 here-in-after | 105.00 | Sqm |  | 70.00 | 7350.00 | 195.00 | 20475.00 | 200.00 | 21000.00 | 130.00 | 13650.00 | 7350.00 | G.S.CONSTRUCATIONS
124.00 | Supply only integral water proofing compound complete all as specified and as directed | 30.00 | Kg |  | 30.00 | 900.00 | 32.00 | 960.00 | 50.00 | 1500.00 | 35.00 | 1050.00 | 900.00 | G.S.CONSTRUCATIONS
125.00 | Taking down DB/main switch of any size and making good disturbed surface of wall/floor complete all as specified. Note:- Temporary power supply shall be provided by contractor. | 19.00 | Each |  | 100.00 | 1900.00 | 100.00 | 1900.00 | 50.00 | 950.00 | 20.00 | 380.00 | 380.00 | M/S Shree Ram Enterprises
126.00 | Taking down old serviceable unserviceble SPN DB, 8 way alongwith MCB and making good disturbed surface of walls and floors for refixing or removal complete all as specified and directed. | 15.00 | Each |  | 100.00 | 1500.00 | 200.00 | 3000.00 | 50.00 | 750.00 | 20.00 | 300.00 | 300.00 | M/S Shree Ram Enterprises
127.00 | Taking down old serviceable/unserviceble MCB TPN DB, 4 way alongwith MCB and making good disturbed surface of walls and floors for refixing or removal complete all as specified and directed. | 4.00 | Each |  | 200.00 | 800.00 | 200.00 | 800.00 | 50.00 | 200.00 | 30.00 | 120.00 | 120.00 | M/S Shree Ram Enterprises
128.00 | Taking down U/S submain wiring aluminium ete making good the disturbed surfaces of walls/floor etc matching with the exitsing surface. | 125.00 | RM |  | 10.00 | 1250.00 | 5.00 | 625.00 | 10.00 | 1250.00 | 5.00 | 625.00 | 625.00 | M/S VISHNU ENTERPRISES, M/S Shree Ram Enterprises
129.00 | Taking down carefully aluminum wiring (light, fans, socket etc) complete including battens and fittings such as switch, ceiling rose, light fittings, regulators, socket, etc. and making good disturbed surface of wall/floor, etc. complete all as specified and directed. Note:- Temporary power supply shall be provided by contractor. | 420.00 | Point |  | 10.00 | 4200.00 | 5.00 | 2100.00 | 15.00 | 6300.00 | 15.00 | 6300.00 | 2100.00 | M/S VISHNU ENTERPRISES
130.00 | Material and labour for sub-main wiring (exiting concealed PVC conduit) with tow single core 4 sqmm FRLS stranded copper conductor cable drawn through including chasing cutting in any type of massinory including 25 mm dia non-metallic PVC conduit fixed in wall including 2.5 sqmm copper earth continuity wire, accessories and connecting to earth dolly complete all as specified and directed by Engineer-in-charge. | 70.00 | RM |  | 100.00 | 7000.00 | 110.00 | 7700.00 | 80.00 | 5600.00 | 105.00 | 7350.00 | 5600.00 | H S BUILDERS
131.00 | Material and labour for sub-main wiring (exiting concealed PVC conduit) with two single core 6 sq mm FRLS unsheathed stranded copper conductor cable drawn trough including chasing cutting in any type of massinory including 25 mm dia non-metallic PVC conduit fixed in wall including 4 sq mm copper earth continuity wire, accessories and connecting to earth dolly complete all as directed by Engineer-in-charge. | 55.00 | RM |  | 130.00 | 7150.00 | 70.00 | 3850.00 | 100.00 | 5500.00 | 130.00 | 7150.00 | 3850.00 | M/S VISHNU ENTERPRISES
132.00 | Material and labour for point wiring (concealed) in and including rigid non metallic PVC heavy duty conduit, 19/20 mm dia as per site requirement for concealed conduit wiring with 1.5 sqmm FRLS unsheathed multi stranded copper conductor cable with flush type metal boxes modular type suitable for fixing modular switches, sockets, fan regulator etc with white or any colour cover plate with and including PVC insulated unsheathed multi stranded copper conductor cable of 1.5 Sqmm as an earth wire connected to common earth and earth dolly as per IS specification and as specified for one light/fan/buzzer/socket controlled by one modular switch. Note:- Metal flush box and other modular accessories except switches, sockets and fan regulators shall be deemed included in the rate quoted. (a). One light point/ceiling fan/exhaust fan cntrolled by one switch. | 265.00 | Point |  | 300.00 | 79500.00 | 355.00 | 94075.00 | 275.00 | 72875.00 | 270.00 | 71550.00 | 71550.00 | M/S Shree Ram Enterprises
132.01 | One bell/buzzer point contolled by one switch. | 35.00 | Point |  | 300.00 | 10500.00 | 325.00 | 11375.00 | 300.00 | 10500.00 | 280.00 | 9800.00 | 9800.00 | M/S Shree Ram Enterprises
132.02 | One switch socket outlet 3 pin 6 amp on same board. | 40.00 | Point |  | 300.00 | 12000.00 | 250.00 | 10000.00 | 40.00 | 1600.00 | 95.00 | 3800.00 | 1600.00 | H S BUILDERS
133.00 | All as per item No 132.00 above but 1.5 Sqmm cable size and 1.5 Sqmm earth continity wire for one 3 pin socket outlet, 5 Amps on indepnedent board. | 40.00 | Point |  | 300.00 | 12000.00 | 335.00 | 13400.00 | 300.00 | 12000.00 | 280.00 | 11200.00 | 11200.00 | M/S Shree Ram Enterprises
134.00 | Matrial and labour for point wiring (concealed) in and including rigid non metalic PVC heavy duty conduit, 19/20 mm dia as per site requirement for concealed conduit wiring with 2.5 Sqmm FRLS unsheathed multi stranded copper conductor cable with flush type metal boxes modular type suitable for fixing moudular switches, sockets, fan regulator etc with white or any colour cover plate with and including PVC insulated unshathed multi stranded copper conductor cable of 2.5 Sqmm as an earth wire connected to common earth dolly as per IS specifications and as specified for one light/fan/buzzer/socket point controlled by one modular switch complete all as specifed and as directed. Note : Metal flush box and other modular accessories except swithes, sockets and fan regulators shall be deemed included in the rate quoted. (a) One switch socket outlet 3 pin 16 Amp on same board. Note for Item No 125.00 to 134.00 :- The disturbed surfaces of wall for concealing the wiring shall be make good by applying cement plaster, putty and colour wash etc matching with the existing surfaces. The rate for point wiring shall be deemed to include the cost of making good. | 40.00 | Point |  | 400.00 | 16000.00 | 455.00 | 18200.00 | 350.00 | 14000.00 | 380.00 | 15200.00 | 14000.00 | H S BUILDERS
135.00 | Taking down old U/S light fitting and supply and fix 20/22 Watt LED Luminare decorative box type fitting including LED tube with blue coloured end caps pre wired for LED tube energy saviong with high efficiency PMMA diffuser gives soft glare free light with available lumen output from 2000 total lumen. The lamp shall be 1200 mm length with G13 base. The 20/22 Watt system shall be operating at 220-240V AC supply having internal driver, IP 20, surge protection 2 KV, ambient temparature-20 to 45 degree C, freequency 50 to 60 Hz, the system efficiency must be between 80-100 lumen/watt, with 70% lumen maintenance up to 40000 Br Hrs with uniform visually comfortable light output at 150 degree beam spread, CRI minimum 80, PF should be greater than 0.95, THD <10%. individual LED's should not be visible for glare free output colour temparature 6500k filled on & including 2 Nos PVC block of suitable and connecting up to tube light fitting with connecting up with copper 3 core flexible white cord of min size of0.5 sqmm complete all as specified and as directed. | 100.00 | Each |  | 530.00 | 53000.00 | 470.00 | 47000.00 | 500.00 | 50000.00 | 525.00 | 52500.00 | 47000.00 | M/S VISHNU ENTERPRISES
136.00 | Taking down old U/S light fitting and supply, installation, testing and commissioning of LED Bulk head 9/10 Watt with a nominal system lumen output of 600 lumens and a minimum system efficiency of 60 lm/W. The luminare shall have a rated system lifetime of 50,000 burning hours at L70. The luminarie should have a colour temperature of 6500k and CRI > 70. The luminare shall meet IP 66 rating and IK 09 rating with THD < 20% and PF > 0.9. The luminare housing should made of high pressure die cast aluminium with polycarbonate front diffuser. The total power consumption should not exceed 10W complete all as specified and as directed. | 25.00 | Each |  | 1000.00 | 25000.00 | 1100.00 | 27500.00 | 1100.00 | 27500.00 | 900.00 | 22500.00 | 22500.00 | M/S Shree Ram Enterprises
137.00 | Supply and fix LED bulb 8 watt with lumrn 600 complete all as specified and directed. | 60.00 | Each |  | 100.00 | 6000.00 | 175.00 | 10500.00 | 50.00 | 3000.00 | 130.00 | 7800.00 | 3000.00 | H S BUILDERS
138.00 | Supply and fix Angle holder, PVC Polycarbonate type with back plate suitable for batten fittings. | 60.00 | Each |  | 30.00 | 1800.00 | 65.00 | 3900.00 | 20.00 | 1200.00 | 40.00 | 2400.00 | 1200.00 | H S BUILDERS
139.00 | Supply and fix 0-4 step Modular type electronic regulator for ceiling fan 1200 mm sweep, 240 volts, 100 Watt humfree single pole, all as specified and directed. | 40.00 | Each |  | 200.00 | 8000.00 | 180.00 | 7200.00 | 200.00 | 8000.00 | 250.00 | 10000.00 | 7200.00 | M/S VISHNU ENTERPRISES
140.00 | Supply and fix door bell, AC, single pole one way 230 Volts. | 35.00 | Each |  | 200.00 | 7000.00 | 270.00 | 9450.00 | 100.00 | 3500.00 | 140.00 | 4900.00 | 3500.00 | H S BUILDERS
141.00 | Supply and fix bell push, modular type, 6 Amps, 1 module, 230 volts all as specified and directed. | 35.00 | Each |  | 40.00 | 1400.00 | 125.00 | 4375.00 | 50.00 | 1750.00 | 50.00 | 1750.00 | 1400.00 | G.S.CONSTRUCATIONS
142.00 | Supply and fix Switch modular type, single pole one way 6 Amps, 250 volts AC suitable for modular switchboxes without indicator all as specified and directed. | 345.00 | Each |  | 40.00 | 13800.00 | 80.00 | 27600.00 | 40.00 | 13800.00 | 40.00 | 13800.00 | 13800.00 | M/S Shree Ram Enterprises, G.S.CONSTRUCATIONS, H S BUILDERS
143.00 | Supply and fix Socket modular type pole one way 6 Amps 2/3 pin 250 volts including taking down the old modular socket. | 80.00 | Each |  | 70.00 | 5600.00 | 100.00 | 8000.00 | 100.00 | 8000.00 | 50.00 | 4000.00 | 4000.00 | M/S Shree Ram Enterprises
144.00 | Material and labour for ceiling rose, surface bakelite 65x50 mm, two three terminals all as specified and directed by Engineer-in-charge. | 265.00 | Each |  | 30.00 | 7950.00 | 40.00 | 10600.00 | 20.00 | 5300.00 | 22.00 | 5830.00 | 5300.00 | H S BUILDERS
145.00 | Supply and fix socket modular type 16 Amps, 3 pin combine, 2 module, 240 volts all as directed. | 40.00 | Each |  | 100.00 | 4000.00 | 115.00 | 4600.00 | 220.00 | 8800.00 | 75.00 | 3000.00 | 3000.00 | M/S Shree Ram Enterprises
146.00 | Supply and fix switch modular type 16 Amps, 1 module, 240 volts all as specified and directed. | 40.00 | Each |  | 100.00 | 4000.00 | 90.00 | 3600.00 | 80.00 | 3200.00 | 70.00 | 2800.00 | 2800.00 | M/S Shree Ram Enterprises
147.00 | Supply and fix sheet metal enclosures for SPN DB's with double glazed door for incorporating MCBs,IP-43, 8 way with 200 apms rated busbar, 240 volts, as per IS-8623, including taking down old unserviceable single phase DBs, all as specified and as directed. | 15.00 | Each |  | 1000.00 | 15000.00 | 2700.00 | 40500.00 | 900.00 | 13500.00 | 1200.00 | 18000.00 | 13500.00 | H S BUILDERS
148.00 | Supply and fix sheet metal enclosures for DB's for incorporating MCBs TPN, 4 way, IP-43 double glazed door with 200 apms rated busbar, 415 volts, as per IS-8623, including taking down old unserviceable DBs, all as specified and as directed. | 4.00 | Each |  | 2500.00 | 10000.00 | 2400.00 | 9600.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 9600.00 | M/S VISHNU ENTERPRISES
149.00 | Supply and fix MCB four poles, 63 amps, breaking capacity 10 KA 'C' curve confirming to IS-8828, 240 volts, 50 HZ including making necessary incoming and outgoing electrical connection with suitable size of copper lugs etc. | 4.00 | Each |  | 500.00 | 2000.00 | 700.00 | 2800.00 | 850.00 | 3400.00 | 4200.00 | 16800.00 | 2000.00 | G.S.CONSTRUCATIONS
150.00 | Supply and fix MCB SPN.32 apms 'C' series braking capacity 10 KA 'C' curve 240 volts, 50 Hz including necessary incoming and outgoing electric connection with suitable size of copper lugs etc. | 15.00 | Each |  | 130.00 | 1950.00 | 600.00 | 9000.00 | 300.00 | 4500.00 | 450.00 | 6750.00 | 1950.00 | G.S.CONSTRUCATIONS
151.00 | Supply and fix MCB SP,6 to 32 Amps, C series, breaking capacity 10 KA, 'C' curve 240 volts, 50Hz including necessary incoming and outgoing electric connection with suitable size of coppere lugs etc . | 60.00 | Each |  | 130.00 | 7800.00 | 135.00 | 8100.00 | 150.00 | 9000.00 | 170.00 | 10200.00 | 7800.00 | G.S.CONSTRUCATIONS
| Total in Figures |  |  |  |  | 4391530.80 |  | 4511469.25 |  | 4794541.95 |  | 4721719.50
Lowest Amount Quoted BY: G.S.CONSTRUCATIONS(4391530.80)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIR TO CERTAIN BUILDINGS INCLUDING ROOF TREATMENT OF MARRIED ACCN AT AF STN SURATGARH Tender ID: 2018_MES_221295_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | G.S.CONSTRUCATIONS | 4391530.80 | L1
| 2 | M/S VISHNU ENTERPRISES | 4511469.25 | L2
| 3 | M/S Shree Ram Enterprises | 4721719.50 | L3
| 4 | H S BUILDERS | 4794541.95 | L4