## BoQ1
eProcurement System for Organisations under MoD Created By: Dilip Kumar Jha Created Date/Time: 03-Jan-2019 04:04 PM Tender Title: SPECIAL REPAIRS /REPLACEMENT OF UG CABLES ALONGWITH CONNECTED ITEMS AROUND RUNWAY AT AF STN SURATGARH Tender ID: 2018_MES_221855_1
Tender Inviting Authority: CWE (AF) BIKANER
Name of Work : SPECIAL REPAIRS/REPLACEMENT OF UG CABLES ALONGWITH CONNECTED ITEMS AROUND RUNWAY AT AF STN SURATGARH
Contract No: CA NO CWE (AF) BKN/SOG-38/2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AJAY ELECTRIC COMPANY |  | SRI SAI CONSTRUCTION COMPANY |  | M/s Rohit Construction Co. |  | AABIA CONSTRUCTION
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down the unserviceable LT cable of any size from trenches/walls/floor etc complete all as specified and as directed. | 7850.00 | RM |  | 5.00 | 39250.00 | 5.00 | 39250.00 | 5.00 | 39250.00 | 50.00 | 392500.00 | 39250.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY, M/s Rohit Construction Co.
2.00 | Excavation in trenches in hard/dense soil n. exc 1.5 m wide and n. exc 1.5 m in depth for laying of cable/laying of water pipe and getting out of excavated material complete all as specified and as directed. | 2224.00 | Cum |  | 51.00 | 113424.00 | 47.00 | 104528.00 | 100.00 | 222400.00 | 50.00 | 111200.00 | 104528.00 | SRI SAI CONSTRUCTION COMPANY
3.00 | Returning, filling in, including spreading, leveling, watering and well ramming in layer n. exc 25cm thick each complete all as specified and as directed. | 1479.20 | Cum |  | 15.00 | 22188.00 | 15.00 | 22188.00 | 20.00 | 29584.00 | 20.00 | 29584.00 | 22188.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY
4.00 | Removing excavated soil to a distance n. exc 50 meter and depositing where directed at a level n. exc 1.50 meter above the starting point complete all as specified and as directed. | 744.80 | Cum |  | 25.00 | 18620.00 | 25.00 | 18620.00 | 20.00 | 14896.00 | 20.00 | 14896.00 | 14896.00 | M/s Rohit Construction Co., AABIA CONSTRUCTION
5.00 | Material and labour for river bed fine sand in trenches/ducts 8cm under cable and 15 cm above the cable for cushioning/protection to cable including spreding, levelling and get thick 18cm after hand punning complete all as specified in para 19.75 of SSR Part-I and as directed. | 570.00 | Cum |  | 260.00 | 148200.00 | 190.00 | 108300.00 | 300.00 | 171000.00 | 400.00 | 228000.00 | 108300.00 | SRI SAI CONSTRUCTION COMPANY
6.00 | Supply and fixing burnt brick sub class B for cable protection laid adjacent to each other perpendicular to the direction of cable in trenches complete all as specified and as directed. | 56500.00 | Each |  | 2.75 | 155375.00 | 2.00 | 113000.00 | 2.00 | 113000.00 | 2.00 | 113000.00 | 113000.00 | SRI SAI CONSTRUCTION COMPANY, M/s Rohit Construction Co., AABIA CONSTRUCTION
7.00 | Material and labour for PCC 1:4:8 type D2 using 40 mm graded stone aggregate as in foundation for poles, filling of mass concrete complete all as specified and as directed | 2.00 | Cum |  | 1800.00 | 3600.00 | 1600.00 | 3200.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 3200.00 | SRI SAI CONSTRUCTION COMPANY
8.00 | Material and labour for PCC 1:2:4 type B-1 using 20 mm graded stone aggregate as in coping for old and new poles including form work complete all as specified and as directed. | 2.00 | Cum |  | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 4000.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY
9.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 16 Sqmm 4 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 2600.00 | RM |  | 136.00 | 353600.00 | 130.00 | 338000.00 | 110.00 | 286000.00 | 300.00 | 780000.00 | 286000.00 | M/s Rohit Construction Co.
10.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 25 Sqmm 4 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 1350.00 | RM |  | 161.00 | 217350.00 | 157.00 | 211950.00 | 145.00 | 195750.00 | 350.00 | 472500.00 | 195750.00 | M/s Rohit Construction Co.
11.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 50 Sqmm 3.5 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 500.00 | RM |  | 265.00 | 132500.00 | 260.00 | 130000.00 | 215.00 | 107500.00 | 320.00 | 160000.00 | 107500.00 | M/s Rohit Construction Co.
12.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 95 Sqmm 3.5 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 500.00 | RM |  | 441.00 | 220500.00 | 431.00 | 215500.00 | 370.00 | 185000.00 | 500.00 | 250000.00 | 185000.00 | M/s Rohit Construction Co.
13.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 150 Sqmm 3.5 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 500.00 | RM |  | 610.00 | 305000.00 | 585.00 | 292500.00 | 600.00 | 300000.00 | 650.00 | 325000.00 | 292500.00 | SRI SAI CONSTRUCTION COMPANY
14.00 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 240 Sqmm 3.5 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 2000.00 | RM |  | 1025.00 | 2050000.00 | 987.00 | 1974000.00 | 950.00 | 1900000.00 | 1100.00 | 2200000.00 | 1900000.00 | M/s Rohit Construction Co.
14.01 | Supply, laying and testing cable XLPE insulated, screened PVC bedded galvanised steel strip or wire armoured, electric power cables (Heavy duty) 1100 volts grade with stranded aluminium conductor of size 400 Sqmm 3.5 core laid in trenches/ducts/encased in GI Pipe/fixed to pole or drawing through existing trenchess boring/pipe under runway complete all as specefied and as directed. | 400.00 | RM |  | 1319.00 | 527600.00 | 1280.00 | 512000.00 | 1500.00 | 600000.00 | 2000.00 | 800000.00 | 512000.00 | SRI SAI CONSTRUCTION COMPANY
15.00 | Material and labour for MS works, cross arms, bracing, support clamps and back plate fabricated out of structural steel sections including nuts, bolts and washers, welding, bending hot or cold, cutting, drilling holes for bolts in any shape or size as directed and including one coat of red oxide primer, one under coat and one finishing coat of aluminium paint complete all as specified and as directed. | 1.00 | Qtls |  | 7500.00 | 7500.00 | 71.00 | 71.00 | 8500.00 | 8500.00 | 80.00 | 80.00 | 71.00 | SRI SAI CONSTRUCTION COMPANY
16.00 | Supply and Fix for galvanised iron tubing 100 mm dia light grade with all fitting laid under floor/road crossing or in trenches or fixed to pole /walls with with clamps as required including sealing of pipe ends with apporoval sealing compound etc complete all as specified and as directed. | 90.00 | RM |  | 531.00 | 47790.00 | 461.00 | 41490.00 | 450.00 | 40500.00 | 500.00 | 45000.00 | 40500.00 | M/s Rohit Construction Co.
17.00 | Supply and laying galvanised iron tube 20 mm bore medium Grade with all fitting including cutting, threading etc as site requirement and drilling holes/fixing clamp set for taking branch connection from main pipe line and fixed on walls or laid under floors complete all as specified and as directed | 100.00 | RM |  | 181.00 | 18100.00 | 180.00 | 18000.00 | 130.00 | 13000.00 | 200.00 | 20000.00 | 13000.00 | M/s Rohit Construction Co.
18.00 | Supply and laying galvanised iron tube 25 mm bore medium Grade with all fitting including cutting, threading etc as site requirement and drilling holes/fixing clamp set for taking branch connection from main pipe line and fixed on walls or laid under floors complete all as specified and as directed | 100.00 | RM |  | 220.00 | 22000.00 | 240.00 | 24000.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 15000.00 | M/s Rohit Construction Co.
19.00 | Supply and Fix for galvanised iron tubing 40 mm dia light grade with all fitting laid under floor/road crossing or in trenches or fixed to pole /walls with with clamps as required including sealing of pipe ends with apporoval sealing compound etc complete all as specified and as directed. | 120.00 | RM |  | 240.00 | 28800.00 | 240.00 | 28800.00 | 250.00 | 30000.00 | 300.00 | 36000.00 | 28800.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY
20.00 | Supply and laying galvanised iron tube 50 mm bore medium Grade with all fitting including cutting, threading etc as site requirement and drilling holes/fixing clamp set for taking branch connection from main pipe line and fixed on walls or laid under floors complete all as specified and as directed | 1400.00 | RM |  | 485.00 | 679000.00 | 475.00 | 665000.00 | 415.00 | 581000.00 | 300.00 | 420000.00 | 420000.00 | AABIA CONSTRUCTION
21.00 | Supply and fix 20/25 watt LED elevated taxiway edge light/helipad light with aluminium casting, stainless steel hardware and protected with aviation yellow powder coat finish and average LED life of 100000 hours under high intensity conditions and more than 180000 hours under typical operating conditions, UV resistant polycarbonate outer lens option minimizes risk of lens damage including 20/25 watt isolation transformer with IP 66 degree protection, colour white, intencity 10 cd at 15 degree elevation (100%) and horizontal output 360 degree, voltage range of 140-280 volt should be provided. Luminaries should have top main table driver compartment for easy access to driver during maintnance complete all as specified and directed by Engineer-in-Charge. | 39.00 | Each |  | 7200.00 | 280800.00 | 7500.00 | 292500.00 | 9900.00 | 386100.00 | 3200.00 | 124800.00 | 124800.00 | AABIA CONSTRUCTION
22.00 | Supply and fix 2 core 2.5 sqmm PVC insulted PVC sheathed weather proof mulitistranded copper conductor cable 1100 volts grade drawn through in GI conduit, pole etc with MS clamps from junction box to street light fitting all as specified and directed. | 40.00 | RM |  | 20.00 | 800.00 | 20.00 | 800.00 | 40.00 | 1600.00 | 155.00 | 6200.00 | 800.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY
23.00 | Supply and fix Thermoplastic cable junction box IP 55/IP 65 with metric knockout for cable entry with terminal of size 280x170x130 mm on pole with MS clamps, nut bolts, wahsers and glands suitable for 16 sq mm 04 core including one no MCB SP 32 Amps cable and all as specified and directed | 39.00 | Each |  | 810.00 | 31590.00 | 775.00 | 30225.00 | 860.00 | 33540.00 | 900.00 | 35100.00 | 30225.00 | SRI SAI CONSTRUCTION COMPANY
24.00 | Supply and installation LT Electric control panel, cubical type, for out door use, dust & vermin proof floor mounted made out of CRCA steel sheet of 3.15 mm thick and 2.00 mm thick other parts and angel iron legs of size 50mm x 50 mm x 6 00 having front and rear hinged doors with front openable shutters for each MCCB having hinges on one side and locating arragnemetns with screws type on other sides completely with fully enclosed bus bar chamber, having electrolytic high conductvity insulated bas bar made but of aluminium strip of rating 600 amps for 3 phase 415 volts, 50 C/S 4 wire system, with cable entry provision, with suitable lugs gland, voltmeter, ammeter and phase indicator complete all as including necessary PCC work of height 45 cm from the ground level and equipped with the following items. Note : Drawing and all materials viz MCB/MCCB/Instruments etc for LT panels shall be got approved by GE before fabrication. Rate for MCCBs MCBs, instruments is included in unit rate of items :- INCOMER 1. MCCB, 4 pole, 415 volt, 250 amps, breaking capacity 35 KA adjustable thermal and fixed magnetic setting - 01 No. II. Digital Ammeter 0-300 Amps CT operated with selector swith - 01 No. III. Digital Ammeter 0-500 Amps CT operated with selector swith - 01 No. IV. LED indicator lamp in three colour RYB-03 Nos. OUT GOING I. MCCB, 3 pole, 200 Amps, breaking capacity 25 KA adjustable thermal and fixed magnetic setting - 01 Nos. II. MCCB, 3 pole, 100 Amps, breaking capacity 25 KA adjustable thermal and fixed magnetic setting - 01 Nos. III. MCCB, 3 pole, 63 Amps, breaking capacity 16 KA adjustable thermal and fixed magnetic setting - 02 Nos | 4.00 | Each |  | 67500.00 | 270000.00 | 61500.00 | 246000.00 | 85000.00 | 340000.00 | 160000.00 | 640000.00 | 246000.00 | SRI SAI CONSTRUCTION COMPANY
25.00 | Supply, installation and commissioning LT feedrer piller box of size 75x45x90 cm outdoor type factory made manufactured by a CPRI approved manufacturer, made out of 3.15 mm thick CRCA sheet and self supporting, built upon rigid frame work suitable for 440 Volt 3 Phase 4 wire system having front and Rear Hinged Doors with neroprene rubber gasket, Epoxy powder coated with Danger plate, Earthing strip point and Bottom detachable gland plate complete with suitable size Zinc chromium plated Nuts, bolts and Washers, etc having colour code aluminium bus bar inter connections for easy identification including incoming/outgoing cable holes at bottom, provision of six nos connectors and embeded with Mild Steel angle Iron Frame of Size 50x50x6mm and 450mm above normal ground lelvel complete with PCC foundation in Cement concrete (1:2:4) type B1 (20 mm Graded Stone Aggerate) and Testing after installation including taking down unserviceable Feeder Piller Box with connected accessories after disconnecting all incoming and outgoing cables, etc. complete all as specified and comprising with the following :- (a) Aluminium Bus-bar 400 Amp, supported with suitable size of Heavy Duty Porcelain Stand lock with suitable size of Brass nut, Bolts and washer with heat shrinkable PVC sleeving. The Bar shall be colour coded (Red, Yellow & Blue) for three phases and black for neutral - 04 Nos. (b) MCCB, 4 Pole, 200 Amps, breaking capacity 25 KA adjustable thermal and fixed magnetic setting - 01 Nos (AS INCOMING) (i) Digital Ammeter 0-300 Amps CT operated with selector switch-01 No. (ii) Digital Volt Meter 0-500 Volts with selector switch -01 No (iii) LED indicator lamp in three colour RYB-03 Nos (c) Digital Ammeter 0-300 Amps CT Operated with selector switch-01 No. (d) Digital Voltmeter 0-500 Volts with selector switch-01 No. (e) LED indicator lamp in three colour RYB- 03 Nos. | 6.00 | Each |  | 24000.00 | 144000.00 | 20000.00 | 120000.00 | 38000.00 | 228000.00 | 140000.00 | 840000.00 | 120000.00 | SRI SAI CONSTRUCTION COMPANY
26.00 | Supply and fixing of Automatic street Light/Helipad Light/ Switch using infrared Sensor based NATURE SWITCH for automatic switching of Street lights. Nature switch operation should be based on Natural light Lux level. Required illuminance level for switching ON is < 30 lux and for switching OFF > 10 Lux. The sensor should also have part night operation facility of min. 4 hrs to max 12 hrs. The sensor alongwith suitable power contactors, incoming- outgoing MCBs and Auto-Manual (Sensor By-Pass) selection option should be enclosed in a pole/wall mountable enclosure made of Rust proof, eletric shock proof, termite proof and FR grade SMC junction box conforming to IP54. The circuit should be suitable enough to take 12KW load equally distributed over 3 phase with contactors and incoming-outgoing MCB rating of 40 Amps and circuit wiring : min 10 sq.mm complete all as specified and as directed. | 4.00 | Each |  | 24000.00 | 96000.00 | 24000.00 | 96000.00 | 22000.00 | 88000.00 | 50000.00 | 200000.00 | 88000.00 | M/s Rohit Construction Co.
27.00 | Material and labour in repair LT end termination kit, heat shrikable outdoor type suitable for XLPE, armoued cables taking down the cable from over head line for making joint and reconnceting to overhead lines for cable of size 3.5 core 25 sqmm to 50 sqmm complete all as specified and as directed. | 10.00 | Each Job |  | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 3200.00 | 32000.00 | 7000.00 | M/s Rohit Construction Co.
28.00 | All as per serial item No 27.00 here-in-before but LT cable of size 70 sqmm to 150 sqmm x 3.5 Core | 10.00 | Each Job |  | 1100.00 | 11000.00 | 1100.00 | 11000.00 | 900.00 | 9000.00 | 3500.00 | 35000.00 | 9000.00 | M/s Rohit Construction Co.
29.00 | Material and labour in repair LT heat shrinkable strainght thorugh joint for PVC/XLPE insulated armoured cable of size upto 50 sqmm complete all as specified and as directed. | 10.00 | Each Job |  | 1300.00 | 13000.00 | 1150.00 | 11500.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 10000.00 | M/s Rohit Construction Co.
30.00 | All as per serial item No 29.00 here-in-before but for LT cable of size 70 sqmm to 150 sqmm x 3.5 Core. | 10.00 | Each Job |  | 1400.00 | 14000.00 | 1250.00 | 12500.00 | 1200.00 | 12000.00 | 3500.00 | 35000.00 | 12000.00 | M/s Rohit Construction Co.
31.00 | All as per serial item No 29.00 here-in-before but for LT cable of size 185 sqmm to 240 sqmm x 3.5 Core. | 10.00 | Each Job |  | 1600.00 | 16000.00 | 1300.00 | 13000.00 | 1500.00 | 15000.00 | 4200.00 | 42000.00 | 13000.00 | SRI SAI CONSTRUCTION COMPANY
32.00 | Supply, installation, testing and commissioning of Early Streamer Emission Lighting Conductor Air Terminal (ESELC) to protect a building from direct lightning strikes. The unit shall maintain full electical continuity from tip to the earthing termination through a 50mm2 (minimum) section rod without any spark gap. The unit shall be a fully autonomous system (no batery, no external power supply required). the working principle of the Air Terminal shall be enable the early triggering of a syschornized upward leader in line with the eletric field evolution during a thunderstrom lighting condition. The Air Terminal unit shall have provision for on-site testing with a specific test box. Air terminal shall be supported with independent third party certification by the manufacturer certifying the compliance as required in the test guidelines in Annex C of the NFC 17102 version 2011 & UNE 21 186 Dec 2011. The ESE Air Terminal System shall confirm by its performance efficiency ΔT-40 µsec in compliance with NFC 17102- Year 2011 to fulfill the following protection radii corresponding to a height of elevation of 5m (a) Make tracel Model No Tz 63, Protection Radius 79 meters in Level 1 and upto107 meters in Level IV (b) 31m for protection level II (c) 38m for protection level III (d) 43m for protection level IV (Note : Manufacturer to furnish the certificate of origin for each air terminal). | 3.00 | Each |  | 115000.00 | 345000.00 | 98000.00 | 294000.00 | 80000.00 | 240000.00 | 200000.00 | 600000.00 | 240000.00 | M/s Rohit Construction Co.
33.00 | Supply and fixing of 5m self standing stainless steel mast/ elevation pole wth necessary M20 reducer required to fix the Air Terminal alogwith base plate and grouting bolts and guying kit as requried at site complete as specified and as directed. | 3.00 | Each |  | 10000.00 | 30000.00 | 7000.00 | 21000.00 | 10000.00 | 30000.00 | 40000.00 | 120000.00 | 21000.00 | SRI SAI CONSTRUCTION COMPANY
34.00 | Supply, Installation, Testing of transient event counter having resettable 6 digit LCD display with inbuilt lithim battery in IP 67 rating enclosure with transparent lid, mounting arrangements etc complete all as specified and directed. | 3.00 | Each |  | 11000.00 | 33000.00 | 11000.00 | 33000.00 | 13000.00 | 39000.00 | 40000.00 | 120000.00 | 33000.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY
35.00 | Supply and fixing wall/floor/poles PVC insulated stranded copper conductor single core 70 sqmm complete all as specified and as directed. | 150.00 | RM |  | 591.00 | 88650.00 | 560.00 | 84000.00 | 300.00 | 45000.00 | 300.00 | 45000.00 | 45000.00 | M/s Rohit Construction Co., AABIA CONSTRUCTION
36.00 | Chemical earthing with copper earth plate electrode of size 900 x 600 x 5 mm & copper earth strip 32 x 6 mm buried in ground vertically to a depth not less than 3.0 metre below ground level with top edge earth electrode at a depth not less than 2.40 metre deep below ground level including 40 kilogram (minimum) backfill chemical compound for filling in each pit to cover earth electrode minimum 10 mm all around and electrode shall be joined with the copper strip of size 32 x 6 mm by exothermic weld complete with earth put chamber of size 300 x 300 mm and RCC cover for demarking the location of earth electrode location. Make of Back fill compound : Tercel (Isogel) (Australia)/Indelec (Xgel) (France)/ERICO (GEM) (USA)/ LPF (Reslo) (Australia) Noate :- (i) The quanitity of backfill compound and depth of earth pit can be less than 1 ohm on completion and testing. the testing of each earthing shall be carried out in presence of Engr-in-charge and test results shall be submitted duly signed by all concerned while claiming payments. (ii) Earth strip with protection pipe 50 mm GI pipe light grade upto 7.5 m is deemed to be included in the rate quoted. (iii) Testing of soil shall be done by the contractor before procuring the backfill compound the for getting earthing resistance less than one ohm and deemed to be included in the rate quoted. | 10.00 | Each Job |  | 27000.00 | 270000.00 | 25000.00 | 250000.00 | 30000.00 | 300000.00 | 50000.00 | 500000.00 | 250000.00 | SRI SAI CONSTRUCTION COMPANY
37.00 | Material and Labour for earthing complete with galvanized steel earth plate electrode size 600x600x6mm thick buried directly in ground vertically in a pit of depth not less than 2.25 m below ground levels with top dege of the earth plate not less than 1.5m below normal ground level surrounded from all sides by mixture of charcoal and common salt and electrode connected to and including galvanized iron strip 32x 6 mm eath lead by means of bolts, nuts, check nuts and wahsers of galvanized steel including GI pipelight grade of size of 40 mm dia for protection and GI pipe light grade 20mm dia bore for watering funnel with wire mesh. CO cover with frame, PCC chamber pit with PCC 1:3:6 type C-2 excatation and eath work all as shown in electrical plate No. 5 connected to earthing test point complete all as specified and as directed. | 10.00 | Each Job |  | 3200.00 | 32000.00 | 3100.00 | 31000.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 30000.00 | M/s Rohit Construction Co., AABIA CONSTRUCTION
38.00 | Supply and fixing eath continuity conductor on main earthing laed fixed to pole or buried in ground or at any other situation for ;oop earthing extra as required (beyond 7.5m) of GI strip 32x6 mm complete all as specified and as directed. | 25.00 | RM |  | 140.00 | 3500.00 | 140.00 | 3500.00 | 140.00 | 3500.00 | 200.00 | 5000.00 | 3500.00 | SRI SAI CONSTRUCTION COMPANY, AJAY ELECTRIC COMPANY, M/s Rohit Construction Co.
39.00 | Supply and fix gate valves with iron wheel head, screwed both ends size 20mm bore fore iron pipe complete all as specified and as directed. | 6.00 | Each |  | 410.00 | 2460.00 | 410.00 | 2460.00 | 350.00 | 2100.00 | 500.00 | 3000.00 | 2100.00 | M/s Rohit Construction Co.
40.00 | Supply and fix gate valves with iron wheel head, screwed both ends size 25mm bore fore iron pipe complete all as specified and as directed. | 3.00 | Each |  | 600.00 | 1800.00 | 500.00 | 1500.00 | 500.00 | 1500.00 | 500.00 | 1500.00 | 1500.00 | SRI SAI CONSTRUCTION COMPANY, M/s Rohit Construction Co., AABIA CONSTRUCTION
41.00 | Supply and fix gate valves with iron wheel head, screwed both ends size 50 mm bore fore iron pipe complete all as specified and as directed. | 6.00 | Each |  | 1600.00 | 9600.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 800.00 | 4800.00 | 4800.00 | AABIA CONSTRUCTION
42.00 | Supply and fix rational moulded palythylane water storage tank three layer of capacity 1000 ltrs (Cylindical vertical with closed top) and fix in position complete all as specified and as directed. | 3.00 | Each |  | 6500.00 | 19500.00 | 6200.00 | 18600.00 | 9000.00 | 27000.00 | 8000.00 | 24000.00 | 18600.00 | SRI SAI CONSTRUCTION COMPANY
43.00 | Material and labour for construction valve pit chamber 750x750x750 mm internally suitable for walls with PCC 1:4:8 Type D2 100 mm thick in foundation brick work in cement mortar 1:4 (1/2 brick wall) using sub class 'B' bricks including 15 mm thick plastering to internal surface in (1:6) cement mortar4 with MS cover 3 mm thick MS angle frame 40x40x6 mm with locking arrangements including painting with two coats of synthtic enamel paint over a coat of medoxide primer and embeding of angle iron in PCC coping 1:3:6 type C1 50 mm thick with flat hold fast purpose made hinges etc complete including necessary excavation returning filling & removal of soil to a distance not exc 50 m complete all as specified and as directed. | 6.00 | Each |  | 6100.00 | 36600.00 | 5700.00 | 34200.00 | 8500.00 | 51000.00 | 2000.00 | 12000.00 | 12000.00 | AABIA CONSTRUCTION
| Total in Figures |  |  |  |  | 6873697.00 |  | 6490182.00 |  | 6776720.00 |  | 9916160.00
Lowest Amount Quoted BY: SRI SAI CONSTRUCTION COMPANY(6490182.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS /REPLACEMENT OF UG CABLES ALONGWITH CONNECTED ITEMS AROUND RUNWAY AT AF STN SURATGARH Tender ID: 2018_MES_221855_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI SAI CONSTRUCTION COMPANY | 6490182.00 | L1
| 2 | M/s Rohit Construction Co. | 6776720.00 | L2
| 3 | AJAY ELECTRIC COMPANY | 6873697.00 | L3
| 4 | AABIA CONSTRUCTION | 9916160.00 | L4