## BoQ1
eProcurement System for Organisations under MoD Created By: HAZARI SINGH Created Date/Time: 31-Dec-2018 01:25 PM Tender Title: COMPREHENSIVE REPAIRS OF INTERNAL ELECTRIFICATION IN MARRIED AND OTM ACCOMMODATION AT NAGROTA. Tender ID: 2018_MES_216654_1
Tender Inviting Authority: GE NAGROTA
Name of Work: Comprehensive Repair Maint for day to day services of internal elect including internal wires at MD/OTM Accn at nagrota.
Contract No: GEN- /NIT-42/2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kanwal Nain Behl |  | BHARTI CONSTRUCTIONS |  | Nitika electricals and engineers works |  | Sarbat Construction Co |  | J S ENGINEERS |  | U K Engineering Works |  | ASIA ENTERPRISES |  | Allied Technologies |  | Hi Tech Engineers
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down carefully unserviceable aluminium point wiring (light, fan, socket bell or power) complete, (fittings such as switches, ceiling rose lamp holder, regulators, sockets, pendants) stacking at site and keeping in safe custody for taking credit, complete, all as specified. | 2464.00 | Per point |  | 5.00 | 12320.00 | 5.00 | 12320.00 | 5.00 | 12320.00 | 5.00 | 12320.00 | 6.00 | 14784.00 | 3.00 | 7392.00 | 5.00 | 12320.00 | 2.00 | 4928.00 | 5.00 | 12320.00 | 4928.00 | Allied Technologies
2.00 | Taking down unserviceable MCB DB SPN with MCB's of any make/capacity, complete, all as specified and directed by Engr-In-Charge. | 55.00 | Each |  | 10.00 | 550.00 | 10.00 | 550.00 | 10.00 | 550.00 | 10.00 | 550.00 | 8.00 | 440.00 | 2.00 | 110.00 | 10.00 | 550.00 | 3.00 | 165.00 | 10.00 | 550.00 | 110.00 | U K Engineering Works
3.00 | Taking down unserviceable TPN DB with MCB's of any make/capacity, complete, all as specified and directed by Engr-In-Charge. | 25.00 | Each |  | 15.00 | 375.00 | 20.00 | 500.00 | 20.00 | 500.00 | 10.00 | 250.00 | 20.00 | 500.00 | 5.00 | 125.00 | 10.00 | 250.00 | 15.00 | 375.00 | 10.00 | 250.00 | 125.00 | U K Engineering Works
4.00 | Taking down existing energy meters, keeping aside safely & refixing the same in its original position after making functional & after completion of point wiring/sub main wiring, complete, all as specified and directed by Engr-In-Charge. Note:- Small items required for fixing the electric energy meter at site shall be provided by the contractor and cost for the same shall be deemed to be included in the quoted rates. | 50.00 | Each Job |  | 20.00 | 1000.00 | 50.00 | 2500.00 | 20.00 | 1000.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 65.00 | 3250.00 | 50.00 | 2500.00 | 15.00 | 750.00 | 20.00 | 1000.00 | 750.00 | Allied Technologies
5.00 | Taking down unserviceable sub main wiring including wooden batten/PVC conduit of any size, complete, all as specified and directed by Engr-In-Charge. | 1320.00 | RM |  | 10.00 | 13200.00 | 5.00 | 6600.00 | 1.00 | 1320.00 | 10.00 | 13200.00 | 6.00 | 7920.00 | 2.00 | 2640.00 | 2.00 | 2640.00 | 3.00 | 3960.00 | 2.00 | 2640.00 | 1320.00 | Nitika electricals and engineers works
6.00 | M&L for point wiring with PVC insulated unsheathed 1100 volt grade FRLS cable with multi stranded copper conductor of size 1.5 Sq mm (Nominal area) drawn through and including non metallic rigid PVC conduit medium grade ISI marked not less than 20mm dia ,concealed in wall and surface on ceiling with all conduit fittings & fixing acessories inculding sunken anodised pressed steel terminal box not less than 1.2mm thick covered with 3 mm thick plastic laminated sheet cover of suitable size with brass screws for mounting switches, sockets, regulators with and including 1.5sqmm FRLS multi stranded copper conductor drawing as continuous earth wire connected to main earth and earth dolly complete all as specified for the following;-
6.01 | One light point controlled by one switch 5 Amp. | 1082.00 | Per point |  | 230.00 | 248860.00 | 225.00 | 243450.00 | 220.00 | 238040.00 | 300.00 | 324600.00 | 240.00 | 259680.00 | 280.00 | 302960.00 | 200.00 | 216400.00 | 200.00 | 216400.00 | 225.00 | 243450.00 | 216400.00 | ASIA ENTERPRISES, Allied Technologies
6.02 | One ceiling fan/exhaust fan point controlled by one switch 5Amp | 295.00 | Per point |  | 230.00 | 67850.00 | 225.00 | 66375.00 | 230.00 | 67850.00 | 300.00 | 88500.00 | 250.00 | 73750.00 | 280.00 | 82600.00 | 200.00 | 59000.00 | 200.00 | 59000.00 | 225.00 | 66375.00 | 59000.00 | ASIA ENTERPRISES, Allied Technologies
6.03 | One socket out let 5Amp controlled by one switch on same board. | 240.00 | Per point |  | 70.00 | 16800.00 | 220.00 | 52800.00 | 80.00 | 19200.00 | 300.00 | 72000.00 | 80.00 | 19200.00 | 110.00 | 26400.00 | 200.00 | 48000.00 | 50.00 | 12000.00 | 175.00 | 42000.00 | 12000.00 | Allied Technologies
6.04 | One socket out let 5 Amp controlled by one switch on independent board. | 480.00 | Per point |  | 220.00 | 105600.00 | 225.00 | 108000.00 | 230.00 | 110400.00 | 300.00 | 144000.00 | 250.00 | 120000.00 | 320.00 | 153600.00 | 200.00 | 96000.00 | 200.00 | 96000.00 | 225.00 | 108000.00 | 96000.00 | ASIA ENTERPRISES, Allied Technologies
6.05 | One bell point 5 Amp controlled by one bell push on independent board. | 45.00 | Per point |  | 230.00 | 10350.00 | 225.00 | 10125.00 | 230.00 | 10350.00 | 300.00 | 13500.00 | 250.00 | 11250.00 | 280.00 | 12600.00 | 200.00 | 9000.00 | 200.00 | 9000.00 | 225.00 | 10125.00 | 9000.00 | ASIA ENTERPRISES, Allied Technologies
6.06 | One light point controlled by two, 2way switchs5 Amp | 2.00 | Per point |  | 230.00 | 460.00 | 225.00 | 450.00 | 250.00 | 500.00 | 300.00 | 600.00 | 550.00 | 1100.00 | 280.00 | 560.00 | 200.00 | 400.00 | 200.00 | 400.00 | 225.00 | 450.00 | 400.00 | ASIA ENTERPRISES, Allied Technologies
7.06 | All as per item No 6 here in before but point wiring with 2.5sqmm FRLS multi stranded copper conductor cable for main circuit and 1.5sqmm cable as earth continuity conductor for one 15Amp socket out let controlled by one 15Amp switch on independat board. | 320.00 | Per point |  | 270.00 | 86400.00 | 340.00 | 108800.00 | 320.00 | 102400.00 | 400.00 | 128000.00 | 320.00 | 102400.00 | 300.00 | 96000.00 | 450.00 | 144000.00 | 260.00 | 83200.00 | 275.00 | 88000.00 | 83200.00 | Allied Technologies
8.00 | Switch piano flush type 5 Amps single pole one way complete, | 2577.00 | Each |  | 20.00 | 51540.00 | 21.00 | 54117.00 | 20.00 | 51540.00 | 20.00 | 51540.00 | 15.00 | 38655.00 | 15.00 | 38655.00 | 25.00 | 64425.00 | 15.00 | 38655.00 | 14.00 | 36078.00 | 36078.00 | Hi Tech Engineers
9.00 | Switch socket combination 2 in 1, 3 pin, 5 Amp flush type complete. | 1520.00 | Each |  | 80.00 | 121600.00 | 75.00 | 114000.00 | 50.00 | 76000.00 | 80.00 | 121600.00 | 65.00 | 98800.00 | 40.00 | 60800.00 | 80.00 | 121600.00 | 42.00 | 63840.00 | 65.00 | 98800.00 | 60800.00 | U K Engineering Works
10.00 | Switch socket combination 2 in 1 5 pin 5 /15 Amps flush type complete. | 1160.00 | Each |  | 140.00 | 162400.00 | 90.00 | 104400.00 | 70.00 | 81200.00 | 100.00 | 116000.00 | 112.00 | 129920.00 | 100.00 | 116000.00 | 130.00 | 150800.00 | 80.00 | 92800.00 | 85.00 | 98600.00 | 81200.00 | Nitika electricals and engineers works
11.00 | Ceiling rose surface type 65mm x 50mm 2 to 3 terminal complete . | 665.00 | Each |  | 30.00 | 19950.00 | 20.00 | 13300.00 | 20.00 | 13300.00 | 22.00 | 14630.00 | 20.00 | 13300.00 | 12.00 | 7980.00 | 30.00 | 19950.00 | 20.00 | 13300.00 | 15.00 | 9975.00 | 7980.00 | U K Engineering Works
12.00 | Step type fan regulator 300 watt, 230 volts, 50 HZ, AC. Supply complete . | 580.00 | Each |  | 200.00 | 116000.00 | 100.00 | 58000.00 | 150.00 | 87000.00 | 120.00 | 69600.00 | 60.00 | 34800.00 | 120.00 | 69600.00 | 150.00 | 87000.00 | 150.00 | 87000.00 | 85.00 | 49300.00 | 34800.00 | J S ENGINEERS
13.00 | Bell push piano type 5 Amps complete. | 45.00 | Each |  | 30.00 | 1350.00 | 40.00 | 1800.00 | 10.00 | 450.00 | 30.00 | 1350.00 | 20.00 | 900.00 | 15.00 | 675.00 | 150.00 | 6750.00 | 20.00 | 900.00 | 15.00 | 675.00 | 450.00 | Nitika electricals and engineers works
14.00 | Switch piano flush type 5 Amps 2 way complete. | 4.00 | Each |  | 30.00 | 120.00 | 40.00 | 160.00 | 20.00 | 80.00 | 30.00 | 120.00 | 10.00 | 40.00 | 15.00 | 60.00 | 50.00 | 200.00 | 23.00 | 92.00 | 15.00 | 60.00 | 40.00 | J S ENGINEERS
15.00 | Electric bell ding dong 230 volt AC complete, | 105.00 | Each |  | 140.00 | 14700.00 | 160.00 | 16800.00 | 120.00 | 12600.00 | 200.00 | 21000.00 | 80.00 | 8400.00 | 130.00 | 13650.00 | 200.00 | 21000.00 | 90.00 | 9450.00 | 125.00 | 13125.00 | 8400.00 | J S ENGINEERS
16.00 | Supply & fix in replacement of Modular Switch 6 Amp one way | 80.00 | Each |  | 50.00 | 4000.00 | 35.00 | 2800.00 | 40.00 | 3200.00 | 70.00 | 5600.00 | 60.00 | 4800.00 | 25.00 | 2000.00 | 100.00 | 8000.00 | 20.00 | 1600.00 | 125.00 | 10000.00 | 1600.00 | Allied Technologies
17.00 | Supply & fix in replacement of Modular Switch 16 Amp one way | 30.00 | Each |  | 60.00 | 1800.00 | 50.00 | 1500.00 | 50.00 | 1500.00 | 100.00 | 3000.00 | 60.00 | 1800.00 | 60.00 | 1800.00 | 250.00 | 7500.00 | 65.00 | 1950.00 | 165.00 | 4950.00 | 1500.00 | Nitika electricals and engineers works, BHARTI CONSTRUCTIONS
18.00 | Supply & fix in replacement of Modular Switch 6 Amp two way | 2.00 | Each |  | 60.00 | 120.00 | 50.00 | 100.00 | 50.00 | 100.00 | 80.00 | 160.00 | 20.00 | 40.00 | 70.00 | 140.00 | 200.00 | 400.00 | 65.00 | 130.00 | 140.00 | 280.00 | 40.00 | J S ENGINEERS
19.00 | Supply & fix in replacement of Modular bell push 6 Amp one way | 2.00 | Each |  | 60.00 | 120.00 | 100.00 | 200.00 | 50.00 | 100.00 | 100.00 | 200.00 | 20.00 | 40.00 | 70.00 | 140.00 | 200.00 | 400.00 | 65.00 | 130.00 | 125.00 | 250.00 | 40.00 | J S ENGINEERS
20.00 | Supply & fix in replacement of Modular socket 6 Amp 3pin | 30.00 | Each |  | 100.00 | 3000.00 | 50.00 | 1500.00 | 110.00 | 3300.00 | 150.00 | 4500.00 | 80.00 | 2400.00 | 70.00 | 2100.00 | 300.00 | 9000.00 | 50.00 | 1500.00 | 210.00 | 6300.00 | 1500.00 | BHARTI CONSTRUCTIONS, Allied Technologies
21.00 | Supply & fix in replacement of Modular socket 6/16 Amp 3pin | 30.00 | Each |  | 190.00 | 5700.00 | 50.00 | 1500.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 95.00 | 2850.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 320.00 | 9600.00 | 1500.00 | BHARTI CONSTRUCTIONS
22.00 | Supply & fix in replacement of Modular Step fan Regulator 120 Watt | 5.00 | Each |  | 380.00 | 1900.00 | 150.00 | 750.00 | 200.00 | 1000.00 | 300.00 | 1500.00 | 100.00 | 500.00 | 210.00 | 1050.00 | 500.00 | 2500.00 | 250.00 | 1250.00 | 200.00 | 1000.00 | 500.00 | J S ENGINEERS
23.00 | Integrel sleek extruded batten aluminium /CRCA channel fitting with LED 18 watt complete with all accessories and including connecting up with three core twisted flexible copper conductor cable with suitable size of 230V 50 Hz. Cat part no.112181 BLRB-DB 118 ( for batten fitting) & Cat part no. BLRB18W CW (for LED 18 watt ) or equivalent in Havells / CG. | 380.00 | Each |  | 450.00 | 171000.00 | 600.00 | 228000.00 | 380.00 | 144400.00 | 400.00 | 152000.00 | 500.00 | 190000.00 | 470.00 | 178600.00 | 600.00 | 228000.00 | 480.00 | 182400.00 | 445.00 | 169100.00 | 144400.00 | Nitika electricals and engineers works
24.00 | LED sleek surface round ceiling mounted decorative down light fitting with PC cover suitable for 1x12 watt as per Cat No BGSLO sleek surface 12 WH RD of Bajaj | 20.00 | Each |  | 600.00 | 12000.00 | 600.00 | 12000.00 | 600.00 | 12000.00 | 650.00 | 13000.00 | 750.00 | 15000.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 500.00 | 10000.00 | 575.00 | 11500.00 | 10000.00 | Allied Technologies
25.00 | Baton integrated LED channel of 5W, 230V frequency 50/60 Hz integral sleek extruded polycarbonate LED channel with white acrylic cover, Power Factor not less then 0.9 as per Cat No BCLSB 05 WH of Bajaj or techno commercial equivalent in Phillips/Wipro/Havells | 60.00 | Each |  | 330.00 | 19800.00 | 600.00 | 36000.00 | 350.00 | 21000.00 | 250.00 | 15000.00 | 300.00 | 18000.00 | 270.00 | 16200.00 | 600.00 | 36000.00 | 500.00 | 30000.00 | 305.00 | 18300.00 | 15000.00 | Sarbat Construction Co
26.00 | LED light fitting 1x9W bulk head luminaries IP 65 complete with all accessories including LED lamp 9 watt , connecting up with twin core twisted flexible copper conductor cable with suitable size of 230V 50 Hz . | 140.00 | Each |  | 500.00 | 70000.00 | 400.00 | 56000.00 | 400.00 | 56000.00 | 800.00 | 112000.00 | 400.00 | 56000.00 | 900.00 | 126000.00 | 500.00 | 70000.00 | 850.00 | 119000.00 | 500.00 | 70000.00 | 56000.00 | J S ENGINEERS, Nitika electricals and engineers works, BHARTI CONSTRUCTIONS
27.00 | Lamp holder PVC/polycarbonate type with back plate suitable for batten fittings complete all as specified and directed. Anchor (Penta) or equivalent model of Cona/Havells/HPL | 1020.00 | Each |  | 30.00 | 30600.00 | 30.00 | 30600.00 | 30.00 | 30600.00 | 100.00 | 102000.00 | 25.00 | 25500.00 | 23.00 | 23460.00 | 35.00 | 35700.00 | 20.00 | 20400.00 | 20.00 | 20400.00 | 20400.00 | Hi Tech Engineers, Allied Technologies
28.00 | LED bulb 7 watt complete all as specified and directed. Make Bajaj /Havells/Syska | 1720.00 | Each |  | 120.00 | 206400.00 | 130.00 | 223600.00 | 110.00 | 189200.00 | 80.00 | 137600.00 | 105.00 | 180600.00 | 75.00 | 129000.00 | 150.00 | 258000.00 | 60.00 | 103200.00 | 90.00 | 154800.00 | 103200.00 | Allied Technologies
29.00 | Decorative wall mounted luminaire with & including 9 Watt LED lamp complete as per Cat No of LHFHCHE1TL1W020 of Havells or equivalent of Bajaj, CG | 30.00 | Each |  | 500.00 | 15000.00 | 900.00 | 27000.00 | 600.00 | 18000.00 | 650.00 | 19500.00 | 700.00 | 21000.00 | 600.00 | 18000.00 | 900.00 | 27000.00 | 300.00 | 9000.00 | 840.00 | 25200.00 | 9000.00 | Allied Technologies
30.00 | S& F in Replacement of Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 240 volts 32 amps . Make Havell's /ABB | 15.00 | Each |  | 500.00 | 7500.00 | 300.00 | 4500.00 | 550.00 | 8250.00 | 200.00 | 3000.00 | 750.00 | 11250.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 550.00 | 8250.00 | 350.00 | 5250.00 | 3000.00 | Sarbat Construction Co
31.00 | Sheet metal enclosure distribution board SPN 08 way 230 V, 50 Hz double door with neutral, Earthing bar and din rail complete. | 40.00 | Each |  | 900.00 | 36000.00 | 700.00 | 28000.00 | 700.00 | 28000.00 | 300.00 | 12000.00 | 900.00 | 36000.00 | 1100.00 | 44000.00 | 1000.00 | 40000.00 | 350.00 | 14000.00 | 450.00 | 18000.00 | 12000.00 | Sarbat Construction Co
32.00 | Sheet metal enclosure distribution board SPN 12 way 230 V, 50 Hz double door with neutral, Earthing bar and din rail complete. | 15.00 | Each |  | 1100.00 | 16500.00 | 900.00 | 13500.00 | 900.00 | 13500.00 | 3000.00 | 45000.00 | 1000.00 | 15000.00 | 1300.00 | 19500.00 | 1200.00 | 18000.00 | 450.00 | 6750.00 | 550.00 | 8250.00 | 6750.00 | Allied Technologies
33.00 | M&L in replacement of MCB distribution board, TPN 4 Way 415 Volt double door made out of sheet steel, phasphatised and powder coated with neutral and earth, connecter, din rail for fixing MCBs conforming to IS 13032 IS 8623 complete. | 15.00 | Each |  | 3000.00 | 45000.00 | 2000.00 | 30000.00 | 2100.00 | 31500.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 1000.00 | 15000.00 | 2000.00 | 30000.00 | 1200.00 | 18000.00 | 800.00 | 12000.00 | 12000.00 | Hi Tech Engineers
34.00 | Sheet metal enclosure double door for distribution board factory made for MCB DB load link TPN 4 way suitable for MCCBas incomer, 125 Amp,4 pole. (when MCB's are to be used) with suitable size of busbar complete,fixed flush in wall including chases wall for fixing DB and making good the distributed wall surfaces to match with existing specification including taking down all as directed by Engr-in-Charge at site. (Make HPL Cat part No-DBVDD04160TAB /or equivalant of CG/siemens.) | 10.00 | Each |  | 6000.00 | 60000.00 | 3500.00 | 35000.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 8800.00 | 88000.00 | 3100.00 | 31000.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 7500.00 | 75000.00 | 15000.00 | ASIA ENTERPRISES
35.00 | MCB DP 32/40 Amps 10 KA 230 volts "C" series complete | 90.00 | Each |  | 350.00 | 31500.00 | 110.00 | 9900.00 | 150.00 | 13500.00 | 500.00 | 45000.00 | 250.00 | 22500.00 | 380.00 | 34200.00 | 700.00 | 63000.00 | 450.00 | 40500.00 | 165.00 | 14850.00 | 9900.00 | BHARTI CONSTRUCTIONS
36.00 | MCB single pole 6 to 30 Amps 10 KA 230 volts "C" series complete | 800.00 | Each |  | 100.00 | 80000.00 | 100.00 | 80000.00 | 80.00 | 64000.00 | 150.00 | 120000.00 | 85.00 | 68000.00 | 110.00 | 88000.00 | 190.00 | 152000.00 | 100.00 | 80000.00 | 95.00 | 76000.00 | 64000.00 | Nitika electricals and engineers works
37.00 | MCB single pole 40 Amps 10 KA 230 volts "C" series complete | 44.00 | Each |  | 100.00 | 4400.00 | 400.00 | 17600.00 | 80.00 | 3520.00 | 250.00 | 11000.00 | 95.00 | 4180.00 | 110.00 | 4840.00 | 900.00 | 39600.00 | 350.00 | 15400.00 | 110.00 | 4840.00 | 3520.00 | Nitika electricals and engineers works
38.00 | MCB TP/TPN 50 to 63 Amps 10 KA 230 volts "C" series complete. | 20.00 | Each |  | 200.00 | 4000.00 | 4000.00 | 80000.00 | 100.00 | 2000.00 | 1200.00 | 24000.00 | 750.00 | 15000.00 | 550.00 | 11000.00 | 1500.00 | 30000.00 | 750.00 | 15000.00 | 375.00 | 7500.00 | 2000.00 | Nitika electricals and engineers works
39.00 | MCCB 63A 4Pole 16KA 415 Volt with fixed magnetic and fixed thermal setting complete. Make-Legrand/C&S/Schneider | 6.00 | Each |  | 1500.00 | 9000.00 | 4000.00 | 24000.00 | 1000.00 | 6000.00 | 6000.00 | 36000.00 | 4000.00 | 24000.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 2800.00 | 16800.00 | 6000.00 | Nitika electricals and engineers works
40.00 | MCCB 125A 4Pole 16KA 415 Volt with fixed magnetic and fixed thermal setting complete. Make-Legrand/C&S/Schneider | 4.00 | Each |  | 5500.00 | 22000.00 | 5500.00 | 22000.00 | 2000.00 | 8000.00 | 7500.00 | 30000.00 | 5500.00 | 22000.00 | 300.00 | 1200.00 | 2000.00 | 8000.00 | 5500.00 | 22000.00 | 4000.00 | 16000.00 | 1200.00 | U K Engineering Works
41.00 | M&L for sub main wiring with two single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 10 Sq mm drawing through and including concealed rigid non metallic PVC conduit medium grade ISI marked 25 mm dia including one single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 6.0 sq mm as earth continuity conductor connected to commen earth and earth dolly complete. | 120.00 | RM |  | 200.00 | 24000.00 | 120.00 | 14400.00 | 150.00 | 18000.00 | 120.00 | 14400.00 | 250.00 | 30000.00 | 190.00 | 22800.00 | 300.00 | 36000.00 | 250.00 | 30000.00 | 195.00 | 23400.00 | 14400.00 | Sarbat Construction Co, BHARTI CONSTRUCTIONS
42.00 | M&L for sub main wiring with two single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 6 Sq mm drawing through and including concealed rigid non metallic PVC conduit medium grade ISI marked 20 mm dia including one single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 4.0 sq mm as earth continuity conductor connected to commen earth and earth dolly complete . | 1100.00 | RM |  | 120.00 | 132000.00 | 110.00 | 121000.00 | 100.00 | 110000.00 | 80.00 | 88000.00 | 190.00 | 209000.00 | 150.00 | 165000.00 | 155.00 | 170500.00 | 130.00 | 143000.00 | 100.00 | 110000.00 | 88000.00 | Sarbat Construction Co
43.00 | M&L for sub main wiring with two single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 4 Sq mm drawing through and including concealed rigid non metallic PVC conduit medium grade ISI marked 15 mm dia including one single core FRLS PVC insulated unsheathed 1100 volts grade cable with stranded copper conductor of size 2.5 sq mm as earth continuity conductor connected to commen earth and earth dolly complete . | 100.00 | RM |  | 110.00 | 11000.00 | 110.00 | 11000.00 | 100.00 | 10000.00 | 60.00 | 6000.00 | 150.00 | 15000.00 | 95.00 | 9500.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 6000.00 | Sarbat Construction Co
44.00 | Supply and fixing Exhaust fan 300 mm sweep single phase AC 230/240V complete with louvers for wall mounting incl grouting, holding down bolts, nuts, washers and provision of flexible copper conductor cable 3 core 23/0.0076 size from ceiling rose to exhaust fan incl cutting of the hole. Make : Cat part No - Ventil Air - DB of Havells aor equivalent in Bajaj / Usha | 15.00 | Each |  | 1600.00 | 24000.00 | 1800.00 | 27000.00 | 1400.00 | 21000.00 | 1400.00 | 21000.00 | 1600.00 | 24000.00 | 1550.00 | 23250.00 | 2500.00 | 37500.00 | 1800.00 | 27000.00 | 1440.00 | 21600.00 | 21000.00 | Nitika electricals and engineers works, Sarbat Construction Co
45.00 | M&L for earthing complete for bldg with galvanized mild steel earth plate electrode 60cm x 60cm x 6mm thick buried directly in ground (earth pit not less than 2.25 meters below ground level) with top edge of earth plate not less than 1.5 meters below ground level connected to galvanized earth wire 4.00 mm dia by means of nuts, bolts, thimbles, chuck nuts, washers of GI or steel, PCC (concrete chamber of size 300 mm x 300 mm x 300 mm inside dimension) shall be PCC 1:3:6 type C-1 using 20mm graded stone aggregate with fair finish , internal surface of concrete chamber shall be given 15mm thick plaster in CM 1:4, funnel with wire mesh of 22 gauge, 80 mm thick PCC pit cover 320 mm x 320 mm of RCC 1:2:4 type B-1 using 20 mm graded stone aggregate reinforced with XPM, JALLI pit shall be filled with charcoal dust and common salt all as shown in electrical plate No 5 of MES SSR Part-I (1991) as specified including provision of 15mm dia medium grade GI pipe for earth wire protection and 20 mm dia for watering complete , all excavation and earth work & connecting the earthing to an earthing test point / main switch board as specified and testing on completion complete. | 4.00 | Each Set |  | 2000.00 | 8000.00 | 2800.00 | 11200.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 8000.00 | J S ENGINEERS, Nitika electricals and engineers works, Kanwal Nain Behl, Hi Tech Engineers
46.00 | In Situ repair to existing LED tube light fitting of 18/20 W by replacing the LED tube rod of suitable capacity and testing complete all as specified and directed by Engr-in-Charge. | 200.00 | Each |  | 300.00 | 60000.00 | 500.00 | 100000.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 100.00 | 20000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 20000.00 | ASIA ENTERPRISES
47.00 | In Situ repair to existing tube light fitting of 36/40 W by replacing the Fluorescent tube rode and electronic ballast of suitable size, connecting and testing complete all as specified and directed by Engr-in-Charge. | 1500.00 | Each |  | 140.00 | 210000.00 | 70.00 | 105000.00 | 150.00 | 225000.00 | 120.00 | 180000.00 | 170.00 | 255000.00 | 130.00 | 195000.00 | 100.00 | 150000.00 | 135.00 | 202500.00 | 70.00 | 105000.00 | 105000.00 | BHARTI CONSTRUCTIONS, Hi Tech Engineers
48.00 | In Situ repair to existing tube light fitting of 28 W by replacing the Fluorescent tube rode and electronic ballast of suitable size, connecting and testing complete all as specified and directed by Engr-in-Charge. | 180.00 | Each |  | 200.00 | 36000.00 | 100.00 | 18000.00 | 240.00 | 43200.00 | 200.00 | 36000.00 | 200.00 | 36000.00 | 280.00 | 50400.00 | 100.00 | 18000.00 | 200.00 | 36000.00 | 75.00 | 13500.00 | 13500.00 | Hi Tech Engineers
49.00 | In Situ repair to existing light fitting of 2feet x 2feet, 3 x 36W recessed mounted ceiling light by replacing the 03 nos electronic ballast of 36W and 03 nos 36W 4 pin type CFL, connecting and testing complete all as specified and directed by Engr-in-Charge. | 50.00 | Each |  | 200.00 | 10000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 850.00 | 42500.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 3000.00 | 150000.00 | 300.00 | 15000.00 | 10000.00 | Kanwal Nain Behl
50.00 | In Situ repair to existing light fitting of 2feet x 2feet, 3 x 14W recessed mounted ceiling light by replacing the 03 nos electronic ballast of 14W and 03 nos 14 W tube rod, connecting and testing complete all as specified and directed by Engr-in-Charge. | 50.00 | Each |  | 250.00 | 12500.00 | 800.00 | 40000.00 | 250.00 | 12500.00 | 800.00 | 40000.00 | 950.00 | 47500.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 3000.00 | 150000.00 | 300.00 | 15000.00 | 12500.00 | Nitika electricals and engineers works, Kanwal Nain Behl
51.00 | In Situ repair to existing light fitting of 2x18W,surface mounted ceiling light by replacing the 2 nos electronic ballast of 18W and 02 nos 4 Pin CFL of 18W, connecting and testing complete all as specified and directed by Engr-in-Charge. | 100.00 | Each |  | 160.00 | 16000.00 | 350.00 | 35000.00 | 170.00 | 17000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 500.00 | 50000.00 | 400.00 | 40000.00 | 2000.00 | 200000.00 | 200.00 | 20000.00 | 16000.00 | Kanwal Nain Behl
52.00 | In Situ repair to existing light fitting of 1x9W or 1x11W,surface mounted light by replacing the 1 nos electronic ballast of 9/11W and one nos 2 Pin CFL of 9/11W, connecting and testing complete all as specified and directed by Engr-in-Charge. | 60.00 | Each |  | 100.00 | 6000.00 | 350.00 | 21000.00 | 160.00 | 9600.00 | 300.00 | 18000.00 | 230.00 | 13800.00 | 170.00 | 10200.00 | 200.00 | 12000.00 | 1000.00 | 60000.00 | 150.00 | 9000.00 | 6000.00 | Kanwal Nain Behl
| Total in Figures |  |  |  |  | 2458265.00 |  | 2474697.00 |  | 2148770.00 |  | 2675820.00 |  | 2555249.00 |  | 2422387.00 |  | 2769885.00 |  | 2595175.00 |  | 2026443.00
Lowest Amount Quoted BY: Hi Tech Engineers(2026443.00)

## BOQ Summary
BOQ Summary Details Tender Title: COMPREHENSIVE REPAIRS OF INTERNAL ELECTRIFICATION IN MARRIED AND OTM ACCOMMODATION AT NAGROTA. Tender ID: 2018_MES_216654_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hi Tech Engineers | 2026443.00 | L1
| 2 | Nitika electricals and engineers works | 2148770.00 | L2
| 3 | U K Engineering Works | 2422387.00 | L3
| 4 | Kanwal Nain Behl | 2458265.00 | L4
| 5 | BHARTI CONSTRUCTIONS | 2474697.00 | L5
| 6 | J S ENGINEERS | 2555249.00 | L6
| 7 | Allied Technologies | 2595175.00 | L7
| 8 | Sarbat Construction Co | 2675820.00 | L8
| 9 | ASIA ENTERPRISES | 2769885.00 | L9