## BoQ1
eProcurement System for Organisations under MoD Created By: KIRAN DYARAKOTI Created Date/Time: 24-Dec-2018 12:54 PM Tender Title: Certain repair to external electrification including OH line/electric poles, poles painting, GODs and Changing of guard wire etc. in Sharifabad. Tender ID: 2018_MES_225774_1
Tender Inviting Authority : AGE (I) CIF (K)
Name of Work : Certain repair to external electrification including OH line/electric poles, poles painting, GODs and Changing of guard wire etc. in sharifabad.
Contract No : AGE (I) CIF (K)- 43 /2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s KASHMIR BUILDERS |  | M/S YATTOO CONTRACTORS |  | M/S B A Traders |  | M/S Khan Enterprises |  | M/S NAZIR ENTERPRISES |  | M/S Alam Construction |  | M/S A Q ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, jointing, fixing or passing through pipe, trenches or ducts or in air, commissioning and testing XLPE insulated screened and PVC sheathed armoured electric power LT cable heavy duty with aluminium conductor nominal cross sectional area 10 Sqmm 2 core for working voltage upto including 1100 volts confirming to IS-7098 (Part-I) 1988 , including taking out/down and removing old unserviceable existing cable, complete all as specified and as directed. | 150.00 | RM | 10.00 | 98.00 | 14700.00 | 82.00 | 12300.00 | 90.00 | 13500.00 | 80.00 | 12000.00 | 110.00 | 16500.00 | 120.00 | 18000.00 | 90.00 | 13500.00 | 12000.00 | M/S Khan Enterprises
2.00 | All as per item No. 01 above but cross sectional area 16 Sqmm 2 core. | 150.00 | RM | 39.00 | 107.00 | 16050.00 | 95.00 | 14250.00 | 110.00 | 16500.00 | 90.00 | 13500.00 | 100.00 | 15000.00 | 140.00 | 21000.00 | 110.00 | 16500.00 | 13500.00 | M/S Khan Enterprises
3.00 | All as per item No. 01 above but cross sectional area 25 Sqmm 4 core. | 250.00 | RM | 39.00 | 130.00 | 32500.00 | 145.00 | 36250.00 | 170.00 | 42500.00 | 150.00 | 37500.00 | 200.00 | 50000.00 | 280.00 | 70000.00 | 119.00 | 29750.00 | 29750.00 | M/S A Q ENTERPRISES
4.00 | All as per item No. 01 above but cross sectional area 50 Sqmm 3.5 core. | 100.00 | RM | 39.00 | 210.00 | 21000.00 | 230.00 | 23000.00 | 240.00 | 24000.00 | 245.00 | 24500.00 | 250.00 | 25000.00 | 440.00 | 44000.00 | 160.00 | 16000.00 | 16000.00 | M/S A Q ENTERPRISES
5.00 | All as per item No. 01 above but cross sectional area 95 Sqmm 3.5 core. | 60.00 | RM | 39.00 | 381.00 | 22860.00 | 350.00 | 21000.00 | 440.00 | 26400.00 | 425.00 | 25500.00 | 1000.00 | 60000.00 | 700.00 | 42000.00 | 260.00 | 15600.00 | 15600.00 | M/S A Q ENTERPRISES
6.00 | All as per item No. 01 above but cross sectional area 120 Sqmm 3.5 core. | 80.00 | RM | 39.00 | 420.00 | 33600.00 | 420.00 | 33600.00 | 590.00 | 47200.00 | 490.00 | 39200.00 | 800.00 | 64000.00 | 850.00 | 68000.00 | 450.00 | 36000.00 | 33600.00 | M/s KASHMIR BUILDERS, M/S YATTOO CONTRACTORS
7.00 | Material and labour for plain cement concrete M-15 nominal mix (1:2:4 type B-1) using 20mm graded crushed stone aggregate, as in coping of poles and the similar works , etc. including necessary form work, complete all as specified. | 1.50 | Cum | 39.00 | 3000.00 | 4500.00 | 2500.00 | 3750.00 | 290.00 | 435.00 | 3000.00 | 4500.00 | 2000.00 | 3000.00 | 2000.00 | 3000.00 | 4000.00 | 6000.00 | 435.00 | M/S B A Traders
8.00 | Dismantling and removing existing unserviceable ACSR conductor and Supply and laying new aluminium conductor, steel reinforced (ACSR) conductor squirrel to dog (6/1/2.11 to 6/1/4.72) any size drawn straight horizontal on over head lines on existing poles including binding with insulators, jumpering , maintaining proper sag as per IE Rule including cutting of tree branches around the ACSR with in 5 mtr dia , complete all as specified of any size as directed by Engr-in-Charge. Note:- Weight of conductor shall be measured straight horizontal distance between centre of two adjacent poles and calculating weight of conductor of size and length by adding 3% extra for sag. | 2.00 | Qtl | 39.00 | 11000.00 | 22000.00 | 16000.00 | 32000.00 | 16000.00 | 32000.00 | 13000.00 | 26000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 4000.00 | M/S NAZIR ENTERPRISES, M/S Alam Construction
9.00 | Supply and fixing for G.I earth wire 4mm dia, on LT poles for continuous earth wire, stretched without kinks, bends and binding with wire and fabrication of cradles hexagonal / rectangular guards etc , including taking down old wire of any type , shape and size and removing from site , complete all as specified. | 1.00 | Qtl | 39.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 9500.00 | 9500.00 | 2000.00 | M/S NAZIR ENTERPRISES
10.00 | Material and labour for structural steel work as in cross arms, bracings, supports, clamps and back plates fabricated from steel sections conforming to Fe-410-0 or Fe-310-0 of size angle 40x40x6mm, 50x50x6mm and channel 100x50x6mm, FI 50x6mm including nuts, bolts, washers, welding, bending cold or hot, drilling holes for bolts, in any shape or size as indicated or directed by Engr-in-Charge and applying two coats of aluminium paint over one coat of red oxide zinc chrome primer including preparation of surfaces complete, and dismantling old cross arms and removing from site , complete all as specified. | 1.00 | Qtl | 39.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 7500.00 | 7500.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 11000.00 | 11000.00 | 4000.00 | M/S Alam Construction
11.00 | Dismantling existing unserviceable stay and Supply and fixing in old and new places Stay assembly using GI stay rod of 16mm dia complete with accessories as shown in Electrical Plate No.1 of SSR 2009 Part I, with galvanized steel stranded wire of size specified,(insulator, stay clamps, excavation and concrete earth work and PCC shall be measured and paid for separately under respective items of Sch ‘A’) complete all as specified and directed by Engr-in-charge. | 4.00 | Each | 39.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 650.00 | 2600.00 | 1200.00 | 4800.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 2700.00 | 10800.00 | 2000.00 | M/S NAZIR ENTERPRISES
12.00 | Material and labour for repalcement of earthing complete with galvanized steel earth plate electrode 600 x 600 x 6 mm thick buried directly in ground (earth pit not less than 2.25 meters deep below normal ground level) with top edge of plate not less than 1.5 metres below normal ground level connecting to the Galvanized iron earth strip size (32 x 6) mm dia by means of bolts, nuts check nuts and washers of galvanized iron and steel strip protected by provision of GI light grade pipe 40mm bore including provision of concrete pit made in PCC 1:2:4 type B-1 with 40mm thick cover of RCC (1:2:4) reinforced with XPM (weight not less than 4 kg/sqm) and frame of angle iron 25 x 25 x 6 mm with lugs 2 Nos and handle of 6 mm dia MS bar made to shape, GI light grade 20mm bore pipe for watering performed at bottom, 1.75 metre long place on top edge of earth plate, common salt & charcoal filling, test point made out of 75x50x6mm phosphorous bronze with fixing arrangement, funnel, wire mesh and earth work in hard/dense soil, returning filling in and removal of surplus soil to a distance of not exceeding 50 metres all as per electrical plate No. 3 of SSR 2009 Part-I and connecting to earth test points all as specified including testing on completion. | 2.00 | Each | 39.00 | 2500.00 | 5000.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 3000.00 | M/S Alam Construction
13.00 | Material and labour for repalcement of earthing complete with galvanised steel earth plate electrode 60cm x 60cm x 6.3mm thick buried directly in ground (earth pit not less than 2.25 metres deep below normal ground level) with top edge of plate not less than 1.5 Metres below normal ground level, connecting to the Galvanised iron earth lead wire 4mm dia, by means of bolts, nuts, check nuts and washers of galvanised iron and 4mm earth lead protected by provision of GI medium grade pipe 15mm bore including provision of concrete pit in PCC (1:2:4) type B-1 using 20mm graded stone aggregates with 40mm thick cover of RCC (1:2:4) reinforced with XPM (weight not less than 4Kg/Sqm) and frame of angle iron 25x25x6mm with lugs 02 Nos and with 6mm dia MS bar handle made to shape, GI medium grade 20mm bore pipe for watering perforated at bottom 1.75 metre long placed on top edge of earth plate, common salt and charcoal filling, test point made out of funnel, wire mesh and earth work in hard/dense soil, returning filling in and removal of surplus soil to a distance not exceeding 50 metres, all as per electrical plate No 3 of SSR-2009 Part-I and connecting to earth test point including testing on completion all as specified and directed by the Engineer-in-charge. | 2.00 | Each | 39.00 | 2800.00 | 5600.00 | 2200.00 | 4400.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 3000.00 | M/S Alam Construction
14.00 | Supply and fixing in replacement for shackle type procelain, vitreous, white, brown or green insulator for working pressure 1100 volts of 90mm dia and 100 mm height ,including galvanised mild steel straps of 21 x 35mm size including 12mm dia insulator bolts, washers and nuts , including taking down old insulators of any type , shape and size and removing from site , complete all as specified. | 20.00 | Each | 39.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 390.00 | 7800.00 | 40.00 | 800.00 | 90.00 | 1800.00 | 100.00 | 2000.00 | 800.00 | M/S NAZIR ENTERPRISES
15.00 | Supply and fixing in replacement including dismantling the existing unserviceable insulators pin type porcelain vitereous , white brown or green insulator including one galvanised mild steel spindle , two galvinised washer and one GI nut 100 mm hight and 65 mm dia for 1100 Volt grade complete all as directed. | 30.00 | Each | 39.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 250.00 | 7500.00 | 40.00 | 1200.00 | 70.00 | 2100.00 | 100.00 | 3000.00 | 1200.00 | M/S NAZIR ENTERPRISES
16.00 | Supply and fix in replacement of LT spacer 4 way made out of PVC material and suitable to work on 1100 volts complete all as specified and directed. | 20.00 | Each | 39.00 | 100.00 | 2000.00 | 40.00 | 800.00 | 300.00 | 6000.00 | 100.00 | 2000.00 | 30.00 | 600.00 | 70.00 | 1400.00 | 120.00 | 2400.00 | 600.00 | M/S NAZIR ENTERPRISES
17.00 | Supply and fix in replacement of LT spacer 2 way made out of PVC material and suitable to work on 1100 volts complete all as specified and directed. | 20.00 | Each | 39.00 | 80.00 | 1600.00 | 20.00 | 400.00 | 150.00 | 3000.00 | 70.00 | 1400.00 | 20.00 | 400.00 | 50.00 | 1000.00 | 110.00 | 2200.00 | 400.00 | M/S NAZIR ENTERPRISES, M/S YATTOO CONTRACTORS
18.00 | Material and labour for replacement of existing worn out /over heated/ multi-jointed ACSR jumpers of LT over head lines with LT- PVC insulated 1100 volts cable of size 50 sqmm, complete all as specified and directed. Note;- Length of one jumper shall be 1.5 mtr appx | 100.00 | Each | 39.00 | 70.00 | 7000.00 | 250.00 | 25000.00 | 400.00 | 40000.00 | 100.00 | 10000.00 | 5.00 | 500.00 | 30.00 | 3000.00 | 150.00 | 15000.00 | 500.00 | M/S NAZIR ENTERPRISES
19.00 | Supply and replacement of MCCB of capacity 63 Amp, 16KA, 4 Pole, 415 Volts grade, complete all as specified and directed. | 8.00 | Each | 39.00 | 2700.00 | 21600.00 | 2500.00 | 20000.00 | 4600.00 | 36800.00 | 1500.00 | 12000.00 | 4200.00 | 33600.00 | 2300.00 | 18400.00 | 8000.00 | 64000.00 | 12000.00 | M/S Khan Enterprises
20.00 | Supply and replacement of MCCB of capacity 100Amp, 16KA, 4 Pole, 415 Volts grade, complete all as specified and directed. | 8.00 | Each | 39.00 | 3500.00 | 28000.00 | 2900.00 | 23200.00 | 5300.00 | 42400.00 | 2000.00 | 16000.00 | 9000.00 | 72000.00 | 2500.00 | 20000.00 | 10000.00 | 80000.00 | 16000.00 | M/S Khan Enterprises
21.00 | Supply and replacement of MCCB of capacity 250Amp, 36KA, 4 Pole, 415 Volts grade, adjustable type, complete all as specified and directed. | 4.00 | Each | 39.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 25000.00 | 100000.00 | 8000.00 | 32000.00 | 17000.00 | 68000.00 | 6000.00 | 24000.00 | 10000.00 | 40000.00 | 24000.00 | M/S Alam Construction
22.00 | Supply and fixing for GI tubing light grade with all fittings laid in trenches or under road crossing or fixed along walls / poles as protection pipe with clamps,nut, washer bolts (where necessary) bore of pipe 50mm, including taking down existing pipe , complete all as specified. | 36.00 | RM | 39.00 | 250.00 | 9000.00 | 320.00 | 11520.00 | 300.00 | 10800.00 | 250.00 | 9000.00 | 70.00 | 2520.00 | 80.00 | 2880.00 | 350.00 | 12600.00 | 2520.00 | M/S NAZIR ENTERPRISES
23.00 | Disconnecting the windings of loose overhead conductors of LT lines from insulators and restringing the same for proper sag and rewinding including aluminium winding wires, tapes etc and jumpering for any type of conductor complete all as directed. | 2000.00 | RM | 39.00 | 3.00 | 6000.00 | 3.00 | 6000.00 | 5.00 | 10000.00 | 30.00 | 60000.00 | 3.00 | 6000.00 | 5.00 | 10000.00 | 3.00 | 6000.00 | 6000.00 | M/S NAZIR ENTERPRISES, M/s KASHMIR BUILDERS, M/S YATTOO CONTRACTORS, M/S A Q ENTERPRISES
24.00 | Material and labour for Painting of steel tubular pole 9 mtr long, by applying two coat of aluminium paint after scraping/brushing and cleaning the rust on pole and cross arms aluminium painting will be done on pole above 1.5 mtr height from ground level and balance 1.5 mtr from ground level will be painted by alternate layer of black and yellow alternate strips of 30 cm each with synthetic enameled paint complete all as directed by Engr-in-charge. | 120.00 | Each | 39.00 | 140.00 | 16800.00 | 200.00 | 24000.00 | 130.00 | 15600.00 | 120.00 | 14400.00 | 150.00 | 18000.00 | 100.00 | 12000.00 | 100.00 | 12000.00 | 12000.00 | M/S Alam Construction, M/S A Q ENTERPRISES
25.00 | Material and labour for Numbering of poles with synthetic enameled black paint in yellow circle of 150mm dia paint complete all as specified and directed. (Note: -Numbering shall be hand written only stencils embossing shall not be allowed ,and size of letter shall be 50x10 mm (height x width ). | 100.00 | Each | 39.00 | 40.00 | 4000.00 | 30.00 | 3000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 20.00 | 2000.00 | 30.00 | 3000.00 | 130.00 | 13000.00 | 2000.00 | M/S NAZIR ENTERPRISES
26.00 | Material and labour for Painting of LT Panel rating after taking proper shut down and applying two coat of smoke grey paint after preparation of surface by scraping ,cleaning of old paint . and Writing of Feeder Name with black paint and size of letter shall be 50 x 10 mm (height x width), complete all as specified and directed by Engr-in-charge. | 16.00 | Each | 39.00 | 400.00 | 6400.00 | 1000.00 | 16000.00 | 200.00 | 3200.00 | 200.00 | 3200.00 | 10.00 | 160.00 | 250.00 | 4000.00 | 1200.00 | 19200.00 | 160.00 | M/S NAZIR ENTERPRISES
27.00 | Supply and fixing Change over switch with sheet metal enclosure of capacity 100 Amp, 4 pole, 415Volts, AC 50 HZ after dismentling the existing old, complete all as specified and directed. Make- Havells, Standard, Schneider, Indo Asian | 2.00 | Each | 39.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 6000.00 | M/S Alam Construction
28.00 | Supply and replacement to analog volt meter of range 0 to 500 Amp of size 96 x 96mm, complete all as specified and directed. Make- AE or equivalent in other approved make. | 2.00 | Each | 39.00 | 800.00 | 1600.00 | 400.00 | 800.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 60.00 | 120.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 120.00 | M/S NAZIR ENTERPRISES
29.00 | Supply and replacement to analog Amp meter of capacity 0 to 100 Amp of size 96 x 96mm, complete all as specified and directed. Make- AE or equivalent in other approved make. | 2.00 | Each | 39.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 700.00 | 1400.00 | 600.00 | 1200.00 | 70.00 | 140.00 | 1200.00 | 2400.00 | 400.00 | 800.00 | 140.00 | M/S NAZIR ENTERPRISES
30.00 | Supply and replacement to analog Amp meter of capacity 0 to 400 Amp of size 96 x 96mm, complete all as specified and directed. Make- AE or equivalent in other approved make. | 2.00 | Each | 39.00 | 800.00 | 1600.00 | 600.00 | 1200.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 90.00 | 180.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 180.00 | M/S NAZIR ENTERPRISES
31.00 | Supply and replacement to LT CT of ratio 200/5 Amp after dismetling the existing old, complete all as specified and directed. | 2.00 | Each | 39.00 | 1500.00 | 3000.00 | 250.00 | 500.00 | 500.00 | 1000.00 | 850.00 | 1700.00 | 600.00 | 1200.00 | 1500.00 | 3000.00 | 260.00 | 520.00 | 500.00 | M/S YATTOO CONTRACTORS
32.00 | Supply and replacement to LT CT of ratio 400/5 Amp after dismetling the existing old, complete all as specified and directed. | 2.00 | Each | 39.00 | 1500.00 | 3000.00 | 300.00 | 600.00 | 800.00 | 1600.00 | 1250.00 | 2500.00 | 600.00 | 1200.00 | 1600.00 | 3200.00 | 300.00 | 600.00 | 600.00 | M/S YATTOO CONTRACTORS, M/S A Q ENTERPRISES
33.00 | Taking down unserviceable street lights /security lights/high mast light HPSV/HPMV/ CFL/LED light fitings of any capacity or type from pole/wall after disconnection and connecting wires, carrying to store yard for necessary repair/replacement of spares etc. Complete all as specified and directed by Engr-in-Chagre. | 140.00 | Each | 39.00 | 50.00 | 7000.00 | 100.00 | 14000.00 | 40.00 | 5600.00 | 100.00 | 14000.00 | 20.00 | 2800.00 | 11.00 | 1540.00 | 75.00 | 10500.00 | 1540.00 | M/S Alam Construction
34.00 | Refixing only street light fittings any type or capacity (Items obtained from Srl No -33 after repair) including making connections with cables of size 2.5 sqmm copper conductor multistandard and testing complete all as specified and directed by Engr-in-Charge. | 140.00 | Each | 39.00 | 150.00 | 21000.00 | 130.00 | 18200.00 | 40.00 | 5600.00 | 150.00 | 21000.00 | 20.00 | 2800.00 | 45.00 | 6300.00 | 200.00 | 28000.00 | 2800.00 | M/S NAZIR ENTERPRISES
35.00 | Supply and fixing copper wound ballast open construction electromegnetic consisting of high quaility silicon steel lamination with argon welding suitable for 150 Watt street light fittings HPSV/ MH, including making connection and taking out of existing unserviceable ballast complete all as specified and directed . Make- Bajaj, Havells, C.G., Phillips | 5.00 | Each | 39.00 | 600.00 | 3000.00 | 600.00 | 3000.00 | 800.00 | 4000.00 | 1300.00 | 6500.00 | 50.00 | 250.00 | 700.00 | 3500.00 | 1000.00 | 5000.00 | 250.00 | M/S NAZIR ENTERPRISES
36.00 | Supply and fixing copper wound ballast open construction electromegnetic consisting of high quaility silicon steel lamination with argon welding suitable for 250 Watt street light fittings HPSV/ MH, including making connection and taking out of existing unserviceable ballast complete all as specified and directed . Make- Bajaj, Havells, C.G., Philips | 5.00 | Each | 39.00 | 1000.00 | 5000.00 | 700.00 | 3500.00 | 800.00 | 4000.00 | 1500.00 | 7500.00 | 50.00 | 250.00 | 700.00 | 3500.00 | 1300.00 | 6500.00 | 250.00 | M/S NAZIR ENTERPRISES
37.00 | Supply and fixing copper wound ballast open construction electromegnetic consisting of high quaility silicon steel lamination with argon welding suitable for 70 Watt street light fittings HPSV/ MH, including making connection and taking out of existing unserviceable ballast complete all as specified and directed . Make- Bajaj, Havells, C.G., Philips | 3.00 | Each | 39.00 | 300.00 | 900.00 | 300.00 | 900.00 | 400.00 | 1200.00 | 800.00 | 2400.00 | 50.00 | 150.00 | 400.00 | 1200.00 | 1450.00 | 4350.00 | 150.00 | M/S NAZIR ENTERPRISES
38.00 | Supply and fixing copper wound ballast Potted type electromegnetic consisting of high quaility silicon steel lamination with argon welding suitable for 400 Watt High mast light fittings HPSV/ MH, including making connection and taking out of existing unserviceable ballast complete all as specified and directed . Make- Bajaj, Havells, C.G., Philips | 2.00 | Each | 39.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 800.00 | 1600.00 | 2000.00 | 4000.00 | 50.00 | 100.00 | 1600.00 | 3200.00 | 2800.00 | 5600.00 | 100.00 | M/S NAZIR ENTERPRISES
39.00 | Taking down and replacement of unserviceable HPSV lamps SON-T with new suitable for HPSV Lamp SON-T 70 watts capacity complete all as specified and directed. Make- Bajaj, Havells, C.G., Philips | 4.00 | Each | 39.00 | 160.00 | 640.00 | 200.00 | 800.00 | 130.00 | 520.00 | 100.00 | 400.00 | 10.00 | 40.00 | 150.00 | 600.00 | 280.00 | 1120.00 | 40.00 | M/S NAZIR ENTERPRISES
40.00 | Taking down and replacement of unserviceable HPSV lamps SON-T with new suitable for HPSV Lamp SON-T of capacity 150 Watts complete all as specified and directed. Make- Bajaj, Havells, C.G., Philips | 5.00 | Each | 39.00 | 170.00 | 850.00 | 250.00 | 1250.00 | 150.00 | 750.00 | 150.00 | 750.00 | 20.00 | 100.00 | 300.00 | 1500.00 | 300.00 | 1500.00 | 100.00 | M/S NAZIR ENTERPRISES
41.00 | Taking down and replacement of unserviceable HPSV lamps SON-T with new suitable for HPSV Lamp SON-T of capacity 250 Watts complete all as specified and directed. Make- Bajaj, Havells, C.G., Philips | 5.00 | Each | 39.00 | 170.00 | 850.00 | 300.00 | 1500.00 | 150.00 | 750.00 | 150.00 | 750.00 | 25.00 | 125.00 | 300.00 | 1500.00 | 350.00 | 1750.00 | 125.00 | M/S NAZIR ENTERPRISES
42.00 | Taking down and replacement of unserviceable HPSV lamps SON-T with new suitable for HPSV Lamp SON-T of capacity 400 Watts complete all as specified and directed. Make - Bajaj, Havells, C.G., Philips | 6.00 | Each | 39.00 | 180.00 | 1080.00 | 500.00 | 3000.00 | 300.00 | 1800.00 | 350.00 | 2100.00 | 30.00 | 180.00 | 400.00 | 2400.00 | 450.00 | 2700.00 | 180.00 | M/S NAZIR ENTERPRISES
43.00 | Taking down and replacement of ignitor suitable for 70 Watts to 400 Watts HPSV lamp fittings and all as directed by Engr-in-Charge | 20.00 | Each | 39.00 | 160.00 | 3200.00 | 90.00 | 1800.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 30.00 | 600.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 600.00 | M/S NAZIR ENTERPRISES
44.00 | Taking down the unserviceable porcelain holder from the street light fittings and providing new holder suitable for HPSV lamp fittings 70 to 400 Watts and all as directed by Engr in Charge | 10.00 | Each | 39.00 | 200.00 | 2000.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 125.00 | 1250.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 200.00 | 2000.00 | 500.00 | M/S YATTOO CONTRACTORS
45.00 | Replacement of capacitor suitable for 15mfd HPSV lamp, complete all as specified and directed. | 20.00 | Each | 39.00 | 200.00 | 4000.00 | 90.00 | 1800.00 | 50.00 | 1000.00 | 150.00 | 3000.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 1000.00 | M/S NAZIR ENTERPRISES, M/S B A Traders
46.00 | Replacement of capacitor suitable for 20mfd HPSV lamp, complete all as specified and directed. | 20.00 | Each | 39.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 135.00 | 2700.00 | 50.00 | 1000.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 1000.00 | M/S NAZIR ENTERPRISES, M/S B A Traders
47.00 | Supply and replacement Drivers of LED street light fittigs, of capacity 45 Watt, complete all as specified and directed. Make- Bajaj/Havells/Surya/Philips | 25.00 | Each | 39.00 | 700.00 | 17500.00 | 600.00 | 15000.00 | 2500.00 | 62500.00 | 400.00 | 10000.00 | 80.00 | 2000.00 | 500.00 | 12500.00 | 100.00 | 2500.00 | 2000.00 | M/S NAZIR ENTERPRISES
48.00 | Supply and replacement Drivers of LED street light fittigs, of capacity 48 Watt, complete all as specified and directed. Make- Bajaj/Havells/Surya/Philips | 25.00 | Each | 39.00 | 700.00 | 17500.00 | 600.00 | 15000.00 | 2500.00 | 62500.00 | 500.00 | 12500.00 | 80.00 | 2000.00 | 700.00 | 17500.00 | 150.00 | 3750.00 | 2000.00 | M/S NAZIR ENTERPRISES
49.00 | Supply and replacement of electronic ballast suitable for FTL lamp in ABS housing with lead in wires of capacity 36/40W, complete all as specified and directed. Make- Bajaj , Cat Part No- 539207 or equivalent in Havells/surya | 25.00 | Each | 39.00 | 130.00 | 3250.00 | 100.00 | 2500.00 | 100.00 | 2500.00 | 135.00 | 3375.00 | 100.00 | 2500.00 | 100.00 | 2500.00 | 400.00 | 10000.00 | 2500.00 | M/S NAZIR ENTERPRISES, M/S Alam Construction, M/S YATTOO CONTRACTORS, M/S B A Traders
50.00 | Supply and replacement of 36 Watt 4 Pin 'L' type CFL lamp, complete all as specified and directed. Make -Bajaj /Havells / CG | 50.00 | Each | 39.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 60.00 | 3000.00 | 205.00 | 10250.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 425.00 | 21250.00 | 3000.00 | M/S B A Traders
51.00 | Excavation in trenches in soft / loose soil not exc 1.5 mtr wide and not exe 1.5mtr deep and getting out complete, all as specified. | 124.54 | Cum | 39.00 | 100.00 | 12454.00 | 90.00 | 11208.60 | 60.00 | 7472.40 | 80.00 | 9963.20 | 80.00 | 9963.20 | 120.00 | 14944.80 | 90.00 | 11208.60 | 7472.40 | M/S B A Traders
52.00 | Returning filling in including spreading, leveling, watering and well ramming to a layer not exceeding 25cm all as directed. | 79.77 | Cum | 39.00 | 50.00 | 3988.50 | 30.00 | 2393.10 | 20.00 | 1595.40 | 45.00 | 3589.65 | 20.00 | 1595.40 | 40.00 | 3190.80 | 33.00 | 2632.41 | 1595.40 | M/S NAZIR ENTERPRISES, M/S B A Traders
53.00 | Removal of excavated material n.exe 50mtr and depositing where directed at a level not exe 1.5 mtr above the starting point. | 44.77 | Cum | 39.00 | 30.00 | 1343.10 | 30.00 | 1343.10 | 50.00 | 2238.50 | 30.00 | 1343.10 | 30.00 | 1343.10 | 65.00 | 2910.05 | 50.00 | 2238.50 | 1343.10 | M/S NAZIR ENTERPRISES, M/s KASHMIR BUILDERS, M/S Khan Enterprises, M/S YATTOO CONTRACTORS
54.00 | Material and labour for sand cushioning to underground cables complete all as specified in clause 19.75 of SSR Part-I laid before and after laying of cables,complete all as specified. | 37.36 | Cum | 39.00 | 275.00 | 10274.00 | 550.00 | 20548.00 | 200.00 | 7472.00 | 250.00 | 9340.00 | 200.00 | 7472.00 | 300.00 | 11208.00 | 800.00 | 29888.00 | 7472.00 | M/S NAZIR ENTERPRISES, M/S B A Traders
55.00 | Material and labour for sub class (B* brick, old size, brick covering laid dry, flat transversally along the length of cable on sand cushioning, with width equal to the length of the brick complete all as specified and directed. | 4000.00 | Each | 39.00 | 3.00 | 12000.00 | 5.00 | 20000.00 | 3.00 | 12000.00 | 3.00 | 12000.00 | 1.00 | 4000.00 | 3.00 | 12000.00 | 5.00 | 20000.00 | 4000.00 | M/S NAZIR ENTERPRISES
56.00 | Taking down existing cable and Supply and fix 1100 volts grade heavy duty twin core cable flat or circular, 10Sqmm stranded conductor cable PVC insulated aluminium conductor, served with inner shething of PVC sheeathed in service conections suspended by insulating hangers not more than 1 metre apart including 4mm suspension wire, complete all as specified. | 50.00 | RM | 39.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 50.00 | 2500.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 1000.00 | M/S Alam Construction
57.00 | Supply and fixing in replacement of timer box accessories with and including MCCB 63 Amp 4 pole -01 Nos, power contactor 3 pole operated on 230 volts suitable for load of 63 Amp-01 Nos, MCB DB 2 way with MCB SPN 16 Amp -01 Nos, timer for Security lights workin on 7 x 24 hours for on/off off control to security lights excluding box and including repair of timer box if required for welding of door and ms work complete all as directed as per site requirement. Makes of all accessories :- Havells or equivalent as approved | 2.00 | Each | 39.00 | 6000.00 | 12000.00 | 18000.00 | 36000.00 | 1200.00 | 2400.00 | 10000.00 | 20000.00 | 13000.00 | 26000.00 | 4100.00 | 8200.00 | 15000.00 | 30000.00 | 2400.00 | M/S B A Traders
58.00 | Supply and fixing in replacement MCCB single pole, AC 230 Volt, 400 Amps, 25 KA , 50Hz to be fixed on existing LT Panel, complete all as specified and directed. Make- Havells, Standard, Schneider, Indo Asian | 1.00 | Each | 39.00 | 2000.00 | 2000.00 | 18000.00 | 18000.00 | 1500.00 | 1500.00 | 13000.00 | 13000.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 16000.00 | 16000.00 | 1500.00 | M/S B A Traders
59.00 | Cutting of tree branches touching or leaning over overhead power lines and removing of cut tree branches from the site, complete all as directed. | 800.00 | RM | 39.00 | 2.00 | 1600.00 | 3.00 | 2400.00 | 5.00 | 4000.00 | 10.00 | 8000.00 | 5.00 | 4000.00 | 5.00 | 4000.00 | 2.00 | 1600.00 | 1600.00 | M/s KASHMIR BUILDERS, M/S A Q ENTERPRISES
60.00 | Supply and fixing in replacement change over switch on load AC-23 (side handle) 4 pole 415Volts 50HZ capacity 100 Amp with sheet metal enclosure complete all as specified and directed. Make- Havells Cat Part No- IHCFFE0100 or equivalent in Schneider/Indoasian | 1.00 | Each | 39.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 8000.00 | 8000.00 | 3500.00 | M/S Alam Construction
61.00 | Material and labour for fixing of Steel tubular swaged poles complete with cast iron base plate, final taper plug,bolts nuts & Screw as specified type 410 SP-31 (9.00 Mtr long) with and including earth and pcc work for fixing of pole, complete all as specified and directed | 2.00 | Each | 39.00 | 12000.00 | 24000.00 | 11000.00 | 22000.00 | 12000.00 | 24000.00 | 11000.00 | 22000.00 | 16000.00 | 32000.00 | 8000.00 | 16000.00 | 11000.00 | 22000.00 | 16000.00 | M/S Alam Construction
62.00 | Supply and fixing energy saving edge series of LED street lighting Luminiare pressure dia cast aluminium housing with IP 66 capacity 45 Watt including taking old fitting of any typ, complete all as specified and directed. Make- Bajaj Cat Part No-169681, BRTFG 45 watt LED or equivalent in CG/Havells | 2.00 | Each | 39.00 | 3200.00 | 6400.00 | 2500.00 | 5000.00 | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 2200.00 | 4400.00 | 4400.00 | M/S A Q ENTERPRISES
| Total in Figures |  |  |  |  | 559539.60 |  | 642912.80 |  | 785733.30 |  | 648760.95 |  | 616888.70 |  | 578273.65 |  | 754357.51
Lowest Amount Quoted BY: M/s KASHMIR BUILDERS(559539.60)

## BOQ Summary
BOQ Summary Details Tender Title: Certain repair to external electrification including OH line/electric poles, poles painting, GODs and Changing of guard wire etc. in Sharifabad. Tender ID: 2018_MES_225774_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s KASHMIR BUILDERS | 559539.60 | L1
| 2 | M/S Alam Construction | 578273.65 | L2
| 3 | M/S NAZIR ENTERPRISES | 616888.70 | L3
| 4 | M/S YATTOO CONTRACTORS | 642912.80 | L4
| 5 | M/S Khan Enterprises | 648760.95 | L5
| 6 | M/S A Q ENTERPRISES | 754357.51 | L6
| 7 | M/S B A Traders | 785733.30 | L7