## BoQ1
eProcurement System for Organisations under MoD Created By: Ravinder Kumar Created Date/Time: 24-Dec-2018 05:16 PM Tender Title: REWIRING TO CERTAIN BUILDINGS ALONGWITH REPLACEMENT OF UNRESERVICEABLE FITTING AND FIXTURE AT HQ IDS, AFC AND AFDC IN THE AOR OF AGE E/M SP MARG UNDER GE NEW DELHI Tender ID: 2018_MES_224805_1
Tender Inviting Authority : GE NEW DELHI
Name of Work : REWIRING TO CERTAIN BUILDINGS ALONGWITH REPLACEMENT OF UNRESERVICEABLE FITTING AND FIXTURE AT HQ IDS, AFC AND AFDC IN THE AOR OF AGE E/M SP MARG UNDER GE NEW DELHI
Contract No : GE/ND-49/2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S ANIL KUMAR |  | RUCHIKA ENGG.WORKS |  | GLIBS CONSTRUCTION |  | NEERU ELECTRICALS |  | sony engineering works |  | Verma Enterprises |  | M/S MG GROUP |  | SNOWY ENGINEERING INC |  | P S TRADERS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down carefully old point wiring (Light / Fan/ Socket/ Bell Point ) with aluminium/ copper conductor cable complete including fittings such as ceiling rose, holders, regulators, bell, switch and socket and making good the disturbed surface of wall/ floor complete to match with the existing surface/finishes all as specified. | 415.00 | Per Point | 0.00 | 5.00 | 2075.00 | 10.00 | 4150.00 | 10.00 | 4150.00 | 2.00 | 830.00 | 20.00 | 8300.00 | 5.00 | 2075.00 | 2.00 | 830.00 | 10.00 | 4150.00 | 15.00 | 6225.00 | 830.00 | NEERU ELECTRICALS, M/S MG GROUP
2.00 | Material and labour for point wiring with PVC insulated unsheathed multi stranded, single core, FRLS, copper conductor cable of size 1.5 sqmm 1100 Volts including one run of PVC insulated unsheathed multi stranded, single core, FRLS , copper conductor cable of size 1.5 sqmm as earth continuity conductor connected to common earth dolly drawing through existing conduit but including the provision of new galvanised MS sunken box and new decorated laminated sheet of suitable size for housing the switches, sockets & fan regulators etc for the following:-
2.01 | One light/fan/bell point controlled by one No, one way switch. | 175.00 | Per Point | 0.00 | 170.00 | 29750.00 | 350.00 | 61250.00 | 200.00 | 35000.00 | 200.00 | 35000.00 | 390.00 | 68250.00 | 300.00 | 52500.00 | 200.00 | 35000.00 | 320.00 | 56000.00 | 300.00 | 52500.00 | 29750.00 | M/S ANIL KUMAR
2.02 | One 6 Amp socket outlet point controlled by one No, one way switch on same board | 40.00 | Per Point | 0.00 | 50.00 | 2000.00 | 100.00 | 4000.00 | 30.00 | 1200.00 | 100.00 | 4000.00 | 80.00 | 3200.00 | 330.00 | 13200.00 | 20.00 | 800.00 | 300.00 | 12000.00 | 310.00 | 12400.00 | 800.00 | M/S MG GROUP
2.03 | One 6 Amp socket outlet point controlled by one No, one way switch on independent board | 100.00 | Per Point | 0.00 | 200.00 | 20000.00 | 350.00 | 35000.00 | 230.00 | 23000.00 | 200.00 | 20000.00 | 390.00 | 39000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 360.00 | 36000.00 | 310.00 | 31000.00 | 20000.00 | M/S ANIL KUMAR, NEERU ELECTRICALS, M/S MG GROUP
3.00 | M&L for point wiring with PVC insulated unsheathed multi stranded, single core, FRLS type, copper conductor cable of size 2.5 sqmm 1100 Volts including one run of PVC insulated unsheathed multi stranded, single core, FRLS type, copper conductor cable of size 1.5 sqmm as earth continuity conductor connected to common earth dolly, in and including PVC conduit (heavy duty), ISI marked and its accessories including provn of cencealed box prefabricated with suitable back & front plate for housing the Modular switches & sockets for one 16 Amp socket out let point on independent board. Note for item No 45.00 to 46.00:- (i) Cutting chases for concealed conduit and making good in cement mortar is deemed included in unit rate. (ii) No cutting shall be done in the roof for laying PVC conduit for ceiling point wiring. In this specified portion wire shall run through the existing conduit or surface new conduit shall be provided as required. (iii) In case the wiring is encountered with any beam/column, then the wiring will run on surface to avoid any damage to the RCC portion. | 100.00 | Per Point | 0.00 | 250.00 | 25000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 450.00 | 45000.00 | 380.00 | 38000.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 320.00 | 32000.00 | 25000.00 | M/S ANIL KUMAR, NEERU ELECTRICALS
4.00 | S&F modular switch 1 way 6 Amp, SP, one module 230 volts AC all as specified. | 315.00 | Each | 0.00 | 50.00 | 15750.00 | 60.00 | 18900.00 | 40.00 | 12600.00 | 40.00 | 12600.00 | 50.00 | 15750.00 | 30.00 | 9450.00 | 35.00 | 11025.00 | 55.00 | 17325.00 | 330.00 | 103950.00 | 9450.00 | Verma Enterprises
5.00 | S&F modular switch 1 way 16 Amp, SP, one module 230 volts AC all as specified. | 100.00 | Each | 0.00 | 60.00 | 6000.00 | 90.00 | 9000.00 | 90.00 | 9000.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 60.00 | 6000.00 | 60.00 | 6000.00 | 75.00 | 7500.00 | 350.00 | 35000.00 | 6000.00 | M/S ANIL KUMAR, NEERU ELECTRICALS, M/S MG GROUP, Verma Enterprises
6.00 | S&F modular socket out let 2/3 pin combined 6 Amp, 230 volts two module AC all as specified. | 140.00 | Each | 0.00 | 60.00 | 8400.00 | 110.00 | 15400.00 | 60.00 | 8400.00 | 50.00 | 7000.00 | 110.00 | 15400.00 | 50.00 | 7000.00 | 70.00 | 9800.00 | 55.00 | 7700.00 | 320.00 | 44800.00 | 7000.00 | NEERU ELECTRICALS, Verma Enterprises
7.00 | S&F modular socket out let 2/3 pin combined 6/16 Amp, 230 volts two moduleAC all as specified. | 100.00 | Each | 0.00 | 70.00 | 7000.00 | 140.00 | 14000.00 | 90.00 | 9000.00 | 60.00 | 6000.00 | 110.00 | 11000.00 | 85.00 | 8500.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 350.00 | 35000.00 | 6000.00 | NEERU ELECTRICALS
8.00 | S&F modular type electronic fan step regulator 120W, modular type 2 module all as specified. | 40.00 | Each | 0.00 | 181.00 | 7240.00 | 250.00 | 10000.00 | 300.00 | 12000.00 | 220.00 | 8800.00 | 250.00 | 10000.00 | 200.00 | 8000.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 270.00 | 10800.00 | 7240.00 | M/S ANIL KUMAR
9.00 | S&F modular bell push switch 6 Amps, one module 230 Volts AC all as specified. | 22.00 | Each | 0.00 | 60.00 | 1320.00 | 60.00 | 1320.00 | 50.00 | 1100.00 | 50.00 | 1100.00 | 80.00 | 1760.00 | 50.00 | 1100.00 | 50.00 | 1100.00 | 55.00 | 1210.00 | 80.00 | 1760.00 | 1100.00 | NEERU ELECTRICALS, GLIBS CONSTRUCTION, M/S MG GROUP, Verma Enterprises
10.00 | Supply only in replacement of switch piano flush type 6 Amp, SP, one way 230 volts AC all as specified. | 430.00 | Each | 0.00 | 20.00 | 8600.00 | 25.00 | 10750.00 | 18.00 | 7740.00 | 20.00 | 8600.00 | 25.00 | 10750.00 | 18.00 | 7740.00 | 12.00 | 5160.00 | 18.00 | 7740.00 | 28.00 | 12040.00 | 5160.00 | M/S MG GROUP
11.00 | Supply only in replacement of switch piano flush type 16 Amp, SP, one way 230 volts AC all as specified. | 230.00 | Each | 0.00 | 55.00 | 12650.00 | 45.00 | 10350.00 | 55.00 | 12650.00 | 55.00 | 12650.00 | 60.00 | 13800.00 | 55.00 | 12650.00 | 40.00 | 9200.00 | 60.00 | 13800.00 | 60.00 | 13800.00 | 9200.00 | M/S MG GROUP
12.00 | Supply only in replacement of piano flush type socket out let 5 pin 6 Amp, 230 volts AC all as specified. | 290.00 | Each | 0.00 | 32.00 | 9280.00 | 60.00 | 17400.00 | 23.00 | 6670.00 | 40.00 | 11600.00 | 30.00 | 8700.00 | 25.00 | 7250.00 | 25.00 | 7250.00 | 35.00 | 10150.00 | 50.00 | 14500.00 | 6670.00 | GLIBS CONSTRUCTION
13.00 | Supply only in replacement of piano flush type socket out let 6 pin 16 Amp, 230 volts AC all as specified. | 320.00 | Each | 0.00 | 55.00 | 17600.00 | 70.00 | 22400.00 | 55.00 | 17600.00 | 55.00 | 17600.00 | 60.00 | 19200.00 | 55.00 | 17600.00 | 40.00 | 12800.00 | 65.00 | 20800.00 | 70.00 | 22400.00 | 12800.00 | M/S MG GROUP
14.00 | Supply only in replacement of piano type electronic fan regulator suitable for 1200/1400 mm ceiling fan all as specified. | 75.00 | Each | 0.00 | 100.00 | 7500.00 | 150.00 | 11250.00 | 120.00 | 9000.00 | 100.00 | 7500.00 | 80.00 | 6000.00 | 120.00 | 9000.00 | 120.00 | 9000.00 | 200.00 | 15000.00 | 150.00 | 11250.00 | 6000.00 | sony engineering works
15.00 | Supply only in replacement of bell push switch piano flush type 6 Amps, SP, 230 Volts AC all as specified. | 30.00 | Each | 0.00 | 25.00 | 750.00 | 25.00 | 750.00 | 20.00 | 600.00 | 20.00 | 600.00 | 30.00 | 900.00 | 25.00 | 750.00 | 20.00 | 600.00 | 20.00 | 600.00 | 100.00 | 3000.00 | 600.00 | SNOWY ENGINEERING INC, NEERU ELECTRICALS, GLIBS CONSTRUCTION, M/S MG GROUP
16.00 | Supply only in replacement of switch socket combination piano flush type 5 pin, 6 Amps, 230 volts AC all as specified. | 120.00 | Each | 0.00 | 55.00 | 6600.00 | 90.00 | 10800.00 | 200.00 | 24000.00 | 55.00 | 6600.00 | 80.00 | 9600.00 | 70.00 | 8400.00 | 50.00 | 6000.00 | 60.00 | 7200.00 | 120.00 | 14400.00 | 6000.00 | M/S MG GROUP
17.00 | Supply only in replacement of switch socket combination piano flush type 6 pin, 16 Amps, 230 volts AC all as specified. | 110.00 | Each | 0.00 | 65.00 | 7150.00 | 145.00 | 15950.00 | 250.00 | 27500.00 | 70.00 | 7700.00 | 120.00 | 13200.00 | 80.00 | 8800.00 | 70.00 | 7700.00 | 70.00 | 7700.00 | 150.00 | 16500.00 | 7150.00 | M/S ANIL KUMAR
18.00 | Supply only in replacement of call bell suitable for 230 volts AC all as specified. | 40.00 | Each | 0.00 | 70.00 | 2800.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 100.00 | 4000.00 | 180.00 | 7200.00 | 125.00 | 5000.00 | 15.00 | 600.00 | 80.00 | 3200.00 | 400.00 | 16000.00 | 600.00 | M/S MG GROUP
19.00 | Supply only in replacement of cordless bell electronic type 230 volts AC all as specified | 30.00 | Each | 0.00 | 100.00 | 3000.00 | 250.00 | 7500.00 | 200.00 | 6000.00 | 350.00 | 10500.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 500.00 | 15000.00 | 200.00 | 6000.00 | 3000.00 | M/S ANIL KUMAR, M/S MG GROUP
20.00 | Supply only in replacement of Plug Top 15 Amps, 230volts AC, 3-pin all as specified. | 70.00 | Each | 0.00 | 30.00 | 2100.00 | 50.00 | 3500.00 | 90.00 | 6300.00 | 40.00 | 2800.00 | 65.00 | 4550.00 | 50.00 | 3500.00 | 50.00 | 3500.00 | 40.00 | 2800.00 | 100.00 | 7000.00 | 2100.00 | M/S ANIL KUMAR
21.00 | Supply only in replacement of Plug Top 5 Amps, 230volts AC, 3-pin all as specified. | 70.00 | Each | 0.00 | 25.00 | 1750.00 | 25.00 | 1750.00 | 60.00 | 4200.00 | 20.00 | 1400.00 | 35.00 | 2450.00 | 25.00 | 1750.00 | 30.00 | 2100.00 | 30.00 | 2100.00 | 60.00 | 4200.00 | 1400.00 | NEERU ELECTRICALS
22.00 | Supply only in replacement ceiling rose 3 terminal / PVC / Polycarbonate, insulated body all as specified. | 75.00 | Each | 0.00 | 20.00 | 1500.00 | 20.00 | 1500.00 | 18.00 | 1350.00 | 15.00 | 1125.00 | 20.00 | 1500.00 | 25.00 | 1875.00 | 15.00 | 1125.00 | 15.00 | 1125.00 | 25.00 | 1875.00 | 1125.00 | SNOWY ENGINEERING INC, NEERU ELECTRICALS, M/S MG GROUP
23.00 | S&F in replacement of submain wiring with PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type, 1100 volts grade 2 x 10 sqmm complete drawn in existing conduit along with 1x 6 sqmm PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type for continuous earth wire and connected to common earth dolly complete all as specified. | 400.00 | RM | 0.00 | 118.00 | 47200.00 | 220.00 | 88000.00 | 220.00 | 88000.00 | 150.00 | 60000.00 | 160.00 | 64000.00 | 220.00 | 88000.00 | 100.00 | 40000.00 | 150.00 | 60000.00 | 350.00 | 140000.00 | 40000.00 | M/S MG GROUP
24.00 | S&F in replacement of submain wiring with PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type, 1100 volts grade 2 x 6 sqmm complete drawn in existing conduit along with 1x 4 sqmm PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type for continuous earth wire and connected to common earth dolly complete all as specified. | 300.00 | RM | 0.00 | 100.00 | 30000.00 | 160.00 | 48000.00 | 140.00 | 42000.00 | 100.00 | 30000.00 | 120.00 | 36000.00 | 200.00 | 60000.00 | 75.00 | 22500.00 | 120.00 | 36000.00 | 290.00 | 87000.00 | 22500.00 | M/S MG GROUP
25.00 | S&F in replacement of submain wiring with PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type, 1100 volts grade 2 x 4 sqmm complete drawn in existing conduit along with 1x 2.5 sqmm PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type for continuous earth wire and connected to common earth dolly complete all as specified. | 300.00 | RM | 0.00 | 45.00 | 13500.00 | 110.00 | 33000.00 | 120.00 | 36000.00 | 70.00 | 21000.00 | 80.00 | 24000.00 | 180.00 | 54000.00 | 65.00 | 19500.00 | 60.00 | 18000.00 | 220.00 | 66000.00 | 13500.00 | M/S ANIL KUMAR
26.00 | S&F in replacement of submain wiring with PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type, 1100 volts grade 2 x 2.5 sqmm complete drawn in existing conduit along with 1x 1.5 sqmm PVC insulated unsheathed copper conductor cable, multi stranded, single core, FRLS type for continuous earth wire and connected to common earth dolly complete all as specified. | 200.00 | RM | 0.00 | 40.00 | 8000.00 | 100.00 | 20000.00 | 90.00 | 18000.00 | 40.00 | 8000.00 | 55.00 | 11000.00 | 160.00 | 32000.00 | 40.00 | 8000.00 | 50.00 | 10000.00 | 200.00 | 40000.00 | 8000.00 | M/S ANIL KUMAR, NEERU ELECTRICALS, M/S MG GROUP
27.00 | Supply only in replacement flexible copper conductor twisted twin core PVC insulated cable of size 23/0.0076. Make of cable : Finolex/ Havells/ Kalinga Premium | 400.00 | RM | 0.00 | 5.50 | 2200.00 | 25.00 | 10000.00 | 18.00 | 7200.00 | 5.00 | 2000.00 | 35.00 | 14000.00 | 10.00 | 4000.00 | 5.00 | 2000.00 | 8.00 | 3200.00 | 100.00 | 40000.00 | 2000.00 | NEERU ELECTRICALS, M/S MG GROUP
28.00 | S&F in replacement PVC insulated and sheathed aluminium cable of size 10 sqmm twin core flat 1100 volts grade complete all as directed | 300.00 | RM | 0.00 | 23.00 | 6900.00 | 70.00 | 21000.00 | 40.00 | 12000.00 | 15.00 | 4500.00 | 50.00 | 15000.00 | 40.00 | 12000.00 | 25.00 | 7500.00 | 110.00 | 33000.00 | 150.00 | 45000.00 | 4500.00 | NEERU ELECTRICALS
29.00 | S&F in replacement of rigid non-metallic PVC conduit medium grade of size 20 mm dia complete with fixing saddles, tee, bends, elbows all as specified. | 500.00 | RM | 0.00 | 6.00 | 3000.00 | 25.00 | 12500.00 | 20.00 | 10000.00 | 15.00 | 7500.00 | 22.00 | 11000.00 | 40.00 | 20000.00 | 15.00 | 7500.00 | 30.00 | 15000.00 | 18.00 | 9000.00 | 3000.00 | M/S ANIL KUMAR
30.00 | Supply only in replacement of metal clad enclosure with plug and socket 20 Amp with one MCB SP, 20 Amps 230 volts AC all as specified. | 70.00 | Each | 0.00 | 140.00 | 9800.00 | 600.00 | 42000.00 | 700.00 | 49000.00 | 400.00 | 28000.00 | 550.00 | 38500.00 | 750.00 | 52500.00 | 400.00 | 28000.00 | 580.00 | 40600.00 | 400.00 | 28000.00 | 9800.00 | M/S ANIL KUMAR
31.00 | Supply only in replacement of factory made concealed sheet steel distribution boards, double door, SPN, 4 way, 230 volts AC, IP 43 with suitable busbar, neutral link, earth link suitable for MCB, DP/SPN as incomer & MCB SP as outgoing all as specified. | 8.00 | Each | 0.00 | 500.00 | 4000.00 | 600.00 | 4800.00 | 800.00 | 6400.00 | 500.00 | 4000.00 | 950.00 | 7600.00 | 700.00 | 5600.00 | 300.00 | 2400.00 | 615.00 | 4920.00 | 700.00 | 5600.00 | 2400.00 | M/S MG GROUP
32.00 | Supply only in replacement of factory made concealed sheet steel distribution boards, double door, SPN, 8 way, 230 volts AC, IP 43 with suitable busbar, neutral link, earth link suitable for MCB, DP/SPN as incomer & MCB SP as outgoing all as specified. | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 1250.00 | 12500.00 | 1100.00 | 11000.00 | 700.00 | 7000.00 | 1200.00 | 12000.00 | 850.00 | 8500.00 | 600.00 | 6000.00 | 890.00 | 8900.00 | 1400.00 | 14000.00 | 6000.00 | M/S MG GROUP
33.00 | Supply only in replacement of factory made concealed sheet steel distribution boards, double door, SPN, 12 way, 230 volts AC, IP 43 with suitable busbar, neutral link, earth link suitable for MCB, DP/SPN as incomer & MCB SP as outgoing all as specified. | 4.00 | Each | 0.00 | 1500.00 | 6000.00 | 1150.00 | 4600.00 | 1300.00 | 5200.00 | 900.00 | 3600.00 | 1500.00 | 6000.00 | 1100.00 | 4400.00 | 800.00 | 3200.00 | 1190.00 | 4760.00 | 1600.00 | 6400.00 | 3200.00 | M/S MG GROUP
34.00 | Supply only in replacement of factory made load line DB's double door made out of CRCA mild steel sheet with insulating materials like polyester epoxy coated surface mounting 4 way TPN 415 Volts, IP 43 with suitable busbar, neutral link & earth link suitable for MCCB TP as incomer & MCB SP/TP as out going complete all as specified. | 4.00 | Each | 0.00 | 5000.00 | 20000.00 | 3200.00 | 12800.00 | 3000.00 | 12000.00 | 7000.00 | 28000.00 | 8500.00 | 34000.00 | 1400.00 | 5600.00 | 6000.00 | 24000.00 | 5890.00 | 23560.00 | 7200.00 | 28800.00 | 5600.00 | Verma Enterprises
35.00 | Supply only in replacement of factory made load line DB's double door made out of CRCA mild steel sheet with insulating materials like polyester epoxy coated surface mounting 8 way TPN 415 Volts, IP 43 with suitable busbar, neutral link & earth link suitable for MCCB TP as incomer & MCB SP/TP as out going complete all as specified. | 4.00 | Each | 0.00 | 9000.00 | 36000.00 | 7800.00 | 31200.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 11500.00 | 46000.00 | 2100.00 | 8400.00 | 7500.00 | 30000.00 | 6400.00 | 25600.00 | 9500.00 | 38000.00 | 8400.00 | Verma Enterprises
36.00 | Supply only in replacement of MCCB TP 125 Amp, 25kA thermal type complete all as specified. | 8.00 | Each | 0.00 | 2500.00 | 20000.00 | 2500.00 | 20000.00 | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 3850.00 | 30800.00 | 2300.00 | 18400.00 | 2630.00 | 21040.00 | 5500.00 | 44000.00 | 18400.00 | M/S MG GROUP
37.00 | Supply only in replacement of MCCB TP 160 Amp, 25kA thermal type complete all as specified. | 3.00 | Each | 0.00 | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 6000.00 | 18000.00 | 4000.00 | 12000.00 | 4800.00 | 14400.00 | 5500.00 | 16500.00 | 3500.00 | 10500.00 | 2700.00 | 8100.00 | 6500.00 | 19500.00 | 8100.00 | SNOWY ENGINEERING INC
38.00 | Supply only in replacement of MCCB TP 200 Amp, 25kA thermal type complete all as specified. | 3.00 | Each | 0.00 | 6000.00 | 18000.00 | 6500.00 | 19500.00 | 7000.00 | 21000.00 | 6000.00 | 18000.00 | 7800.00 | 23400.00 | 6500.00 | 19500.00 | 4500.00 | 13500.00 | 5200.00 | 15600.00 | 11000.00 | 33000.00 | 13500.00 | M/S MG GROUP
39.00 | Supply only in replacement of MCB SP 10-32 Amp, 10kA all as specified. | 300.00 | Each | 0.00 | 55.00 | 16500.00 | 150.00 | 45000.00 | 150.00 | 45000.00 | 120.00 | 36000.00 | 180.00 | 54000.00 | 150.00 | 45000.00 | 100.00 | 30000.00 | 140.00 | 42000.00 | 150.00 | 45000.00 | 16500.00 | M/S ANIL KUMAR
40.00 | Supply only in replacement of MCB SP 40-63 Amp, 10kA all as specified. | 230.00 | Each | 0.00 | 100.00 | 23000.00 | 350.00 | 80500.00 | 350.00 | 80500.00 | 250.00 | 57500.00 | 200.00 | 46000.00 | 450.00 | 103500.00 | 150.00 | 34500.00 | 180.00 | 41400.00 | 280.00 | 64400.00 | 23000.00 | M/S ANIL KUMAR
41.00 | Supply only in replacement of MCB SPN 20-32 Amp, 10kA all as specified. | 150.00 | Each | 0.00 | 120.00 | 18000.00 | 280.00 | 42000.00 | 350.00 | 52500.00 | 300.00 | 45000.00 | 250.00 | 37500.00 | 550.00 | 82500.00 | 350.00 | 52500.00 | 220.00 | 33000.00 | 380.00 | 57000.00 | 18000.00 | M/S ANIL KUMAR
42.00 | Supply only in replacement of MCB SPN 40-63 Amp, 10kA all as specified. | 75.00 | Each | 0.00 | 280.00 | 21000.00 | 350.00 | 26250.00 | 500.00 | 37500.00 | 350.00 | 26250.00 | 350.00 | 26250.00 | 930.00 | 69750.00 | 400.00 | 30000.00 | 265.00 | 19875.00 | 650.00 | 48750.00 | 19875.00 | SNOWY ENGINEERING INC
43.00 | Supply only in replacement of MCB TP 40-63 Amp, 10kA all as specified. | 30.00 | Each | 0.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 700.00 | 21000.00 | 350.00 | 10500.00 | 550.00 | 16500.00 | 1400.00 | 42000.00 | 500.00 | 15000.00 | 255.00 | 7650.00 | 850.00 | 25500.00 | 7650.00 | SNOWY ENGINEERING INC
44.00 | Supply only in replacement of MCB TPN 40-63 Amp, 10kA all as specified. | 20.00 | Each | 0.00 | 550.00 | 11000.00 | 750.00 | 15000.00 | 800.00 | 16000.00 | 450.00 | 9000.00 | 650.00 | 13000.00 | 1800.00 | 36000.00 | 550.00 | 11000.00 | 310.00 | 6200.00 | 1400.00 | 28000.00 | 6200.00 | SNOWY ENGINEERING INC
45.00 | Supply only in replacement of metal clad plug top 20 Amp, 230 volts AC all as specified. | 40.00 | Each | 0.00 | 60.00 | 2400.00 | 100.00 | 4000.00 | 60.00 | 2400.00 | 50.00 | 2000.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 50.00 | 2000.00 | 60.00 | 2400.00 | 1200.00 | 48000.00 | 2000.00 | NEERU ELECTRICALS, M/S MG GROUP
46.00 | Supply only in replacement of metal clad socket outlet 20 Amps, 230 volts AC all as specified. | 40.00 | Each | 0.00 | 60.00 | 2400.00 | 120.00 | 4800.00 | 60.00 | 2400.00 | 50.00 | 2000.00 | 180.00 | 7200.00 | 150.00 | 6000.00 | 50.00 | 2000.00 | 40.00 | 1600.00 | 350.00 | 14000.00 | 1600.00 | SNOWY ENGINEERING INC
47.00 | Supply and fixing LED tube light fitting 1x16/18 watts, 220 volts AC decorative box type complete with driver, bipin holders & including 16 watts retro fit type LED tube light including connecting up with three core twisted flexible copper conductor cable of suitable size from ceiling rose complete all as specified. Make of Fitting : Crompton make cat part No. DMLN1LT8-16 or equivalent in C&S Cat Part No. NAKSHATRA/16W/W/Havells Cat Part No. LHEXBQP5IN1W018 | 55.00 | Each | 0.00 | 280.00 | 15400.00 | 357.00 | 19635.00 | 450.00 | 24750.00 | 330.00 | 18150.00 | 550.00 | 30250.00 | 540.00 | 29700.00 | 300.00 | 16500.00 | 724.00 | 39820.00 | 500.00 | 27500.00 | 15400.00 | M/S ANIL KUMAR
48.00 | Supply anf fixing sleek LED mirror light with high output diffuser 2 feet, 10 watts, 220 volts AC decorative type complete with driver, holders & including suitable LED lamp including connecting up with three core twisted flexible copper conductor cable of suitable size complete all as specified. Make : Crompton make cat part No. LCL-10-CDL or equivalent in Havells Cat part No LHEXBLP7UN1W009, Bajaj Cat Part No BCLSB10WH | 60.00 | Each | 0.00 | 300.00 | 18000.00 | 280.00 | 16800.00 | 1000.00 | 60000.00 | 300.00 | 18000.00 | 550.00 | 33000.00 | 340.00 | 20400.00 | 300.00 | 18000.00 | 1247.00 | 74820.00 | 340.00 | 20400.00 | 16800.00 | RUCHIKA ENGG.WORKS
49.00 | Supply anf fixing LED luminaire 600mm x 600mm, 34/36 watts, 220 volts AC recessed type with high efficiency PMMA diffuser, soft glare free light complete with suitable driver, holders & including suitable LED lamp suitable for POP/Gypsum/roof ceiling including connecting up with three core twisted flexible copper conductor cable of suitable size from ceiling rose including cutting of false ceiling in suitable size & making good the disturbed surface & matching with the existing surface complete all as specified. Make : Havells Cat Part No LHEWBPP7PK1W034 or equivalent in Make- CG CAT PART NO LCTLSN-36-CDL/ Bajaj Cat Part NoBCTBLS36ZTWH | 65.00 | Each | 0.00 | 1400.00 | 91000.00 | 2400.00 | 156000.00 | 2600.00 | 169000.00 | 2400.00 | 156000.00 | 2400.00 | 156000.00 | 3300.00 | 214500.00 | 2300.00 | 149500.00 | 2978.00 | 193570.00 | 2500.00 | 162500.00 | 91000.00 | M/S ANIL KUMAR
50.00 | Supply anf fixing LED luminaire round shape 24 watts, 220 volts AC recessed type with diecast housing finished in white white powder coated complete with suitable driver, holders & including suitable LED lamp including connecting up with three core twisted flexible copper conductor cable of suitable size from ceiling rose including cutting of false ceiling in suitable size & making good the disturbed surface & matching with the existing surface complete all as specified. Make : Crompton make cat part No. LSDRN-24W-CDL or equivalent in C&S Cat Part No.LUPUS-RND/24W.W /Havells Cat Part No.LHEBGSP7PZ1W024 | 55.00 | Each | 0.00 | 770.00 | 42350.00 | 1520.00 | 83600.00 | 1200.00 | 66000.00 | 1200.00 | 66000.00 | 850.00 | 46750.00 | 1420.00 | 78100.00 | 1500.00 | 82500.00 | 1348.00 | 74140.00 | 700.00 | 38500.00 | 38500.00 | P S TRADERS
51.00 | M&L for checking electrical points for continuous electric supply system and rectification of defects including ceiling/ exhaust fans of any size and capacity and carrying out minor repairs, fixing screws, tightening of loose wires, any type renewal of small pieces of electric wire upto 1.00 mtr length and petty work complete on all working days including holidays all as directed by Engr-in-Charge for IDS area /AFC/AFDC area. Note : - Contractors are advised to visit the sites before quoting their rates. Materials for minor and maintenance repair works as directed by Engineer-in-Charge shall be supplied by the contractor within one week from the date of issue of work order. | 1400.00 | Each | 0.00 | 300.00 | 420000.00 | 25.00 | 35000.00 | 120.00 | 168000.00 | 50.00 | 70000.00 | 120.00 | 168000.00 | 80.00 | 112000.00 | 50.00 | 70000.00 | 50.00 | 70000.00 | 50.00 | 70000.00 | 35000.00 | RUCHIKA ENGG.WORKS
52.00 | Supply only in replacement of T8 type retro fit LED tube light 20 watts, 220 volts AC complete all as specified. Make : Crompton make cat part No. LTT8-20or equivalent in C&S Cat Part No.TARA20/Havells.Cat Part No.LHLDCLXEUL83020 | 170.00 | Each | 0.00 | 230.00 | 39100.00 | 315.00 | 53550.00 | 300.00 | 51000.00 | 250.00 | 42500.00 | 850.00 | 144500.00 | 335.00 | 56950.00 | 300.00 | 51000.00 | 583.00 | 99110.00 | 410.00 | 69700.00 | 39100.00 | M/S ANIL KUMAR
53.00 | Regal Batten only for LED Tube for upto 22 W Tube single side having universal batten for G13 T8. Make : Havells Cat Part Code:LHFYBYPNIA1W022 or equivalent in CG Cat Part No.DMLN1LT8/Bajaj Cat Part No.BLRB-DB-218 | 130.00 | Each | 0.00 | 250.00 | 32500.00 | 300.00 | 39000.00 | 300.00 | 39000.00 | 150.00 | 19500.00 | 850.00 | 110500.00 | 400.00 | 52000.00 | 190.00 | 24700.00 | 465.00 | 60450.00 | 320.00 | 41600.00 | 19500.00 | NEERU ELECTRICALS
54.00 | Supply only LED T8 Retrofit 16W TubeLight for replacing 4ft Fluorescent tubelight. Make : C&S Product Code:TARA/16W or equivalent in Bajaj Cat Part No.BLRB15WCWc/CG Cat Part No.LGT8-16-865-2 | 170.00 | Each | 0.00 | 230.00 | 39100.00 | 350.00 | 59500.00 | 150.00 | 25500.00 | 250.00 | 42500.00 | 120.00 | 20400.00 | 525.00 | 89250.00 | 300.00 | 51000.00 | 713.00 | 121210.00 | 380.00 | 64600.00 | 20400.00 | sony engineering works
55.00 | Supply only Photon ultra plus LED Tubelight 18W 1213mm length single side connection Make : Havells Cat part no. LHLDCLXEUL83018 or equivalent in CG Cat Part No.LT5RT-18-CDL/ Bajaj Cat Part No.BLRB18WCWc/ | 170.00 | Each | 0.00 | 230.00 | 39100.00 | 400.00 | 68000.00 | 150.00 | 25500.00 | 250.00 | 42500.00 | 100.00 | 17000.00 | 550.00 | 93500.00 | 190.00 | 32300.00 | 634.00 | 107780.00 | 450.00 | 76500.00 | 17000.00 | sony engineering works
56.00 | Supply only LED T8 Retrofit 10W TubeLight for replacing 2ft Fluorescent tubelight. Make : C&S Product Code:TARA/10W or equivalent in Make:Crompton Cat part No./Havells Cat Part No. LHLDCLXEUL83010 | 125.00 | Each | 0.00 | 230.00 | 28750.00 | 450.00 | 56250.00 | 100.00 | 12500.00 | 200.00 | 25000.00 | 80.00 | 10000.00 | 325.00 | 40625.00 | 250.00 | 31250.00 | 634.00 | 79250.00 | 290.00 | 36250.00 | 10000.00 | sony engineering works
57.00 | Supply only LED retrofit 7W lamp B-22 holder base with polycarbonate diffuser and aluminium heat sink. Make : C&S Cat Part No Chandra/7W/W or equivalent inHavells Cat part No.LHLDERHEMD8X007/CG Cat Part No.7W-B22-WW | 230.00 | Each | 0.00 | 65.00 | 14950.00 | 70.00 | 16100.00 | 110.00 | 25300.00 | 130.00 | 29900.00 | 35.00 | 8050.00 | 100.00 | 23000.00 | 70.00 | 16100.00 | 111.00 | 25530.00 | 140.00 | 32200.00 | 8050.00 | sony engineering works
58.00 | Supply only LED retrofit 9W lamp B-22 holder base with polycarbonate diffuser and aluminium heat sink. Make : C&S Cat Part No Chandra/9W/W or equivalent in Havells Cat part No.LHLDERHEMD8X010/CG Cat Part No.9W-B22-WW | 150.00 | Each | 0.00 | 75.00 | 11250.00 | 84.00 | 12600.00 | 120.00 | 18000.00 | 130.00 | 19500.00 | 45.00 | 6750.00 | 100.00 | 15000.00 | 80.00 | 12000.00 | 277.00 | 41550.00 | 175.00 | 26250.00 | 6750.00 | sony engineering works
59.00 | Supply only B-22 holder for Sutaible type LED lamp 7/9 watt all as specified and directed | 100.00 | Each | 0.00 | 15.00 | 1500.00 | 150.00 | 15000.00 | 30.00 | 3000.00 | 40.00 | 4000.00 | 50.00 | 5000.00 | 12.00 | 1200.00 | 20.00 | 2000.00 | 38.00 | 3800.00 | 50.00 | 5000.00 | 1200.00 | Verma Enterprises
60.00 | Supply only in replacement decorative laminated sheet 3 mm thick of size 8"x 12" including necessary cutting of sheet for fixing switch/ socket complete as specified and directed | 80.00 | Each | 0.00 | 23.00 | 1840.00 | 25.00 | 2000.00 | 30.00 | 2400.00 | 20.00 | 1600.00 | 40.00 | 3200.00 | 50.00 | 4000.00 | 15.00 | 1200.00 | 25.00 | 2000.00 | 30.00 | 2400.00 | 1200.00 | M/S MG GROUP
61.00 | Supply only in replacement decorative laminated sheet 3 mm thick of size 8"x 5" including necessary cutting of sheet for fixing switch/ socket complete as specified and directed | 70.00 | Each | 0.00 | 23.00 | 1610.00 | 25.00 | 1750.00 | 25.00 | 1750.00 | 20.00 | 1400.00 | 30.00 | 2100.00 | 25.00 | 1750.00 | 10.00 | 700.00 | 20.00 | 1400.00 | 30.00 | 2100.00 | 700.00 | M/S MG GROUP
62.00 | Supply only in replacement decorative laminated sheet 3 mm thick of size 7"x 4" including necessary cutting of sheet for fixing switch/ socket complete as specified and directed | 70.00 | Each | 0.00 | 23.00 | 1610.00 | 15.00 | 1050.00 | 22.00 | 1540.00 | 10.00 | 700.00 | 35.00 | 2450.00 | 20.00 | 1400.00 | 9.00 | 630.00 | 18.00 | 1260.00 | 30.00 | 2100.00 | 630.00 | M/S MG GROUP
63.00 | Supply only in replacement decorative laminated sheet 3 mm thick of size 4"x 4" including necessary cutting of sheet for fixing switch/ socket complete as specified and directed | 70.00 | Each | 0.00 | 23.00 | 1610.00 | 10.00 | 700.00 | 18.00 | 1260.00 | 10.00 | 700.00 | 30.00 | 2100.00 | 18.00 | 1260.00 | 6.00 | 420.00 | 18.00 | 1260.00 | 30.00 | 2100.00 | 420.00 | M/S MG GROUP
64.00 | Preventive maintenace of ceiling fan/exhaust fan/cabin fan/wall mounted fan of any make & any size including checking of fan clamp, nuts, bolts & washer and carry out the oiling/greesing all as specified and directed by Engr-in-charge. (Note: Spare parts shall be measured & paid separately). | 240.00 | Each | 0.00 | 25.00 | 6000.00 | 50.00 | 12000.00 | 100.00 | 24000.00 | 50.00 | 12000.00 | 80.00 | 19200.00 | 30.00 | 7200.00 | 30.00 | 7200.00 | 20.00 | 4800.00 | 50.00 | 12000.00 | 4800.00 | SNOWY ENGINEERING INC
65.00 | Taking down ceiling fan/ exhaust fan of any sweep and any make, dismantling of blades, transportation to work shop for carrying out rewinding work, transportation back to site, reinstallation/refixing/hanging in position after complete repairs as required and making functional including testing complete all as specified and directed. Note : Rewinding shall be measured and paid for under respective item of this Schedule. | 230.00 | Each | 0.00 | 20.00 | 4600.00 | 50.00 | 11500.00 | 50.00 | 11500.00 | 50.00 | 11500.00 | 80.00 | 18400.00 | 30.00 | 6900.00 | 30.00 | 6900.00 | 50.00 | 11500.00 | 300.00 | 69000.00 | 4600.00 | M/S ANIL KUMAR
66.00 | M&L for rewinding of ceiling fan 1200 mm sweep, by dismantling of fan motor, cutting and removing burnt windings, cleaning, winding with super enameled copper wire of superior quality, thickness as per existing gauge and number of wire turns as per existing winding, provision of insulation paper, applying varnish, drying varnish and re-assembling of fan including fixing in replacement of gun metal bush & ball bearing where ever required complete all as specified and directed. Note : Gun metal bush and bearing shall be measured and paid under respective item of this Schedule. | 130.00 | Each | 0.00 | 120.00 | 15600.00 | 325.00 | 42250.00 | 220.00 | 28600.00 | 220.00 | 28600.00 | 240.00 | 31200.00 | 350.00 | 45500.00 | 250.00 | 32500.00 | 270.00 | 35100.00 | 350.00 | 45500.00 | 15600.00 | M/S ANIL KUMAR
67.00 | M&L for rewinding of ceiling fan 1400 mm sweep, by dismantling of fan motor, cutting and removing burnt windings, cleaning, winding with super enameled copper wire of superior quality, thickness as per existing gauge and number of wire turns as per existing winding, provision of insulation paper, applying varnish, drying varnish and re-assembling of fan including fixing in replacement of gun metal bush & ball bearing where ever required complete all as specified and directed. Note : Gun metal bush and bearing shall be measured and paid under respective item of this Schedule. | 40.00 | Each | 0.00 | 300.00 | 12000.00 | 350.00 | 14000.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 360.00 | 14400.00 | 400.00 | 16000.00 | 250.00 | 10000.00 | 280.00 | 11200.00 | 400.00 | 16000.00 | 10000.00 | NEERU ELECTRICALS, GLIBS CONSTRUCTION, M/S MG GROUP
68.00 | M&L for rewinding of exhaust fan/cabin/wall fan 230/300 mm sweep, by dismantling of fan motor, cutting and removing burnt windings, cleaning, winding with super enameled copper wire of superior quality, thickness as per existing gauge and number of wire turns as per existing winding, provn of insulation paper, applying varnish, drying varnish and re-assembling of fan including replacement of gun metal bush & ball bearing where ever required complete as specified and directed. Note : Gun metal bush and bearing shall be measured and paid under respective item of this Schedule. | 60.00 | Each | 0.00 | 300.00 | 18000.00 | 350.00 | 21000.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 300.00 | 18000.00 | 400.00 | 24000.00 | 300.00 | 18000.00 | 230.00 | 13800.00 | 350.00 | 21000.00 | 13800.00 | SNOWY ENGINEERING INC
69.00 | Supply Only fan blades 1200mm sweep size | 40.00 | Each set | 0.00 | 100.00 | 4000.00 | 100.00 | 4000.00 | 500.00 | 20000.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 100.00 | 4000.00 | 58.00 | 2320.00 | 200.00 | 8000.00 | 2320.00 | SNOWY ENGINEERING INC
70.00 | Supply Only fan blades 1400mm sweep size | 20.00 | Each set | 0.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 58.00 | 1160.00 | 200.00 | 4000.00 | 1160.00 | SNOWY ENGINEERING INC
71.00 | Supply only in replacement of fan capacitor 2.5 Mfd all as specified. | 80.00 | Each | 0.00 | 10.00 | 800.00 | 30.00 | 2400.00 | 30.00 | 2400.00 | 30.00 | 2400.00 | 30.00 | 2400.00 | 15.00 | 1200.00 | 25.00 | 2000.00 | 28.00 | 2240.00 | 100.00 | 8000.00 | 800.00 | M/S ANIL KUMAR
72.00 | Supply only in replacement of fan capacitor 3.15 Mfd all as specified. | 80.00 | Each | 0.00 | 41.00 | 3280.00 | 30.00 | 2400.00 | 35.00 | 2800.00 | 30.00 | 2400.00 | 40.00 | 3200.00 | 18.00 | 1440.00 | 30.00 | 2400.00 | 30.00 | 2400.00 | 100.00 | 8000.00 | 1440.00 | Verma Enterprises
73.00 | Supply only in replacement of fan capacitor 4.0 Mfd all as specified. | 35.00 | Each | 0.00 | 46.00 | 1610.00 | 40.00 | 1400.00 | 40.00 | 1400.00 | 30.00 | 1050.00 | 45.00 | 1575.00 | 30.00 | 1050.00 | 35.00 | 1225.00 | 32.00 | 1120.00 | 100.00 | 3500.00 | 1050.00 | NEERU ELECTRICALS, Verma Enterprises
74.00 | Supply only in replacement steel ball bearing of suitable size & model 6201/6203(as per sample) for ceiling fan 1200/1400mm sweep. Make : NBC/SKF. | 55.00 | Each Job | 0.00 | 32.00 | 1760.00 | 75.00 | 4125.00 | 60.00 | 3300.00 | 20.00 | 1100.00 | 50.00 | 2750.00 | 60.00 | 3300.00 | 15.00 | 825.00 | 30.00 | 1650.00 | 150.00 | 8250.00 | 825.00 | M/S MG GROUP
75.00 | Supply only in replacement gun metal bush for ceiling fan 1200/1400mm sweep. | 65.00 | Each | 0.00 | 23.00 | 1495.00 | 50.00 | 3250.00 | 100.00 | 6500.00 | 20.00 | 1300.00 | 50.00 | 3250.00 | 50.00 | 3250.00 | 15.00 | 975.00 | 35.00 | 2275.00 | 100.00 | 6500.00 | 975.00 | M/S MG GROUP
76.00 | Supply only in replacement following items suitable for ceiling fan of any size and of any make :-
76.01 | Steel screws for body cover | 40.00 | Each | 0.00 | 10.00 | 400.00 | 10.00 | 400.00 | 5.00 | 200.00 | 3.00 | 120.00 | 1.00 | 40.00 | 1.00 | 40.00 | 20.00 | 800.00 | 5.00 | 200.00 | 10.00 | 400.00 | 40.00 | sony engineering works, Verma Enterprises
76.02 | Steel screws for blades | 40.00 | Each | 0.00 | 10.00 | 400.00 | 10.00 | 400.00 | 5.00 | 200.00 | 2.00 | 80.00 | 2.00 | 80.00 | 2.00 | 80.00 | 20.00 | 800.00 | 5.00 | 200.00 | 10.00 | 400.00 | 80.00 | sony engineering works, NEERU ELECTRICALS, Verma Enterprises
76.03 | Rubber reel | 40.00 | Each | 0.00 | 5.00 | 200.00 | 40.00 | 1600.00 | 20.00 | 800.00 | 20.00 | 800.00 | 15.00 | 600.00 | 10.00 | 400.00 | 10.00 | 400.00 | 5.00 | 200.00 | 10.00 | 400.00 | 200.00 | M/S ANIL KUMAR, SNOWY ENGINEERING INC
76.04 | Mild steel 'U' clamps with rubber reel, bolts, nuts, washers and safety pin | 30.00 | Each | 0.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 20.00 | 600.00 | 60.00 | 1800.00 | 20.00 | 600.00 | 20.00 | 600.00 | 20.00 | 600.00 | 600.00 | RUCHIKA ENGG.WORKS, sony engineering works, SNOWY ENGINEERING INC, NEERU ELECTRICALS, P S TRADERS, M/S MG GROUP
77.00 | Down rod 30 cm height fabricated out of MS pipe 12mm dia heavy duty duly painted with two coats of white synthetic enamel paint over a coat of red oxide primer including preparation of new steel surfaces complete as specified and directed. | 25.00 | Each | 0.00 | 90.00 | 2250.00 | 50.00 | 1250.00 | 150.00 | 3750.00 | 60.00 | 1500.00 | 40.00 | 1000.00 | 80.00 | 2000.00 | 30.00 | 750.00 | 50.00 | 1250.00 | 70.00 | 1750.00 | 750.00 | M/S MG GROUP
78.00 | Down rod 60 cm height fabricated out of MS pipe 12mm dia heavy duty duly painted with two coats of white synthetic enamel paint over a coat of red oxide primer including preparation of new steel surfaces complete as specified and directed. | 20.00 | Each | 0.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 50.00 | 1000.00 | 60.00 | 1200.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 80.00 | 1600.00 | 1000.00 | RUCHIKA ENGG.WORKS, SNOWY ENGINEERING INC, NEERU ELECTRICALS, M/S MG GROUP
79.00 | Supply only in replacement PVC gang box 5/6 amp single way heavy duty as approved by Engr-in-Charge | 115.00 | Each | 0.00 | 32.00 | 3680.00 | 80.00 | 9200.00 | 30.00 | 3450.00 | 20.00 | 2300.00 | 20.00 | 2300.00 | 35.00 | 4025.00 | 15.00 | 1725.00 | 35.00 | 4025.00 | 40.00 | 4600.00 | 1725.00 | M/S MG GROUP
80.00 | Supply only in replacement PVC gang box 5/6 amp 3/4 way heavy duty as approved by Engr-in-Charge | 110.00 | Each | 0.00 | 37.00 | 4070.00 | 80.00 | 8800.00 | 40.00 | 4400.00 | 25.00 | 2750.00 | 30.00 | 3300.00 | 40.00 | 4400.00 | 20.00 | 2200.00 | 35.00 | 3850.00 | 50.00 | 5500.00 | 2200.00 | M/S MG GROUP
81.00 | Supply only in replacement PVC gang box 15 amp 4 ways heavy duty as approved by Engr-in-Charge | 115.00 | Each | 0.00 | 41.00 | 4715.00 | 80.00 | 9200.00 | 50.00 | 5750.00 | 35.00 | 4025.00 | 40.00 | 4600.00 | 60.00 | 6900.00 | 30.00 | 3450.00 | 40.00 | 4600.00 | 80.00 | 9200.00 | 3450.00 | M/S MG GROUP
82.00 | Taking down carefully electric geyser 50 Ltr capacity, opening for inspection, cleaning, descaling, reassembling and fixing installing in position after carrying out repairs as directed including provision in replacement of rubber gasket, nuts & bolts etc. | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 300.00 | 3000.00 | 500.00 | SNOWY ENGINEERING INC, NEERU ELECTRICALS, Verma Enterprises
83.00 | Supply only in replacement heating element 2.0 KW 230 volt AC (as per approved sample) including rubber washers complete all as specified and directed. | 10.00 | Each | 0.00 | 280.00 | 2800.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 2000.00 | GLIBS CONSTRUCTION
84.00 | Supply only in replacement copper storage tank of appropriate thickness and conforming to IS-208 (1974) suitable for 50 litres capacity geysers, with collar complete duly tested at required pressure as per IT I of 1986 conplete all as specifed. | 2.00 | Each | 0.00 | 2300.00 | 4600.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 600.00 | 1200.00 | 3500.00 | 7000.00 | 1250.00 | 2500.00 | 3500.00 | 7000.00 | 650.00 | 1300.00 | 12000.00 | 24000.00 | 1200.00 | NEERU ELECTRICALS
85.00 | Supply only in replacement MS base plate assembly 20 SWG heavy duty suitable for geyser of 50 litres capacity (as per sample) with inlet, outlet and thermostat pipe with drain plug and screws for fixing the element including clamps for holding the element with nuts, bolts and safety valves suitable for all type of geysers installed at site. | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 450.00 | 900.00 | 350.00 | 700.00 | 350.00 | 700.00 | 320.00 | 640.00 | 500.00 | 1000.00 | 600.00 | NEERU ELECTRICALS
86.00 | Supply only in replacement chromium plated copper connection pipe 600 mm long, 15 mm dia with two brass adopters washers and connecting up complete all as specified and directed. | 5.00 | Each | 0.00 | 100.00 | 500.00 | 100.00 | 500.00 | 100.00 | 500.00 | 60.00 | 300.00 | 60.00 | 300.00 | 80.00 | 400.00 | 80.00 | 400.00 | 110.00 | 550.00 | 400.00 | 2000.00 | 300.00 | sony engineering works, NEERU ELECTRICALS
87.00 | Supply only in replacement PVC connection pipe 450 mm long, 15 mm dia with two PVC adopters washer and connecting up complete all as specified and directed. | 5.00 | Each | 0.00 | 100.00 | 500.00 | 150.00 | 750.00 | 50.00 | 250.00 | 100.00 | 500.00 | 60.00 | 300.00 | 70.00 | 350.00 | 70.00 | 350.00 | 80.00 | 400.00 | 100.00 | 500.00 | 250.00 | GLIBS CONSTRUCTION
88.00 | Supply only in replacement steel safety nut (as per approved sample) for high pressure release valve. | 5.00 | Each | 0.00 | 55.00 | 275.00 | 125.00 | 625.00 | 20.00 | 100.00 | 50.00 | 250.00 | 50.00 | 250.00 | 50.00 | 250.00 | 20.00 | 100.00 | 50.00 | 250.00 | 80.00 | 400.00 | 100.00 | GLIBS CONSTRUCTION, M/S MG GROUP
89.00 | Supply only in replacement brass non return valves 15mm dia (ISI marked) and connecting up complete | 5.00 | Each | 0.00 | 280.00 | 1400.00 | 175.00 | 875.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 400.00 | 2000.00 | 50.00 | 250.00 | 105.00 | 525.00 | 550.00 | 2750.00 | 250.00 | M/S MG GROUP
90.00 | Supply only in replacement MS top cover for geysers of 25/50 ltrs capacity of any make as required at site duly painted with synthetic enamel paint(first quality) two clour as approved. | 2.00 | Each | 0.00 | 140.00 | 280.00 | 175.00 | 350.00 | 50.00 | 100.00 | 50.00 | 100.00 | 350.00 | 700.00 | 300.00 | 600.00 | 200.00 | 400.00 | 220.00 | 440.00 | 1500.00 | 3000.00 | 100.00 | NEERU ELECTRICALS, GLIBS CONSTRUCTION
91.00 | Supply only in replacement of fexible 3 core PVC insulated sheathed copper conductor LT cable of size 40/0.0076. Make of cable : Finolex/ Havells/ Kalinga Premium | 40.00 | RM | 0.00 | 50.00 | 2000.00 | 50.00 | 2000.00 | 50.00 | 2000.00 | 40.00 | 1600.00 | 45.00 | 1800.00 | 12.00 | 480.00 | 50.00 | 2000.00 | 35.00 | 1400.00 | 150.00 | 6000.00 | 480.00 | Verma Enterprises
92.00 | Supply only in replacement of outer cover for geyser made out of MS sheet 16 gauge thick suitable for 50 ltrs capacity geyser vertical/horizontal type complete all as specified and directed. | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 200.00 | 400.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 350.00 | 700.00 | 150.00 | 300.00 | 300.00 | P S TRADERS
93.00 | Supply only in replacement thermostat (ISI Marked) 20 Amp, 250 volt AC suitable for 25/50 Litres capacity geyser. Make : Daspass/Theeta/TTE | 5.00 | Each | 0.00 | 100.00 | 500.00 | 120.00 | 600.00 | 150.00 | 750.00 | 100.00 | 500.00 | 250.00 | 1250.00 | 100.00 | 500.00 | 100.00 | 500.00 | 120.00 | 600.00 | 450.00 | 2250.00 | 500.00 | M/S ANIL KUMAR, NEERU ELECTRICALS, M/S MG GROUP, Verma Enterprises
94.00 | Supply only in replacement indicator lamp (Red & Green) 230 volts (as per approved sample) suitable for Geyser 25/50 ltr capacity of any make complete all as specified and directed. | 12.00 | Each | 0.00 | 50.00 | 600.00 | 15.00 | 180.00 | 10.00 | 120.00 | 15.00 | 180.00 | 20.00 | 240.00 | 15.00 | 180.00 | 10.00 | 120.00 | 15.00 | 180.00 | 250.00 | 3000.00 | 120.00 | GLIBS CONSTRUCTION, M/S MG GROUP
95.00 | Supply only in replacement mild steel hole fastner 10mm dia, 100mm long including nut and washer. | 10.00 | Each | 0.00 | 50.00 | 500.00 | 15.00 | 150.00 | 15.00 | 150.00 | 20.00 | 200.00 | 25.00 | 250.00 | 10.00 | 100.00 | 20.00 | 200.00 | 30.00 | 300.00 | 30.00 | 300.00 | 100.00 | Verma Enterprises
96.00 | Supply only in replacement gun metal gate valve 15 mm bore, ISI marked with iron wheel head, screwed both ends for GI pipe complete. Make : Upadhyay/ Leader/ Zoloto | 3.00 | Each | 0.00 | 455.00 | 1365.00 | 250.00 | 750.00 | 500.00 | 1500.00 | 300.00 | 900.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 300.00 | 900.00 | 110.00 | 330.00 | 250.00 | 750.00 | 330.00 | SNOWY ENGINEERING INC
97.00 | Supply only in replacement GI tubing 15mm bore medium grade with all fittings complete fixed to wall/ceiling or laid under floor complete all as specified and directed | 20.00 | RM | 0.00 | 140.00 | 2800.00 | 180.00 | 3600.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 180.00 | 3600.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 300.00 | 6000.00 | 2000.00 | M/S MG GROUP
98.00 | Supply only in replacement thermal cutout suitable for 25/50 ltr capacity geysers 20 amps 250 volts AC as per sample | 2.00 | Each | 0.00 | 320.00 | 640.00 | 200.00 | 400.00 | 300.00 | 600.00 | 50.00 | 100.00 | 250.00 | 500.00 | 200.00 | 400.00 | 200.00 | 400.00 | 80.00 | 160.00 | 500.00 | 1000.00 | 100.00 | NEERU ELECTRICALS
99.00 | Supply and fixing in replacement LED driver of 34 watt suitable for LED fitting all as specified and directed | 60.00 | Each | 0.00 | 150.00 | 9000.00 | 200.00 | 12000.00 | 600.00 | 36000.00 | 200.00 | 12000.00 | 250.00 | 15000.00 | 550.00 | 33000.00 | 450.00 | 27000.00 | 110.00 | 6600.00 | 1400.00 | 84000.00 | 6600.00 | SNOWY ENGINEERING INC
100.00 | Supply and fixing copper tube terminal 2.5-5.0 sqmm size lugs in suitable size of copper internal wiring all as directed and specified . | 100.00 | Each | 0.00 | 55.00 | 5500.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 5.00 | 500.00 | 5.00 | 500.00 | 5.00 | 500.00 | 12.00 | 1200.00 | 20.00 | 2000.00 | 500.00 | sony engineering works, M/S MG GROUP, Verma Enterprises
101.00 | Supply and fixing copper tube terminal 6-10 sqmm size lugs in suitable size of copper internal wiring all as directed and specified . | 100.00 | Each | 0.00 | 68.00 | 6800.00 | 40.00 | 4000.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 8.00 | 800.00 | 5.00 | 500.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 50.00 | 5000.00 | 500.00 | Verma Enterprises
| Total in Figures |  |  |  |  | 1498805.00 |  | 1797660.00 |  | 1858480.00 |  | 1389660.00 |  | 1868295.00 |  | 2108870.00 |  | 1329460.00 |  | 1914420.00 |  | 2548000.00
Lowest Amount Quoted BY: M/S MG GROUP(1329460.00)

## BOQ Summary
BOQ Summary Details Tender Title: REWIRING TO CERTAIN BUILDINGS ALONGWITH REPLACEMENT OF UNRESERVICEABLE FITTING AND FIXTURE AT HQ IDS, AFC AND AFDC IN THE AOR OF AGE E/M SP MARG UNDER GE NEW DELHI Tender ID: 2018_MES_224805_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S MG GROUP | 1329460.00 | L1
| 2 | NEERU ELECTRICALS | 1389660.00 | L2
| 3 | M/S ANIL KUMAR | 1498805.00 | L3
| 4 | RUCHIKA ENGG.WORKS | 1797660.00 | L4
| 5 | GLIBS CONSTRUCTION | 1858480.00 | L5
| 6 | sony engineering works | 1868295.00 | L6
| 7 | SNOWY ENGINEERING INC | 1914420.00 | L7
| 8 | Verma Enterprises | 2108870.00 | L8
| 9 | P S TRADERS | 2548000.00 | L9