## BoQ1
eProcurement System for Organisations under MoD Created By: ANANT RAMESH CHARI Created Date/Time: 08-Jan-2019 11:02 AM Tender Title: Repair/Replacement and rewiring of internal electrification to Md and OTM accn of 48 Inf Bde Camp and Sig Coy, 12 ASSAM, 7 Raj Rif, 20 Garh Rif, 5 Engr Regt and Ascon Node under GE(East) Ferozepur Cantt Tender ID: 2018_MES_208594_1
Tender Inviting Authority: GARRISON ENGINEER (EAST) FEROZEPUR CANTT
Name of Work : Repair/Replacement and rewiring of internal electrification to Md and OTM accn of 48 Inf Bde Camp and Sig Coy, 12 ASSAM, 7 Raj Rif, 20 Garh Rif, 5 Engr Regt and Ascon Node under GE(East) Ferozepur Cantt.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHETAK CONSTRUCTION COMPANY |  | V V AND COMPANY |  | JAGDISH KUMAR SEHGAL |  | Harmesh Kumar Sharma and Sons |  | HAPPY ELECTRICALS |  | M/S Yashpaul Gulati |  | Vee Vee Enterprises |  | Dee Kay Enterprises
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down carefully existig copper / alumn point wiring for light / fan / bell / socket 5/15 Amp points complete with fitting and fixtures such as switches, sockets, c/ rosess, holders and bracket fittings with battens / conduits / wires and making good the disturbed surfaces of walls and roofs etc to match with existing surface complete all as specified and directed. | 1059.00 | Per Point |  | 38.00 | 40242.00 | 40.00 | 42360.00 | 9.00 | 9531.00 | 35.00 | 37065.00 | 45.00 | 47655.00 | 40.00 | 42360.00 | 35.00 | 37065.00 | 42.00 | 44478.00 | 9531.00 | JAGDISH KUMAR SEHGAL
2.00 | Taking down unserviceable and serviceable tube light fitting of any type carefully, old serviceable tube light fitting complete all as specified and directed. | 750.00 | Each |  | 39.00 | 29250.00 | 40.00 | 30000.00 | 9.00 | 6750.00 | 35.00 | 26250.00 | 42.00 | 31500.00 | 10.00 | 7500.00 | 7.00 | 5250.00 | 10.00 | 7500.00 | 5250.00 | Vee Vee Enterprises
3.00 | Taking down carefully unserviceable main switches and distribution boards (single phase or three phase ) of any capacity with Isolator /MCBs complete all as specified and directed. | 48.00 | Each |  | 40.00 | 1920.00 | 40.00 | 1920.00 | 9.00 | 432.00 | 35.00 | 1680.00 | 43.00 | 2064.00 | 10.00 | 480.00 | 10.00 | 480.00 | 15.00 | 720.00 | 432.00 | JAGDISH KUMAR SEHGAL
4.00 | M&L point wiring with 1.5 Sqmm (nominal area), PVC insulated,FRLS multistranded, single core unsheathed, copper conductor cables drawn through and including PVC conduit medium grade of suitable size (not less than 20mm dia & 1.55mm thick) duly ISI marked (make- Kalinga / Supreme /Harsh) with all accessories concelled in wall and fixed to ceiling etc. with and including 1.5 Sqmm (nominal area) PVC insulated, unsheathed,multi stranded, single core, copper cable green in colour as earth continuity wire connecting to common earth dolly including sunken boxes of suitable size with 3 mm thick hylam sheet top cover fixed with suitable size of brass screws for mounting switches, sockets, regulators etc complete for one light/fan/bell point controlled by one single pole one way switch complete all as specified and directed. | 504.00 | Per Point |  | 535.00 | 269640.00 | 550.00 | 277200.00 | 409.00 | 206136.00 | 525.00 | 264600.00 | 565.00 | 284760.00 | 525.00 | 264600.00 | 510.00 | 257040.00 | 535.00 | 269640.00 | 206136.00 | JAGDISH KUMAR SEHGAL
5.00 | All as per item No 4 above but one socket outlet on the independet board controlled by one single pole one way switch but not below the switch board. complete all as specified and directed. | 80.00 | Per Point |  | 536.00 | 42880.00 | 550.00 | 44000.00 | 409.00 | 32720.00 | 525.00 | 42000.00 | 565.00 | 45200.00 | 525.00 | 42000.00 | 510.00 | 40800.00 | 535.00 | 42800.00 | 32720.00 | JAGDISH KUMAR SEHGAL
6.00 | All as per item No 4 above but one socket outlet point on the same board controlled by one single pole one way switch. complete all as specified and directed. Note for item No 04 to 06 : The rate of cutting chase for conduits and making good to existing surface wall are included in quoted rates where ever applicable. | 80.00 | Per Point |  | 180.00 | 14400.00 | 220.00 | 17600.00 | 209.00 | 16720.00 | 200.00 | 16000.00 | 235.00 | 18800.00 | 125.00 | 10000.00 | 110.00 | 8800.00 | 135.00 | 10800.00 | 8800.00 | Vee Vee Enterprises
7.00 | All as per Item No.4 above but copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One light /Fan/Bell point point controlled by one single pole one way switch. complete all as specified and directed. | 195.00 | Per Point |  | 530.00 | 103350.00 | 550.00 | 107250.00 | 349.00 | 68055.00 | 525.00 | 102375.00 | 565.00 | 110175.00 | 450.00 | 87750.00 | 400.00 | 78000.00 | 425.00 | 82875.00 | 68055.00 | JAGDISH KUMAR SEHGAL
8.00 | All as per Item No.4 above copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One socket outlet on the independet board controlled by one single pole one way switch but not below the switch board. complete all as specified and directed. | 40.00 | Per Point |  | 532.00 | 21280.00 | 550.00 | 22000.00 | 349.00 | 13960.00 | 520.00 | 20800.00 | 565.00 | 22600.00 | 450.00 | 18000.00 | 400.00 | 16000.00 | 425.00 | 17000.00 | 13960.00 | JAGDISH KUMAR SEHGAL
9.00 | All as per Item No.4 here-in-before but copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One socket outlet point on the same board controlled by one single pole one way switch. complete all as specified and directed. | 40.00 | Per Point |  | 534.00 | 21360.00 | 550.00 | 22000.00 | 209.00 | 8360.00 | 520.00 | 20800.00 | 567.00 | 22680.00 | 99.00 | 3960.00 | 100.00 | 4000.00 | 105.00 | 4200.00 | 3960.00 | M/S Yashpaul Gulati
10.00 | All as per item No.4 here-in-before but wiring with 2.5 sqmm copper cable and 2.5 Sqmm copper cable as continuous earth wire for one 6 pin 5/16 Amps socket out let on independent board. complete all as specified and directed. Note : The rate of cutting chase for conduits and making good to existing surface wall are included in quoted rates where ever applicable. | 80.00 | Per Point |  | 690.00 | 55200.00 | 720.00 | 57600.00 | 549.00 | 43920.00 | 700.00 | 56000.00 | 745.00 | 59600.00 | 750.00 | 60000.00 | 698.00 | 55840.00 | 715.00 | 57200.00 | 43920.00 | JAGDISH KUMAR SEHGAL
11.00 | All as per item No.10 above but wiring with 2.5 sqmm copper cable and 2.5 Sqmm copper cable as continuous earth wire drawn through existing PVC/Steel conduits, accessories and existing sunken boxes for one 6 pin 5/16 Amps socket out let on independent board. complete all as specified and directed. | 40.00 | Per Point |  | 680.00 | 27200.00 | 720.00 | 28800.00 | 549.00 | 21960.00 | 700.00 | 28000.00 | 745.00 | 29800.00 | 595.00 | 23800.00 | 550.00 | 22000.00 | 565.00 | 22600.00 | 21960.00 | JAGDISH KUMAR SEHGAL
12.00 | S&F Switch piano flush type 5 amps, single pole one way ISI marked. complete all as specified and directed. | 939.00 | Each |  | 78.00 | 73242.00 | 83.00 | 77937.00 | 29.00 | 27231.00 | 80.00 | 75120.00 | 86.00 | 80754.00 | 32.00 | 30048.00 | 34.00 | 31926.00 | 35.00 | 32865.00 | 27231.00 | JAGDISH KUMAR SEHGAL
13.00 | S&F Switch piano flush type 15 amps, single pole, one way ISI marked. complete all as specified and directed. | 120.00 | Each |  | 130.00 | 15600.00 | 150.00 | 18000.00 | 39.00 | 4680.00 | 120.00 | 14400.00 | 165.00 | 19800.00 | 95.00 | 11400.00 | 90.00 | 10800.00 | 99.00 | 11880.00 | 4680.00 | JAGDISH KUMAR SEHGAL
14.00 | S&F Socket outlet 5 pin, 5 Amps, piano flush type . complete all as specified and directed. | 240.00 | Each |  | 88.00 | 21120.00 | 95.00 | 22800.00 | 39.00 | 9360.00 | 85.00 | 20400.00 | 100.00 | 24000.00 | 63.00 | 15120.00 | 64.00 | 15360.00 | 70.00 | 16800.00 | 9360.00 | JAGDISH KUMAR SEHGAL
15.00 | S&F Socket outlet, 2 in one 6 pin 5 and 15 Amps piano flush type duly ISI marked. complete all as specified and directed. | 120.00 | Each |  | 129.00 | 15480.00 | 135.00 | 16200.00 | 39.00 | 4680.00 | 135.00 | 16200.00 | 150.00 | 18000.00 | 110.00 | 13200.00 | 105.00 | 12600.00 | 110.00 | 13200.00 | 4680.00 | JAGDISH KUMAR SEHGAL
16.00 | S&F bell push flush type 5 amp single pole, one way duly ISI marked. complete all as specified and directed. | 50.00 | Each |  | 65.00 | 3250.00 | 72.00 | 3600.00 | 39.00 | 1950.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 40.00 | 2000.00 | 35.00 | 1750.00 | 36.00 | 1800.00 | 1750.00 | Vee Vee Enterprises
17.00 | S&F Ceiling rose surface type, bakelite 65 x 50mm, 2 to 3 terminals duly ISI marked.complete all as specified and directed. | 960.00 | Each |  | 70.00 | 67200.00 | 82.00 | 78720.00 | 29.00 | 27840.00 | 65.00 | 62400.00 | 80.00 | 76800.00 | 38.00 | 36480.00 | 36.00 | 34560.00 | 36.00 | 34560.00 | 27840.00 | JAGDISH KUMAR SEHGAL
18.00 | S&F Lamp holder insulated body threaded dome pattern,suitable for bracket / batten fitting ISI marked complete all as specified and directed. | 199.00 | Each |  | 70.00 | 13930.00 | 80.00 | 15920.00 | 29.00 | 5771.00 | 65.00 | 12935.00 | 75.00 | 14925.00 | 38.00 | 7562.00 | 36.00 | 7164.00 | 50.00 | 9950.00 | 5771.00 | JAGDISH KUMAR SEHGAL
19.00 | S&F LED bulb 9 watt ISI marked complete all as specified and directed. | 199.00 | Each |  | 220.00 | 43780.00 | 235.00 | 46765.00 | 99.00 | 19701.00 | 200.00 | 39800.00 | 200.00 | 39800.00 | 210.00 | 41790.00 | 185.00 | 36815.00 | 200.00 | 39800.00 | 19701.00 | JAGDISH KUMAR SEHGAL
20.00 | S&F Fan regulator AC,step type socket size single phase 230 volts,50 Hz,duly ISI marked complete all as specified and directed. | 150.00 | Each |  | 400.00 | 60000.00 | 435.00 | 65250.00 | 199.00 | 29850.00 | 370.00 | 55500.00 | 400.00 | 60000.00 | 285.00 | 42750.00 | 298.00 | 44700.00 | 295.00 | 44250.00 | 29850.00 | JAGDISH KUMAR SEHGAL
21.00 | S&F in replacement Surface and wall mounted LED 18 Watt batten with polycarbonate housing & integrated electronic driver of size 1040x25x41mm. Make- Havells Cat part No-LHEXBQP5IN1W018 or equivalent CG/Bajaj. complete all as specified and directed. | 750.00 | Each |  | 880.00 | 660000.00 | 910.00 | 682500.00 | 599.00 | 449250.00 | 900.00 | 675000.00 | 810.00 | 607500.00 | 798.00 | 598500.00 | 745.00 | 558750.00 | 798.00 | 598500.00 | 449250.00 | JAGDISH KUMAR SEHGAL
22.00 | S&Fin replacement Recess and surface mounting LED flat panel 2'x2' made of CRCA sheet duly powder coated with high efficient LEDs & glare free full opal diffuser .IP20 of 36 W . Make-CROMPTON Cat part No POLARIS III-LCTLRN-36-CDL or equivalent Havells/ Bajaj | 10.00 | Each |  | 5800.00 | 58000.00 | 6000.00 | 60000.00 | 3900.00 | 39000.00 | 5500.00 | 55000.00 | 5100.00 | 51000.00 | 2982.00 | 29820.00 | 2250.00 | 22500.00 | 2280.00 | 22800.00 | 22500.00 | Vee Vee Enterprises
23.00 | Refixing only T/L fittings complete all as specified and directed. Note: old T/L fittings as retrived from item No 2 here-in-before shall be used. | 20.00 | Each |  | 109.00 | 2180.00 | 110.00 | 2200.00 | 99.00 | 1980.00 | 100.00 | 2000.00 | 79.00 | 1580.00 | 40.00 | 800.00 | 35.00 | 700.00 | 25.00 | 500.00 | 500.00 | Dee Kay Enterprises
24.00 | S&F street light fitting LED Street light 15 Watt 5700K made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having top opening separate driver compartment with IP 65 protection and impact resistance of IK07. Make- CG cat part No-LSTS-15-CDL or equivallent of Crompton Greaves/ Havells including GI Bracket for street light fitting bend to shape made out of GI pipe light grade '25mm of suitable size upto 1.2 mtr long etc complete with MS clamps duly painted with two coat of aluminum paint with nuts/bolts/washers and all fixing arrangement to pole /wall including connecting up with 2 core cable complete all as specified and directed. | 50.00 | Each set |  | 3000.00 | 150000.00 | 3100.00 | 155000.00 | 1900.00 | 95000.00 | 2900.00 | 145000.00 | 2900.00 | 145000.00 | 2999.00 | 149950.00 | 2450.00 | 122500.00 | 3000.00 | 150000.00 | 95000.00 | JAGDISH KUMAR SEHGAL
25.00 | S&F Bell AC 230 volts, single phase complete all as specified and directed | 50.00 | Each |  | 422.00 | 21100.00 | 450.00 | 22500.00 | 149.00 | 7450.00 | 400.00 | 20000.00 | 390.00 | 19500.00 | 100.00 | 5000.00 | 110.00 | 5500.00 | 108.00 | 5400.00 | 5000.00 | M/S Yashpaul Gulati
26.00 | S&F factory made powder coated vertical loadline MCB DB TPN double door with compact busbar, din rail suitable for single phase out going and incl one No of MCCB of cap 100 Amp , 16 KA 3 pole as incomer control to be fixed on wall/ pole with help of MS flat clamps & nut bolt complete all as specified and directed. Make - HPL/Standard/Havells | 5.00 | Each |  | 17000.00 | 85000.00 | 16000.00 | 80000.00 | 9900.00 | 49500.00 | 20000.00 | 100000.00 | 14900.00 | 74500.00 | 13950.00 | 69750.00 | 13500.00 | 67500.00 | 13450.00 | 67250.00 | 49500.00 | JAGDISH KUMAR SEHGAL
27.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting/concealed 415 volts, Triple pole and neutral bus bar 4 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified and directed. Make : - Havells / HPL/Standard | 5.00 | Each |  | 4600.00 | 23000.00 | 4500.00 | 22500.00 | 3900.00 | 19500.00 | 5000.00 | 25000.00 | 4109.00 | 20545.00 | 4500.00 | 22500.00 | 4150.00 | 20750.00 | 4380.00 | 21900.00 | 19500.00 | JAGDISH KUMAR SEHGAL
28.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 4 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified and directed. Make : - Make - HPL/Standard/Havells | 10.00 | Each |  | 1800.00 | 18000.00 | 1820.00 | 18200.00 | 900.00 | 9000.00 | 1600.00 | 16000.00 | 1790.00 | 17900.00 | 1750.00 | 17500.00 | 1650.00 | 16500.00 | 1750.00 | 17500.00 | 9000.00 | JAGDISH KUMAR SEHGAL
29.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 8 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified and directed. Make : - Havells / HPL/Indo asian | 20.00 | Each |  | 2300.00 | 46000.00 | 2400.00 | 48000.00 | 1199.00 | 23980.00 | 2100.00 | 42000.00 | 2320.00 | 46400.00 | 1950.00 | 39000.00 | 1850.00 | 37000.00 | 1844.00 | 36880.00 | 23980.00 | JAGDISH KUMAR SEHGAL
30.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 12 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified and directed. Make - Make - HPL/Standard/Havells | 8.00 | Each |  | 2570.00 | 20560.00 | 2610.00 | 20880.00 | 1499.00 | 11992.00 | 2600.00 | 20800.00 | 2580.00 | 20640.00 | 2190.00 | 17520.00 | 2200.00 | 17600.00 | 2186.00 | 17488.00 | 11992.00 | JAGDISH KUMAR SEHGAL
31.00 | S&F MCB single pole neutral 240 volts, 05 to 60 Amps, 10 KA complete all as specified and directed. | 80.00 | Each |  | 470.00 | 37600.00 | 500.00 | 40000.00 | 249.00 | 19920.00 | 500.00 | 40000.00 | 490.00 | 39200.00 | 610.00 | 48800.00 | 540.00 | 43200.00 | 550.00 | 44000.00 | 19920.00 | JAGDISH KUMAR SEHGAL
32.00 | S&F MCB single pole 240 volts, 05 to 40Amps, 10 KA complete all as specified and directed. | 391.00 | Each |  | 280.00 | 109480.00 | 300.00 | 117300.00 | 149.00 | 58259.00 | 300.00 | 117300.00 | 265.00 | 103615.00 | 225.00 | 87975.00 | 220.00 | 86020.00 | 218.00 | 85238.00 | 58259.00 | JAGDISH KUMAR SEHGAL
33.00 | S&F MCB four pole 415volts, 100Amps, 10 KA complete all as specified and directed. | 5.00 | Each |  | 4500.00 | 22500.00 | 4550.00 | 22750.00 | 4999.00 | 24995.00 | 4200.00 | 21000.00 | 4465.00 | 22325.00 | 4260.00 | 21300.00 | 4200.00 | 21000.00 | 4400.00 | 22000.00 | 21000.00 | Harmesh Kumar Sharma and Sons, Vee Vee Enterprises
34.00 | S&F Sub main wiring with two single core 2 x 6 sqmm PVC insulated and unsheathed stranded copper conductor alongwith earth wire 4 sqmm drawn in 25 sqmm PVC rigid conduit connected to main board complete all as specified and directed (Two number cable and one number earth wire shall measured together as unit length). | 600.00 | RM |  | 280.00 | 168000.00 | 300.00 | 180000.00 | 249.00 | 149400.00 | 300.00 | 180000.00 | 255.00 | 153000.00 | 265.00 | 159000.00 | 240.00 | 144000.00 | 265.00 | 159000.00 | 144000.00 | Vee Vee Enterprises
35.00 | S&F cable XLPE insulated, armouredheavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 25 sqmm 4 core. complete all as specified and directed. | 160.00 | RM |  | 310.00 | 49600.00 | 345.00 | 55200.00 | 219.00 | 35040.00 | 300.00 | 48000.00 | 310.00 | 49600.00 | 248.00 | 39680.00 | 225.00 | 36000.00 | 222.00 | 35520.00 | 35040.00 | JAGDISH KUMAR SEHGAL
36.00 | Excavation in trenches in soft/ loose soil not exc 1.5 m deep and n.exc 1.5 mtr wide for laying of cable,etc. and getting out complete all as specified and directed . | 18.00 | Cum |  | 120.00 | 2160.00 | 145.00 | 2610.00 | 99.00 | 1782.00 | 100.00 | 1800.00 | 135.00 | 2430.00 | 99.00 | 1782.00 | 90.00 | 1620.00 | 100.00 | 1800.00 | 1620.00 | Vee Vee Enterprises
37.00 | Returning, filling in earth including spreading leveling and well ramming excavated soil in layer not exceeding 25 cm thick each layer, back in trenches after cable have been laid & tested,poles,stairs,struts have been erected & tested complete all as specified and directed. | 7.00 | Cum |  | 92.00 | 644.00 | 100.00 | 700.00 | 49.00 | 343.00 | 90.00 | 630.00 | 80.00 | 560.00 | 38.00 | 266.00 | 40.00 | 280.00 | 45.00 | 315.00 | 266.00 | M/S Yashpaul Gulati
38.00 | Removing of surplus soil (soft/loose) obtained from excavation to a distance not exc 50 metre and depositing where directed at a level not exc 1.5 metre above the starting point complete all as specified and as directed. | 11.00 | Cum |  | 82.00 | 902.00 | 90.00 | 990.00 | 49.00 | 539.00 | 80.00 | 880.00 | 70.00 | 770.00 | 90.00 | 990.00 | 74.00 | 814.00 | 90.00 | 990.00 | 539.00 | JAGDISH KUMAR SEHGAL
39.00 | M&L for old size sub class B bricks laid flat in trenches over the cable with length of brick perpendicular to the direction of cable, adjucent/abutting each other, complete all as specified and directed. Note: Excavation and earth work to be measured and paid for seperately. | 1.00 | PER 1000 Nos |  | 3800.00 | 3800.00 | 3845.00 | 3845.00 | 3999.00 | 3999.00 | 4000.00 | 4000.00 | 3765.00 | 3765.00 | 3500.00 | 3500.00 | 2999.00 | 2999.00 | 2980.00 | 2980.00 | 2980.00 | Dee Kay Enterprises
40.00 | M & L for sand cushioning with a layer of fine sand 8 cm thick before laying of cable and 15 cm thick after laying of cable in trenches complete all as specified and directed. .Note : (i) Excavation and earth work to be measured and paid for separately) (ii) Measurement shall be taken only after punning down sand cushioning. | 8.00 | cum |  | 820.00 | 6560.00 | 855.00 | 6840.00 | 499.00 | 3992.00 | 800.00 | 6400.00 | 800.00 | 6400.00 | 725.00 | 5800.00 | 740.00 | 5920.00 | 780.00 | 6240.00 | 3992.00 | JAGDISH KUMAR SEHGAL
41.00 | S&F in replacement Electronic ballast pre wired AC supply 230 V 50 Hz suitable for 36 watt tube light fittings ISI marked.complete all as specified and directed. | 220.00 | Each |  | 320.00 | 70400.00 | 350.00 | 77000.00 | 349.00 | 76780.00 | 300.00 | 66000.00 | 300.00 | 66000.00 | 265.00 | 58300.00 | 245.00 | 53900.00 | 265.00 | 58300.00 | 53900.00 | Vee Vee Enterprises
42.00 | Supply and fix fluorescent tube rod 36/40 watt ISI mark. complete all as specified and directed. | 220.00 | Each |  | 94.00 | 20680.00 | 100.00 | 22000.00 | 99.00 | 21780.00 | 90.00 | 19800.00 | 80.00 | 17600.00 | 62.00 | 13640.00 | 64.00 | 14080.00 | 65.00 | 14300.00 | 13640.00 | M/S Yashpaul Gulati
43.00 | S & F cable PVC insulated and sheathed in service connection flat of size 2 core 10 Sq mm aluminium conductor multistrandard 1100 V grade including 4mm GI wire and porcelene insulated apart of 01 mtr each. complete all as specified and directed. | 100.00 | RM |  | 220.00 | 22000.00 | 245.00 | 24500.00 | 99.00 | 9900.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 60.00 | 6000.00 | 58.00 | 5800.00 | 60.00 | 6000.00 | 5800.00 | Vee Vee Enterprises
44.00 | M & L earthing complete with galvanized steel plate elecrode of size 60 cm x 60cm x 6.3 mm thick burried directly in ground vertically to a depth not less than 2.5 mtr below the ground level with top edge of earth plate at a depth not less than 1.5 mtr below ground level. Earth plate surrounded by 15mm thick packed alternative layers of charcoal dust and comman salt, earth lead GI wire of 4mm dia (8 SWG) by means of bolts , nuts, check nuts and washers of galvanised iron with thimbles. The other end of GI earth wire is connected to main switch board and protected by light grade GI pipe of 15 mm bore. provision of 20mm bore light grade GI pipe for watering including GI funnel and wire mesh for watering . Pipe shallbe provided vertically upto top level of earth pit and then taken horrizontally to the earth pit including necessary execution and earth works, PCC chamber in Cement concrete ( 1:3:6 ) type C-2 using 40 mm graded stone aggregate and RCC cover and complete all as shown in electrical plate No 3 of MES schedule (Part-I) of 2009 complete all as specified and directed. | 6.00 | Each set |  | 4100.00 | 24600.00 | 4200.00 | 25200.00 | 3900.00 | 23400.00 | 4000.00 | 24000.00 | 3900.00 | 23400.00 | 4000.00 | 24000.00 | 3750.00 | 22500.00 | 4200.00 | 25200.00 | 22500.00 | Vee Vee Enterprises
| Total in Figures |  |  |  |  | 2563090.00 |  | 2686637.00 |  | 1696388.00 |  | 2565935.00 |  | 2525893.00 |  | 2182173.00 |  | 2028383.00 |  | 2165019.00
Lowest Amount Quoted BY: JAGDISH KUMAR SEHGAL(1696388.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair/Replacement and rewiring of internal electrification to Md and OTM accn of 48 Inf Bde Camp and Sig Coy, 12 ASSAM, 7 Raj Rif, 20 Garh Rif, 5 Engr Regt and Ascon Node under GE(East) Ferozepur Cantt Tender ID: 2018_MES_208594_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGDISH KUMAR SEHGAL | 1696388.00 | L1
| 2 | Vee Vee Enterprises | 2028383.00 | L2
| 3 | Dee Kay Enterprises | 2165019.00 | L3
| 4 | M/S Yashpaul Gulati | 2182173.00 | L4
| 5 | HAPPY ELECTRICALS | 2525893.00 | L5
| 6 | CHETAK CONSTRUCTION COMPANY | 2563090.00 | L6
| 7 | Harmesh Kumar Sharma and Sons | 2565935.00 | L7
| 8 | V V AND COMPANY | 2686637.00 | L8