## BoQ1
eProcurement System for Organisations under MoD Created By: SUNDER SINGH Created Date/Time: 27-Dec-2018 06:03 PM Tender Title: REPAIR TO INTERNAL ELECTRIFICATION OF OTM MD ACCN UNDER AGE BR I AREA OF GE WEST FEROZEPUR CANTT Tender ID: 2018_MES_215703_1
Tender Inviting Authority : GARRISON ENGINEER (WEST) FEROZEPUR CANTT
Name of Work : REPAIR TO INTERNAL ELECTRIFICATION OF OTM/MD ACCN UNDER AGE B/R-I AREA OF GE(W) FEROZEPUR CANTT
Contract No : GE(West)/FZR-_________/E8 (802018/GE-31/E8)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK AND COMPANY |  | S S BUILDERS |  | JAGDISH KUMAR SEHGAL |  | Dhawan Const Co. |  | M/s Surjit Singh and bros |  | AKASH ELECTRICALS |  | M/S Yashpaul Gulati |  | M/S N Maini Constrution |  | Supreme Constructions |  | Karan Engineers
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down carefully existig copper / aluminium point wiring for light / fan / bell / socket 5/15 Amp points complete with fitting and fixtures such as switches, sockets, ceiling roses, holders and bracket fittings with battens / conduits / wires and making good the disturbed surfaces of walls and roofs etc.and to match with existing colour complete all as specified and directed. | 1425.00 | Per Point |  | 45.00 | 64125.00 | 55.00 | 78375.00 | 9.00 | 12825.00 | 48.00 | 68400.00 | 58.00 | 82650.00 | 52.00 | 74100.00 | 60.00 | 85500.00 | 60.00 | 85500.00 | 40.00 | 57000.00 | 39.00 | 55575.00 | 12825.00 | JAGDISH KUMAR SEHGAL
2.00 | Taking down carefully unserviceable Main switches and Distribution boards (single phase or three phase) of any capacity all as specified and directed. | 63.00 | Each |  | 70.00 | 4410.00 | 40.00 | 2520.00 | 9.00 | 567.00 | 58.00 | 3654.00 | 58.00 | 3654.00 | 41.00 | 2583.00 | 60.00 | 3780.00 | 80.00 | 5040.00 | 60.00 | 3780.00 | 61.00 | 3843.00 | 567.00 | JAGDISH KUMAR SEHGAL
3.00 | M &L Point wiring complete with 1100 volts grade PVC insulated unsheathed FRLS cable of copper conductor, multi stranded of size 1.5 sqmm, single core, in and including rigid non-metallic PVC conealed conduit, medium grade of suitable size (not less than 20mm dia) duly ISI marked with all accessories such as bends,reducers, spacers, saddles, junction boxes bakelite sheets, wooden rectangular boards / round blocks(for housing lamp holders and sketch fittings etc) and new MS pressed steel / cast iron sunken boxes of suitable size for mounting switches / bell pushes / sockets, fan regulator etc covered with new 3 mm thick laminated bakelite sheet top cover including continuous earth wire of size 1.5 sqmm unsheated stranded copper conductor with green PVC insulation connected to common earth dolly complete all as specified and directed for the followings :- (a) One light point/fan point controlled by one single pole one way switch. | 850.00 | Per Point |  | 490.00 | 416500.00 | 630.00 | 535500.00 | 409.00 | 347650.00 | 490.00 | 416500.00 | 500.00 | 425000.00 | 550.00 | 467500.00 | 498.00 | 423300.00 | 550.00 | 467500.00 | 485.00 | 412250.00 | 492.00 | 418200.00 | 347650.00 | JAGDISH KUMAR SEHGAL
4.00 | (b) One bell point controlled by one single pole bell push | 45.00 | Per Point |  | 490.00 | 22050.00 | 638.00 | 28710.00 | 409.00 | 18405.00 | 480.00 | 21600.00 | 500.00 | 22500.00 | 630.00 | 28350.00 | 493.00 | 22185.00 | 550.00 | 24750.00 | 482.00 | 21690.00 | 498.00 | 22410.00 | 18405.00 | JAGDISH KUMAR SEHGAL
5.00 | (c) One socket outlet on the same board controlled by one single pole 5 Amp switch | 180.00 | Per Point |  | 110.00 | 19800.00 | 200.00 | 36000.00 | 209.00 | 37620.00 | 115.00 | 20700.00 | 100.00 | 18000.00 | 200.00 | 36000.00 | 105.00 | 18900.00 | 145.00 | 26100.00 | 112.00 | 20160.00 | 115.00 | 20700.00 | 18000.00 | M/s Surjit Singh and bros
6.00 | (d) One 5 amps socket outlet independent controlled by one single pole 5 Amp switch. | 220.00 | Per Point |  | 490.00 | 107800.00 | 690.00 | 151800.00 | 409.00 | 89980.00 | 480.00 | 105600.00 | 500.00 | 110000.00 | 650.00 | 143000.00 | 503.00 | 110660.00 | 550.00 | 121000.00 | 485.00 | 106700.00 | 490.00 | 107800.00 | 89980.00 | JAGDISH KUMAR SEHGAL
7.00 | All as per item No - 3 above but One 15 Amps socket outlet controlled by one 15 Amps suitable wiring with 4.00 Sqmm PVC insulated, unsheathed FRLS cable of multistranded copper conductor with continuous earth wire of size 2.5 Sqmm PVC insulated FRLS, unsheathed,multistranded copper conductor cable all as specified and directed. | 130.00 | Per Point |  | 865.00 | 112450.00 | 1180.00 | 153400.00 | 709.00 | 92170.00 | 850.00 | 110500.00 | 885.00 | 115050.00 | 1100.00 | 143000.00 | 920.00 | 119600.00 | 950.00 | 123500.00 | 860.00 | 111800.00 | 867.00 | 112710.00 | 92170.00 | JAGDISH KUMAR SEHGAL
8.00 | M &L Point wiring complete with 1100 volts grade PVC insulated unsheathed FRLS cable of copper conductor, multi stranded of size 1.5 sqmm, single core, in and including existing rigid non-metallic PVC conealed conduit, medium grade of suitable size (not less than 20mm dia) duly ISI marked with all accessories such as bends,reducers, spacers, saddles, junction boxes bakelite sheets, wooden rectangular boards / round blocks(for housing lamp holders and sketch fittings etc) and existing MS pressed steel / cast iron sunken boxes of suitable size for mounting switches / bell pushes / sockets, fan regulator etc covered with new 3 mm thick laminated bakelite sheet top cover including continuous earth wire of size 1.5 sqmm unsheated stranded copper conductor with green PVC insulation connected to common earth dolly complete all as specified and directed for the followings :- (a) One light point/fan point controlled by one single pole one way switch. | 300.00 | Per Point |  | 428.00 | 128400.00 | 555.00 | 166500.00 | 349.00 | 104700.00 | 425.00 | 127500.00 | 432.00 | 129600.00 | 500.00 | 150000.00 | 437.00 | 131100.00 | 450.00 | 135000.00 | 425.00 | 127500.00 | 435.00 | 130500.00 | 104700.00 | JAGDISH KUMAR SEHGAL
9.00 | (b) One bell point controlled by one single pole bell push | 15.00 | Per Point |  | 415.00 | 6225.00 | 550.00 | 8250.00 | 349.00 | 5235.00 | 425.00 | 6375.00 | 432.00 | 6480.00 | 550.00 | 8250.00 | 443.00 | 6645.00 | 450.00 | 6750.00 | 420.00 | 6300.00 | 412.00 | 6180.00 | 5235.00 | JAGDISH KUMAR SEHGAL
10.00 | (c) One 5 amps socket outlet independent controlled by one single pole 5 Amp switch. | 80.00 | Per Point |  | 420.00 | 33600.00 | 490.00 | 39200.00 | 349.00 | 27920.00 | 425.00 | 34000.00 | 432.00 | 34560.00 | 450.00 | 36000.00 | 448.00 | 35840.00 | 450.00 | 36000.00 | 425.00 | 34000.00 | 434.00 | 34720.00 | 27920.00 | JAGDISH KUMAR SEHGAL
11.00 | All as per item No - 8 above but One 15 Amps socket outlet controlled by one 15 Amps suitable wiring with 4.00 Sqmm PVC insulated, unsheathed FRLS cable of multistranded copper conductor with continuous earth wire of size 2.5 Sqmm PVC insulated FRLS, unsheathed,multistranded copper conductor cable all as specified and directed. | 50.00 | Per Point |  | 815.00 | 40750.00 | 1580.00 | 79000.00 | 659.00 | 32950.00 | 800.00 | 40000.00 | 810.00 | 40500.00 | 1450.00 | 72500.00 | 807.00 | 40350.00 | 850.00 | 42500.00 | 795.00 | 39750.00 | 806.00 | 40300.00 | 32950.00 | JAGDISH KUMAR SEHGAL
12.00 | S & F Switch piano flush type 5 amps, one way duly ISI marked complete all as specified and directed | 1630.00 | Each |  | 45.00 | 73350.00 | 45.00 | 73350.00 | 29.00 | 47270.00 | 38.00 | 61940.00 | 34.00 | 55420.00 | 40.00 | 65200.00 | 34.00 | 55420.00 | 55.00 | 89650.00 | 36.00 | 58680.00 | 37.00 | 60310.00 | 47270.00 | JAGDISH KUMAR SEHGAL
13.00 | S & F Switch piano flush type 15 amps, one way ISI marked complete all as specified and directed | 180.00 | Each |  | 95.00 | 17100.00 | 110.00 | 19800.00 | 39.00 | 7020.00 | 95.00 | 17100.00 | 88.00 | 15840.00 | 100.00 | 18000.00 | 93.00 | 16740.00 | 105.00 | 18900.00 | 92.00 | 16560.00 | 95.00 | 17100.00 | 7020.00 | JAGDISH KUMAR SEHGAL
14.00 | S & F Socket outlet 5 pin, 5 Amps, piano flush type duly ISI marked complete all as specified and directed | 480.00 | Each |  | 60.00 | 28800.00 | 62.00 | 29760.00 | 39.00 | 18720.00 | 60.00 | 28800.00 | 68.00 | 32640.00 | 60.00 | 28800.00 | 68.00 | 32640.00 | 65.00 | 31200.00 | 58.00 | 27840.00 | 59.00 | 28320.00 | 18720.00 | JAGDISH KUMAR SEHGAL
15.00 | S & F Socket outlet, 2 in one 6 pin 5 and 15 Amps piano flush type ISI marked complete all as specified and directed | 180.00 | Each |  | 100.00 | 18000.00 | 140.00 | 25200.00 | 39.00 | 7020.00 | 90.00 | 16200.00 | 100.00 | 18000.00 | 134.00 | 24120.00 | 104.00 | 18720.00 | 102.00 | 18360.00 | 94.00 | 16920.00 | 95.00 | 17100.00 | 7020.00 | JAGDISH KUMAR SEHGAL
16.00 | S & F Ceiling rose surface type, PVC/polycarbonate ,isolated, bakelite 65 x 50mm, 3 terminals ISI marked complete all as specified and directed. | 970.00 | Each |  | 40.00 | 38800.00 | 34.00 | 32980.00 | 29.00 | 28130.00 | 40.00 | 38800.00 | 38.00 | 36860.00 | 32.00 | 31040.00 | 38.00 | 36860.00 | 45.00 | 43650.00 | 36.00 | 34920.00 | 37.00 | 35890.00 | 28130.00 | JAGDISH KUMAR SEHGAL
17.00 | S & F Lamp holder insulated body threaded dome pattern,suitable for bracket / batten fitting complete all as specified | 435.00 | Each |  | 40.00 | 17400.00 | 38.00 | 16530.00 | 29.00 | 12615.00 | 40.00 | 17400.00 | 38.00 | 16530.00 | 32.00 | 13920.00 | 39.00 | 16965.00 | 45.00 | 19575.00 | 38.00 | 16530.00 | 37.00 | 16095.00 | 12615.00 | JAGDISH KUMAR SEHGAL
18.00 | S & F stepped type electronic fan regulater flush, socket type 230 vilts single pole on the existing phenolic laminated sheet etc. as reqd. | 330.00 | Each |  | 270.00 | 89100.00 | 290.00 | 95700.00 | 199.00 | 65670.00 | 260.00 | 85800.00 | 250.00 | 82500.00 | 280.00 | 92400.00 | 259.00 | 85470.00 | 325.00 | 107250.00 | 265.00 | 87450.00 | 270.00 | 89100.00 | 65670.00 | JAGDISH KUMAR SEHGAL
19.00 | S & F bell push piano flush type 5 Amps single pole duly ISI marked complete all as specified and directed | 110.00 | Each |  | 35.00 | 3850.00 | 40.00 | 4400.00 | 29.00 | 3190.00 | 38.00 | 4180.00 | 40.00 | 4400.00 | 40.00 | 4400.00 | 40.00 | 4400.00 | 50.00 | 5500.00 | 35.00 | 3850.00 | 36.00 | 3960.00 | 3190.00 | JAGDISH KUMAR SEHGAL
20.00 | S & F bell ding dong AC 230 volts single pole complete all as specified and directed | 110.00 | Each |  | 135.00 | 14850.00 | 190.00 | 20900.00 | 199.00 | 21890.00 | 145.00 | 15950.00 | 160.00 | 17600.00 | 187.00 | 20570.00 | 158.00 | 17380.00 | 165.00 | 18150.00 | 140.00 | 15400.00 | 145.00 | 15950.00 | 14850.00 | ABHISHEK AND COMPANY
21.00 | S&F LED tube light fitting 1 X 18 W decorative ultra slim linear LED lighting fixture with extruded polycarbonate,environmental friendly, energy efficient 230V, complete with all accessories internally pre wired and including connecting up with twin core twisted flexible copper conductor cable with suitable size complete all as specified and directed | 460.00 | Each |  | 785.00 | 361100.00 | 790.00 | 363400.00 | 599.00 | 275540.00 | 786.00 | 361560.00 | 800.00 | 368000.00 | 685.00 | 315100.00 | 841.00 | 386860.00 | 900.00 | 414000.00 | 770.00 | 354200.00 | 792.00 | 364320.00 | 275540.00 | JAGDISH KUMAR SEHGAL
22.00 | Taking down FL tube light fixing/Ceiling fitting CFL type,dismanteling,replacing the U/S Parts and refixing in original location complete all as specified and directed by Engr-in-Charge. Note : The spare parts required for replacement to make above serviceable shall be measured and paid complete all as specified and directed. | 845.00 | Each |  | 35.00 | 29575.00 | 48.00 | 40560.00 | 99.00 | 83655.00 | 20.00 | 16900.00 | 28.00 | 23660.00 | 40.00 | 33800.00 | 28.00 | 23660.00 | 28.00 | 23660.00 | 22.00 | 18590.00 | 22.00 | 18590.00 | 16900.00 | Dhawan Const Co.
23.00 | Supply only spare parts for FL tube light fitting:- (a) Electronic Choke 36/40W. | 500.00 | Each |  | 275.00 | 137500.00 | 225.00 | 112500.00 | 149.00 | 74500.00 | 260.00 | 130000.00 | 285.00 | 142500.00 | 190.00 | 95000.00 | 296.00 | 148000.00 | 290.00 | 145000.00 | 265.00 | 132500.00 | 267.00 | 133500.00 | 74500.00 | JAGDISH KUMAR SEHGAL
24.00 | (b) Starter | 30.00 | Each |  | 10.00 | 300.00 | 28.00 | 840.00 | 99.00 | 2970.00 | 15.00 | 450.00 | 14.00 | 420.00 | 27.00 | 810.00 | 14.00 | 420.00 | 15.00 | 450.00 | 12.00 | 360.00 | 12.00 | 360.00 | 300.00 | ABHISHEK AND COMPANY
25.00 | ( c ) Electronic Choke 11/15/18 W T-5 | 35.00 | Each |  | 208.00 | 7280.00 | 210.00 | 7350.00 | 199.00 | 6965.00 | 230.00 | 8050.00 | 230.00 | 8050.00 | 210.00 | 7350.00 | 236.00 | 8260.00 | 225.00 | 7875.00 | 222.00 | 7770.00 | 218.00 | 7630.00 | 6965.00 | JAGDISH KUMAR SEHGAL
26.00 | (d) Electronic Choke 28 W T-5 | 315.00 | Each |  | 315.00 | 99225.00 | 415.00 | 130725.00 | 149.00 | 46935.00 | 220.00 | 69300.00 | 220.00 | 69300.00 | 390.00 | 122850.00 | 228.00 | 71820.00 | 225.00 | 70875.00 | 208.00 | 65520.00 | 212.00 | 66780.00 | 46935.00 | JAGDISH KUMAR SEHGAL
27.00 | (e) Copper Choke 36/40 Watts | 30.00 | Each |  | 380.00 | 11400.00 | 290.00 | 8700.00 | 199.00 | 5970.00 | 299.00 | 8970.00 | 300.00 | 9000.00 | 285.00 | 8550.00 | 299.00 | 8970.00 | 325.00 | 9750.00 | 290.00 | 8700.00 | 294.00 | 8820.00 | 5970.00 | JAGDISH KUMAR SEHGAL
28.00 | (f) Bibin Holder | 200.00 | Each |  | 10.00 | 2000.00 | 20.00 | 4000.00 | 49.00 | 9800.00 | 9.00 | 1800.00 | 12.00 | 2400.00 | 19.00 | 3800.00 | 12.00 | 2400.00 | 8.00 | 1600.00 | 8.00 | 1600.00 | 8.00 | 1600.00 | 1600.00 | Supreme Constructions, Karan Engineers, M/S N Maini Constrution
29.00 | (g) CFL 36 Watt 4 pin type | 175.00 | Each |  | 180.00 | 31500.00 | 210.00 | 36750.00 | 399.00 | 69825.00 | 175.00 | 30625.00 | 200.00 | 35000.00 | 211.00 | 36925.00 | 210.00 | 36750.00 | 175.00 | 30625.00 | 180.00 | 31500.00 | 185.00 | 32375.00 | 30625.00 | Dhawan Const Co., M/S N Maini Constrution
30.00 | Supply & Fix in repair sheet metal enclouser DB's 8 way double door factory made powder coated out of CRCA mild steel sheet 1.2 mm thick wih metallic painting white series, 240 volts 200 Amps rated enameled bus bar 8 way dust and vermin proof ssuitable for incorporation of MCBs duly concealed in wall and making good to distrubed surface and colour matching complete all as specified. | 35.00 | Each |  | 1700.00 | 59500.00 | 1700.00 | 59500.00 | 1199.00 | 41965.00 | 1690.00 | 59150.00 | 1700.00 | 59500.00 | 1670.00 | 58450.00 | 1711.00 | 59885.00 | 1950.00 | 68250.00 | 1692.00 | 59220.00 | 1708.00 | 59780.00 | 41965.00 | JAGDISH KUMAR SEHGAL
31.00 | Supply & Fix in repair sheet metal enclouser DB's 4 way double door factory made powder coated out of CRCA mild steel sheet 1.2 mm thick wih metallic painting white series, 240 volts 200 Amps rated enameled bus bar 8 way dust and vermin proof ssuitable for incorporation of MCBs duly concealed in wall and making good to distrubed surface and colour matching complete all as specified. | 20.00 | Each |  | 1325.00 | 26500.00 | 1500.00 | 30000.00 | 900.00 | 18000.00 | 1285.00 | 25700.00 | 1350.00 | 27000.00 | 1400.00 | 28000.00 | 1403.00 | 28060.00 | 1450.00 | 29000.00 | 1280.00 | 25600.00 | 1291.00 | 25820.00 | 18000.00 | JAGDISH KUMAR SEHGAL
32.00 | S & F in repair sheet metal enclouserDB's TPN 4 way double door factory made powder coated out of CRCA mild steel sheet 1.2 mm thick wih metallic painting white series, 415 volts 200 Amps rated enameled bus bar 4 way dust and vermin proof ssuitable for incorporation of MCBs duly concealed in wall and making good to distrubed surface and colour matching complete all as specified. | 8.00 | Each |  | 4110.00 | 32880.00 | 3500.00 | 28000.00 | 3900.00 | 31200.00 | 4100.00 | 32800.00 | 4200.00 | 33600.00 | 3300.00 | 26400.00 | 4247.00 | 33976.00 | 5800.00 | 46400.00 | 4102.00 | 32816.00 | 4202.00 | 33616.00 | 26400.00 | AKASH ELECTRICALS
33.00 | S & F MCCB 63 Amps 415 Volts 16KA breaking capacity complete all as specified. | 4.00 | Each |  | 6550.00 | 26200.00 | 5000.00 | 20000.00 | 4900.00 | 19600.00 | 6500.00 | 26000.00 | 6600.00 | 26400.00 | 5000.00 | 20000.00 | 6774.00 | 27096.00 | 7500.00 | 30000.00 | 6505.00 | 26020.00 | 6379.00 | 25516.00 | 19600.00 | JAGDISH KUMAR SEHGAL
34.00 | MCB TPN 415 volts 63 Amps, 10 KA breaking capacity complete all as specified. | 4.00 | Each |  | 1050.00 | 4200.00 | 900.00 | 3600.00 | 4599.00 | 18396.00 | 1090.00 | 4360.00 | 1050.00 | 4200.00 | 917.00 | 3668.00 | 1088.00 | 4352.00 | 1125.00 | 4500.00 | 1070.00 | 4280.00 | 1092.00 | 4368.00 | 3600.00 | S S BUILDERS
35.00 | MCB single pole neutral(SPN) 240 volts, 20 to 60 Amps, 10 KA complete all as specified. | 130.00 | Each |  | 650.00 | 84500.00 | 412.00 | 53560.00 | 249.00 | 32370.00 | 630.00 | 81900.00 | 600.00 | 78000.00 | 404.00 | 52520.00 | 598.00 | 77740.00 | 650.00 | 84500.00 | 610.00 | 79300.00 | 619.00 | 80470.00 | 32370.00 | JAGDISH KUMAR SEHGAL
36.00 | MCB single pole(SP) 240 volts, 05 to 30 Amps, 10 KA complete all as specified. | 330.00 | Each |  | 195.00 | 64350.00 | 190.00 | 62700.00 | 149.00 | 49170.00 | 185.00 | 61050.00 | 185.00 | 61050.00 | 180.00 | 59400.00 | 182.00 | 60060.00 | 195.00 | 64350.00 | 182.00 | 60060.00 | 188.00 | 62040.00 | 49170.00 | JAGDISH KUMAR SEHGAL
37.00 | S & F LED Security light fitting 1 X 36 watts with bracket (for housing security light fittings) made of GI pipe 40 mm dia light grade 1.0 mtrs long duly cutted and welded at an angle of 120 degree and fixed to wall with 50 mm X 6 mm MS clamps - 02 Nos with 16 mm dia bolts,nuts,and washers complete all as specified and directed. | 180.00 | Each |  | 4100.00 | 738000.00 | 5000.00 | 900000.00 | 3999.00 | 719820.00 | 3900.00 | 702000.00 | 4000.00 | 720000.00 | 4650.00 | 837000.00 | 4206.00 | 757080.00 | 3950.00 | 711000.00 | 3870.00 | 696600.00 | 3979.00 | 716220.00 | 696600.00 | Supreme Constructions
38.00 | Supply & Fix in repair sub main wiring of 4 sqmm PVC insulated unsheathed FRLS cable multistranded copper conductor with earth wire of 2.5 sqmm PVC insulated unsheathed FRLS cable multistranded copper conductor including PVC conduit pipe 25 sq mm dia all as specified and directed. Note:-Two run of single core 4 sqmm cable and one run single core 2.5 sqmm cable for earth wire and including conduit pipe 25 mm dia shall measured as one length). | 400.00 | RM |  | 230.00 | 92000.00 | 265.00 | 106000.00 | 199.00 | 79600.00 | 225.00 | 90000.00 | 210.00 | 84000.00 | 225.00 | 90000.00 | 211.00 | 84400.00 | 235.00 | 94000.00 | 222.00 | 88800.00 | 224.00 | 89600.00 | 79600.00 | JAGDISH KUMAR SEHGAL
39.00 | M & L Sub main wiring with two single core 06 sqmm PVC insulated and unsheathed FRLS cable multistranded copper conductor with earth wire 4.00 sqmm PVC insulated and unsheathed FRLS multistranded copper conductor including PVC conduit pipe 25 Sq mm dia all as specified and directed. Note:-Two single core 6 sqmm cable and one single core 4 sqmm cable for earth wire and including conduit pipe 25 mm dia shall measured as one length). | 355.00 | RM |  | 270.00 | 95850.00 | 340.00 | 120700.00 | 219.00 | 77745.00 | 240.00 | 85200.00 | 235.00 | 83425.00 | 315.00 | 111825.00 | 244.00 | 86620.00 | 275.00 | 97625.00 | 238.00 | 84490.00 | 240.00 | 85200.00 | 77745.00 | JAGDISH KUMAR SEHGAL
40.00 | Earthing complete with galvanized steel plate elecrode of size 60 cm x 60cm x 6.0 mm thick burried directly in ground vertically to a depth not less than 2.5 mtr below the ground level with top edge of earth plate at a depth not less than 1.5 mtr below ground level. Earth plate surrounded by 15mm thick packed alternative layers of charcoal dust and comman salt, earth lead GI wire of 4mm dia (8 SWG) by means of bolts , nuts, check nuts and washers of galvanised iron with thimbles. The other end of GI earth wire is connected to main switch board and protected by light grade GI pipe of 15 mm bore. provision of 20mm bore light grade GI pipe for watering including GI funnel and wire mesh. Pipe shall be provided vertically upto top level of earth pit and then taken horrizontally to the earth pit. Cement concrete chamber of PCC ( 1:3:6 ) type C-2using 40 mm graded stone aggregate.The chamber shall be constructed one metre away from edge of earth pit. 50 mm thick pre cast cover of cement conrete (1:2:4) type B-1 using 20 mm graded stone aggregate and MS angle iron 50 x 50 x 6 mm frame including two coats of painting over a red oxide to spoxsed steel surfaces. excavation in soft / loose soil, returning filling and removal of surplus soil to a distance of 50 mm as directed and shown in Electrical Plate No- 3 of SSR Part-1 (2009) | 5.00 | Each |  | 4500.00 | 22500.00 | 3500.00 | 17500.00 | 3900.00 | 19500.00 | 2950.00 | 14750.00 | 3200.00 | 16000.00 | 3300.00 | 16500.00 | 3236.00 | 16180.00 | 4200.00 | 21000.00 | 3000.00 | 15000.00 | 3074.00 | 15370.00 | 14750.00 | Dhawan Const Co.
41.00 | Suppy & Fixing in repair CFL lamp 85 Watts complete all as specified and directed. | 6.00 | Each |  | 750.00 | 4500.00 | 980.00 | 5880.00 | 900.00 | 5400.00 | 695.00 | 4170.00 | 725.00 | 4350.00 | 980.00 | 5880.00 | 744.00 | 4464.00 | 780.00 | 4680.00 | 700.00 | 4200.00 | 686.00 | 4116.00 | 4116.00 | Karan Engineers
42.00 | S & F in repair Modular Switch one way 6 A, 1 module complete all as per specified and directed. | 25.00 | Each |  | 140.00 | 3500.00 | 170.00 | 4250.00 | 99.00 | 2475.00 | 140.00 | 3500.00 | 140.00 | 3500.00 | 173.00 | 4325.00 | 145.00 | 3625.00 | 145.00 | 3625.00 | 138.00 | 3450.00 | 141.00 | 3525.00 | 2475.00 | JAGDISH KUMAR SEHGAL
43.00 | S & F in repair Modular Switch one way 16 A, 1 module complete all as per specified and directed. | 20.00 | Each |  | 185.00 | 3700.00 | 270.00 | 5400.00 | 149.00 | 2980.00 | 200.00 | 4000.00 | 185.00 | 3700.00 | 265.00 | 5300.00 | 184.00 | 3680.00 | 180.00 | 3600.00 | 190.00 | 3800.00 | 193.00 | 3860.00 | 2980.00 | JAGDISH KUMAR SEHGAL
44.00 | S & F in repair Modular Socket,6A - 2/3 pin combined 2 module complete all as per specified and directed. | 15.00 | Each |  | 210.00 | 3150.00 | 190.00 | 2850.00 | 149.00 | 2235.00 | 200.00 | 3000.00 | 185.00 | 2775.00 | 187.00 | 2805.00 | 182.00 | 2730.00 | 185.00 | 2775.00 | 190.00 | 2850.00 | 196.00 | 2940.00 | 2235.00 | JAGDISH KUMAR SEHGAL
45.00 | S & F in repair Modular Socket,6A16A - 2/3 pin combined 2 module complete all asper specified and directed. | 15.00 | Each |  | 295.00 | 4425.00 | 290.00 | 4350.00 | 149.00 | 2235.00 | 260.00 | 3900.00 | 300.00 | 4500.00 | 292.00 | 4380.00 | 315.00 | 4725.00 | 265.00 | 3975.00 | 275.00 | 4125.00 | 283.00 | 4245.00 | 2235.00 | JAGDISH KUMAR SEHGAL
46.00 | S & F in repair Modular white cover plate with frame, 1 module complete all as per specified and directed. | 2.00 | Each |  | 105.00 | 210.00 | 268.00 | 536.00 | 149.00 | 298.00 | 125.00 | 250.00 | 120.00 | 240.00 | 264.00 | 528.00 | 121.00 | 242.00 | 95.00 | 190.00 | 100.00 | 200.00 | 101.00 | 202.00 | 190.00 | M/S N Maini Constrution
47.00 | S & F in repair Modular white cover plate with frame, 2 module complete all as per specified and directed. | 2.00 | Each |  | 105.00 | 210.00 | 312.00 | 624.00 | 149.00 | 298.00 | 125.00 | 250.00 | 120.00 | 240.00 | 300.00 | 600.00 | 125.00 | 250.00 | 95.00 | 190.00 | 105.00 | 210.00 | 106.00 | 212.00 | 190.00 | M/S N Maini Constrution
48.00 | S & F in repair Modular white cover plate with frame, 3 module complete all as per specified and directed. | 2.00 | Each |  | 112.00 | 224.00 | 340.00 | 680.00 | 149.00 | 298.00 | 125.00 | 250.00 | 120.00 | 240.00 | 323.00 | 646.00 | 121.00 | 242.00 | 125.00 | 250.00 | 110.00 | 220.00 | 113.00 | 226.00 | 220.00 | Supreme Constructions
49.00 | S & F in repair Modular white cover plate with frame, 4 modulecomplete all as per specified and directed. | 2.00 | Each |  | 120.00 | 240.00 | 370.00 | 740.00 | 149.00 | 298.00 | 125.00 | 250.00 | 120.00 | 240.00 | 370.00 | 740.00 | 123.00 | 246.00 | 135.00 | 270.00 | 120.00 | 240.00 | 118.00 | 236.00 | 236.00 | Karan Engineers
50.00 | S & F in repair Modular white cover plate with frame, 6 module complete all as per specified and directed. | 2.00 | Each |  | 240.00 | 480.00 | 400.00 | 800.00 | 149.00 | 298.00 | 250.00 | 500.00 | 225.00 | 450.00 | 407.00 | 814.00 | 233.00 | 466.00 | 250.00 | 500.00 | 230.00 | 460.00 | 235.00 | 470.00 | 298.00 | JAGDISH KUMAR SEHGAL
51.00 | S & F in repair Modular Bell push 6A, 1 module complete all as per specified and directed. | 8.00 | Each |  | 175.00 | 1400.00 | 312.00 | 2496.00 | 149.00 | 1192.00 | 150.00 | 1200.00 | 168.00 | 1344.00 | 306.00 | 2448.00 | 167.00 | 1336.00 | 195.00 | 1560.00 | 160.00 | 1280.00 | 162.00 | 1296.00 | 1192.00 | JAGDISH KUMAR SEHGAL
52.00 | S & F in repair Modular step type regulator,120 W - 1 module complete all as per specified and directed. | 7.00 | Each |  | 310.00 | 2170.00 | 400.00 | 2800.00 | 299.00 | 2093.00 | 300.00 | 2100.00 | 288.00 | 2016.00 | 395.00 | 2765.00 | 284.00 | 1988.00 | 325.00 | 2275.00 | 290.00 | 2030.00 | 299.00 | 2093.00 | 1988.00 | M/S Yashpaul Gulati
| Total in Figures |  |  |  |  | 3207929.00 |  | 3735666.00 |  | 2685173.00 |  | 3074934.00 |  | 3142884.00 |  | 3418912.00 |  | 3229038.00 |  | 3404225.00 |  | 3035071.00 |  | 3092159.00
Lowest Amount Quoted BY: JAGDISH KUMAR SEHGAL(2685173.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIR TO INTERNAL ELECTRIFICATION OF OTM MD ACCN UNDER AGE BR I AREA OF GE WEST FEROZEPUR CANTT Tender ID: 2018_MES_215703_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGDISH KUMAR SEHGAL | 2685173.00 | L1
| 2 | Supreme Constructions | 3035071.00 | L2
| 3 | Dhawan Const Co. | 3074934.00 | L3
| 4 | Karan Engineers | 3092159.00 | L4
| 5 | M/s Surjit Singh and bros | 3142884.00 | L5
| 6 | ABHISHEK AND COMPANY | 3207929.00 | L6
| 7 | M/S Yashpaul Gulati | 3229038.00 | L7
| 8 | M/S N Maini Constrution | 3404225.00 | L8
| 9 | AKASH ELECTRICALS | 3418912.00 | L9
| 10 | S S BUILDERS | 3735666.00 | L10