## BoQ1
eProcurement System for Organisations under MoD Created By: ANANT RAMESH CHARI Created Date/Time: 08-Jan-2019 10:29 AM Tender Title: REPAIR/REPLACEMENT ELECTRIFICATION SYSTEM TO OFFR MD ACCN, CENTRAL INSTITUTION AND OTHER MISC ITEMS UNER GE(EAST) FEROZEPUR CANTT Tender ID: 2018_MES_208616_1
Tender Inviting Authority: GARRISON ENGINEER (EAST) FEROZEPUR CANTT
Name of Work : Repair/Replacement electrification system to Offr Md accn, Central Institution and other misc items uner GE(East) Ferozepur Cantt.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAGDISH KUMAR SEHGAL |  | Dhawan Const Co. |  | M/s Surjit Singh and bros |  | M/S Yashpaul Gulati |  | GS and Co |  | Supreme Constructions |  | Guru Kirpa Trading Company |  | Karan Engineers
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down carefully existig copper / alumn point wiring for light / fan / bell / socket 5/15 Amp points complete with fitting and fixtures such as switches, sockets, c/ rosess, holders and bracket fittings with battens / conduits / wires and making good the disturbed surfaces of walls and roofs etc to match with existing surface complete all as specified and directed. | 1120.00 | Per Point |  | 9.00 | 10080.00 | 48.00 | 53760.00 | 52.00 | 58240.00 | 48.00 | 53760.00 | 50.00 | 56000.00 | 52.00 | 58240.00 | 52.00 | 58240.00 | 44.00 | 49280.00 | 10080.00 | JAGDISH KUMAR SEHGAL
2.00 | Taking down unserviceable and serviceable tube light fitting of any type carefully, old serviceable tube light fitting shall be handed over to AGE E/M store for reuse. | 750.00 | Each |  | 9.00 | 6750.00 | 10.00 | 7500.00 | 7.00 | 5250.00 | 8.00 | 6000.00 | 6.00 | 4500.00 | 8.00 | 6000.00 | 6.00 | 4500.00 | 8.00 | 6000.00 | 4500.00 | GS and Co, Guru Kirpa Trading Company
3.00 | Taking down carefully unserviceable main switches and distribution boards (single phase or three phase ) of any capacity with Isolator /MCBs all as specified and directed. | 53.00 | Each |  | 9.00 | 477.00 | 10.00 | 530.00 | 11.00 | 583.00 | 12.00 | 636.00 | 10.00 | 530.00 | 8.00 | 424.00 | 10.00 | 530.00 | 12.00 | 636.00 | 424.00 | Supreme Constructions
4.00 | M&L point wiring with 1.5 Sqmm (nominal area), PVC insulated,FRLS multistranded, single core unsheathed, copper conductor cables drawn through and including PVC conduit medium grade of suitable size (not less than 20mm dia & 1.55mm thick) duly ISI marked (make- Kalinga / Supreme /Harsh) with all accessories concelled in wall and fixed to ceiling etc. with and including 1.5 Sqmm (nominal area) PVC insulated, unsheathed,multi stranded, single core, copper cable green in colour as earth continuity wire connecting to common earth dolly including sunken boxes of suitable size with 3 mm thick hylam sheet top cover fixed with suitable size of brass screws for mounting switches, sockets, regulators etc complete for one light/fan/bell point controlled by one single pole one way switch all as specified and directed. | 470.00 | Per Point |  | 409.00 | 192230.00 | 572.00 | 268840.00 | 568.00 | 266960.00 | 575.00 | 270250.00 | 560.00 | 263200.00 | 550.00 | 258500.00 | 580.00 | 272600.00 | 550.00 | 258500.00 | 192230.00 | JAGDISH KUMAR SEHGAL
5.00 | All as per item No 4 here-in-before but one socket outlet on the independet board controlled by one single pole one way switch but not below the switch board. | 80.00 | Per Point |  | 409.00 | 32720.00 | 572.00 | 45760.00 | 568.00 | 45440.00 | 575.00 | 46000.00 | 560.00 | 44800.00 | 587.00 | 46960.00 | 591.00 | 47280.00 | 550.00 | 44000.00 | 32720.00 | JAGDISH KUMAR SEHGAL
6.00 | All as per item No 4 here-in-before but one socket outlet point on the same board controlled by one single pole one wayswitch. | 80.00 | Per Point |  | 209.00 | 16720.00 | 100.00 | 8000.00 | 100.00 | 8000.00 | 105.00 | 8400.00 | 110.00 | 8800.00 | 113.00 | 9040.00 | 113.00 | 9040.00 | 120.00 | 9600.00 | 8000.00 | Dhawan Const Co., M/s Surjit Singh and bros
7.00 | All as per item No.4 here-in-before but wiring with 2.5 sqmm copper cable and 2.5 Sqmm copper cable as continuous earth wire for one 6 pin 5/16 Amps socket out let on independent board. | 290.00 | Per Point |  | 549.00 | 159210.00 | 462.00 | 133980.00 | 445.00 | 129050.00 | 455.00 | 131950.00 | 450.00 | 130500.00 | 454.00 | 131660.00 | 473.00 | 137170.00 | 460.00 | 133400.00 | 129050.00 | M/s Surjit Singh and bros
8.00 | All as per Item No.4 but copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One light /Fan/Bell point point controlled by one single pole one way switch all as specified and directed | 40.00 | Per Point |  | 349.00 | 13960.00 | 40.00 | 1600.00 | 55.00 | 2200.00 | 45.00 | 1800.00 | 50.00 | 2000.00 | 49.00 | 1960.00 | 50.00 | 2000.00 | 55.00 | 2200.00 | 1600.00 | Dhawan Const Co.
9.00 | All as per Item No.4 but copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One socket outlet on the independet board controlled by one single pole one way switch but not below the switch board. | 40.00 | Per Point |  | 349.00 | 13960.00 | 65.00 | 2600.00 | 85.00 | 3400.00 | 75.00 | 3000.00 | 80.00 | 3200.00 | 81.00 | 3240.00 | 83.00 | 3320.00 | 82.00 | 3280.00 | 2600.00 | Dhawan Const Co.
10.00 | All as per Item No.4 but copper cables drawn through existing PVC/steel conduit and accessories and in existing sunken boxes for One socket outlet point on the same board controlled by one single pole one way switch. | 80.00 | Per Point |  | 209.00 | 16720.00 | 625.00 | 50000.00 | 680.00 | 54400.00 | 660.00 | 52800.00 | 650.00 | 52000.00 | 675.00 | 54000.00 | 687.00 | 54960.00 | 666.00 | 53280.00 | 16720.00 | JAGDISH KUMAR SEHGAL
11.00 | All as per item No.8 here-in-before but wiring with 2.5 sqmm copper cable and 2.5 Sqmm copper cable as continuous earth wire for one 6 pin 5/16 Amps socket out let on independent board. | 40.00 | Per Point |  | 549.00 | 21960.00 | 500.00 | 20000.00 | 550.00 | 22000.00 | 520.00 | 20800.00 | 510.00 | 20400.00 | 504.00 | 20160.00 | 533.00 | 21320.00 | 490.00 | 19600.00 | 19600.00 | Karan Engineers
12.00 | S&F Switch piano flush type 5 amps, single pole one way duly ISI marked. | 1000.00 | Each |  | 29.00 | 29000.00 | 42.00 | 42000.00 | 49.00 | 49000.00 | 40.00 | 40000.00 | 39.00 | 39000.00 | 42.00 | 42000.00 | 38.00 | 38000.00 | 40.00 | 40000.00 | 29000.00 | JAGDISH KUMAR SEHGAL
13.00 | S&F Switch piano flush type 15 amps, single pole, one way ISI marked. | 120.00 | Each |  | 39.00 | 4680.00 | 100.00 | 12000.00 | 110.00 | 13200.00 | 105.00 | 12600.00 | 102.00 | 12240.00 | 107.00 | 12840.00 | 100.00 | 12000.00 | 98.00 | 11760.00 | 4680.00 | JAGDISH KUMAR SEHGAL
14.00 | S&F Socket outlet 5 pin, 5 Amps, piano flush type . | 240.00 | Each |  | 39.00 | 9360.00 | 60.00 | 14400.00 | 50.00 | 12000.00 | 55.00 | 13200.00 | 62.00 | 14880.00 | 64.00 | 15360.00 | 64.00 | 15360.00 | 58.00 | 13920.00 | 9360.00 | JAGDISH KUMAR SEHGAL
15.00 | S&F Socket outlet, 2 in one 6 pin 5 and 15 Amps piano flush type duly ISI marked. | 120.00 | Each |  | 39.00 | 4680.00 | 115.00 | 13800.00 | 102.00 | 12240.00 | 110.00 | 13200.00 | 112.00 | 13440.00 | 113.00 | 13560.00 | 118.00 | 14160.00 | 108.00 | 12960.00 | 4680.00 | JAGDISH KUMAR SEHGAL
16.00 | S&F bell push flush type 5 amp single pole, one way duly ISI marked. | 50.00 | Each |  | 29.00 | 1450.00 | 40.00 | 2000.00 | 38.00 | 1900.00 | 42.00 | 2100.00 | 44.00 | 2200.00 | 43.00 | 2150.00 | 45.00 | 2250.00 | 42.00 | 2100.00 | 1450.00 | JAGDISH KUMAR SEHGAL
17.00 | S&F Ceiling rose surface type, bakelite 65 x 50mm, 2 to 3 terminals duly ISI marked. | 960.00 | Each |  | 29.00 | 27840.00 | 40.00 | 38400.00 | 38.00 | 36480.00 | 38.00 | 36480.00 | 35.00 | 33600.00 | 36.00 | 34560.00 | 37.00 | 35520.00 | 38.00 | 36480.00 | 27840.00 | JAGDISH KUMAR SEHGAL
18.00 | S&F Lamp holder insulated body threaded dome pattern,suitable for bracket / batten fitting complete all as specified | 199.00 | Each |  | 29.00 | 5771.00 | 40.00 | 7960.00 | 49.00 | 9751.00 | 50.00 | 9950.00 | 48.00 | 9552.00 | 50.00 | 9950.00 | 48.00 | 9552.00 | 60.00 | 11940.00 | 5771.00 | JAGDISH KUMAR SEHGAL
19.00 | S&F LED bulb 14 watt all as specified | 199.00 | Each |  | 149.00 | 29651.00 | 385.00 | 76615.00 | 336.00 | 66864.00 | 315.00 | 62685.00 | 250.00 | 49750.00 | 335.00 | 66665.00 | 310.00 | 61690.00 | 330.00 | 65670.00 | 29651.00 | JAGDISH KUMAR SEHGAL
20.00 | S&F Fan regulator AC,step type socket size single phase 230 volts,50 Hz,duly ISI marked complete all as specified. | 150.00 | Each |  | 199.00 | 29850.00 | 250.00 | 37500.00 | 260.00 | 39000.00 | 255.00 | 38250.00 | 260.00 | 39000.00 | 258.00 | 38700.00 | 275.00 | 41250.00 | 250.00 | 37500.00 | 29850.00 | JAGDISH KUMAR SEHGAL
21.00 | S&F in replacement Surface and wall mounted LED 18 Watt batten with polycarbonate housing & integrated electronic driver of size 1040x25x41mm. Make- Havells Cat part No-LHEXBQP5IN1W018 or equivalent CG/Bajaj | 750.00 | Each |  | 599.00 | 449250.00 | 785.00 | 588750.00 | 752.00 | 564000.00 | 760.00 | 570000.00 | 750.00 | 562500.00 | 786.00 | 589500.00 | 784.00 | 588000.00 | 786.00 | 589500.00 | 449250.00 | JAGDISH KUMAR SEHGAL
22.00 | S&Fin replacement Recess and surface mounting LED flat panel 2'x2' made of CRCA sheet duly powder coated with high efficient LEDs & glare free full opal diffuser .IP20 of 36 W . Make-CROMPTON Cat part No POLARIS III-LCTLRN-36-CDL or equivalent Havells/ Bajaj | 10.00 | Each |  | 3900.00 | 39000.00 | 2250.00 | 22500.00 | 2286.00 | 22860.00 | 2280.00 | 22800.00 | 2300.00 | 23000.00 | 2366.00 | 23660.00 | 2267.00 | 22670.00 | 2400.00 | 24000.00 | 22500.00 | Dhawan Const Co.
23.00 | Refixing only T/L fittings removed in S No.2 | 10.00 | Each |  | 99.00 | 990.00 | 28.00 | 280.00 | 35.00 | 350.00 | 30.00 | 300.00 | 30.00 | 300.00 | 30.00 | 300.00 | 29.00 | 290.00 | 28.00 | 280.00 | 280.00 | Karan Engineers, Dhawan Const Co.
24.00 | S&F street light fitting LED Street light 15 Watt 5700K made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having top opening separate driver compartment with IP 65 protection and impact resistance of IK07. Make- CG cat part No-LSTS-15-CDL or equivallent of Crompton Greaves/ Havells including GI Bracket for street light fitting bend to shape made out of GI pipe light grade '25mm of suitable size upto 1.2 mtr long etc complete with MS clamps duly painted with two coat of aluminum paint with nuts/bolts/washers and all fixing arrangement to pole /wall including connecting up with 2 core cable all as specified and directed. | 50.00 | Each set |  | 1900.00 | 95000.00 | 2250.00 | 112500.00 | 2286.00 | 114300.00 | 2280.00 | 114000.00 | 2300.00 | 115000.00 | 2251.00 | 112550.00 | 2382.00 | 119100.00 | 2200.00 | 110000.00 | 95000.00 | JAGDISH KUMAR SEHGAL
25.00 | S&F Bell AC 230 volts, single phase complete all as specified and directed | 50.00 | Each |  | 149.00 | 7450.00 | 135.00 | 6750.00 | 146.00 | 7300.00 | 145.00 | 7250.00 | 140.00 | 7000.00 | 143.00 | 7150.00 | 148.00 | 7400.00 | 130.00 | 6500.00 | 6500.00 | Karan Engineers
26.00 | S&F factory made powder coated vertical loadline MCB DB TPN double door with compact busbar, din rail suitable for single phase out going and incl one No of MCCB of cap 100 Amp , 16 KA 3 pole as incomer control to be fixed on wall/ pole with help of MS flat clamps & nut bolt complete all as specified and directed. Make - HPL/Standard/Havells | 5.00 | Each |  | 9900.00 | 49500.00 | 12500.00 | 62500.00 | 13500.00 | 67500.00 | 13000.00 | 65000.00 | 12800.00 | 64000.00 | 13294.00 | 66470.00 | 13128.00 | 65640.00 | 12200.00 | 61000.00 | 49500.00 | JAGDISH KUMAR SEHGAL
27.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting/concealed 415 volts, Triple pole and neutral bus bar 4 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified. Make : - Havells / HPL/Standard | 5.00 | Each |  | 3900.00 | 19500.00 | 2700.00 | 13500.00 | 2898.00 | 14490.00 | 2850.00 | 14250.00 | 2800.00 | 14000.00 | 2768.00 | 13840.00 | 2944.00 | 14720.00 | 2650.00 | 13250.00 | 13250.00 | Karan Engineers
28.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 4 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified. Make : - Make - HPL/Standard/Havells | 10.00 | Each |  | 900.00 | 9000.00 | 1180.00 | 11800.00 | 1250.00 | 12500.00 | 1199.00 | 11990.00 | 1200.00 | 12000.00 | 1190.00 | 11900.00 | 1195.00 | 11950.00 | 1100.00 | 11000.00 | 9000.00 | JAGDISH KUMAR SEHGAL
29.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 8 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified. Make : - Havells / HPL/Indo asian | 25.00 | Each |  | 1199.00 | 29975.00 | 1425.00 | 35625.00 | 1450.00 | 36250.00 | 1435.00 | 35875.00 | 1440.00 | 36000.00 | 1510.00 | 37750.00 | 1493.00 | 37325.00 | 1600.00 | 40000.00 | 29975.00 | JAGDISH KUMAR SEHGAL
30.00 | S&F Sheet metal enclosures double door, factory made, made out of CRCA mild steel sheet 1.2 mm thick with matellic painting, FP-42 protection surface mounting 240 volts, 200 Amp rated enameled neutral bus bar 12 way dust and vermin proof suitable for incorporation of Isolator / MCBs. duly concealed in wall and making good the distrubed surface and colour matching complete all as specified. Make - Make - HPL/Standard/Havells | 8.00 | Each |  | 1499.00 | 11992.00 | 1580.00 | 12640.00 | 1550.00 | 12400.00 | 1585.00 | 12680.00 | 1600.00 | 12800.00 | 1646.00 | 13168.00 | 1692.00 | 13536.00 | 1550.00 | 12400.00 | 11992.00 | JAGDISH KUMAR SEHGAL
31.00 | S&F MCB single pole neutral 240 volts, 05 to 60 Amps, 10 KA complete all as specified. | 80.00 | Each |  | 249.00 | 19920.00 | 425.00 | 34000.00 | 400.00 | 32000.00 | 400.00 | 32000.00 | 399.00 | 31920.00 | 402.00 | 32160.00 | 417.00 | 33360.00 | 450.00 | 36000.00 | 19920.00 | JAGDISH KUMAR SEHGAL
32.00 | S&F MCB single pole 240 volts, 05 to 40Amps, 10 KA complete all as specified. | 391.00 | Each |  | 149.00 | 58259.00 | 200.00 | 78200.00 | 200.00 | 78200.00 | 190.00 | 74290.00 | 185.00 | 72335.00 | 181.00 | 70771.00 | 182.00 | 71162.00 | 190.00 | 74290.00 | 58259.00 | JAGDISH KUMAR SEHGAL
33.00 | S&F MCB four pole 415volts, 100Amps, 10 KA complete all as specified. | 5.00 | Each |  | 3900.00 | 19500.00 | 980.00 | 4900.00 | 1000.00 | 5000.00 | 999.00 | 4995.00 | 990.00 | 4950.00 | 1008.00 | 5040.00 | 966.00 | 4830.00 | 950.00 | 4750.00 | 4750.00 | Karan Engineers
34.00 | S&F Sub main wiring with two single core 2 x 6 sqmm PVC insulated and unsheathed stranded copper conductor alongwith earth wire 4 sqmm drawn in 25 sqmm PVC rigid conduit connected to main board complete all as specified and directed (Two number cable and one number earth wire shall measured together as unit length). | 600.00 | RM |  | 219.00 | 131400.00 | 250.00 | 150000.00 | 250.00 | 150000.00 | 250.00 | 150000.00 | 245.00 | 147000.00 | 254.00 | 152400.00 | 254.00 | 152400.00 | 260.00 | 156000.00 | 131400.00 | JAGDISH KUMAR SEHGAL
35.00 | S&F cable XLPE insulated, armouredheavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 25 sqmm 4 core. | 200.00 | RM |  | 219.00 | 43800.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 255.00 | 51000.00 | 252.00 | 50400.00 | 269.00 | 53800.00 | 260.00 | 52000.00 | 43800.00 | JAGDISH KUMAR SEHGAL
36.00 | Excavation in trenches in soft/ loose soil not exc 1.5 m deep and n.exc 1.5 mtr wide for laying of cable,etc. and getting out complete all as specified and directed by E-In-Charge. | 20.00 | Cum |  | 99.00 | 1980.00 | 135.00 | 2700.00 | 150.00 | 3000.00 | 138.00 | 2760.00 | 140.00 | 2800.00 | 139.00 | 2780.00 | 144.00 | 2880.00 | 120.00 | 2400.00 | 1980.00 | JAGDISH KUMAR SEHGAL
37.00 | Returning, filling in earth including spreading leveling and well ramming excavated soil in layer not exceeding 25 cm thick each layer, back in trenches after cable have been laid & tested,poles,stairs,struts have been erected & tested complete all as specified. | 7.00 | Cum |  | 49.00 | 343.00 | 58.00 | 406.00 | 60.00 | 420.00 | 65.00 | 455.00 | 60.00 | 420.00 | 63.00 | 441.00 | 63.00 | 441.00 | 48.00 | 336.00 | 336.00 | Karan Engineers
38.00 | Removing of surplus soil (soft/loose) obtained from excavation to a distance not exc 50 metre and depositing where directed at a level not exc 1.5 metre above the starting point complete all as specified and as directed by EIC. | 13.00 | Cum |  | 49.00 | 637.00 | 125.00 | 1625.00 | 115.00 | 1495.00 | 122.00 | 1586.00 | 120.00 | 1560.00 | 123.00 | 1599.00 | 119.00 | 1547.00 | 130.00 | 1690.00 | 637.00 | JAGDISH KUMAR SEHGAL
39.00 | S & Laying well burnt sub class B bricks cover to underground cable (old size) complete all as specified | 1.20 | PER 1000 Nos |  | 3900.00 | 4680.00 | 2850.00 | 3420.00 | 2900.00 | 3480.00 | 2880.00 | 3456.00 | 2900.00 | 3480.00 | 2925.00 | 3510.00 | 3007.00 | 3608.40 | 3000.00 | 3600.00 | 3420.00 | Dhawan Const Co.
40.00 | M & L dry and clean fine sand for cable cushioning for cable protection complete all as directed.Note : Punned down thickness shall be measured. | 8.00 | cum |  | 499.00 | 3992.00 | 730.00 | 5840.00 | 740.00 | 5920.00 | 745.00 | 5960.00 | 740.00 | 5920.00 | 724.00 | 5792.00 | 782.00 | 6256.00 | 786.00 | 6288.00 | 3992.00 | JAGDISH KUMAR SEHGAL
41.00 | S&F in replacement Electronic ballast pre wired AC supply 230 V 50 Hz suitable for 36 watt tube light fittings ISI marked.. | 100.00 | Each |  | 299.00 | 29900.00 | 260.00 | 26000.00 | 282.00 | 28200.00 | 285.00 | 28500.00 | 255.00 | 25500.00 | 260.00 | 26000.00 | 267.00 | 26700.00 | 248.00 | 24800.00 | 24800.00 | Karan Engineers
42.00 | Supply and fix fluorescent tube rod 36/40 watt ISI mark | 100.00 | Each |  | 99.00 | 9900.00 | 62.00 | 6200.00 | 65.00 | 6500.00 | 68.00 | 6800.00 | 65.00 | 6500.00 | 68.00 | 6800.00 | 64.00 | 6400.00 | 66.00 | 6600.00 | 6200.00 | Dhawan Const Co.
43.00 | S & F cable PVC insulated and sheathed in service connection flat off size 2 core 10 Sq mm aluminium conductor multistrandard 1100 V grade including 4mm GI wire and porcelene insulated apart of 01 mtr each. | 100.00 | RM |  | 99.00 | 9900.00 | 55.00 | 5500.00 | 48.00 | 4800.00 | 50.00 | 5000.00 | 52.00 | 5200.00 | 51.00 | 5100.00 | 51.00 | 5100.00 | 66.00 | 6600.00 | 4800.00 | M/s Surjit Singh and bros
44.00 | Earthing complete with galvanized steel plate elecrode of size 60 cm x 60cm x 6.3 mm thick burried directly in ground vertically to a depth not less than 2.5 mtr below the ground level with top edge of earth plate at a depth not less than 1.5 mtr below ground level. Earth plate surrounded by 15mm thick packed alternative layers of charcoal dust and comman salt, earth lead GI wire of 4mm dia (8 SWG) by means of bolts , nuts, check nuts and washers of galvanised iron with thimbles. The other end of GI earth wire is connected to main switch board and protected by light grade GI pipe of 15 mm bore. provision of 20mm bore light grade GI pipe for watering including GI funnel and wire mesh. Pipe shallbe provided vertically upto top level of earth pit and then taken horrizontally to the earth pit. Cement concrete chamber of PCC ( 1:3:6 ) type C-2using 40 mm graded stone aggregate. | 5.00 | Each set |  | 3900.00 | 19500.00 | 2500.00 | 12500.00 | 2550.00 | 12750.00 | 2580.00 | 12900.00 | 2600.00 | 13000.00 | 2584.00 | 12920.00 | 2693.00 | 13465.00 | 2800.00 | 14000.00 | 12500.00 | Dhawan Const Co.
| Total in Figures |  |  |  |  | 1692437.00 |  | 2085381.00 |  | 2069673.00 |  | 2056708.00 |  | 2017777.00 |  | 2077970.00 |  | 2103322.40 |  | 2069390.00
Lowest Amount Quoted BY: JAGDISH KUMAR SEHGAL(1692437.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIR/REPLACEMENT ELECTRIFICATION SYSTEM TO OFFR MD ACCN, CENTRAL INSTITUTION AND OTHER MISC ITEMS UNER GE(EAST) FEROZEPUR CANTT Tender ID: 2018_MES_208616_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGDISH KUMAR SEHGAL | 1692437.00 | L1
| 2 | GS and Co | 2017777.00 | L2
| 3 | M/S Yashpaul Gulati | 2056708.00 | L3
| 4 | Karan Engineers | 2069390.00 | L4
| 5 | M/s Surjit Singh and bros | 2069673.00 | L5
| 6 | Supreme Constructions | 2077970.00 | L6
| 7 | Dhawan Const Co. | 2085381.00 | L7
| 8 | Guru Kirpa Trading Company | 2103322.40 | L8