## BoQ1
eProcurement System for Organisations under MoD Created By: KIRAN DYARAKOTI Created Date/Time: 01-Jan-2019 11:04 AM Tender Title: PROVN OF 01 x 300 LITRES DEEP FREEZER, 14 x 200/205 LITRES DEEP FREEZER ALONWITH STABILIZER FOR EACH COOK HOUSE AND PROVN OF LT CABLE CONNECTION FROM MCCS TO POST NO.8 AT PATTAN UNDER AGE (I) CIF(K). Tender ID: 2018_MES_226019_1
Tender Inviting Authority : AGE (I) CIF (K)
Name of Work : PROVN OF 01 x 300 LITRES DEEP FREEZER, 14 x 200/205 LITRES DEEP FREEZER ALONWITH STABILIZER FOR EACH COOK HOUSE AND PROVN OF LT CABLE CONNECTION FROM MCCS TO POST NO.8 AT PATTAN UNDER AGE (I) CIF(K).
Contract No : AGE (I) CIF (K)- 49 /2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S GHULAM NABI KHUROO AND CO |  | M/S RASHID CONSTRUCTION |  | M/S YATTOO CONTRACTORS |  | M/s GHULAM HASSAN MIR |  | M/S MOHAMMAD YOUSUF RATHER |  | M/S TRADE LINK |  | M/S Khan Enterprises
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation and comissioning of Metal top Deep freezer frost free 300/320 Ltr capacity, single phase, 240 Volts, 50Hz 5 star energy rating as per manufacturers instructions, complete all as specified and directed. Make: Samasung/Voltas/Blue Star | 1.00 | Each | 10.00 | 27000.00 | 27000.00 | 27000.00 | 27000.00 | 32500.00 | 32500.00 | 20000.00 | 20000.00 | 29000.00 | 29000.00 | 26000.00 | 26000.00 | 26950.00 | 26950.00 | 20000.00 | M/s GHULAM HASSAN MIR
2.00 | Supply, installation and comissioning of Metal top Deep freezer frost free 200/205 Ltr capacity, single phase, 240 Volts, 50Hz 5 star energy rating as per manufacturers instructions, complete all as specified and directed. Make: Samasung/Voltas/Blue Star | 14.00 | Each | 10.00 | 24500.00 | 343000.00 | 23500.00 | 329000.00 | 26500.00 | 371000.00 | 19000.00 | 266000.00 | 25000.00 | 350000.00 | 24000.00 | 336000.00 | 24500.00 | 343000.00 | 266000.00 | M/s GHULAM HASSAN MIR
3.00 | Supply and installation wall mounted, indoor type electronic solid state automatic voltage stabilizer of 1 KVA suitable for deep freezer single phase input and out put range 170 Volt to 250 Volts and out put stabilized to 230 volt ± 5 Volts, with time delay relay of 180 second. The unit shall be provided with five status indicators i.e Input, delay, LV cut, HV cut and Out Put, voltmeter and Ampere meter, all as specified and directed. Make :- V-Guard/Microtek/Vinitec/Sinetrac | 14.00 | Each | 10.00 | 5500.00 | 77000.00 | 4000.00 | 56000.00 | 2000.00 | 28000.00 | 6500.00 | 91000.00 | 3800.00 | 53200.00 | 4000.00 | 56000.00 | 4300.00 | 60200.00 | 28000.00 | M/S YATTOO CONTRACTORS
4.00 | Supply and installation wall mounted, indoor type electronic solid state automatic voltage stabilizer of 2 KVA suitable for deep freezer single phase input and out put range 170 Volt to 250 Volts and out put stabilized to 230 volt ± 5 Volts, with time delay relay of 180 second. The unit shall be provided with five status indicators i.e Input, delay, LV cut, HV cut and Out Put, voltmeter and Ampere meter, all as specified and directed. Make :- V-Guard/Microtek/Vinitec/Sinetrac | 1.00 | Each | 11.00 | 3000.00 | 3000.00 | 7500.00 | 7500.00 | 3200.00 | 3200.00 | 7500.00 | 7500.00 | 8000.00 | 8000.00 | 7000.00 | 7000.00 | 4500.00 | 4500.00 | 3000.00 | M/S GHULAM NABI KHUROO AND CO
5.00 | Excavation in trenches not exceeding 1.5 metre wide and not exceeding 1.5 metre in depth for laying of cable and foundation of poles, stays and getting out in any type of soil complete all as specified and directed by Engineer-in-Charge. | 89.91 | Cum | 12.00 | 70.00 | 6293.70 | 90.00 | 8091.90 | 95.00 | 8541.45 | 100.00 | 8991.00 | 90.00 | 8091.90 | 90.00 | 8091.90 | 90.00 | 8091.90 | 6293.70 | M/S GHULAM NABI KHUROO AND CO
6.00 | Returning filling in including spreading, levelling, watering and well ramming in layers not exceeding 25 cm thick each layer in any type of soil complete all as specified and as directed by Engineer-in-Charge. | 57.57 | Cum | 13.00 | 10.00 | 575.70 | 25.00 | 1439.25 | 30.00 | 1727.10 | 10.00 | 575.70 | 30.00 | 1727.10 | 40.00 | 2302.80 | 60.00 | 3454.20 | 575.70 | M/S GHULAM NABI KHUROO AND CO, M/s GHULAM HASSAN MIR
7.00 | Removing excavated material not exceeding 50m and depositing where directed at a level not exceeding 1.5m above the starting point complete complete all as specified and as directed by Engineer-in-Charge. | 32.34 | Cum | 14.00 | 10.00 | 323.40 | 25.00 | 808.50 | 30.00 | 970.20 | 10.00 | 323.40 | 30.00 | 970.20 | 60.00 | 1940.40 | 30.00 | 970.20 | 323.40 | M/S GHULAM NABI KHUROO AND CO, M/s GHULAM HASSAN MIR
8.00 | Sand cushioning to underground cable, provided with a layer 8 cm before and 15 cm after laying and stretching jointing and testing the cable all as specified and directed. by Engineer-in-Charge. Note: Punned thickness of sand shall be measured. | 26.97 | Cum | 15.00 | 600.00 | 16182.00 | 500.00 | 13485.00 | 550.00 | 14833.50 | 200.00 | 5394.00 | 800.00 | 21576.00 | 500.00 | 13485.00 | 399.00 | 10761.03 | 5394.00 | M/s GHULAM HASSAN MIR
9.00 | Common burnt sub class ‘B’ brick laid flat in trenches over and across the length of cable with length of brick perpendicular to the direction of cable adjacent/abutting each other complete all as specified and directed for cable protection. | 2900.00 | Each | 16.00 | 8.00 | 23200.00 | 4.00 | 11600.00 | 5.00 | 14500.00 | 5.00 | 14500.00 | 5.50 | 15950.00 | 4.00 | 11600.00 | 5.00 | 14500.00 | 11600.00 | M/S RASHID CONSTRUCTION, M/S TRADE LINK
10.00 | Supply, laying, connecting and testing XLPE insulated, armoured, heavy duty electric cables with stranded aluminium conductor rating 1100 volts grade of size 25 sqmm, 3.5 core, laid in trenches or passing through pipes/ducts or fixed to walls/poles complete all as specified and directed. Note: Neceesary Earth work shall be measured and paid for separately. | 210.00 | RM | 15.00 | 190.00 | 39900.00 | 350.00 | 73500.00 | 150.00 | 31500.00 | 190.00 | 39900.00 | 300.00 | 63000.00 | 300.00 | 63000.00 | 230.00 | 48300.00 | 31500.00 | M/S YATTOO CONTRACTORS
11.00 | Supply, laying, connecting and testing XLPE insulated, armoured, heavy duty electric cables with stranded aluminium conductor rating 1100 volts grade of size 16 sqmm, 2.0 core, laid in trenches or passing through pipes/ducts or fixed to walls/poles complete all as specified and directed. Note: Neceesary Earth work shall be measured and paid for separately. | 160.00 | RM | 16.00 | 140.00 | 22400.00 | 250.00 | 40000.00 | 95.00 | 15200.00 | 160.00 | 25600.00 | 135.00 | 21600.00 | 200.00 | 32000.00 | 180.00 | 28800.00 | 15200.00 | M/S YATTOO CONTRACTORS
12.00 | GI tubing medium grade of size 50mm with all fittings and fixed complete to walls, ceiling or laid in floor for cable crossing including cutting of bitumen roads/PCC and making good after laying of cable complete all as specified and directed by Engr-in-Charge. | 30.00 | RM | 17.00 | 600.00 | 18000.00 | 500.00 | 15000.00 | 290.00 | 8700.00 | 70.00 | 2100.00 | 450.00 | 13500.00 | 500.00 | 15000.00 | 250.00 | 7500.00 | 2100.00 | M/s GHULAM HASSAN MIR
13.00 | Sheet metal enclosure, factory made, double door shutter type for DB’s SPN 240 Volts Single Pole and Neutral 04 way with 200 Amps rated bus bar complete all as specified and as directed by the Engr-in-charge. | 2.00 | Each | 18.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 900.00 | 1800.00 | 600.00 | 1200.00 | 1500.00 | 3000.00 | 1000.00 | M/S YATTOO CONTRACTORS, M/S GHULAM NABI KHUROO AND CO
14.00 | Sheet metal enclosure, factory made, double door shutter type for DB’s SPN 240 Volts Single Pole and Neutral 02 way with 200 Amps rated bus bar complete all as specified and as directed by the Engr-in-charge. | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 400.00 | 800.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 1300.00 | 2600.00 | 500.00 | M/S YATTOO CONTRACTORS
15.00 | MCB, DP, 35 to 63 Amps, 240 Volts, 10 KA, complete all as specified and as directed by the Engineer-in-Charge. | 4.00 | Each | 10.00 | 600.00 | 2400.00 | 900.00 | 3600.00 | 550.00 | 2200.00 | 350.00 | 1400.00 | 800.00 | 3200.00 | 700.00 | 2800.00 | 600.00 | 2400.00 | 1400.00 | M/s GHULAM HASSAN MIR
16.00 | MCB single pole 5 to 16 Amps, 240 volts, 10 KA, complete all as specified and as directed by the Engineer-in-Charge. | 8.00 | Each | 10.00 | 100.00 | 800.00 | 150.00 | 1200.00 | 120.00 | 960.00 | 350.00 | 2800.00 | 180.00 | 1440.00 | 150.00 | 1200.00 | 200.00 | 1600.00 | 800.00 | M/S GHULAM NABI KHUROO AND CO
| Total in Figures |  |  |  |  | 582074.80 |  | 591024.65 |  | 535332.25 |  | 488084.10 |  | 594255.20 |  | 578220.10 |  | 566627.33
Lowest Amount Quoted BY: M/s GHULAM HASSAN MIR(488084.10)

## BOQ Summary
BOQ Summary Details Tender Title: PROVN OF 01 x 300 LITRES DEEP FREEZER, 14 x 200/205 LITRES DEEP FREEZER ALONWITH STABILIZER FOR EACH COOK HOUSE AND PROVN OF LT CABLE CONNECTION FROM MCCS TO POST NO.8 AT PATTAN UNDER AGE (I) CIF(K). Tender ID: 2018_MES_226019_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s GHULAM HASSAN MIR | 488084.10 | L1
| 2 | M/S YATTOO CONTRACTORS | 535332.25 | L2
| 3 | M/S Khan Enterprises | 566627.33 | L3
| 4 | M/S TRADE LINK | 578220.10 | L4
| 5 | M/S GHULAM NABI KHUROO AND CO | 582074.80 | L5
| 6 | M/S RASHID CONSTRUCTION | 591024.65 | L6
| 7 | M/S MOHAMMAD YOUSUF RATHER | 594255.20 | L7