## BoQ1
eProcurement System for Organisations under MoD Created By: KIRAN DYARAKOTI Created Date/Time: 26-Dec-2018 11:09 AM Tender Title: SPECIAL REPAIR TO BUILDING NO. P 28 AND P 29 AT SHALATENG GARRISON UNDER AGE (I) CIF (K). Tender ID: 2018_MES_224736_1
Tender Inviting Authority : AGE (I) CIF (K)
Name of Work : SPECIAL REPAIR TO BUILDING NO. P 28 AND P 29 AT SHALATENG GARRISON UNDER AGE (I) CIF (K).
Contract No : AGE (I) CIF (K)- 48 /2018-19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s KASHMIR BUILDERS |  | NAJAR ENTERPRISES |  | M/S RASHID CONSTRUCTION |  | M/S N A Enterprises |  | M/S LATIF AHMAD BABA CONSTRUCTION |  | M/S Alam Construction |  | M/S A Q ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of cement concrete (unreinforced) in ground floor and in paving not exceeding 15 cm thickness (below or above ground level), complete, all as specified and directed. | 13.10 | Cum | 10.00 | 20.00 | 262.00 | 100.00 | 1310.00 | 25.00 | 327.50 | 50.00 | 655.00 | 40.00 | 524.00 | 50.00 | 655.00 | 100.00 | 1310.00 | 262.00 | M/s KASHMIR BUILDERS
2.00 | Material and labour joint free ceramic coloured tiles (square/rectengular) 7 to 8 mm thick, 600x600mm in size as in floors etc, set and jointed in neat cement slurry and pointed in coloured cement to match the surface including 15mm screed bed in CM 1:6, complete, all as specified and directed. | 95.00 | Sqm | 10.00 | 1000.00 | 95000.00 | 1000.00 | 95000.00 | 940.00 | 89300.00 | 1100.00 | 104500.00 | 1000.00 | 95000.00 | 880.00 | 83600.00 | 1100.00 | 104500.00 | 83600.00 | M/S Alam Construction
3.00 | Description all as per item No. 2 above but on verticle surfaces as in skirting or dado including 10mm thick backing in CM 1:4. | 10.00 | Sqm | 10.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 940.00 | 9400.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 1100.00 | 11000.00 | 7000.00 | M/S Alam Construction
4.00 | Dismantling wall and ceiling boards (plywood or any discription), fibre pulp insulation etc) or insulation boards/slabs/blankets, any thickness, including cover fillets, complete, all as specified and directed. | 190.00 | Sqm | 10.00 | 10.00 | 1900.00 | 10.00 | 1900.00 | 5.00 | 950.00 | 10.00 | 1900.00 | 10.00 | 1900.00 | 2.00 | 380.00 | 10.00 | 1900.00 | 380.00 | M/S Alam Construction
5.00 | Dismantling timber scantling as in fillets, rails, posts, rafters, purlins, etc under 40 Sqcm in section in any position as in unframed work. complete, all as specified and directed. | 150.00 | RM | 10.00 | 1.00 | 150.00 | 5.00 | 750.00 | 5.00 | 750.00 | 10.00 | 1500.00 | 10.00 | 1500.00 | 5.00 | 750.00 | 25.00 | 3750.00 | 150.00 | M/s KASHMIR BUILDERS
6.00 | Supply and fixing for Anodised aluminium snap grid frame work of size 605mm x 605mm for false ceiling at any height. complete, all as specified and directed. | 190.00 | Sqm | 10.00 | 250.00 | 47500.00 | 500.00 | 95000.00 | 350.00 | 66500.00 | 400.00 | 76000.00 | 333.00 | 63270.00 | 200.00 | 38000.00 | 450.00 | 85500.00 | 38000.00 | M/S Alam Construction
7.00 | Supply and fixing for Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long for size of grid 605 x 605mm, complete, all as specified and directed. | 190.00 | Sqm | 10.00 | 250.00 | 47500.00 | 500.00 | 95000.00 | 350.00 | 66500.00 | 300.00 | 57000.00 | 300.00 | 57000.00 | 590.00 | 112100.00 | 100.00 | 19000.00 | 19000.00 | M/S A Q ENTERPRISES
8.00 | Supply and fixing for gypsum tiles, moisture resistant of size 595x595mm, 9mm thick inserted to GI/Aluminium frame work with screws, complete, all as specified and directed. Make Everest or equivalent as approved by AGE(I). | 190.00 | Sqm | 10.00 | 500.00 | 95000.00 | 500.00 | 95000.00 | 500.00 | 95000.00 | 400.00 | 76000.00 | 400.00 | 76000.00 | 100.00 | 19000.00 | 450.00 | 85500.00 | 19000.00 | M/S Alam Construction
9.00 | Supply and fixing for 20mm second class soft wood for planed one side with butt joints fixed with nails in any situation or any position except flooring and skirting, complete all as specified and directed by Engineer-in-charge . | 20.00 | Sqm | 10.00 | 1700.00 | 34000.00 | 900.00 | 18000.00 | 1200.00 | 24000.00 | 800.00 | 16000.00 | 800.00 | 16000.00 | 200.00 | 4000.00 | 700.00 | 14000.00 | 4000.00 | M/S Alam Construction
10.00 | Description all as per item No. 9 above but fixing only boarding wrought on one or both side, complete, all as specified and directed. | 12.00 | Sqm | 10.00 | 50.00 | 600.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 800.00 | 9600.00 | 100.00 | 1200.00 | 120.00 | 1440.00 | 600.00 | M/s KASHMIR BUILDERS
11.00 | Demolition of reinforced cement concrete of any description and in any position not otherwise specifically provided for, complete, all as specified and directed. | 1.10 | Cum | 10.00 | 100.00 | 110.00 | 100.00 | 110.00 | 50.00 | 55.00 | 100.00 | 110.00 | 50.00 | 55.00 | 50.00 | 55.00 | 450.00 | 495.00 | 55.00 | M/S RASHID CONSTRUCTION, M/S LATIF AHMAD BABA CONSTRUCTION, M/S Alam Construction
12.00 | Material and labour for formwork to sides and soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including supports, overhangs, etc. also splays between floors and beams for flat rough finished surfaces of concrete, etc, complete, all as specified and directed. | 17.00 | Sqm | 10.00 | 400.00 | 6800.00 | 150.00 | 2550.00 | 90.00 | 1530.00 | 150.00 | 2550.00 | 180.00 | 3060.00 | 50.00 | 850.00 | 300.00 | 5100.00 | 850.00 | M/S Alam Construction
13.00 | Material and labour for Reinforced cement concrete 1:2:4 type B-1 (using 20 mm graded crushed stone aggregate) as in slabs supported on walls, beams and columns, in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like, complete, all as specified and directed. | 1.10 | Cum | 10.00 | 4000.00 | 4400.00 | 4000.00 | 4400.00 | 3200.00 | 3520.00 | 2000.00 | 2200.00 | 4500.00 | 4950.00 | 2500.00 | 2750.00 | 5500.00 | 6050.00 | 2200.00 | M/S N A Enterprises
14.00 | Sypply and fixing for TMT bars 10mm dia and over in reinforcement, cut to length, bent to shape required including cranking, bending spirally or hooping for columns, hooking ends and binding with Mild Steel wire (annealed) not less than 0.9mm dia or securing with clips, complete, all as specified and directed. | 180.00 | Kg | 10.00 | 100.00 | 18000.00 | 80.00 | 14400.00 | 80.00 | 14400.00 | 80.00 | 14400.00 | 85.00 | 15300.00 | 40.00 | 7200.00 | 80.00 | 14400.00 | 7200.00 | M/S Alam Construction
15.00 | Material and labour for glazed ceramic tiles, coloured , of size 350 mm x 250mm or 450x350mm, thickness not less than 7mm as in vertical surfaces such as skirting/dado/edges of shelves etc, set and jointed in neat cement slurry and pointed with white cement mixed with pigment to match the shade of tile, fixed over and including 10mm thick backing layer in cement mortar 1:4 complete all as specified. | 95.00 | Sqm | 10.00 | 780.00 | 74100.00 | 750.00 | 71250.00 | 750.00 | 71250.00 | 900.00 | 85500.00 | 900.00 | 85500.00 | 930.00 | 88350.00 | 400.00 | 38000.00 | 38000.00 | M/S A Q ENTERPRISES
16.00 | Demolition of brick work or stone masonry built in cement mortar including all quoins arches,pillar etc but excluding ashlar facing, dressed stone work and precast concrete articles, complete, all as specified and directed. | 5.00 | Cum | 10.00 | 50.00 | 250.00 | 100.00 | 500.00 | 25.00 | 125.00 | 50.00 | 250.00 | 50.00 | 250.00 | 50.00 | 250.00 | 100.00 | 500.00 | 125.00 | M/S RASHID CONSTRUCTION
17.00 | Material and labour Brick work with sub class 'B' bricks straight or curved on plan exceeding 6 metre mean radius built in cement mortar 1:6, complete, all as specified and directed. | 4.50 | Cum | 10.00 | 5000.00 | 22500.00 | 3800.00 | 17100.00 | 3000.00 | 13500.00 | 3500.00 | 15750.00 | 5500.00 | 24750.00 | 2000.00 | 9000.00 | 4000.00 | 18000.00 | 9000.00 | M/S Alam Construction
18.00 | Taking down cement plaster, any description on brick or stone or cement concrete walls including raking out joints, hacking for key, scrubbing down with water, complete, all as specified and directed. | 150.00 | Sqm | 10.00 | 10.00 | 1500.00 | 5.00 | 750.00 | 1.00 | 150.00 | 10.00 | 1500.00 | 10.00 | 1500.00 | 10.00 | 1500.00 | 28.00 | 4200.00 | 150.00 | M/S RASHID CONSTRUCTION
19.00 | Material and labour 15 mm thick rendering on unfair faces of brick /concrete surfaces in cement mortar 1:6 and finished even and smooth without using extra cement, complete, all as specified and directed. | 250.00 | Sqm | 10.00 | 90.00 | 22500.00 | 90.00 | 22500.00 | 100.00 | 25000.00 | 100.00 | 25000.00 | 90.00 | 22500.00 | 135.00 | 33750.00 | 130.00 | 32500.00 | 22500.00 | NAJAR ENTERPRISES, M/s KASHMIR BUILDERS, M/S LATIF AHMAD BABA CONSTRUCTION
20.00 | Material and labour 10 mm thick rendering on fair faces of concrete surfaces in ceiling in cement mortar 1:4 and finished even and smooth without using extra cement, complete, all as specified and directed. | 60.00 | Sqm | 10.00 | 90.00 | 5400.00 | 90.00 | 5400.00 | 100.00 | 6000.00 | 100.00 | 6000.00 | 90.00 | 5400.00 | 140.00 | 8400.00 | 130.00 | 7800.00 | 5400.00 | NAJAR ENTERPRISES, M/s KASHMIR BUILDERS, M/S LATIF AHMAD BABA CONSTRUCTION
21.00 | Material and labour for applying three coats of white washing on walls including preparation of newly plastered surfaces, complete, all as specified and directed. | 250.00 | Sqm | 10.00 | 4.00 | 1000.00 | 6.00 | 1500.00 | 10.00 | 2500.00 | 6.00 | 1500.00 | 10.00 | 2500.00 | 15.00 | 3750.00 | 25.00 | 6250.00 | 1000.00 | M/s KASHMIR BUILDERS
22.00 | Material and labour for applying two coat of white wash on old decorated plastered surfaces of walls after preparation of surfaces, complete, all as specified and directed. | 700.00 | Sqm | 10.00 | 4.00 | 2800.00 | 5.00 | 3500.00 | 7.00 | 4900.00 | 5.00 | 3500.00 | 10.00 | 7000.00 | 10.00 | 7000.00 | 11.00 | 7700.00 | 2800.00 | M/s KASHMIR BUILDERS
23.00 | Taking down chowkat or frames with shutters (without taking off shutters from the frames) exc. 1.5 Sqm but n.exc 4 Sqm each including cutting holes for taking out hold fasts, dismentaling brick work (holes cut and any other damages to jambs, walls for taking out hold fast shall be finished identical to existing finish without any extra cost), complete, all as specified and directed. | 3.00 | Each | 10.00 | 100.00 | 300.00 | 50.00 | 150.00 | 25.00 | 75.00 | 30.00 | 90.00 | 50.00 | 150.00 | 15.00 | 45.00 | 20.00 | 60.00 | 45.00 | M/S Alam Construction
24.00 | Taking down chowkat or frames with shutters (without taking off shutters from the frames) n.exc 1.5 Sqm each including cutting holes for taking out hold fasts, dismentaling brick work (holes cut and any other damages to jambs, walls for taking out hold fast shall be finished identical to existing finish without any extra cost), complete, all as specified and directed. | 8.00 | Each | 10.00 | 100.00 | 800.00 | 50.00 | 400.00 | 25.00 | 200.00 | 40.00 | 320.00 | 50.00 | 400.00 | 20.00 | 160.00 | 50.00 | 400.00 | 160.00 | M/S Alam Construction
25.00 | Resecuring or easing & adjusting without taking down Shutters of any description n exc 1 sq. m each , complete, all as specified and directed. | 15.00 | Each Leaf | 10.00 | 100.00 | 1500.00 | 50.00 | 750.00 | 50.00 | 750.00 | 50.00 | 750.00 | 300.00 | 4500.00 | 20.00 | 300.00 | 50.00 | 750.00 | 300.00 | M/S Alam Construction
26.00 | Hacking out old broken glass panes (any thickness size, quality or description) from wooden frames including punching or drilling out old glazing pins/spring clips and makig good, complete, all as specified and directed. | 4.00 | Sqm | 10.00 | 10.00 | 40.00 | 2.00 | 8.00 | 1.00 | 4.00 | 10.00 | 40.00 | 400.00 | 1600.00 | 20.00 | 80.00 | 650.00 | 2600.00 | 4.00 | M/S RASHID CONSTRUCTION
27.00 | Material and labour 2nd class hard wood (Hollock) as in plain, solid, straight chowkats and frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, complete, all as specified and directed. | .30 | Cum | 10.00 | 30000.00 | 9000.00 | 25000.00 | 7500.00 | 25000.00 | 7500.00 | 28000.00 | 8400.00 | 18000.00 | 5400.00 | 22000.00 | 6600.00 | 37000.00 | 11100.00 | 5400.00 | M/S LATIF AHMAD BABA CONSTRUCTION
28.00 | Supply and fixing 35 mm thick 2nd class soft wood (kail) plain framed, panelled shutters (any number of panels) with panels of timber flat on both sides (feather edged) or of veneered particle board medium density, wood particle board with commercial face veneers, supplied and fitted to chowkats, complete, all as specified and directed. | 6.50 | Sqm | 10.00 | 1700.00 | 11050.00 | 2000.00 | 13000.00 | 1650.00 | 10725.00 | 1650.00 | 10725.00 | 1200.00 | 7800.00 | 900.00 | 5850.00 | 1700.00 | 11050.00 | 5850.00 | M/S Alam Construction
29.00 | Supply and fixing 2nd class soft wood glazed and skeleton shutters 30mm thick for window/ventilator open rebated and prepared to receive glass, gauge,etc. divided into squares with plain, chamfered or rounded and mitred sash bars for securing glass etc. and sizes of members of shutters as specified in SSR Pt-I Section 8.20(b) supplied and fitted to chowkhats, complete, all as specified and directed. | 6.00 | Sqm | 10.00 | 1700.00 | 10200.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 1550.00 | 9300.00 | 1100.00 | 6600.00 | 900.00 | 5400.00 | 1150.00 | 6900.00 | 5400.00 | M/S Alam Construction
30.00 | Supply and fixing 1st class soft wood small fittings such as brackets of any type, latch and hinge blocks, shaped door and window stops and the like, including all necessary' labours; articles n exc 200 cu. cm each, complete, all as specified and directed. | 16.00 | Each | 10.00 | 700.00 | 11200.00 | 50.00 | 800.00 | 50.00 | 800.00 | 60.00 | 960.00 | 100.00 | 1600.00 | 900.00 | 14400.00 | 180.00 | 2880.00 | 800.00 | M/S RASHID CONSTRUCTION, NAJAR ENTERPRISES
31.00 | 3mm thick sheet glass ordinary quality and glazing with oil putty or wooden beads in squares not exceeding 0.50 Sqm in each pane, complete, all as specified and directed. | 6.40 | Sqm | 10.00 | 300.00 | 1920.00 | 750.00 | 4800.00 | 450.00 | 2880.00 | 400.00 | 2560.00 | 400.00 | 2560.00 | 400.00 | 2560.00 | 750.00 | 4800.00 | 1920.00 | M/s KASHMIR BUILDERS
32.00 | Supply and fixing mild steel cold rolled butt hinges medium weight 100 mm long, complete, all as specified and directed. | 12.00 | Each | 10.00 | 50.00 | 600.00 | 50.00 | 600.00 | 15.00 | 180.00 | 20.00 | 240.00 | 30.00 | 360.00 | 30.00 | 360.00 | 65.00 | 780.00 | 180.00 | M/S RASHID CONSTRUCTION
33.00 | Supply and fixing mild steel cold rolled butt hinges medium weight 75 mm long, complete, all as specified and directed. | 20.00 | Each | 10.00 | 50.00 | 1000.00 | 40.00 | 800.00 | 12.00 | 240.00 | 15.00 | 300.00 | 25.00 | 500.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 240.00 | M/S RASHID CONSTRUCTION
34.00 | Supply and fixing mild steel cold rolled butt hinges medium weight 50 mm long, complete, all as specified and directed. | 4.00 | Each | 10.00 | 50.00 | 200.00 | 30.00 | 120.00 | 10.00 | 40.00 | 12.00 | 48.00 | 30.00 | 120.00 | 20.00 | 80.00 | 45.00 | 180.00 | 40.00 | M/S RASHID CONSTRUCTION
35.00 | Supply and fixing aluminium anodised barrel tower bolts of extruded section with 200 mm long bolt, complete, all as specified and directed. | 9.00 | Each | 10.00 | 50.00 | 450.00 | 85.00 | 765.00 | 60.00 | 540.00 | 60.00 | 540.00 | 50.00 | 450.00 | 45.00 | 405.00 | 90.00 | 810.00 | 405.00 | M/S Alam Construction
36.00 | Supply and fixing aluminium anodised barrel tower bolts of extruded section with 100 mm long bolt, complete, all as specified and directed. | 20.00 | Each | 10.00 | 60.00 | 1200.00 | 65.00 | 1300.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 35.00 | 700.00 | 75.00 | 1500.00 | 600.00 | M/S LATIF AHMAD BABA CONSTRUCTION
37.00 | Supply and fixing aluminium handles cast type, anodised, 150 mm size, complete, all as specified and directed. | 9.00 | Each | 10.00 | 70.00 | 630.00 | 75.00 | 675.00 | 50.00 | 450.00 | 60.00 | 540.00 | 30.00 | 270.00 | 30.00 | 270.00 | 80.00 | 720.00 | 270.00 | M/S LATIF AHMAD BABA CONSTRUCTION, M/S Alam Construction
38.00 | Supply and fixing aluminium handles cast type, anodised, 100 mm size, complete, all as specified and directed. | 10.00 | Each | 10.00 | 50.00 | 500.00 | 65.00 | 650.00 | 50.00 | 500.00 | 50.00 | 500.00 | 25.00 | 250.00 | 25.00 | 250.00 | 65.00 | 650.00 | 250.00 | M/S LATIF AHMAD BABA CONSTRUCTION, M/S Alam Construction
39.00 | Supply and fixing mild steel sliding door bolt plate type 300 mm long stove enamelled black with bright bolt not less 16 mm dia bolt with and including a minimum of 6 bolts and nuts, four on bolt plate and two on staple plate, complete, all as specified and directed. | 3.00 | Each | 10.00 | 300.00 | 900.00 | 300.00 | 900.00 | 250.00 | 750.00 | 300.00 | 900.00 | 350.00 | 1050.00 | 150.00 | 450.00 | 300.00 | 900.00 | 450.00 | M/S Alam Construction
40.00 | Material and labour for preparation of new wood or wood based surfaces of any discription not otherwise described exceeding 10 cms width or girth and applying two coats of synthetic enamel paint over one coat of pink primer, complete, all as specified and directed. | 135.00 | Sqm | 10.00 | 15.00 | 2025.00 | 50.00 | 6750.00 | 25.00 | 3375.00 | 40.00 | 5400.00 | 30.00 | 4050.00 | 25.00 | 3375.00 | 50.00 | 6750.00 | 2025.00 | M/s KASHMIR BUILDERS
41.00 | Material and labour for preparation of old painted wood or wood based surfaces exceeding 10 cms width or girth and applying two coats of synthetic enamel paint , complete, all as specified and directed. | 205.00 | Sqm | 10.00 | 15.00 | 3075.00 | 50.00 | 10250.00 | 25.00 | 5125.00 | 25.00 | 5125.00 | 30.00 | 6150.00 | 30.00 | 6150.00 | 50.00 | 10250.00 | 3075.00 | M/s KASHMIR BUILDERS
42.00 | Material and labour for preparation of old painted steel and iron surfaces exceeding 10 cm width or girth not otherwise described and applying one coat of synthetic enamel paint, complete, all as specified and directed. | 430.00 | Sqm | 10.00 | 15.00 | 6450.00 | 30.00 | 12900.00 | 12.00 | 5160.00 | 12.00 | 5160.00 | 30.00 | 12900.00 | 20.00 | 8600.00 | 42.00 | 18060.00 | 5160.00 | M/S RASHID CONSTRUCTION, M/S N A Enterprises
43.00 | Material and labour for 75 mm thick cement concrete 1:3:6 type C-1 (using 20mm graded crushed stone aggregate) as in plinth protection laid in alternate bays (n exc 2 Sqm each ) and finished even and smooth without using extra cement and providing joints throughout the thickness of the plinth protection filled with mastic filling comprising one part of bitumen 85/25 grade and three parts of sand by weight, complete, all as specified and directed. | 60.00 | Sqm | 10.00 | 110.00 | 6600.00 | 200.00 | 12000.00 | 250.00 | 15000.00 | 220.00 | 13200.00 | 290.00 | 17400.00 | 140.00 | 8400.00 | 160.00 | 9600.00 | 6600.00 | M/s KASHMIR BUILDERS
44.00 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing) removing serviceable tiles to store and rubbish off the premises, complete, all as specified and directed. | 40.00 | Sqm | 10.00 | 10.00 | 400.00 | 10.00 | 400.00 | 1.00 | 40.00 | 10.00 | 400.00 | 20.00 | 800.00 | 10.00 | 400.00 | 29.00 | 1160.00 | 40.00 | M/S RASHID CONSTRUCTION
45.00 | Material and labour for machine cut Kota stone flooring 18-20mm thick as in flooring, set and jointed with grey cement slurry mixed with pigment to match the shade of the Kota stone slab including rubbing and polishing, laid over 20mm thick screed bed plaster in cement mortar 1:6, complete all as specified and as directed. | 120.00 | Sqm | 10.00 | 1150.00 | 138000.00 | 1000.00 | 120000.00 | 900.00 | 108000.00 | 1000.00 | 120000.00 | 1020.00 | 122400.00 | 1200.00 | 144000.00 | 1100.00 | 132000.00 | 108000.00 | M/S RASHID CONSTRUCTION
46.00 | Material and labour for machine cut Kota stone flooring 18-20mm thick as in skirting, dado, set and jointed with grey cement slurry mixed with pigment to match the shade of the Kota stone slab including rubbing and polishing and backing coat of 10mm thick cement mortar 1:4, complete all as specified and as directed. | 14.00 | Sqm | 10.00 | 1150.00 | 16100.00 | 1100.00 | 15400.00 | 900.00 | 12600.00 | 1000.00 | 14000.00 | 1020.00 | 14280.00 | 600.00 | 8400.00 | 1100.00 | 15400.00 | 8400.00 | M/S Alam Construction
47.00 | Dismantling timber scantlings 40 Sqcm and over in section, in any position and framed work, complete, all as specified and directed. | .35 | Cum | 10.00 | 100.00 | 35.00 | 100.00 | 35.00 | 50.00 | 17.50 | 500.00 | 175.00 | 500.00 | 175.00 | 100.00 | 35.00 | 400.00 | 140.00 | 17.50 | M/S RASHID CONSTRUCTION
48.00 | Dismantling of plain or corrugated steel sheeting, any gauge and thickness in roof covering including Nainital or similar pattern roof covering, complete, all as specified and directed. | 55.00 | Sqm | 10.00 | 100.00 | 5500.00 | 5.00 | 275.00 | 10.00 | 550.00 | 10.00 | 550.00 | 30.00 | 1650.00 | 10.00 | 550.00 | 25.00 | 1375.00 | 275.00 | NAJAR ENTERPRISES
49.00 | Supply and fixing 0.63mm thick galvanised corrugated mild steel sheeting, with two corrugation side lap fixed with 'L' type or 'J' type or cranked hooked bolts with washers in roof,walls etc. with grade of zinc coating 275 gm/sqm, complete, all as specified and directed. | 30.00 | Sqm | 10.00 | 700.00 | 21000.00 | 500.00 | 15000.00 | 750.00 | 22500.00 | 700.00 | 21000.00 | 550.00 | 16500.00 | 400.00 | 12000.00 | 550.00 | 16500.00 | 12000.00 | M/S Alam Construction
50.00 | Description all as per item No.49 above but except sheeting. | 20.00 | Sqm | 10.00 | 300.00 | 6000.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 128.00 | 2560.00 | 1000.00 | NAJAR ENTERPRISES, M/S N A Enterprises
51.00 | Supply and fixing 0.80mm thick plain, galvanised, mild steel sheeting as in ridges, hips, valley gutters, drip, and straight flashing (length and girth as fixed) with grade of zinc coating 275 gm/Sqm, complete, all as specified and directed. | 5.00 | Sqm | 10.00 | 1000.00 | 5000.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 700.00 | 3500.00 | 550.00 | 2750.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 2000.00 | M/S Alam Construction
52.00 | Material and labour glazed ceramic coloured tiles (square/rectengular) 7 to 8 mm thick, 350 mm x 250mm or 450x350mm in size as in floors etc, set and jointed in neat cement slurry and pointed in coloured cement to match the surface including 10mm screed bed in CM 1:6, complete, all as specified and directed. | 25.00 | Sqm | 10.00 | 600.00 | 15000.00 | 800.00 | 20000.00 | 750.00 | 18750.00 | 850.00 | 21250.00 | 900.00 | 22500.00 | 930.00 | 23250.00 | 700.00 | 17500.00 | 15000.00 | M/s KASHMIR BUILDERS
53.00 | Material and labour brick work with sub class 'B' bricks, straight or curved on plan to any radius in half brick thick walls built in cement mortar 1:4, complete, all as specified and directed. | 15.00 | Sqm | 10.00 | 430.00 | 6450.00 | 900.00 | 13500.00 | 1500.00 | 22500.00 | 350.00 | 5250.00 | 500.00 | 7500.00 | 400.00 | 6000.00 | 1200.00 | 18000.00 | 5250.00 | M/S N A Enterprises
54.00 | Material and labour for applying three coats of white washing on ceiling including preparation of newly plastered surfaces, complete, all as specified and directed. | 30.00 | Sqm | 10.00 | 4.00 | 120.00 | 6.00 | 180.00 | 10.00 | 300.00 | 6.00 | 180.00 | 15.00 | 450.00 | 10.00 | 300.00 | 25.00 | 750.00 | 120.00 | M/s KASHMIR BUILDERS
55.00 | Supply and fixing 2nd class soft wood glazed and skelton shutters for window/ventilator 30mm thick open rebated and prepared to receive glass, gauge,etc. (without sash bars), edges of framing palin, chamfered or rounded, fitted with cut & mitred beads for securing glass etc. sizes of members of shutters as specified in SSR Pt-I Section 8.20(b) supplied and fitted to chowkhats, complete, all as specified and directed. | .75 | Sqm | 10.00 | 1500.00 | 1125.00 | 1000.00 | 750.00 | 1500.00 | 1125.00 | 1500.00 | 1125.00 | 1250.00 | 937.50 | 1100.00 | 825.00 | 1300.00 | 975.00 | 750.00 | NAJAR ENTERPRISES
56.00 | Supply and fixing Galvanised mild steel wire cloth, 0.63mm nominal dia of wire and average width of aperture 1.40mm and fixed with tinned tacks, or galvanised wire staples, complete, all as specified and directed. | 4.00 | Sqm | 10.00 | 500.00 | 2000.00 | 600.00 | 2400.00 | 450.00 | 1800.00 | 280.00 | 1120.00 | 400.00 | 1600.00 | 200.00 | 800.00 | 330.00 | 1320.00 | 800.00 | M/S Alam Construction
57.00 | Material and labour preparation of new steel and iron surfaces not otherwise described exceeding 10 cm width or girth and applying two coats of synthetic enamel paint, complete, all as specified and directed. | 42.00 | Sqm | 10.00 | 15.00 | 630.00 | 50.00 | 2100.00 | 23.00 | 966.00 | 40.00 | 1680.00 | 45.00 | 1890.00 | 20.00 | 840.00 | 100.00 | 4200.00 | 630.00 | M/s KASHMIR BUILDERS
58.00 | Material and labour raking out joints/ to random rubble or polygonal rubble uncoursed or brought up to courses, stone masonary work built in cement mortar, complete, all as specified and directed. | 5.00 | 10 SQm | 10.00 | 150.00 | 750.00 | 350.00 | 1750.00 | 100.00 | 500.00 | 200.00 | 1000.00 | 700.00 | 3500.00 | 50.00 | 250.00 | 1500.00 | 7500.00 | 250.00 | M/S Alam Construction
59.00 | Material and labour raised pointing to random or polygonal rubble, uncoursed or brought upto courses in cement mortar 1:3, complete, all as specified and directed. | 5.00 | 10 SQm | 10.00 | 150.00 | 750.00 | 350.00 | 1750.00 | 3000.00 | 15000.00 | 200.00 | 1000.00 | 1100.00 | 5500.00 | 200.00 | 1000.00 | 1900.00 | 9500.00 | 750.00 | M/s KASHMIR BUILDERS
60.00 | Taking down carefully copper/ aluminum point wiring (light, fan, socket or power) complete with fittings and fixtures such as switches, ceiling roses, pendants, regulators, socket, lamp holders brackets, bulk head fittings etc removing material to store for keeping in safe custody or for taking credit ( credit for above items should be made as per conditions separately ) and also making good disturbed surfaces of wall, floors etc all as specified and as directed by the Engineer-in-Charge. | 28.00 | Per Point | 10.00 | 1.00 | 28.00 | 2.00 | 56.00 | 5.00 | 140.00 | 10.00 | 280.00 | 5.00 | 140.00 | 10.00 | 280.00 | 20.00 | 560.00 | 28.00 | M/s KASHMIR BUILDERS
61.00 | Material and labour for point wiring with 1.5 Sqmm copper conductor (Multi-stranded) PVC insulated and unsheating FRLS electric cable 1100 volts grade and including PVC casing caping of suitable size (as per conductor run) with all fittings/ accessories and including PVC insulated electric cable 1100 volts 1.5 Sqmm ( multi-stranded) copper conductor single core( Green colour) cable as continuous earth wire connected to common earth dolly including sunk sheet steel terminal box made out of 1.6 mm thick MS sheet concealed in wall or on surface as per site requirement and making good disturbed surface of wall ,covered with 3 mm thick plastic laminated sheet ( Make Hylum) for one light point/fan point/exhaust fan/bell point etc controlled by one, one way switch complete all as specified and as directed by the Engineer-in-Charge. | 20.00 | Per Point | 10.00 | 300.00 | 6000.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 290.00 | 5800.00 | 330.00 | 6600.00 | 5800.00 | M/S Alam Construction
62.00 | Description all as per item No 61 above, but for one 3 pin socket outlet 5 Amp on the independent board complete all as specified and as directed by the Engineer-in-Charge. | 4.00 | Per Point | 10.00 | 300.00 | 1200.00 | 400.00 | 1600.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 400.00 | 1600.00 | 290.00 | 1160.00 | 400.00 | 1600.00 | 1160.00 | M/S Alam Construction
63.00 | All as per serial item No 61 above, but for one socket outlet 15 Amps on independent board with 2.5 Sqmm copper conductor ( Multi-stranded) PVC insulated and unsheating FRLS electric cable 1100 volts (ISI Marked) including PVC insulated and unsheathed electric cable 1100 volts 2.5 Sqmm copper stranded conductor as continuous earth wire connected to common earth dolly complete all as specified and as directed by Engineer-in-Charge. | 4.00 | Per Point | 10.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 350.00 | 1400.00 | 400.00 | 1600.00 | 450.00 | 1800.00 | 500.00 | 2000.00 | 1200.00 | M/s KASHMIR BUILDERS
64.00 | Supply and fixing for sheet metal enclosure factory made double door shutter type for DB’s SPN 240 Volts Single Pole and Neutral 8 way with 200 Amps rated bus bar complete all as specified and as directed by the Engr-in-charge including taking out old DB's and making good distrubed surfaces , complete all as specified. | 2.00 | Each | 10.00 | 600.00 | 1200.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 800.00 | 1600.00 | 1700.00 | 3400.00 | 850.00 | 1700.00 | 1500.00 | 3000.00 | 1200.00 | M/s KASHMIR BUILDERS
65.00 | Supply and fixing for MCB SPN 32 Amps, 10 KA , 240 Volts, including taking down old existing , complete all as specified and as directed by the Engineer-in-Charge. | 2.00 | Each | 10.00 | 300.00 | 600.00 | 850.00 | 1700.00 | 175.00 | 350.00 | 350.00 | 700.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 800.00 | 1600.00 | 350.00 | M/S RASHID CONSTRUCTION
66.00 | Supply and fixing for MCB single pole 5 to 32 Amps, 240 volts, 10 KA, complete all as specified and as directed by the Engineer-in-Charge. | 12.00 | Each | 10.00 | 100.00 | 1200.00 | 450.00 | 5400.00 | 175.00 | 2100.00 | 200.00 | 2400.00 | 250.00 | 3000.00 | 120.00 | 1440.00 | 700.00 | 8400.00 | 1200.00 | M/s KASHMIR BUILDERS
67.00 | Supply and fixing for switch piano flush button single pole one way 5 Amps, complete all as specified. | 24.00 | Each | 10.00 | 11.00 | 264.00 | 85.00 | 2040.00 | 30.00 | 720.00 | 25.00 | 600.00 | 175.00 | 4200.00 | 25.00 | 600.00 | 20.00 | 480.00 | 264.00 | M/s KASHMIR BUILDERS
68.00 | Supply and fixing for socket outlet 2 in 1, 3 pin, 5 Amp flush type,c omplete all as specified. | 4.00 | Each | 10.00 | 40.00 | 160.00 | 100.00 | 400.00 | 125.00 | 500.00 | 80.00 | 320.00 | 50.00 | 200.00 | 60.00 | 240.00 | 40.00 | 160.00 | 160.00 | M/s KASHMIR BUILDERS, M/S A Q ENTERPRISES
69.00 | Supply and fixing for switch socket combination 5 in 1 , 5 Amp and 15 Amp flush type, complete all as specified. | 4.00 | Each | 10.00 | 100.00 | 400.00 | 150.00 | 600.00 | 150.00 | 600.00 | 150.00 | 600.00 | 250.00 | 1000.00 | 30.00 | 120.00 | 70.00 | 280.00 | 120.00 | M/S Alam Construction
70.00 | Supply and fixing for ceiling rose surface type, 65 x 50 mm two to three terminals/PVC/polycarbonate, isolated body fixed on PVC block, complete all specified and as directed by the Engineer-in-Charge. | 20.00 | Each | 10.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 35.00 | 700.00 | 25.00 | 500.00 | 30.00 | 600.00 | 20.00 | 400.00 | 400.00 | M/S A Q ENTERPRISES
71.00 | Supply and fixing for LED decorative ultra slim linear tube light 20 Watt, complete all as specified including taking down old unserviceable. Make:- Cat Part No. LHEXBHP7PN1W020 of Havells or equivalent in Bajaj/Crompton/Philips/Syska. | 20.00 | Each | 10.00 | 650.00 | 13000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 750.00 | 15000.00 | 650.00 | 13000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 9000.00 | M/S Alam Construction
72.00 | Supply and fixing exhaust fan 300mm sweep single phase AC 220 Volts 50Hz supply heavy duty 6 pole with louvers and connecting including provn of 3 core flexible PVC insulated multi stranded copper conductor of size 0.50 Sqmm from ceiling rose/connector to fan, MS fixing brackets and other misc items required for fixing, complete all specified and as directed by the Engineer-in-Charge. | 4.00 | Each | 10.00 | 1150.00 | 4600.00 | 1300.00 | 5200.00 | 6000.00 | 24000.00 | 1600.00 | 6400.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 4600.00 | M/s KASHMIR BUILDERS
73.00 | Earthing complete with galvanised steel earth plate electrode 60cm x 60cm x 6.3mm thick buried directly in ground (earth pit not less than 2.25 metres deep below normal ground level) with top edge of plate not less than 1.5 Metres below normal ground level, connecting to the Galvanised iron earth lead wire 4mm dia, by means of bolts, nuts, check nuts and washers of galvanised iron and 4mm earth lead protected by provision of GI medium grade pipe 15mm bore including provision of concrete pit in PCC (1:2:4) type B-1 using 20mm graded stone aggregates with 40mm thick cover of RCC (1:2:4) reinforced with XPM (weight not less than 4Kg/Sqm) and frame of angle iron 25x25x6mm with lugs 02 Nos and with 6mm dia MS bar handle made to shape, GI medium grade 20mm bore pipe for watering perforated at bottom 1.75 metre long placed on top edge of earth plate, common salt and charcoal filling, test point made out of funnel, wire mesh and earth work in hard/dense soil, returning filling in and removal of surplus soil to a distance not exceeding 50 metres, all as per electrical plate No 3 of SSR-2009 Part-I and connecting to earth test point including testing on completion all as specified and directed by the Engineer-in-charge including dismantling old earthing. | 2.00 | Each | 10.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 3000.00 | M/S Alam Construction
74.00 | Excavation in trenches not exceeding 1.5 mtr wide and not exceeding 1.5 m in depth and getting out for laying of cables, etc in any type of soil, complete all as specified. | 9.72 | Cum | 10.00 | 100.00 | 972.00 | 100.00 | 972.00 | 100.00 | 972.00 | 90.00 | 874.80 | 210.00 | 2041.20 | 120.00 | 1166.40 | 100.00 | 972.00 | 874.80 | M/S N A Enterprises
75.00 | Returning, filling in including spreading, leveling watering and well ramming in layers n.exc 25 cm thick in soil, complete all as specified. | 6.06 | Cum | 10.00 | 50.00 | 303.00 | 50.00 | 303.00 | 25.00 | 151.50 | 25.00 | 151.50 | 50.00 | 303.00 | 50.00 | 303.00 | 40.00 | 242.40 | 151.50 | M/S RASHID CONSTRUCTION, M/S N A Enterprises
76.00 | Removal of surplus soil to a distance not exceeding 50 mtr and depositing where directed at a level not exceeding 1.5 mtr above starting point, complete all as specified. | 3.66 | Cum | 10.00 | 50.00 | 183.00 | 50.00 | 183.00 | 50.00 | 183.00 | 40.00 | 146.40 | 50.00 | 183.00 | 45.00 | 164.70 | 70.00 | 256.20 | 146.40 | M/S N A Enterprises
77.00 | Material and labour for sand cushioning to underground cables complete all as specified in clause 19.75 of SSR Part-I laid before and after laying of cables, complete all as specified. Note :- Punned thickness shall be measured for payment purpose. | 2.92 | Cum | 10.00 | 200.00 | 584.00 | 400.00 | 1168.00 | 450.00 | 1314.00 | 300.00 | 876.00 | 560.00 | 1635.20 | 200.00 | 584.00 | 800.00 | 2336.00 | 584.00 | M/s KASHMIR BUILDERS, M/S Alam Construction
78.00 | Material and labour for sub class (B* brick, old size, brick covering laid dry, flat transversally along the length of cable on sand cushioning, with width equal to the length of the brick complete all as specified and directed. | 400.00 | Per 1000 Nos | 10.00 | 4.00 | 1600.00 | 3.00 | 1200.00 | 5.00 | 2000.00 | 5.00 | 2000.00 | 8.00 | 3200.00 | 3.00 | 1200.00 | 8.00 | 3200.00 | 1200.00 | NAJAR ENTERPRISES, M/S Alam Construction
79.00 | Taking down old unserviceable pipe and Supply and laying for GI pipe 50mm bore light grade with all fittings laid in trenches / wall / poles for cable protection, complete all as specified and directed. | 20.00 | RM | 10.00 | 300.00 | 6000.00 | 400.00 | 8000.00 | 100.00 | 2000.00 | 450.00 | 9000.00 | 50.00 | 1000.00 | 140.00 | 2800.00 | 330.00 | 6600.00 | 1000.00 | M/S LATIF AHMAD BABA CONSTRUCTION
80.00 | Taking down old unserviceable cable and Supply, jointing, fixing or passing through pipe, trenches or ducts, commissioning and testing XLPE insulated screened and PVC sheathed armoured electric power LT cable heavy duty with aluminium conductor nominal cross sectional area 16 Sqmm 2 core for working voltage upto and including 1100 volts confirming to IS-7098 (Part-I) 1988, complete all as specified and as directed. Note :- Credit schedule has been given separately under tender documents and net contract sum shall be arrived at by dedeucting the amount of credit shcedule from total amount quoted by bidder in BOQ. | 48.00 | RM | 10.00 | 80.00 | 3840.00 | 150.00 | 7200.00 | 225.00 | 10800.00 | 300.00 | 14400.00 | 20.00 | 960.00 | 110.00 | 5280.00 | 120.00 | 5760.00 | 960.00 | M/S LATIF AHMAD BABA CONSTRUCTION
| Total in Figures |  |  |  |  | 827606.00 |  | 902800.00 |  | 848130.50 |  | 831991.70 |  | 847063.90 |  | 743363.10 |  | 857961.60
Lowest Amount Quoted BY: M/S Alam Construction(743363.10)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIR TO BUILDING NO. P 28 AND P 29 AT SHALATENG GARRISON UNDER AGE (I) CIF (K). Tender ID: 2018_MES_224736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S Alam Construction | 743363.10 | L1
| 2 | M/s KASHMIR BUILDERS | 827606.00 | L2
| 3 | M/S N A Enterprises | 831991.70 | L3
| 4 | M/S LATIF AHMAD BABA CONSTRUCTION | 847063.90 | L4
| 5 | M/S RASHID CONSTRUCTION | 848130.50 | L5
| 6 | M/S A Q ENTERPRISES | 857961.60 | L6
| 7 | NAJAR ENTERPRISES | 902800.00 | L7